## Scroll Compressor
[5 empty] | 22440 |  | 8.6 | 1.75 |  | 365
Customer Name | MEASURE CODE | MEASURE DESCRIPTION | QUANTITY | # of Cows | Annual Lbs Milk Production per Cow | Annual Production Lbs | Per Hundred Gals | kWh Savings Scroll Compressor | Daily Hours of Operation | Annual Hours of Operation | Annual kW savings | kW Savings per 100 gallons
1 | S0014 | Scroll Compressors for Bulk Tank | 3 | 550 | 22440 | 12342000 | 14351.1628 | 25114.5349 | 18 | 6570 | 3.8226 | 0.00026636
2 | S0014 | Scroll Compressors for Bulk Tank | 3 | 600 | 22440 | 13464000 | 15655.814 | 27397.6744 | 14 | 5110 | 5.3616 | 0.00034247
3 | S0014 | Scroll Compressors for Bulk Tank | 4 | 1400 | 22440 | 31416000 | 36530.2326 | 63927.907 | 17 | 6205 | 10.3026 | 0.00028203
4 | S0014 | Scroll Compressors for Bulk Tank | 4 | 960 | 22440 | 21542400 | 25049.3023 | 43836.2791 | 18 | 6570 | 6.6722 | 0.00026636
5 | S0014 | Scroll Compressors for Bulk Tank | 1 | 700 | 22440 | 15708000 | 18265.1163 | 31963.9535 | 17 | 6205 | 5.1513 | 0.00028203
6 | S0014 | Scroll Compressors for Bulk Tank | 2 | 600 | 22440 | 13464000 | 15655.814 | 27397.6744 | 14 | 5110 | 5.3616 | 0.00034247
7 | S0014 | Scroll Compressors for Bulk Tank | 1 | 480 | 22440 | 10771200 | 12524.6512 | 21918.1395 | 10 | 3650 | 6.005 | 0.00047945
8 | S0014 | Scroll Compressors for Bulk Tank | 2 | 500 | 22440 | 11220000 | 13046.5116 | 22831.3953 | 9 | 3285 | 6.9502 | 0.00053272
9 | S0014 | Scroll Compressors for Bulk Tank | 1 | 600 | 22440 | 13464000 | 15655.814 | 27397.6744 | 14 | 5110 | 5.3616 | 0.00034247
10 | S0014 | Scroll Compressors for Bulk Tanks | 2 | 320 | 22440 | 7180800 | 8349.7674 | 14612.093 | 13 | 4745 | 3.0795 | 0.00036881
11 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 1000 | 22440 | 22440000 | 26093.0233 | 45662.7907 | 18 | 6570 | 6.9502 | 0.00026636
12 | S0014 | Scroll Compressors for Bulk Tanks | 2 | 1300 | 22440 | 29172000 | 33920.9302 | 59361.6279 | 22 | 8030 | 7.3925 | 0.00021793
13 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 700 | 22440 | 15708000 | 18265.1163 | 31963.9535 | 11 | 4015 | 7.9611 | 0.00043587
14 | S0014 | Scroll Compressors for Bulk Tanks | 2 | 350 | 22440 | 7854000 | 9132.5581 | 15981.9767 | 10 | 3650 | 4.3786 | 0.00047945
15 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 550 | 22440 | 12342000 | 14351.1628 | 25114.5349 | 19 | 6935 | 3.6214 | 0.00025234
16 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 540 | 22440 | 12117600 | 14090.2326 | 24657.907 | 10 | 3650 | 6.7556 | 0.00047945
17 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 450 | 22440 | 10098000 | 11741.8605 | 20548.2558 | 13 | 4745 | 4.3305 | 0.00036881
18 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 220 | 22440 | 4936800 | 5740.4651 | 10045.814 | 6 | 2190 | 4.5871 | 0.00079909
19 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 470 | 22440 | 10546800 | 12263.7209 | 21461.5116 | 13 | 4745 | 4.523 | 0.00036881
20 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 250 | 22440 | 5610000 | 6523.2558 | 11415.6977 | 10 | 3650 | 3.1276 | 0.00047945
21 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 500 | 22440 | 11220000 | 13046.5116 | 22831.3953 | 10 | 3650 | 6.2552 | 0.00047945
22 | S0014 | Scroll Compressors for Bulk Tanks | 2 | 1000 | 22440 | 22440000 | 26093.0233 | 45662.7907 | 18 | 6570 | 6.9502 | 0.00026636
23 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 350 | 22440 | 7854000 | 9132.5581 | 15981.9767 | 12 | 4380 | 3.6489 | 0.00039954
24 | S0014 | Scroll Compressors for Bulk Tanks | 2 | 720 | 22440 | 16156800 | 18786.9767 | 32877.2093 | 16 | 5840 | 5.6297 | 0.00029966
25 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 45 | 2511 | 112995 | 131.3895 | 229.9317 | 8 | 2920 | 0.078744 | 0.00059932
26 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 250 | 2511 | 627750 | 729.9419 | 1277.3983 | 13 | 4745 | 0.26921 | 0.00036881
27 | S0014 | Scroll Compressors for Bulk Tanks | 2 | 1100 | 22440 | 24684000 | 28702.3256 | 50229.0698 | 13 | 4745 | 10.5857 | 0.00036881
28 | S0014 | Scroll Compressors for Bulk Tanks | 2 | 475 | 22440 | 10659000 | 12394.186 | 21689.8256 | 14 | 5110 | 4.2446 | 0.00034247
29 | S0014 | Scroll Compressors for Bulk Tanks | 2 | 250 | 22440 | 5610000 | 6523.2558 | 11415.6977 | 5 | 1825 | 6.2552 | 0.0009589
30 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 700 | 22440 | 15708000 | 18265.1163 | 31963.9535 | 12 | 4380 | 7.2977 | 0.00039954
31 | S0014 | Scroll Compressors for Bulk Tanks | 2 | 525 | 22440 | 11781000 | 13698.8372 | 23972.9651 | 12 | 4380 | 5.4733 | 0.00039954
32 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 390 | 22440 | 8751600 | 10176.2791 | 17808.4884 | 11 | 4015 | 4.4355 | 0.00043587
33 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 700 | 22440 | 15708000 | 18265.1163 | 31963.9535 | 16 | 5840 | 5.4733 | 0.00029966
34 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 1000 | 22440 | 22440000 | 26093.0233 | 45662.7907 | 14 | 5110 | 8.936 | 0.00034247
35 | S0014 | Scroll Compressors for Bulk Tanks | 2 | 350 | 22440 | 7854000 | 9132.5581 | 15981.9767 | 12 | 4380 | 3.6489 | 0.00039954
36 | S0014 | Scroll Compressors for Bulk Tanks | 1 | 440 | 22440 | 9873600 | 11480.9302 | 20091.6279 | 16 | 5840 | 3.4403 | 0.00029966
Totals & Averages |  | Total |  | 592.6389 |  | 472878345 | 15273.8484 | 26729.2346 | 13.2778 | 4846.3889 | 5.5153
[6 empty] | Avg daily milk production by 100 gal | 41.8462
36
Note on F2: Bruce: Source California Agricultural Resource Directory 2008-2009
Note on I2: Bruce: Source: EnSave Study Available- CALMAC ID:ENS0002.01
Note on J14: Bruce: Default per calculator
Note on J21: Bruce: Default per calculator
Note on J23: Bruce: Default per calculator
Note on F29: Bruce: Goat milk production 6.88 lbs/day*365
Note on F30: Bruce: Goat milk production 6.88 lbs/day*365
Note on J31: Bruce: Default per calculator