## Summary
PG&E ID | Short Description from Statewide Workpaper | Ex Ante Team Measure ID | Ex Ante Team MeasCostID | Ex Ante Team StandCostID
BW009 | Electric Low Rise | DemandCtl-WtrHt-Elec-44unitMFbldg | DemandCtlPmp-WtrHt-44unitMFbldg | StdPump-WtrHt-44unitMFbldg
BW010 | Gas Low Rise | DemandCtl-WtrHt-Gas-44unitMFbldg | DemandCtlPmp-WtrHt-44unitMFbldg | StdPump-WtrHt-44unitMFbldg
BW011 | Heat Pump Low Rise | DemandCtl-WtrHt-HP-44unitMFbldg | DemandCtlPmp-WtrHt-44unitMFbldg | StdPump-WtrHt-44unitMFbldg
BW012 | Electric High Rise | DemandCtl-WtrHt-Elec-88unitMFbldg | DemandCtlPmp-WtrHt-88unitMFbldg | StdPump-WtrHt-88unitMFbldg
BW013 | Gas High Rise | DemandCtl-WtrHt-Gas-88unitMFbldg | DemandCtlPmp-WtrHt-88unitMFbldg | StdPump-WtrHt-88unitMFbldg
BW014 | Heat Pump High Rise | DemandCtl-WtrHt-HP-88unitMFbldg | DemandCtlPmp-WtrHt-88unitMFbldg | StdPump-WtrHt-88unitMFbldg

## Implementation
PA | ImplementationID | StartDate | ExpiryDate | SourceDesc | MeasAppType | DelivType | MeasureID | MeasQualifier | Sector | GSIA_ID | NTG_ID | CostQualifier | MeasCostID | StdCostID | Version | VersionSource | LastMod | Description | ImplementerID | MeasImpactType | Status | ReviewStatus | Comment
PGE | BW009 | 2015-08-18 |  | PGECODHW126-R0 | RET | PreRebDown | DemandCtl-WtrHt-Elec-44unitMFbldg | None | Res | Def-GSIA | Res-Default>2 | None | DemandCtlPmp-WtrHt-44unitMFbldg | StdPump-WtrHt-44unitMFbldg | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Demand control hot water recirculation pump with Electric central water heater in a multi-family building (not high-rise) |  | Deemed | Available | Reviewed-Disposition
PGE | BW010 | 2015-08-18 |  | PGECODHW126-R0 | RET | PreRebDown | DemandCtl-WtrHt-Gas-44unitMFbldg | None | Res | Def-GSIA | Res-Default>2 | None | DemandCtlPmp-WtrHt-44unitMFbldg | StdPump-WtrHt-44unitMFbldg | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Demand control hot water recirculation pump with Gas central water heater in a multi-family building (not high-rise) |  | Deemed | Available | Reviewed-Disposition
PGE | BW011 | 2015-08-18 |  | PGECODHW126-R0 | RET | PreRebDown | DemandCtl-WtrHt-HP-44unitMFbldg | None | Res | Def-GSIA | Res-Default>2 | None | DemandCtlPmp-WtrHt-44unitMFbldg | StdPump-WtrHt-44unitMFbldg | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Demand control hot water recirculation pump with Heatpump central water heater in a multi-family building (not high-rise) |  | Deemed | Available | Reviewed-Disposition
PGE | BW012 | 2015-08-18 |  | PGECODHW126-R0 | RET | PreRebDown | DemandCtl-WtrHt-Elec-88unitMFbldg | None | Res | Def-GSIA | Res-Default>2 | None | DemandCtlPmp-WtrHt-88unitMFbldg | StdPump-WtrHt-88unitMFbldg | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Demand control hot water recirculation pump with Electric central water heater in a multi-family High-Rise building |  | Deemed | Available | Reviewed-Disposition
PGE | BW013 | 2015-08-18 |  | PGECODHW126-R0 | RET | PreRebDown | DemandCtl-WtrHt-Gas-88unitMFbldg | None | Res | Def-GSIA | Res-Default>2 | None | DemandCtlPmp-WtrHt-88unitMFbldg | StdPump-WtrHt-88unitMFbldg | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Demand control hot water recirculation pump with Gas central water heater in a multi-family High-Rise building |  | Deemed | Available | Reviewed-Disposition
PGE | BW014 | 2015-08-18 |  | PGECODHW126-R0 | RET | PreRebDown | DemandCtl-WtrHt-HP-88unitMFbldg | None | Res | Def-GSIA | Res-Default>2 | None | DemandCtlPmp-WtrHt-88unitMFbldg | StdPump-WtrHt-88unitMFbldg | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Demand control hot water recirculation pump with Heatpump central water heater in a multi-family High-Rise building |  | Deemed | Available | Reviewed-Disposition
DeliveryType

## Measure
PA | MeasureID | MeasID_PGE | MeasQualifierGroup | SourceDesc | Sector | EnergyImpactID | MeasCostID | StdCostID | EUL_ID | RUL_ID | Version | VersionSource | LastMod | Description | MeasDesc | StdDesc | MeasTechID | MeasImpactType | EnImpCalcType | UseCategory | UseSubCategory | TechGroup | TechType | Status | Comment | PreDesc | PreMultiTech | PreTechID | PreTechGroup | PreTechType | StdMultiTech | StdTechID | StdTechGroup | StdTechType | ImpScaleBasis | TechBased | ApplyIE | IETableName | ImpWeighting | WeightGroupID | LegacyID | StdScaleVal | PreScaleVal | ProposedEULValue | StartDate | ExpiryDate | ReviewStatus | MeasType
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | BW009 |  | PGECODHW126-R0 | Res | DemandCtl-WtrHt-Elec-44unitMFbldg |  |  | WtrHt-Timeclock | WtrHt-Res-Elec | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | DEMAND CONTROL RECIRCULATION PUMP replacing constant flow pump in a CENTRAL WATER HEATER system with electric storage water heater | Demand control DHW recirculation pump, operates 2 hours per day. Water heater is electric storage with recovery efficiency = 98% | constant flow DHW recirculation pump, operates 24 hours per day. Water heater is electric storage with recovery efficiency = 98% |  | Deemed | Standard | SHW | Distribute | LiquidCirc | FlowTempCtrl | Available |  |  | f |  |  |  | f |  | LiquidCirc | PumpMtr | None | f | f | None | [6 empty] | 2015-08-18 |  |  | Standard
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | BW010 |  | PGECODHW126-R0 | Res | DemandCtl-WtrHt-Gas-44unitMFbldg |  |  | WtrHt-Timeclock | WtrHt-Res-Gas | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | DEMAND CONTROL RECIRCULATION PUMP replacing constant flow pump in a CENTRAL WATER HEATER system with nat gas storage water heater | Demand control DHW recirculation pump, operates 2 hours per day. Water heater is natural gas storage with recovery efficiency = 80% | constant flow DHW recirculation pump, operates 24 hours per day. Water heater is natural gas storage with recovery efficiency = 80% |  | Deemed | Standard | SHW | Distribute | LiquidCirc | FlowTempCtrl | Available |  |  | f |  |  |  | f |  | LiquidCirc | PumpMtr | None | f | f | None | [6 empty] | 2015-08-18 |  |  | Standard
Any | DemandCtl-WtrHt-HP-44unitMFbldg | BW011 |  | PGECODHW126-R0 | Res | DemandCtl-WtrHt-HP-44unitMFbldg |  |  | WtrHt-Timeclock | WtrHt-Res-Elec | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | DEMAND CONTROL RECIRCULATION PUMP replacing constant flow pump in a CENTRAL WATER HEATER system with a heat pump water heater | Demand control DHW recirculation pump, operates 2 hours per day. Water heater is heat pump with COP = 2.5 | constant flow DHW recirculation pump, operates 24 hours per day. Water heater is heat pump with COP = 2.5 |  | Deemed | Standard | SHW | Distribute | LiquidCirc | FlowTempCtrl | Available |  |  | f |  |  |  | f |  | LiquidCirc | PumpMtr | None | f | f | None | [6 empty] | 2015-08-18 |  |  | Standard
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | BW012 |  | PGECODHW126-R0 | Res | DemandCtl-WtrHt-Elec-88unitMFbldg |  |  | WtrHt-Timeclock | WtrHt-Res-Elec | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | DEMAND CONTROL RECIRCULATION PUMP replacing constant flow pump in a CENTRAL WATER HEATER system with electric storage water heater, high rise building | Demand control DHW recirculation pump, operates 2 hours per day. Water heater is electric storage with recovery efficiency = 98% | constant flow DHW recirculation pump, operates 24 hours per day. Water heater is electric storage with recovery efficiency = 98% |  | Deemed | Standard | SHW | Distribute | LiquidCirc | FlowTempCtrl | Available |  |  | f |  |  |  | f |  | LiquidCirc | PumpMtr | None | f | f | None | [6 empty] | 2015-08-18 |  |  | Standard
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | BW013 |  | PGECODHW126-R0 | Res | DemandCtl-WtrHt-Gas-88unitMFbldg |  |  | WtrHt-Timeclock | WtrHt-Res-Gas | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | DEMAND CONTROL RECIRCULATION PUMP replacing constant flow pump in a CENTRAL WATER HEATER system with nat gas storage water heater, high rise building | Demand control DHW recirculation pump, operates 2 hours per day. Water heater is natural gas storage with recovery efficiency = 80% | constant flow DHW recirculation pump, operates 24 hours per day. Water heater is natural gas storage with recovery efficiency = 80% |  | Deemed | Standard | SHW | Distribute | LiquidCirc | FlowTempCtrl | Available |  |  | f |  |  |  | f |  | LiquidCirc | PumpMtr | None | f | f | None | [6 empty] | 2015-08-18 |  |  | Standard
Any | DemandCtl-WtrHt-HP-88unitMFbldg | BW014 |  | PGECODHW126-R0 | Res | DemandCtl-WtrHt-HP-88unitMFbldg |  |  | WtrHt-Timeclock | WtrHt-Res-Elec | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | DEMAND CONTROL RECIRCULATION PUMP replacing constant flow pump in a CENTRAL WATER HEATER system with a heat pump water heater, high rise building | Demand control DHW recirculation pump, operates 2 hours per day. Water heater is heat pump with COP = 2.5 | constant flow DHW recirculation pump, operates 24 hours per day. Water heater is heat pump with COP = 2.5 |  | Deemed | Standard | SHW | Distribute | LiquidCirc | FlowTempCtrl | Available |  |  | f |  |  |  | f |  | LiquidCirc | PumpMtr | None | f | f | None | [6 empty] | 2015-08-18 |  |  | Standard
|  |  | MeasQualifier |  |  |  | MeasureCostID | [11 empty] | MeasImpactCalcType | [15 empty] | ScaleBasis | [6 empty] | StdScaleValue | PreScaleValue

## MeasureCost
PA | MeasCostID | PGE MeasCostID | CostQualifier | BldgType | BldgVint | BldgLoc | DelivType | SourceDesc | Version | VersionSource | LastMod | NormUnit | CostType | GenCost | LaborCost | MatlCost | Description | Sector | UseCategory | UseSubCategory | TechGroup | TechType | TechID | MeasAppType | InstallHrs | LaborRate | LocCostAdj | Status | Comment | StartDate | ExpiryDate | ReviewStatus
Any | StdPump-WtrHt-44unitMFbldg | None | None | MFm | Ex | Any | PreRebDown | PGECODHW126-R0 | ExAnte2015 | IOU Workpaper |  | Household | Full |  |  | 10.11 | Central water heating recirculating pump, 1/6 through 1/3 hp. Average total material cost is $444.83, labor is 2 hours. Cost normalized to per unit for a 44 unit building. | Res | SHW | Distribute | LiquidCirc | PumpMtr |  | RET | 0.045 | NR-DHW-SWH | SWH50 | Available | Cost data is from June 2013 internet search published in SCE13WP002r1 | 2015-08-18
Any | StdPump-WtrHt-88unitMFbldg | None | None | MFm | Ex | Any | PreRebDown | PGECODHW126-R0 | ExAnte2015 | IOU Workpaper |  | Household | Full |  |  | 10.65 | Central water heating recirculating pump, 1/2 or 3/4 hp. Average total material cost is $937.20, labor is 2 hours. Cost normalized to per unit for an 88 unit building. | Res | SHW | Distribute | LiquidCirc | PumpMtr |  | RET | 0.0227 | NR-DHW-SWH | SWH50 | Available | Cost data is from June 2013 internet search published in SCE13WP002r1 | 2015-08-18
Any | DemandCtlPmp-WtrHt-44unitMFbldg | None | None | MFm | Ex | Any | PreRebDown | PGECODHW126-R0 | ExAnte2015 | IOU Workpaper |  | Household | Full |  |  | 37.1 | Demand control on a central water heating recirculating pump. Total material cost is $1,632.50, labor is 2 hours. Cost normalized to per unit for a 44 unit building. | Res | SHW | Distribute | LiquidCirc | FlowTempCtrl |  | RET | 0.045 | NR-DHW-SWH | SWH50 | Available | Cost data is from June 2013 internet search published in SCE13WP002r1 | 2015-08-18
Any | DemandCtlPmp-WtrHt-88unitMFbldg | None | None | MFm | Ex | Any | PreRebDown | PGECODHW126-R0 | ExAnte2015 | IOU Workpaper |  | Household | Full |  |  | 18.55 | Demand control on a central water heating recirculating pump. Total material cost is $1,632.50, labor is 2 hours. Cost normalized to per unit for an 88 unit building. | Res | SHW | Distribute | LiquidCirc | FlowTempCtrl |  | RET | 0.0227 | NR-DHW-SWH | SWH50 | Available | Cost data is from June 2013 internet search published in SCE13WP002r1 | 2015-08-18
[7 empty] | DeliveryType | [17 empty] | InstallHours

## EnergyImpact
PA | EnergyImpactID | BldgType | BldgVint | BldgLoc | BldgHVAC | SourceDesc | Version | VersionSource | LastMod | NormUnit | NumUnit | MeasArea | ScaleBasis | APreWBkWh | APreWBkW | APreWBtherm | AStdWBkWh | AStdWBkW | AStdWBtherm | APreEUkWh | APreEUkW | APreEUtherm | AStdEUkWh | AStdEUkW | AStdEUtherm | ElecImpactProfileID | GasImpactProfileID | Flag
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ01 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 617 | 0.0683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ02 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 595 | 0.0659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ03 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 594 | 0.0658 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ04 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 586 | 0.065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ05 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 600 | 0.0665 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ06 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 575 | 0.0638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ07 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 570 | 0.0632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ08 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 567 | 0.0629 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ09 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 567 | 0.0629 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ10 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 567 | 0.0629 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ11 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 570 | 0.0632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ12 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 580 | 0.0643 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ13 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 567 | 0.0628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ14 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 573 | 0.0635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ15 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 520 | 0.0577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-44unitMFbldg | MFm | Ex | CZ16 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 614 | 0.0681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ01 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00309 | 24.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ02 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00309 | 23.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ03 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00309 | 23.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ04 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00309 | 23.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ05 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00309 | 23.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ06 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00309 | 22.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ07 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00318 | 22.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ08 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00318 | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ09 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00318 | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ10 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00318 | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ11 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00309 | 22.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ12 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00309 | 23.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ13 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00309 | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ14 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00318 | 22.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ15 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00318 | 20.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-44unitMFbldg | MFm | Ex | CZ16 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 27.9 | 0.00309 | 24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ01 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 259 | 0.0287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ02 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 250 | 0.0278 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ03 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 250 | 0.0277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ04 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 247 | 0.0274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ05 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 252 | 0.028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ06 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 242 | 0.0269 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ07 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 241 | 0.0267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ08 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 239 | 0.0266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ09 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 239 | 0.0266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ10 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 239 | 0.0266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ11 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 241 | 0.0267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ12 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 244 | 0.0271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ13 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 239 | 0.0266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ14 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 242 | 0.0268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ15 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 140 | 0.0156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-44unitMFbldg | MFm | Ex | CZ16 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 258 | 0.0286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ01 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 393 | 0.0435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ02 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 376 | 0.0417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ03 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 376 | 0.0417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ04 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 369 | 0.041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ05 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 380 | 0.0421 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ06 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 362 | 0.0401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ07 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 359 | 0.0398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ08 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 356 | 0.0395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ09 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 356 | 0.0395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ10 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 355 | 0.0394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ11 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 358 | 0.0397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ12 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 365 | 0.0405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ13 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 355 | 0.0394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ14 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 360 | 0.0399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ15 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 321 | 0.0356 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Elec-88unitMFbldg | MFm | Ex | CZ16 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 391 | 0.0434 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ01 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00256 | 15.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ02 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00256 | 14.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ03 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00256 | 14.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ04 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00256 | 14.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ05 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00256 | 14.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ06 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00256 | 14.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ07 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00265 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ08 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00265 | 13.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ09 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00265 | 13.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ10 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00265 | 13.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ11 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00256 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ12 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00256 | 13.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ13 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00256 | 13.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ14 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00265 | 14.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ15 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00265 | 12.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-Gas-88unitMFbldg | MFm | Ex | CZ16 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 23.1 | 0.00256 | 13.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ01 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 168 | 0.0187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ02 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 161 | 0.018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ03 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 161 | 0.0179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ04 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 159 | 0.0177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ05 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 163 | 0.0181 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ06 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 156 | 0.0173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ07 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 155 | 0.0172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ08 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 154 | 0.0171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ09 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 154 | 0.0171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ10 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 153 | 0.0171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ11 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 154 | 0.0172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ12 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 157 | 0.0175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ13 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 153 | 0.0171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ14 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 155 | 0.0173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ15 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 221 | 0.0245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
Any | DemandCtl-WtrHt-HP-88unitMFbldg | MFm | Ex | CZ16 | Any | PGECODHW126-R0 | ExAnte2015 | 2013-2014-OnDemandPumpControl Disposition |  | Household |  |  | None | 167 | 0.0186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Mfm-HotWaterCirc-DemandControl | Annual | 9
[26 empty] | ElecImpactProfile | GasImpactProfile

## ElecImpactProfile
Additions to the ElecImpactProfile table to support the measures included in this workbook:
ElecImpactProfile | PA | E3Sector | E3ElecImpactProfile
PGE:Mfm-HotWaterCirc-DemandControl | PGE | RES | PGE:Residential:21 = Res. Wtr. Heating
SCE:Mfm-HotWaterCirc-DemandControl | SCE | RES | SCE:Residential:HeatPump_WtrHt-RC
SDG:Mfm-HotWaterCirc-DemandControl | SDG | MFM | SDGE:13-MFM-ResidentialMulti-family-WAT_HEAT
Note: ex ante data processing will match the "ElecImpactProfile" value from the EnergyImpact table to the "ElecImpactProfile" field of the ElecImpactProfile table
in order to find the E3Sector and E3ElecImpactProfile to use for the E3 cost-effectiveness tool.
If no match is found, the process will lookup the "ElecImpactProfile" value from the ElecImpactProfile table based on the concatenation of the "PA" and
"ElecImpactProfile" value (PA:ElecImpactProfile) from the EnergyImpact table. This process allows a single ElecImpactProfile specification in the
EnergyImpact table to connect to PA-specific impact profiles.