## cost calculation
| ADEC | *Base Labor Rate | 86.93
|  | Hours | Labor | Materials | Total | Source
| AVERAGE TOTAL COST |  | 360.75 | 595.2123 | 955.9623 | PGE3PHVC151 R4 measure cost data
| VFD | Hours | Labor | Materials | Total | Source
| Average VFD controller cost for 3 HP motor, install and acceptance test | 4 | 347.72 | 980 | 1327.72 | See VFD for material and labor information
| AVERAGE TOTAL COST | 4 | 347.72 | 980 | 1327.72
*Base labor rate equivalent to rate used for Draft DEER Measure Cost Update Study
| NEMA Motor | Hours | Labor | Materials | Total | Source
| Average NEMA 3 HP motor | 3 | 260.79 | 495.85 | 756.64 | See Motor Costs for material; labor based on direct experience
| AVERAGE TOTAL COST | 3 | 260.79 | 495.85 | 756.64
*Base labor rate equivalent to rate used for Draft DEER Measure Cost Update Study
| PMM | Hours | Labor | Materials | Total | Source
| Average PMM 3 HP motor | 3 | 260.79 | 617.3125 | 878.1025 | See Motor Costs for material; labor based on direct experience
| AVERAGE TOTAL COST | 3 | 260.79 | 617.3125 | 878.1025
*Base labor rate equivalent to rate used for Draft DEER Measure Cost Update Study
| Measure | Labor | Materials | Total | Unweighted*Typical Unit Cost/Ton
| Add VFD to XXX with ADEC | 347.72 | 980 | 1327.72 | 106.2176
| Add VFD and NEMA to XXX with ADEC | 608.51 | 1475.85 | 2084.36 | 166.7488
| Add VFD and PMM to XXX with ADEC | 608.51 | 1597.3125 | 2205.8225 | 176.4658
| Add VFD and ADEC to XXX | 708.47 | 1575.2123 | 2283.6823 | 182.6946
i | Add VFD, NEMA, and ADEC to XXX | 969.26 | 2071.0623 | 3040.3223 | 243.2258
| Add VFD, PMM, and ADEC to XXX | 969.26 | 2192.5248 | 3161.7848 | 252.9428
| *Typical Unit Size | 12.5 | Tons
Climate Zone Adjusted IMC Data
|  |  | Measure Cost ($/unit) | Labor Cost ($/unit) | IMC Incremental Measure Cost ($/unit)
| 1 | Add VFD to XXX with ADEC | 73.696 | 28.2905 | 101.9865
| 2 | Add VFD to XXX with ADEC | 73.696 | 45.9825 | 119.6785
| 3 | Add VFD to XXX with ADEC | 78.4784 | 46.5388 | 125.0172
| 4 | Add VFD to XXX with ADEC | 78.4 | 40.2799 | 118.6799
| 5 | Add VFD to XXX with ADEC | 73.696 | 29.3476 | 103.0436
| 6 | Add VFD to XXX with ADEC | 78.4 | 32.4631 | 110.8631
| 7 | Add VFD to XXX with ADEC | 78.4 | 32.0459 | 110.4459
| 8 | Add VFD to XXX with ADEC | 73.696 | 29.3476 | 103.0436
| 9 | Add VFD to XXX with ADEC | 78.4784 | 32.4631 | 110.9415
| 10 | Add VFD to XXX with ADEC | 78.4 | 32.4353 | 110.8353
| 11 | Add VFD to XXX with ADEC | 78.4 | 29.7648 | 108.1648
| 12 | Add VFD to XXX with ADEC | 78.4 | 33.3255 | 111.7255
| 13 | Add VFD to XXX with ADEC | 78.4784 | 30.961 | 109.4394
| 14 | Add VFD to XXX with ADEC | 73.696 | 27.5951 | 101.2911
| 15 | Add VFD to XXX with ADEC | 73.696 | 29.3198 | 103.0158
| 16 | Add VFD to XXX with ADEC | 73.696 | 29.7648 | 103.4608
Used in work paper | WEIGHTED AVERAGE | Add VFD to XXX with ADEC | 77.15 | 32.21 | 109.36
| 1 | Add VFD and NEMA to XXX with ADEC | 110.9839 | 49.5084 | 160.4923
| 2 | Add VFD and NEMA to XXX with ADEC | 110.9839 | 80.4694 | 191.4533
| 3 | Add VFD and NEMA to XXX with ADEC | 118.1861 | 81.443 | 199.629
| 4 | Add VFD and NEMA to XXX with ADEC | 118.068 | 70.4898 | 188.5578
| 5 | Add VFD and NEMA to XXX with ADEC | 110.9839 | 51.3582 | 162.3422
| 6 | Add VFD and NEMA to XXX with ADEC | 118.068 | 56.8105 | 174.8785
| 7 | Add VFD and NEMA to XXX with ADEC | 118.068 | 56.0803 | 174.1483
| 8 | Add VFD and NEMA to XXX with ADEC | 110.9839 | 51.3582 | 162.3422
| 9 | Add VFD and NEMA to XXX with ADEC | 118.1861 | 56.8105 | 174.9966
| 10 | Add VFD and NEMA to XXX with ADEC | 118.068 | 56.7618 | 174.8298
| 11 | Add VFD and NEMA to XXX with ADEC | 118.068 | 52.0885 | 170.1565
| 12 | Add VFD and NEMA to XXX with ADEC | 118.068 | 58.3196 | 176.3876
| 13 | Add VFD and NEMA to XXX with ADEC | 118.1861 | 54.1817 | 172.3678
| 14 | Add VFD and NEMA to XXX with ADEC | 110.9839 | 48.2914 | 159.2753
| 15 | Add VFD and NEMA to XXX with ADEC | 110.9839 | 51.3096 | 162.2935
| 16 | Add VFD and NEMA to XXX with ADEC | 110.9839 | 52.0885 | 163.0724
Used in work paper | WEIGHTED AVERAGE | Add VFD and NEMA to XXX with ADEC | 116.19 | 56.37 | 172.56
| 1 | Add VFD and PMM to XXX with ADEC | 120.1179 | 49.5084 | 169.6263
| 2 | Add VFD and PMM to XXX with ADEC | 120.1179 | 80.4694 | 200.5873
| 3 | Add VFD and PMM to XXX with ADEC | 127.9128 | 81.443 | 209.3558
| 4 | Add VFD and PMM to XXX with ADEC | 127.785 | 70.4898 | 198.2748
| 5 | Add VFD and PMM to XXX with ADEC | 120.1179 | 51.3582 | 171.4761
| 6 | Add VFD and PMM to XXX with ADEC | 127.785 | 56.8105 | 184.5955
| 7 | Add VFD and PMM to XXX with ADEC | 127.785 | 56.0803 | 183.8653
| 8 | Add VFD and PMM to XXX with ADEC | 120.1179 | 51.3582 | 171.4761
| 9 | Add VFD and PMM to XXX with ADEC | 127.9128 | 56.8105 | 184.7233
| 10 | Add VFD and PMM to XXX with ADEC | 127.785 | 56.7618 | 184.5468
| 11 | Add VFD and PMM to XXX with ADEC | 127.785 | 52.0885 | 179.8735
| 12 | Add VFD and PMM to XXX with ADEC | 127.785 | 58.3196 | 186.1046
| 13 | Add VFD and PMM to XXX with ADEC | 127.9128 | 54.1817 | 182.0945
| 14 | Add VFD and PMM to XXX with ADEC | 120.1179 | 48.2914 | 168.4093
| 15 | Add VFD and PMM to XXX with ADEC | 120.1179 | 51.3096 | 171.4275
| 16 | Add VFD and PMM to XXX with ADEC | 120.1179 | 52.0885 | 172.2064
Used in work paper | WEIGHTED AVERAGE | Add VFD and PMM to XXX with ADEC | 125.75 | 56.37 | 182.12
| 1 | Add VFD and ADEC to XXX | 118.456 | 57.6411 | 176.0971
| 2 | Add VFD and ADEC to XXX | 118.456 | 93.6881 | 212.144
| 3 | Add VFD and ADEC to XXX | 126.143 | 94.8216 | 220.9646
| 4 | Add VFD and ADEC to XXX | 126.017 | 82.0692 | 208.0861
| 5 | Add VFD and ADEC to XXX | 118.456 | 59.7949 | 178.2508
| 6 | Add VFD and ADEC to XXX | 126.017 | 66.1428 | 192.1597
| 7 | Add VFD and ADEC to XXX | 126.017 | 65.2926 | 191.3096
| 8 | Add VFD and ADEC to XXX | 118.456 | 59.7949 | 178.2508
| 9 | Add VFD and ADEC to XXX | 126.143 | 66.1428 | 192.2858
| 10 | Add VFD and ADEC to XXX | 126.017 | 66.0861 | 192.1031
| 11 | Add VFD and ADEC to XXX | 126.017 | 60.645 | 186.662
| 12 | Add VFD and ADEC to XXX | 126.017 | 67.8998 | 193.9167
| 13 | Add VFD and ADEC to XXX | 126.143 | 63.0822 | 189.2252
| 14 | Add VFD and ADEC to XXX | 118.456 | 56.2242 | 174.6801
| 15 | Add VFD and ADEC to XXX | 118.456 | 59.7382 | 178.1942
| 16 | Add VFD and ADEC to XXX | 118.456 | 60.645 | 179.101
Used in work paper | WEIGHTED AVERAGE | Add VFD and ADEC to XXX | 124.01 | 65.64 | 189.65
| 1 | Add VFD, NEMA, and ADEC to XXX | 155.7439 | 78.859 | 234.6029
| 2 | Add VFD, NEMA, and ADEC to XXX | 155.7439 | 128.1749 | 283.9188
| 3 | Add VFD, NEMA, and ADEC to XXX | 165.8507 | 129.7258 | 295.5764
| 4 | Add VFD, NEMA, and ADEC to XXX | 165.685 | 112.2791 | 277.9641
| 5 | Add VFD, NEMA, and ADEC to XXX | 155.7439 | 81.8055 | 237.5494
| 6 | Add VFD, NEMA, and ADEC to XXX | 165.685 | 90.4901 | 256.1751
| 7 | Add VFD, NEMA, and ADEC to XXX | 165.685 | 89.327 | 255.012
| 8 | Add VFD, NEMA, and ADEC to XXX | 155.7439 | 81.8055 | 237.5494
| 9 | Add VFD, NEMA, and ADEC to XXX | 165.8507 | 90.4901 | 256.3408
| 10 | Add VFD, NEMA, and ADEC to XXX | 165.685 | 90.4126 | 256.0976
| 11 | Add VFD, NEMA, and ADEC to XXX | 165.685 | 82.9687 | 248.6536
| 12 | Add VFD, NEMA, and ADEC to XXX | 165.685 | 92.8939 | 258.5789
| 13 | Add VFD, NEMA, and ADEC to XXX | 165.8507 | 86.3029 | 252.1536
| 14 | Add VFD, NEMA, and ADEC to XXX | 155.7439 | 76.9205 | 232.6644
| 15 | Add VFD, NEMA, and ADEC to XXX | 155.7439 | 81.728 | 237.4719
| 16 | Add VFD, NEMA, and ADEC to XXX | 155.7439 | 82.9687 | 238.7125
Used in work paper | WEIGHTED AVERAGE | Add VFD, NEMA, and ADEC to XXX | 163.05 | 89.8 | 252.85
| 1 | Add VFD, PMM, and ADEC to XXX | 164.8779 | 78.859 | 243.7369
| 2 | Add VFD, PMM, and ADEC to XXX | 164.8779 | 128.1749 | 293.0528
| 3 | Add VFD, PMM, and ADEC to XXX | 175.5774 | 129.7258 | 305.3031
| 4 | Add VFD, PMM, and ADEC to XXX | 175.402 | 112.2791 | 287.6811
| 5 | Add VFD, PMM, and ADEC to XXX | 164.8779 | 81.8055 | 246.6834
| 6 | Add VFD, PMM, and ADEC to XXX | 175.402 | 90.4901 | 265.8921
| 7 | Add VFD, PMM, and ADEC to XXX | 175.402 | 89.327 | 264.729
| 8 | Add VFD, PMM, and ADEC to XXX | 164.8779 | 81.8055 | 246.6834
| 9 | Add VFD, PMM, and ADEC to XXX | 175.5774 | 90.4901 | 266.0675
| 10 | Add VFD, PMM, and ADEC to XXX | 175.402 | 90.4126 | 265.8146
| 11 | Add VFD, PMM, and ADEC to XXX | 175.402 | 82.9687 | 258.3706
| 12 | Add VFD, PMM, and ADEC to XXX | 175.402 | 92.8939 | 268.2959
| 13 | Add VFD, PMM, and ADEC to XXX | 175.5774 | 86.3029 | 261.8803
| 14 | Add VFD, PMM, and ADEC to XXX | 164.8779 | 76.9205 | 241.7983
| 15 | Add VFD, PMM, and ADEC to XXX | 164.8779 | 81.728 | 246.6059
| 16 | Add VFD, PMM, and ADEC to XXX | 164.8779 | 82.9687 | 247.8465
Used in work paper | WEIGHTED AVERAGE | Add VFD, PMM, and ADEC to XXX | 172.61 | 89.8 | 262.41
From Draft DEER Measure Cost Update:
Table G-1: Statewide RSMeans Cost Indices Weighted by 2010-2012 HVAC Measure Claims
| Climate Zone | Reference City | Material1 | Installation1 | Weights2 | Weighted Material | Weighted Installation
| 1 | Eureka | 0.94 | 1.017 | 0.0032678 | 0.0030717 | 0.0033234
| 2 | Santa Rosa | 0.94 | 1.653 | 0.0096952 | 0.0091135 | 0.016026
| 3 | San Francisco | 1.001 | 1.673 | 0.030274 | 0.030304 | 0.050648
| 4 | San Jose | 1 | 1.448 | 0.015286 | 0.015286 | 0.022134
| 5 | San Luis Obispo | 0.94 | 1.055 | 0.00043296 | 0.00040698 | 0.00045677
| 6 | Santa Barbara | 1 | 1.167 | 0.1391 | 0.1391 | 0.16233
| 7 | San Diego | 1 | 1.152 | 0.046714 | 0.046714 | 0.053815
| 8 | Santa Ana | 0.94 | 1.055 | 0.16224 | 0.15251 | 0.17117
| 9 | Los Angeles | 1.001 | 1.167 | 0.2181 | 0.21832 | 0.25453
| 10 | Riverside | 1 | 1.166 | 0.21278 | 0.21278 | 0.2481
| 11 | Redding | 1 | 1.07 | 0.010239 | 0.010239 | 0.010956
| 12 | Sacramento | 1 | 1.198 | 0.036051 | 0.036051 | 0.04319
| 13 | Fresno | 1.001 | 1.113 | 0.021693 | 0.021715 | 0.024144
| 14 | Mojave | 0.94 | 0.992 | 0.034946 | 0.032849 | 0.034666
| 15 | Palm Springs | 0.94 | 1.054 | 0.047199 | 0.044367 | 0.049748
| 16 | Susanville | 0.94 | 1.07 | 0.011973 | 0.011255 | 0.012811
| AVERAGE | Average | 0.97394 | 1.1906 | 1 | 0.98408 | 1.158
1 - Table 21, 22, 23 (Fire Suppression, Plumbing, & HVAC) RSMeans MasterFormat City Cost Indexes, Year 2013 National Average Base
2 - 2010-2012 Standard Program Tracking Data (all in-scope deemed HVAC claims)

## ADEC
From PGE3PHVC151 R4 measure cost data:
Workpaper | Measure | Measure Detail | Rev | Equipment Cost ($/ton) | Labor Cost ($/ton) | Total Cost ($/ton) | Rev | Equipment Cost ($/ton) | Labor Cost ($/ton) | Total Cost ($/ton)
PGE3PHVC151 – Economizer Repair | Economizer Repair | Non-ADEC | R3 | 19.64 | 19.78 | 39.42 | R4 | 21.9883 | 28.01 | 49.9983
|  | ADEC | R3 | 84.78 | 52 | 136.78 | R4 | 69.6053 | 56.87 | 126.4753
[8 empty] | 47.617 | 28.86 | 76.477

## ADEC mfgA
Cost to contractor data provided by distributor with a contractor markup applied
Typically actuator replacement is required and preferable. Package with actuator includes warranty.
Cost data sourced from distributor
Kits w/ actuator
100%
| LINE NO. | PRICE | CONTRACTOR MARKUP | MATERIAL SUM
| 1 | 334.33 | 334.33 | 668.66
| 2 | 384.87 | 384.87 | 769.74
| 3 | 389.96 | 389.96 | 779.92
| 4 | 365.83 | 365.83 | 731.66
| 5 | 419.87 | 419.87 | 839.74
| 6 | 339.36 | 339.36 | 678.72
| 7 | 370.86 | 370.86 | 741.72
| AVERAGE | 372.1543 | 372.1543 | 744.3086
Control Components Only
|  | PRICE | CONTRACTOR MARKUP | REQ'D | EXT
| Controller | 174.93 | 174.93 | 1 | 349.86
| MA Sensor | 14.59 | 14.59 | 1 | 29.18
| OA Sensor (Dry Bulb) | 14.59 | 14.59 | 0.85 | 24.803 | This assumes 85% will use dry bulb or differential dry bulb
| OA Sensor (Enthalpy) | 49.59 | 49.59 | 0.15 | 14.877 | 15% will use enthalpy or differential enthalpy
| RA Sensor (Dry Bulb) | 14.59 | 14.59 | 0.1 | 2.918 | 10% will use differential dry bulb
| RA Sensor (Enthalpy) | 49.59 | 49.59 | 0.05 | 4.959 | 5% will use differential enthalpy
| TOTAL |  |  |  | 426.597

## ADEC mfgB
MSRP provided by mfg. with a contractor discount applied
Typically actuator replacement is required and preferable. Package with actuator includes warranty.
| Retail Pricing w/ Acuator |  | 10%
| ITEM | PRICE | "DISCOUNT" | REQ'd | EXT | Actuator Average
Base | Controller | 440 | 44 | 1 | 396 | 1 | 588
| Actuator | 483.25 | 48.325 | 1 | 434.925 | 2 | 515
| MA Sensor | 30 | 3 | 1 | 27 | 3 | 446
| OA Dry Bulb | 30 | 3 | 0.85 | 22.95 | 4 | 384
| OA Enthalpy | 150 | 15 | 0.15 | 20.25 |  | 483.25
| RA Dry Bulb | 30 | 3 | 0.1 | 2.7
| RA Enthalpy | 150 | 15 | 0.05 | 6.75
| TOTAL |  |  |  | 910.575
| Retail Pricing w/o Actuator |  | 10%
| ITEM | PRICE | "DISCOUNT" | REQ'd | EXT
Base | Controller | 440 | 44 | 1 | 396
| MA Sensor | 30 | 3 | 1 | 27
| OA Dry Bulb | 30 | 3 | 0.85 | 22.95
| OA Enthalpy | 150 | 15 | 0.15 | 20.25
| RA Dry Bulb | 30 | 3 | 0.1 | 2.7
| RA Enthalpy | 150 | 15 | 0.05 | 6.75
| TOTAL |  |  |  | 475.65
Accessory for larger units - required for 2 speed fan, powered exhaust
| ITEM | PRICE | "DISCOUNT" | REQ'd | EXT
| Energy Module | 100 | 10 | 1 | 90

## Motor Costs
*All motors are 230/460V 3ph NEMA Premium ODP. Prices as of 1/23/2012
Mfg | Source | HP | $ | $/hp
WEG | Grainger | 1.5 | 318.5 | 212.3333
WEG | Grainger | 2 | 385.75 | 192.875
WEG | Grainger | 3 | 378.5 | 126.1667
WEG | Grainger | 5 | 492.25 | 98.45
WEG | Grainger | 7.5 | 661.5 | 88.2
WEG | Grainger | 15 | 1076 | 71.7333
DAYTON | Grainger | 1 | 346.25 | 346.25
DAYTON | Grainger | 1.5 | 367.5 | 245
DAYTON | Grainger | 3 | 454.75 | 151.5833
DAYTON | Grainger | 2 | 398.25 | 199.125
DAYTON | Grainger | 25 | 1479 | 59.16
DAYTON | Grainger | 10 | 764.5 | 76.45
1.5-5 HP
Mfg | Source | HP | $ | $/hp
WEG | Grainger | 1.5 | 318.5 | 212.3333
WEG | Grainger | 2 | 385.75 | 192.875
WEG | Grainger | 3 | 378.5 | 126.1667
WEG | Grainger | 5 | 492.25 | 98.45
DAYTON | Grainger | 1.5 | 367.5 | 245
DAYTON | Grainger | 3 | 454.75 | 151.5833
DAYTON | Grainger | 2 | 356.5 | 178.25
DAYTON | Grainger | 5 | 454.75 | 90.95
|  |  | AVG $/HP | 161.951
|  |  | AVG $/Ton | 48.5853
|  |  | Assumed HP/Ton | 0.3
PMM Cost |  |  |  |  | From NovaTorque's Website:
NovaTorque’s unique geometry focuses the #ux produced by the
Cost % Over NEMA | 25% |  |  |  | permanent magnets, allowing NovaTorque to use readily available and
$/HP | 202.4388 |  |  |  | far lower cost ferrite (versus rare earth) magnets. NovaTorque motors
$/Ton | 60.7316 |  |  |  | are generally priced within 20% to 30% of their NEMA Premium
induction motor competition.

## VFD and Motors
Explanation: This calculations in this worksheet were adapted from the original ENV work paper. Assumptions and notes: -*Costs listed assume 3HP motor, assumed typical of a 12.5 ton unit -Costs for the VFD are based on Honeywell's manufacturer's suggest price and market prices.
VFD |  |  |  | NEMA |  |  |  | PMM
Item | Cost ea. | Qty. | Total | Item | Cost ea. | Qty. | Total | Item | Cost ea. | Qty. | Total
VFD* | 600 | 1 | 600 | NEMA Premium Motor* | 485.7 | 1 | 485.7 | PMM* | 607.32 | 1 | 607.32
VFD Install | 105 | 4 | 420 | Motor Install | 105 | 3 | 315 | PMM Install | 105 | 3 | 315
Digital to Analog Speed Ctrl | 70.2 | 1 | 70.2 | Field Wiring Mtl | 10 | 1 | 10 | Field Wiring Mtl | 10 | 1 | 10
Field Wiring Mtl | 10 | 1 | 10
Acceptance Test | 105 | 1 | 105
Fixed Cost $ |  |  | 605.2 | Fixed Cost $ |  |  | 325 | Fixed Cost $ |  |  | 325
Variable Cost $/TON |  |  | 48 | Variable Cost $/TON |  |  | 38.856 | Variable Cost $/TON |  |  | 48.5856
Labor Cost $/ton |  |  | 42 | Labor Cost $/ton |  |  | 67.2 | Labor Cost $/ton |  |  | 67.2
Measure Cost $/ton |  |  | 62.016 | Measure Cost $/ton |  |  | 101.672 | Measure Cost $/ton |  |  | 111.4016
Total Cost $* |  |  | 1205.2 | Total Cost $* |  |  | 810.7 | Total Cost $* |  |  | 932.32
Cost/Ton (assumes 12.5 Ton avg.) |  |  | 96.416 |  |  |  | 64.856 |  |  |  | 74.5856
*Assumes 3HP Motor on 12.5 Ton Unit

## DRAFT DEER Comparison
Draft results from DEER Update Study 3/11/2014
Technology | READI Index ID | Match Pair | Description | Measure Type | Sector | Unit | Equipment Cost | Labor Hours | CA Average Labor Rate | Labor Cost | Misc. Costs | Full Installed Cost | Incremental Cost | Equipment Cost per unit | Labor Hours per unit | Labor Cost per Unit | Misc. Costs Per Unit | Misc. Fixed Costs per Project | Full Cost per Unit | Incremental Cost per Unit | Incremental Fixed Cost per Project
Demand Control Ventilation | Example Measures | Basline | No DCV | AddOn | Com | Sensor | 0 | 0 | 0 | 0 | 0 | 0 | -
|  | Measure | Duct Mounted unit single zone | AddOn | Com | Sensor | 529.0485 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2373.1579 | 2373.1579
|  | Measure | Duct Mounted unit with Digital Display and VOC Sensor single zone | AddOn | Com | Sensor | 529.0485 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2373.1579 | 2373.1579
|  | Measure | Duct Mounted unit with Humidity Sensor single zone | AddOn | Com | Sensor | 597.2327 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2441.3421 | 2441.3421
|  | Measure | Duct Mounted unit with Temperature Sensor single zone | AddOn | Com | Sensor | 490.1116 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2334.221 | 2334.221
|  | Measure | Wall Mounted unit single zone | AddOn | Com | Sensor | 356.3478 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2200.4572 | 2200.4572
|  | Measure | Wall Mounted unit with Digital Display single zone | AddOn | Com | Sensor | 440.0806 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2284.19 | 2284.19
|  | Measure | Wall Mounted unit with Humidity Sensor single zone | AddOn | Com | Sensor | 522.1614 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2366.2708 | 2366.2708
|  | Measure | Wall Mounted unit with Temperature Sensor single zone | AddOn | Com | Sensor | 415.0403 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2259.1496 | 2259.1496
|  | Measure | Wall Mounted unit with Temperature Sensor and Digital Display single zone | AddOn | Com | Sensor | 498.773 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2342.8824 | 2342.8824
|  | Measure | Wall Mounted unit with Temperature Sensor and Humidity Sensor single zone | AddOn | Com | Sensor | 580.8539 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2424.9632 | 2424.9632
|  | Measure | Wall Mounted unit with Temperature Sensor, Digital Display, and Humidity Sensor single zone | AddOn | Com | Sensor | 664.5866 | 7.5 | 86.9312 | 651.9844 | 1192.125 | 2508.696 | 2508.696
Measure | Labor | Materials | Total
Add ADEC and CO2 sensor to XXX | 695.44 | 1239.9685 | 1935.4085
difference from DEER |  |  | -348.7815
% difference from DEER |  |  | -15.27%