Work Paper Change Summary

Work Paper     SCE13AP001                                                                                                Revision #3

Work Paper Title   Energy Efficient Refrigerators

Submitted Date       12/11/15

Expected ED Response Date           1/19/16

Phase II Corrections 				 Non Phase II Corrections

Type of Correction

Energy Saving(s) 				 Demand Reduction(s)

Measure Cost(s)	 Install Type(s) which Affects Energy Saving(s) and Demand Reduction(s)

Similar Measure(s) Addition			 Non-Similar Measure(s) Addition

Building Type(s) 				 Climate Zone(s)

Install Types(s) 				 Net-to-Gross Values (NTG)

End-of-Useful Life (EUL)			 Load Shape(s)

Other:   Removed some measures

Notes