Work Paper SCE13HC049

Revision 1

Southern California Edison Company

Setback Programmable Thermostat Controls

# At-a-Glance Summary

| Applicable Measure Codes: | AC-73932, AC-15141 |
| --- | --- |
| Measure Description: | Programmable thermostat |
| Base Case Description: | Non-programmable thermostat |
| Energy Impact Common Units: | Unit |
| Energy Savings : | Refer to Excel Calculation Attachment |
| Gross Measure Cost ($/unit) | Refer to Excel Calculation Attachment |
| Measure Incremental Cost ($/unit): | Refer to Excel Calculation Attachment |
| Effective Useful Life (years): | 11 years (EUL_ID: HVAC-ProgTStats, HV-ProgTstat) |
| Measure Application Type: | Retrofit Add-on (REA) |
| Net-to-Gross Ratios: | 0.6 (NTGR_ID: Com-Default>2yrs, Ind-Default>2yrs, Agric-Default>2yrs) 0.85 (Com-Default-HTR-di, Ind-Default-HTR-di, Agricult-Default-HTR-di, Res-Default-HTR-di) |
| Important Comments: | This work paper document does not contain a data set in conformance with the 4/1/14 CPUC Ex Ante Database Specification; SCE will provide that data set separately. |

# Document Revision History

| Workpaper and Revision # | Tech. Revision | MM/DD/YY | Author/Affiliation | Summary of Changes |
| --- | --- | --- | --- | --- |
| SCE13HC049.0 | No | 6/19/2012 | Rob Guajardo/SCE | Original workpaper for 2013 PC |
| SCE13HC049.1 | Yes | 7/23/2014 | Jason Wang/SCE | - Work paper updated for the reporting period, effective 7/1/14 – 12/31/14. - Updated with DEER 2014 values - Added DMO common area measure and DMO building type - Changed program type to REA - Added midstream delivery |

# Section 1. General Measure & Baseline Data

## 1.1 Measure Description & Background

This workpaper details the installation of a programmable thermostat with temperature setback capability replacing an existing non-programmable thermostat. The measures in this workpaper are from DEER 2014.

Table 1 Measure Names

| Solution Code | Measure name |
| --- | --- |
| AC-73932 | Setback Programmable Thermostat Control |
| AC-15141 | Setback Programmable Thermostat Control (Common Area) |

## 1.2 Technical Description

Programmable thermostats allow the user to create a schedule which regulates operation of the heating and cooling system. For example, the thermostat can be programmed to raise the building temperature after occupants leave, and return to a comfortable temperature before occupants return. This measure can achieve substantial savings over a base case where the temperature setpoint is manually adjusted.

## 1.3 Measure Application Type

Note: See Appendix A for a comparison of the application types used by and incorporated into SCE systems versus the application types available in the newest revision of DEER 2014. Appendix A will serve as a translation between the outputs of this workpaper and application types used by READi.

The delivery methods for this workpaper are:

- Financial Support / Downstream Incentive – Deemed

- Financial Support / Direct Install

- Partnership / Downstream Incentive – Deemed

- Partnership / Direct Install

- Midstream Programs / Mid-Stream Incentive

Solution code AC-15141 is only available through: Financial Support / Direct Install.

The program type for this workpaper is Retrofit Add-on (REA).

## 1.4  Measure and Base Case Cost Effectiveness Data

### 1.4.1 DEER Measure and Base Case Analysis

The measures in this work paper are from DEER 2014.

Table 2 DEER Difference Summary

| DEER Difference Summary Table |  |
| --- | --- |
| Modified DEER Methodology | No |
| Scaled DEER Measure | No |
| DEER Building Prototypes Used | Yes |
| Deviation from DEER | No deviation |
| DEER Version | DEER14 |
| DEER Run ID and Measure Name (Sample) | D03-073 |

Net to Gross

The NTG value was obtained from the “DEER2011_NTGR_2012-05-16.xls” on the DEER website as required by Version 5 of the California Public Utilities Commission (CPUC) Energy Efficiency Policy Manual [351]. The relevant NTGR for this measure is shown in Table 3 below.

Table 3 Net-to-Gross Ratio

| NTGR_ID* | Description* | Sector* | BldgType* | ProgDelivID | NTG* |
| --- | --- | --- | --- | --- | --- |
| Com-Default>2yrs | All other EEMs with no evaluated NTGR; existing EEM in programs with same delivery mechanism for more than 2 years | Com | Any | Any | 0.6 |
| Ind-Default>2yrs | All other EEMs with no evaluated NTGR; existing EEM in programs with same delivery mechanism for more than 2 years | Ind | Any | Any | 0.6 |
| Agric-Default>2yrs | All other EEMs with no evaluated NTGR; existing EEM in programs with same delivery mechanism for more than 2 years | Ag | Any | Any | 0.6 |
| Com-Default-HTR-di | All other EEM with no evaluated NTGR; direct install to hard-to-reach only. | Com | Any | DirInstall | 0.85 |
| Ind-Default-HTR-di | All other EEM with no evaluated NTGR; direct install to hard-to-reach only. | Ind | Any | DirInstall | 0.85 |
| Agricult-Default-HTR-di | All other EEM with no evaluated NTGR; direct install to hard-to-reach only. | Ag | Any | DirInstall | 0.85 |
| Res-Default-HTR-di | All other EEM with no evaluated NTGR; direct install hard-to-reach only. | Res | Any | DirInstall | 0.85 |

*Denotes that the column is taken from the DEER NTG Table.

Note that for the direct install delivery mechanism, a distinction between hard to reach and non-hard to reach markets will be made on a project by project basis. This work paper shows the NTG associated with a hard to reach direct install delivery mechanism and the defaulted NTG values, where in fact, a measure offered through direct install and is not “hard to reach” will receive a default NTG value.

Installation Rate

The installation rate (IR) is identified in the calculation attachment. This value is obtained from the support table available in READi. Currently there is no versioning on the installation rate table. To address appropriate selection of the installation rate the date of the workpaper will serve as the last date checked for updated IR values. The installation rate varies by end use, sector, technology, application, and delivery method. The relevant IR values for this measure are shown in Table 4 below.

Table 4 Installation Rate

| GSIA_ID* | Description* | Sector* | BldgType* | ProgDelivID* | GSIAValue* |
| --- | --- | --- | --- | --- | --- |
| Def-GSIA | Default GSIA values | Any | Any | Any | 1 |

*Denotes that the column is taken from the DEER GSIA Table.

Spillage Rate

Spillage rate will also be applied to measures however the values will not be tracked in the workpapers. The spillage rate will be tracked in an external table to be supplied to the Energy Division.

READi Technology Fields

To support the development of the ED ex ante tables, select fields from the ex ante database will be identified in the workpaper. For a full set of values associated with the measures in the workpaper refer the Excel calculation template.

Table 5 READi Tech IDs

| READi Field Name | Values included in this workpaper |
| --- | --- |
| Measure Case UseCategory | HVAC |
| Measure Case UseSubCats | Space Heating and Cooling |
| Measure Case TechGroups | HVAC Technology |
| Measure Case TechTypes | D5 Thermostat |
| Base Case TechGroups | HVAC Technology |
| Base Case TechTypes | Non-DEER |

### 1.4.2 Codes and Standards Analysis

Title 24 has required programmable setback thermostats for all occupancies since the 2008 version [208]; Title 24 2013 [355] maintains this requirement. For low-rise residential buildings, automatic thermostats for heating and cooling have been required since at least the 1992 version. The measures in this work paper are only eligible for HVAC systems that were installed and permitted before programmable setback thermostats were required by code; see effective dates in Table 6 below.

Title 24 (1992) Section 150(i) Low-rise Residential Buildings—Mandatory Features and Devices:

Title 24 (2008) Section 112(c) Mandatory Requirements for Space-conditioning Equipment (All Occupancies):

Title 24 (2013) Section 110.2(c) Mandatory Requirements for Space-conditioning Equipment (All Occupancies):

Table 6 Code Summary

| Code | Applicable Code Reference | Effective Dates |
| --- | --- | --- |
| Title 24 (1992) | Section 150(i) | July 1, 1992 |
| Title 24 (2008) | Section 112(c) | January 1, 2010 |
| Title 24 (2013) | Section 110.2(c) | July 1, 2014 |

### 1.4.3 Non-DEER Study Review

No Non-DEER studies were reviewed for this work paper.

### 1.4.4  Measure and Base Case Effective Useful Life

DEER14 update documentation provides EUL and RUL information to be used for the 2013-14 program cycle on www.deeresources.com. The DEER documentation “DEER2014-EUL-table-update_2014-02-05.xlsx” provides the RUL value as a flat 1/3 of the EUL value. The RUL value will only be applied to the first baseline period for retrofit measures that have applicable code that will affect the energy savings. In all other installation types and retrofit with no applicable code that affects the energy savings, the RUL is not applicable to either the first or second baseline period.

To obtain the EUL value the DEER14 update documentation, “DEER2014-EUL-table-update_2014-02-05.xlsx” [436], was consulted. Table 7 below identifies the value/methodology used for the measures in this work paper.

Table 7 DEER14 EUL Value/Methodology

| READi EUL ID | Description | Sector | Enduse | EUL (Years) | RUL (Years) |
| --- | --- | --- | --- | --- | --- |
| HVAC-ProgTStats | Setback Programmable Thermostats | Com | HVAC | 11 | 3.7 |
| HV-ProgTstat | Programmable Thermostat | Res | HVAC | 11 | 3.7 |

# Section 2. Energy Savings & Demand Reduction Calculations

Table 8 contains the data files for measures that are taken directly from the DEER 2014 READi Tool or were created using the READi Tool. These results have not been modified and are only being included in the workpaper for reference.

Table 8  READi Tool Outputs

| Solution Code | Measure Name | READi Results |
| --- | --- | --- |
| AC-73932, AC-15141 | Setback Programmable Thermostat Control |  |

It is assumed that each thermostat will control 1000 square feet. DEER provides savings normalized to 1000 sq ft, and this work paper’s units are per-unit, so DEER savings are used without modification.

For AC-73932, DEER 2014 savings are used directly.

Solution code AC-15141 is applicable to common areas of manufactured homes, and the savings can be approximated to those from the “Lodging - Motel Corridor Area” building type. However, since the READi export did not provide this building type, the “Hotel” savings (most conservative of all Lodging and Office building types) were used.

# Section 3. Load Shapes

The difference between the base case load shape and the measure load shape would be the most appropriate load shape; however, only end-use profiles are available.  Therefore, the closest load shape chosen for this measure is the DEER:HVAC_Split-Package_AC load shape.  See Table 9 for a list of all Building Types and Load Shapes.  See the KEMA report [31] for a more thorough discussion regarding the load shapes for this measure.

Table 9 Building Types and Load Shapes

| Building Type | E3 Alt. Building Type | Load Shape |
| --- | --- | --- |
| Agricultural | NON_RES | DEER:HVAC_Split-Package_AC |
| Assembly | NON_RES | DEER:HVAC_Split-Package_AC |
| Education - Primary School | NON_RES | DEER:HVAC_Split-Package_AC |
| Education - Secondary School | NON_RES | DEER:HVAC_Split-Package_AC |
| Education - Relocatable Classroom | NON_RES | DEER:HVAC_Split-Package_AC |
| Education - Community College | NON_RES | DEER:HVAC_Split-Package_AC |
| Education - University | NON_RES | DEER:HVAC_Split-Package_AC |
| Grocery | NON_RES | DEER:HVAC_Split-Package_AC |
| Food Store | NON_RES | DEER:HVAC_Split-Package_AC |
| Health/Medical - Hospital | NON_RES | DEER:HVAC_Split-Package_AC |
| Health/Medical - Nursing Home | NON_RES | DEER:HVAC_Split-Package_AC |
| Health/Medical - Clinic | NON_RES | DEER:HVAC_Split-Package_AC |
| Lodging - Hotel | NON_RES | DEER:HVAC_Split-Package_AC |
| Lodging - Motel | NON_RES | DEER:HVAC_Split-Package_AC |
| Manufacturing - Bio/Tech | NON_RES | DEER:HVAC_Split-Package_AC |
| Manufacturing - Light Industrial | NON_RES | DEER:HVAC_Split-Package_AC |
| Industrial | NON_RES | DEER:HVAC_Split-Package_AC |
| Misc - Commercial | NON_RES | DEER:HVAC_Split-Package_AC |
| Office - Large | NON_RES | DEER:HVAC_Split-Package_AC |
| Office - Small | NON_RES | DEER:HVAC_Split-Package_AC |
| Restaurant - Fast-Food | NON_RES | DEER:HVAC_Split-Package_AC |
| Restaurant - Sit-Down | NON_RES | DEER:HVAC_Split-Package_AC |
| Retail - Multistory Large | NON_RES | DEER:HVAC_Split-Package_AC |
| Retail - Single-Story Large | NON_RES | DEER:HVAC_Split-Package_AC |
| Retail - Small | NON_RES | DEER:HVAC_Split-Package_AC |
| Storage - Conditioned | NON_RES | DEER:HVAC_Split-Package_AC |
| Transportation - Communication - Utilities | NON_RES | DEER:HVAC_Split-Package_AC |
| Warehouse - Refrigerated | NON_RES | DEER:HVAC_Split-Package_AC |
| Residential Mobile Home - Double-Wide | NON_RES | DEER:HVAC_Split-Package_AC |

# Section 4. Base Case & Measure Costs

## 4.1 Base Case Cost

The base case cost is from DEER 2008, Cost Case ID “Base - Standard Non-Programmable Thermostat”: $36.64. The labor cost is $56.48. See Table 10.

## 4.2 Measure Case Cost

The measure case cost is from DEER 2008, Cost Case ID “ProgTStats”: $94.12. The labor cost is $56.48. See Table 10.

## 4.3 Gross and Incremental Measure Cost

### 4.3.1 Gross Measure Cost

For REA measures the gross measure cost (GMC) is the full measure cost:

GMC = Measure Equipment Cost + Measure Labor Cost

Table 10 GMC and IMC

| Measure | Base Case Equipment Cost | Measure Case Equipment Cost | Labor Cost | GMC/IMC |
| --- | --- | --- | --- | --- |
| Setback Programmable Thermostat Control | $36.64 | $94.12 | $56.48 | $150.60 |

### 4.3.2 Incremental Measure Cost

For REA measures the incremental measure cost (IMC) is the same as the GMC; see Table 10.

# Attachments

# References

| [31] | Load Shape Update Initiative - KEMA / JJ Hirsch and Assoc. / Itron Inc. - November 17, 2006 |
| --- | --- |
| [208] | 2008 Building Energy Efficiency Standards for Residential and Nonresidential Buildings |
| [351] | Energy Efficiency Policy Manual-Version 5 |
| [355] | 2013 Building Energy Efficiency Standards for Residential and Nonresidential Buildings (Title 24) |
| [436] | 2014 DEER EUL Table - Update |

# Appendix A – SCE/ED Application Types

| SCE Program Type | ED Application Type | 1st Baseline Savings | 2nd Baseline Savings | 1st Baseline Cost | 2nd Baseline Cost | 1st Baseline Life | 2nd Baseline Life |
| --- | --- | --- | --- | --- | --- | --- | --- |
| New | New Construction (Nc) | Above Code/Standard | N/A | Incremental Cost | N/A | EUL | 0 |
| Replace on Burnout (ROB) | Replace on Burnout (Rob)/Normal Replacement (NR) | Above Code/Standard | N/A | Incremental Cost | N/A | EUL | 0 |
| Retrofit (RET) | Early Replacement (ER) | Above Cust. Existing | Above Code/Standard | Full Cost | Incremental Cost | RUL | EUL-RUL |
| Retrofit – First Baseline Only (REF) | Early Replacement RUL (ErRul) | Above Cust. Existing | N/A | Full Cost | N/A | EUL | 0 |
| Retrofit Add-on (REA) | N/A | Above Cust. Existing | N/A | Full Cost | N/A | EUL | 0 |