Work Paper Change Summary

Work Paper     SCE13LG126                                                                                                Revision #0

Work Paper Title   LED Ambient Commercial Fixtures - Retrofit Kits with T12 Baseline

Submitted Date       6/30/16

Expected ED Response Date           Soon as possible

Phase II Corrections 				 Non Phase II Corrections

Type of Correction

Energy Saving(s) 				 Demand Reduction(s)

Measure Cost(s)	 Install Type(s) which Affects Energy Saving(s) and Demand Reduction(s)

Similar Measure(s) Addition			 Non-Similar Measure(s) Addition

Building Type(s) 				 Climate Zone(s)

Install Types(s) 				 Net-to-Gross Values (NTG)

End-of-Useful Life (EUL)			 Load Shape(s)

Other:   Clarified base case requirements

Notes

Original comment:  Insufficient eligibility requirements which are needed for SCE to justify the early retirement savings claims.

SCE Action: Incorporated offer requirements for base case photographs and T12 lamp and fixture recycling certification per disposition.