## Appendix A
Appendix A - Facility Operation, Exhaust System and DVC Cost Data
CUSTOMER TYPE | Exhaust Fan Nameplate HP | Exhaust Air CFM | OperatingHrs/day | OperatingDays/yr | DVC System Installed Cost ($)
Supermarket | 30 | 17855 | 14 | 364 | 20250
Supermarket | 20 | 11000 | 14 | 364 | 19747
Restaurant | 40 | 13000 | 12 | 312 | 59963
Restaurant | 22.5 | 22831 | 18 | 364 | 57834
Restaurant | 27.5 | 15500 | 15 | 364 | 49376
Restaurant | 15 | 25600 | 15 | 336 | 29865
Restaurant | 20 | 17750 | 15 | 364 | 44839
Restaurant | 20 | 12750 | 18 | 364 | 37707
Restaurant | 20 | 11250 | 24 | 364 | 46451
Restaurant | 12.5 | 15525 | 12 | 336 | 26645
Restaurant | 20 | 20000 | 20 | 364 | 33562
Restaurant | 30 | n/a | n/a | n/a | 28375
Restaurant | 20 | 15800 | 18 | 364 | 53260
Restaurant | 15 | 11750 | 16 | 364 | 31168
Restaurant | 9 | 10197 | 18 | 364 | 45259
Restaurant | 15 | 21120 | 12 | 336 | 21955
Restaurant | 15 | 8700 | 15 | 364 | 28886
Restaurant | 15 | 6540 | 16 | 364 | 24764
Restaurant | 10 | 15000 | 11 | 364 | 29453
Restaurant | 9 | 10650 | 17 | 364 | 24380
Restaurant | 10 | 15000 | 14 | 364 | 36619
Restaurant | 10.5 | 11745 | 14 | 364 | 33351
Restaurant | 10 | 11300 | 13 | 364 | 24590
Restaurant | 9 | 17000 | 14 | 364 | 21812
Restaurant | 7.5 | 10000 | 15 | 364 | 23419
Restaurant | 10 | 13400 | 18 | 364 | 29080
Restaurant | 8 | 5542 | 14 | 364 | 18262
Restaurant | 8 | 11000 | 17 | 364 | 20819
Restaurant | 10.5 | 7600 | 14 | 364 | 16900
Restaurant | 7.5 | 13714 | 24 | 364 | 17156
Restaurant | 12.33 | 8000 | 17 | 364 | 22708
Restaurant | 10 | 5000 | 17 | 364 | 20224
Restaurant | 8 | 10000 | 14 | 364 | 19183
Restaurant | 4 | 10484 | 14 | 312 | 21384
Restaurant | 4 | 5750 | 12 | 364 | 29626
Restaurant | 5.5 | 6000 | 15 | 364 | 12045
Restaurant | 5 | 7500 | 17 | 364 | 21915
Restaurant | 5 | 12325 | 17 | 364 | 20519
Restaurant | 8 | 9500 | 18 | 364 | 17558
Restaurant | 7.5 | 6000 | 15 | 364 | 18326
Restaurant | 9.5 | 11000 | 12 | 364 | 20967
Restaurant | 9.25 | 11000 | 11 | 364 | 20353
Restaurant | 9.25 | 11307 | 15 | 364 | 20589
Restaurant | 9.25 | 11307 | 15 | 364 | 20624
Restaurant | 5 | 6750 | 24 | 364 | 15432
Hotel | 42.5 | 20000 | 24 | 364 | 59491
Hotel | 19 | 31000 | 24 | 364 | 53565
Hotel | 20 | 13750 | 24 | 364 | 29841
Hotel | 11.5 | 21000 | 24 | 364 | 30076
Hotel | 15 | 21750 | 14 | 364 | 37193
Hotel | 10 | 9500 | 17 | 364 | 22033
Campus | 33 | 50175 | 12 | 336 | 47625
Campus | 40 | 33025 | 10 | 255 | 91500
Campus | 25 | 17000 | 24 | 364 | 38635
Campus | 35 | 10000 | 17 | 312 | 49216
Campus | 10 | 11740 | 12 | 260 | 30426
Campus | 15 | 10250 | 13 | 260 | 36183
Campus | 19 | 6000 | 24 | 364 | 21411
Campus | 16 | 15140 | 12 | 260 | 10258
Campus | 10 | 6000 | 24 | 364 | 23645
Campus | 9.5 | 10000 | 13 | 260 | 27672
Campus | 6 | 9600 | 19 | 260 | 12000
Restaurant | 3 | 6400 | 17 | 363 | 8000
Hotel | 15 | 22500 | 24 | 365 | 15000
Supermarket | n/a | 23800 | 12 | 360 | 18000
Campus | 8 | 12000 | 17 | 300 | 16000
Campus | 20 | 16200 | 17 | 350 | 32630
Hotel | 21 | 23910 | 24 | 365 | 28000
Hotel | 14 | 21600 | 24 | 365 | 22000
Restaurant | 3 | 7760 | 15.36 | 365 | 15500
Restaurant | 4 | 6000 | 13.1 | 365 | 8000
Restaurant | 2.5 | 6500 | 15.83 | 365 | 9000
Average | 14.2969 | 14000 | 16.5675 | 350.2817 | 28473.6111