## Energy Savings
Supermarket Chain 1 | Glendora |  |  | San Dimas |  | Monrovia |  | Duarte |  | Average of Bakery/Deli | Average of Meat | Average
| Bakery/Deli Front | Bakery/Deli Back | Meat | Bakery/Deli | Meat | Bakery/Deli | Meat | Deli | Meat
Baseline Unit Annual Usage (kWh) | 1422.3673 | 1401.9974 | 2867.0868 | 1709.083 | 1656.5974 | 3566.6524 | 3264.5302 | BASELINE ONLY | BASELINE ONLY | 2025.025 | 2596.0715 | 2310.5483
Measure Annual Usage (kWh) | 369.2718 | 287.8623 | 465.4891 | 363.4028 | 485.1542 | 373.208 | 473.864 | NO DATA | NO DATA | 348.4362 | 474.8358 | 411.636
Annual Savings per unit (kWh) | 1053.0955 | 1114.1351 | 2401.5976 | 1345.6801 | 1171.4432 | 3193.4444 | 2790.6662 |  |  | 1676.5888 | 2121.2357 | 1898.9122
BaselineUnit peak kW | 0.16112 | 0.16543 | 0.32696 | 0.22746 | 0.18585 | 0.40482 | 0.371 |  |  | 0.23971 | 0.2946 | 0.26716
Measure peak kW | 0.041704 | 0.040697 | 0.073209 | 0.042989 | 0.064121 | 0.042441 | 0.059464 |  |  | 0.041958 | 0.065598 | 0.053778
Savings peak kW | 0.11942 | 0.12473 | 0.25375 | 0.18447 | 0.12172 | 0.36238 | 0.31154 |  |  | 0.19775 | 0.229 | 0.21338
Supermarket Chain 2 | West Covina |  | Pomona |  | Baldwin Park |  |  |  |  | Average of Bakery/Deli | Average of Meat | Average
| Bakery | Meat | Bakery | Meat | Bakery | Meat
Baseline Unit Annual Usage (kWh) | 2565.9284 |  | 1126.3477 | 1462.7146 | 2316.7056 | 1770.0941 |  |  |  | 2002.9939 | 1616.4044 | 1809.6991
Measure Annual Usage (kWh) | 563.2907 | NO DATA | 351.6559 | 359.4896 | 361.8178 | 369.7331 |  |  |  | 425.5881 | 364.6114 | 395.0998
Annual Savings per unit (kWh) | 2002.6377 |  | 774.6918 | 1103.225 | 1954.8878 | 1400.361 |  |  |  | 1577.4058 | 1251.793 | 1414.5994
BaselineUnit peak kW | 0.30085 |  | 0.17018 | 0.20074 | 0.28646 | 0.20316 |  |  |  | 0.2525 | 0.20195 | 0.22722
Measure peak kW | 0.041394 |  | 0.042387 | 0.041173 | 0.041521 | 0.045932 |  |  |  | 0.041767 | 0.043552 | 0.04266
Savings peak kW | 0.25945 |  | 0.12779 | 0.15957 | 0.24494 | 0.15723 |  |  |  | 0.21073 | 0.1584 | 0.18456
Supermarket Chain 3 | West Covina |  | Walnut |  | Whittier |  |  |  |  | Average of Deli | Average of Meat | Average
| Deli | Meat | Deli | Meat | Deli | Meat
Baseline Unit Annual Usage (kWh) | 2205.9256 | 1157.0674 | 1329.8504 | 1330.2764 | 2228.285 | 1931.8086 |  |  |  | 1921.3537 | 1473.0508 | 1697.2022
Measure Annual Usage (kWh) | 456.0478 |  | 358.854 | 547.1863 | 202.9907 | 583.4015 |  |  |  | 339.2975 | 565.2939 | 452.2957
Annual Savings per unit (kWh) | 1749.8778 |  | 970.9965 | 783.0901 | 2025.2943 | 1348.407 |  |  |  | 1582.0562 | 1065.7486 | 1323.9024
BaselineUnit peak kW | 0.2503 | 0.12457 | 0.15445 | 0.14925 | 0.25415 | 0.21722 |  |  |  | 0.21964 | 0.16368 | 0.19166
Measure peak kW | 0.055743 |  | 0.042545 | 0.065843 | 0.050872 | 0.071898 |  |  |  | 0.04972 | 0.068871 | 0.059295
Savings peak kW | 0.19456 |  | 0.11191 | 0.083404 | 0.20328 | 0.14532 |  |  |  | 0.16992 | 0.11436 | 0.14214
Supermarket Chain 4 | West Covina | [10 empty] | Average
| Deli | Produce
Baseline Unit Annual Usage (kWh) | 985.2569 | 2981.0222 | [9 empty] | 1983.1395
Measure Annual Usage (kWh) | 334.016 | 388.4116 | [9 empty] | 361.2138
Annual Savings per unit (kWh) | 651.2409 | 2592.6106 | [9 empty] | 1621.9258
BaselineUnit peak kW | 0.11427 | 0.34385 | [9 empty] | 0.22906
Measure peak kW | 0.042241 | 0.044402 | [9 empty] | 0.043322
Savings peak kW | 0.072034 | 0.29945 | [9 empty] | 0.18574
All Supermarkets | [11 empty] | Average of all supermarkets
Annual Savings per unit (kWh) | [11 empty] | 1564.8349
Savings peak kW | [11 empty] | 0.18146

## Baseline and Measure Cost
Measure Cost |  |  |  |  | Baseline Cost
| Equipment Cost | Shipping | Total System Cost |  |  | Equipment Cost | Shipping | Total System Cost
*Heat Seal Energy Smart Wrapper Table Top Model: 725ES, 700ES | 764 | 40 | 870.85 |  | Avantco WM -Series Film Roll Wrapping Machine | 289.99 | 7.5 | 322.8641
Heat Seal Energy Smart Wrapper Table Top Model: 725ES, 700ES | 1250 | 38.49 | 1397.865 |  | Hobart HWS-4-C Hand Wrap Station | 1705.71 |  | 1854.9596
[5 empty] | Heat Seal 625A Wrapper | 720 | 38.49 | 821.49
| **Average Total system Cost |  | 1134.3575 |  | **Average Total system Cost |  |  | 999.7712
|  |  | Incremental Cost | 134.5863
** Note that tax is included (8.75%) and labor was not because it would cost the same to install either system regardless of total system cost.
* Direct quote from Heat Seal (Phone)

## Summary (hidden)
| Chain 1 | Chain 2 | Chain 3 | Chain 4 | Average
Baseline Annual Usage (kWh) | 2310.5483 | 1809.6991 | 1697.2022 | 1983.1395
Measure Annual Usage (kWh) | 411.636 | 395.0998 | 452.2957 | 361.2138
Annual Savings per unit (kWh) | 1898.9122 | 1414.5994 | 1323.9024 | 1621.9258 | 1564.8349
Baseline Peak kW | 0.26716 | 0.22722 | 0.19166 | 0.22906
Measure Peak kW | 0.053778 | 0.04266 | 0.059295 | 0.043322
Peak kW savings | 0.21338 | 0.18456 | 0.14214 | 0.18574 | 0.18146