## EnergyImpacts_RES_EvapCool
exante2014 database tables: EnImpact
This file created on 6/20/2014 7:26:35 AM while connected to deeresources.net as sptviewer.
Program/Database Description: READI v.2.0.1 ("DEER for 2014 Code Update" database, released in November of 2013.)
[48 empty] | 2027.25 |  | 2069.58 |  | 2nd Baseline Savings
EnergyImpactID | Version | VersionSrc | LastMod | IOU | BldgType | BldgVint | BldgHVAC | BldgLoc | BldgCZ | NormUnit | NumUnits | MeasArea | ScalBasis | ACustEUkWh | ACustEUkW | ACustEUtherm | ACustWBkWh | ACustWBkW | ACustWBtherm | AStdEUkWh | AStdEUkW | AStdEUtherm | AStdWBkWh | AStdWBkW | AStdWBtherm | ElecImpProfileID | GasImpProfileID | Flag | BldgType_desc | BldgVint_desc | BldgLoc_desc | IOUname | MeasureID | Qualifier | MeasureDesc | MeasImpactType | MeasTechEUL_ID | MeasTechDesc | StdTechDesc | BaseTechDesc | QualifierDesc | Electrical Energy Saving Factor | Power Demand Reduction Factor | HEAF | Annual Electrical Energy Savings (kWh/unit) | Peak Electrical Demand Reduction (kW/unit) | Annual Gas Savings (Therms/unit) | Base Cost ($/unit) | Incremental Measure Cost ($/unit) | Gross Measure Cost ($/unit) | Numeric CZ | Annual Electrical Energy Savings (kWh/unit) | Peak Electrical Demand Reduction (kW/unit)
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | DMo | Ex | Any | CZ01 | DMoCZ01 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | -99.6 | 2.83 | -104 | 0 | 0 | 0 | -105 | 1.15 | -105 |  |  | 2 | Residential Mobile Home | Existing | Arcata Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 2513.79 | 117.1887 | 117.1887 | 1
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | DMo | Ex | Any | CZ02 | DMoCZ02 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 519 | 2.61 | -77.9 | 0 | 0 | 0 | 181 | 1.22 | -78.4 |  |  | 2 | Residential Mobile Home | Existing | Santa Rosa Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 2513.79 | 117.1887 | 117.1887 | 2
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | DMo | Ex | Any | CZ03 | DMoCZ03 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 67.3 | 2.71 | -54.3 | 0 | 0 | 0 | -13 | 1.07 | -54.8 |  |  | 2 | Residential Mobile Home | Existing | Oakland Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 2513.79 | 117.1887 | 117.1887 | 3
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | DMo | Ex | Any | CZ04 | DMoCZ04 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 200 | 1.42 | -52.8 | 0 | 0 | 0 | 38.6 | 0.967 | -53.1 |  |  | 2 | Residential Mobile Home | Existing | San Jose-Reid | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 2513.79 | 117.1887 | 117.1887 | 4
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | DMo | Ex | Any | CZ05 | DMoCZ05 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 113 | 2.83 | -53.2 | 0 | 0 | 0 | 8.82 | 1.34 | -53.7 |  |  | 2 | Residential Mobile Home | Existing | Santa Maria Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 2513.79 | 117.1887 | 117.1887 | 5
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | DMo | Ex | Any | CZ11 | DMoCZ11 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 1130 | 2.96 | -80.5 | 0 | 0 | 0 | 431 | 1.3 | -81.1 |  |  | 2 | Residential Mobile Home | Existing | Red Bluff Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 2513.79 | 117.1887 | 117.1887 | 11
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | DMo | Ex | Any | CZ12 | DMoCZ12 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 776 | 2.49 | -71.3 | 0 | 0 | 0 | 261 | 1.18 | -71.8 |  |  | 2 | Residential Mobile Home | Existing | Sacramento Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 2513.79 | 117.1887 | 117.1887 | 12
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | DMo | Ex | Any | CZ13 | DMoCZ13 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 1480 | 2.67 | -60.7 | 0 | 0 | 0 | 542 | 1.2 | -61.1 |  |  | 2 | Residential Mobile Home | Existing | Fresno Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 2513.79 | 117.1887 | 117.1887 | 13
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | DMo | Ex | Any | CZ16 | DMoCZ16 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 257 | 3.07 | -167 | 0 | 0 | 0 | 2.74 | 1.41 | -168 |  |  | 2 | Residential Mobile Home | Existing | Blue Canyon | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 2513.79 | 117.1887 | 117.1887 | 16
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | MFm | Ex | Any | CZ01 | MFmCZ01 | Area-1kH | 0.915 | 915 | None | 0 | 0 | 0 | 6.95 | 0.486 | -12.1 | 0 | 0 | 0 | 0.619 | 0.297 | -12.6 |  |  | 2 | Residential Multi-family | Existing | Arcata Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 1854.9338 | 103.4315 | 103.4315 | 1
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | MFm | Ex | Any | CZ02 | MFmCZ02 | Area-1kH | 0.957 | 957 | None | 0 | 0 | 0 | 402 | 1.01 | -12.1 | 0 | 0 | 0 | 231 | 0.647 | -12.5 |  |  | 2 | Residential Multi-family | Existing | Santa Rosa Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 1940.0783 | 105.2093 | 105.2093 | 2
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | MFm | Ex | Any | CZ03 | MFmCZ03 | Area-1kH | 0.955 | 955 | None | 0 | 0 | 0 | 105 | 0.917 | -13.8 | 0 | 0 | 0 | 51.5 | 0.532 | -14.4 |  |  | 2 | Residential Multi-family | Existing | Oakland Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 1936.0237 | 105.1247 | 105.1247 | 3
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | MFm | Ex | Any | CZ04 | MFmCZ04 | Area-1kH | 0.961 | 961 | None | 0 | 0 | 0 | 285 | 0.773 | -11.9 | 0 | 0 | 0 | 138 | 0.51 | -12.4 |  |  | 2 | Residential Multi-family | Existing | San Jose-Reid | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 1948.1872 | 105.3786 | 105.3786 | 4
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | MFm | Ex | Any | CZ05 | MFmCZ05 | Area-1kH | 0.935 | 935 | None | 0 | 0 | 0 | 135 | 1.08 | -10.2 | 0 | 0 | 0 | 71.9 | 0.688 | -10.7 |  |  | 2 | Residential Multi-family | Existing | Santa Maria Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 1895.4788 | 104.2781 | 104.2781 | 5
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | MFm | Ex | Any | CZ11 | MFmCZ11 | Area-1kH | 0.998 | 998 | None | 0 | 0 | 0 | 771 | 1.32 | -16.9 | 0 | 0 | 0 | 458 | 0.841 | -17.4 |  |  | 2 | Residential Multi-family | Existing | Red Bluff Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | 457.084 | 0.83932 | 0 | 2023.1955 | 106.9448 | 106.9448 | 11
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | MFm | Ex | Any | CZ12 | MFmCZ12 | Area-1kH | 0.992 | 992 | None | 0 | 0 | 0 | 538 | 1.09 | -13.7 | 0 | 0 | 0 | 304 | 0.731 | -14.1 |  |  | 2 | Residential Multi-family | Existing | Sacramento Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | 301.568 | 0.72515 | 0 | 2011.032 | 106.6909 | 106.6909 | 12
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | MFm | Ex | Any | CZ13 | MFmCZ13 | Area-1kH | 0.986 | 986 | None | 0 | 0 | 0 | 1050 | 1.22 | -17.1 | 0 | 0 | 0 | 591 | 0.783 | -17.6 |  |  | 2 | Residential Multi-family | Existing | Fresno Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | 582.726 | 0.77204 | 0 | 1998.8685 | 106.4369 | 106.4369 | 13
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | MFm | Ex | Any | CZ16 | MFmCZ16 | Area-1kH | 1 | 1000 | None | 0 | 0 | 0 | 258 | 1.13 | -35.7 | 0 | 0 | 0 | 139 | 0.716 | -36.7 |  |  | 2 | Residential Multi-family | Existing | Blue Canyon | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 2027.25 | 107.0295 | 107.0295 | 16
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | SFm | Ex | Any | CZ01 | SFmCZ01 | Area-1kH | 1.93 | 1930 | None | 0 | 0 | 0 | -21.1 | 0.725 | -54.4 | 0 | 0 | 0 | -27.7 | 0.462 | -55.5 |  |  | 2 | Residential Single Family | Existing | Arcata Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 3912.5925 | 146.3964 | 146.3964 | 1
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | SFm | Ex | Any | CZ02 | SFmCZ02 | Area-1kH | 1.73 | 1730 | None | 0 | 0 | 0 | 575 | 1.44 | -63 | 0 | 0 | 0 | 308 | 0.869 | -63.7 |  |  | 2 | Residential Single Family | Existing | Santa Rosa Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 3507.1425 | 137.9304 | 137.9304 | 2
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | SFm | Ex | Any | CZ03 | SFmCZ03 | Area-1kH | 1.71 | 1710 | None | 0 | 0 | 0 | 143 | 1.19 | -47.2 | 0 | 0 | 0 | 60.7 | 0.669 | -47.8 |  |  | 2 | Residential Single Family | Existing | Oakland Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 3466.5975 | 137.0838 | 137.0838 | 3
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | SFm | Ex | Any | CZ04 | SFmCZ04 | Area-1kH | 1.71 | 1710 | None | 0 | 0 | 0 | 424 | 0.973 | -47.4 | 0 | 0 | 0 | 195 | 0.621 | -48 |  |  | 2 | Residential Single Family | Existing | San Jose-Reid | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 3466.5975 | 137.0838 | 137.0838 | 4
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | SFm | Ex | Any | CZ05 | SFmCZ05 | Area-1kH | 1.76 | 1760 | None | 0 | 0 | 0 | 198 | 1.38 | -42.2 | 0 | 0 | 0 | 97.4 | 0.876 | -42.7 |  |  | 2 | Residential Single Family | Existing | Santa Maria Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 3567.96 | 139.2003 | 139.2003 | 5
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | SFm | Ex | Any | CZ11 | SFmCZ11 | Area-1kH | 1.71 | 1710 | None | 0 | 0 | 0 | 906 | 1.52 | -53.9 | 0 | 0 | 0 | 538 | 0.985 | -54.4 |  |  | 2 | Residential Single Family | Existing | Red Bluff Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 3466.5975 | 137.0838 | 137.0838 | 11
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | SFm | Ex | Any | CZ12 | SFmCZ12 | Area-1kH | 1.68 | 1680 | None | 0 | 0 | 0 | 712 | 1.41 | -52.2 | 0 | 0 | 0 | 384 | 0.903 | -52.7 |  |  | 2 | Residential Single Family | Existing | Sacramento Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 3405.78 | 135.8139 | 135.8139 | 12
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | SFm | Ex | Any | CZ13 | SFmCZ13 | Area-1kH | 1.69 | 1690 | None | 0 | 0 | 0 | 1250 | 1.47 | -39 | 0 | 0 | 0 | 713 | 0.94 | -39.4 |  |  | 2 | Residential Single Family | Existing | Fresno Area | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 3426.0525 | 136.2372 | 136.2372 | 13
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | PGE | SFm | Ex | Any | CZ16 | SFmCZ16 | Area-1kH | 1.79 | 1790 | None | 0 | 0 | 0 | 256 | 1.39 | -110 | 0 | 0 | 0 | 115 | 0.901 | -112 |  |  | 2 | Residential Single Family | Existing | Blue Canyon | PG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | 3628.7775 | 140.4702 | 140.4702 | 16
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | DMo | Ex | Any | CZ06 | DMoCZ06 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 87 | 1.93 | -35.3 | 0 | 0 | 0 | 23.7 | 1.01 | -35.6 |  |  | 2 | Residential Mobile Home | Existing | Torrance | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 56.08% | 33.33% | 75% | 36.5929 | 0.4825 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 6 | 9.9684 | 0.2525
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | DMo | Ex | Any | CZ08 | DMoCZ08 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 527 | 2.8 | -36.7 | 0 | 0 | 0 | 181 | 1.44 | -37 |  |  | 2 | Residential Mobile Home | Existing | Fullerton | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 32.52% | 33.33% | 75% | 128.5253 | 0.7 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 8 | 44.1425 | 0.36
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | DMo | Ex | Any | CZ09 | DMoCZ09 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 661 | 2.01 | -38 | 0 | 0 | 0 | 247 | 1.08 | -38.3 |  |  | 2 | Residential Mobile Home | Existing | Burbank-Glendale | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 26.3% | 0% | 75% | 130.3792 | 0 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 9 | 48.7196 | 0
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | DMo | Ex | Any | CZ10 | DMoCZ10 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 1180 | 2.51 | -53.5 | 0 | 0 | 0 | 423 | 1.15 | -53.9 |  |  | 2 | Residential Mobile Home | Existing | Riverside | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 48.23% | 0% | 75% | 426.8745 | 0 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 10 | 153.0237 | 0
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | DMo | Ex | Any | CZ13 | DMoCZ13 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 1620 | 2.86 | -61.6 | 0 | 0 | 0 | 557 | 1.21 | -62.1 |  |  | 2 | Residential Mobile Home | Existing | Fresno Area | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 65% | 0% | 75% | 789.75 | 0 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 13 | 271.5375 | 0
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | DMo | Ex | Any | CZ14 | DMoCZ14 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 1530 | 3.23 | -82.2 | 0 | 0 | 0 | 670 | 1.58 | -82.7 |  |  | 2 | Residential Mobile Home | Existing | Palmdale | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 88.08% | 100% | 75% | 1010.7739 | 2.4225 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 14 | 442.6265 | 1.185
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | DMo | Ex | Any | CZ15 | DMoCZ15 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 2450 | 2.55 | -29.4 | 0 | 0 | 0 | 1120 | 1.4 | -29.6 |  |  | 2 | Residential Mobile Home | Existing | Palm Springs-Intl | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 57.46% | 11.11% | 75% | 1055.8383 | 0.2125 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 15 | 482.6689 | 0.11667
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | DMo | Ex | Any | CZ16 | DMoCZ16 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 260 | 3.08 | -167 | 0 | 0 | 0 | 3.01 | 1.41 | -168 |  |  | 2 | Residential Mobile Home | Existing | Blue Canyon | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 95.24% | 88.89% | 75% | 185.7143 | 2.0533 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 16 | 2.15 | 0.94
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | MFm | Ex | Any | CZ06 | MFmCZ06 | Area-1kH | 1 | 1000 | None | 0 | 0 | 0 | 187 | 1.02 | -5.52 | 0 | 0 | 0 | 100 | 0.575 | -5.82 |  |  | 2 | Residential Multi-family | Existing | Torrance | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 56.08% | 33.33% | 75% | 78.6537 | 0.255 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 6 | 42.0608 | 0.14375
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | MFm | Ex | Any | CZ08 | MFmCZ08 | Area-1kH | 1.02 | 1020 | None | 0 | 0 | 0 | 426 | 1.06 | -4.97 | 0 | 0 | 0 | 229 | 0.69 | -5.21 |  |  | 2 | Residential Multi-family | Existing | Fullerton | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 32.52% | 33.33% | 75% | 103.8934 | 0.265 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 8 | 55.8488 | 0.1725
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | MFm | Ex | Any | CZ09 | MFmCZ09 | Area-1kH | 1.15 | 1150 | None | 0 | 0 | 0 | 581 | 1.02 | -5.1 | 0 | 0 | 0 | 308 | 0.651 | -5.34 |  |  | 2 | Residential Multi-family | Existing | Burbank-Glendale | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 26.3% | 0% | 75% | 114.5995 | 0 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 9 | 60.7516 | 0
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | MFm | Ex | Any | CZ10 | MFmCZ10 | Area-1kH | 1.17 | 1170 | None | 0 | 0 | 0 | 818 | 1.19 | -7.56 | 0 | 0 | 0 | 450 | 0.75 | -7.86 |  |  | 2 | Residential Multi-family | Existing | Riverside | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 48.23% | 0% | 75% | 295.9181 | 0 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 10 | 162.7911 | 0
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | MFm | Ex | Any | CZ13 | MFmCZ13 | Area-1kH | 0.98 | 980 | None | 0 | 0 | 0 | 1010 | 1.19 | -16.7 | 0 | 0 | 0 | 575 | 0.764 | -17.2 |  |  | 2 | Residential Multi-family | Existing | Fresno Area | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 65% | 0% | 75% | 492.375 | 0 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 13 | 280.3125 | 0
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | MFm | Ex | Any | CZ14 | MFmCZ14 | Area-1kH | 1.25 | 1250 | None | 0 | 0 | 0 | 973 | 1.46 | -15 | 0 | 0 | 0 | 631 | 0.996 | -15.4 |  |  | 2 | Residential Multi-family | Existing | Palmdale | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 88.08% | 100% | 75% | 642.7994 | 1.095 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 14 | 416.8617 | 0.747
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | MFm | Ex | Any | CZ15 | MFmCZ15 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 1840 | 1.47 | -3.71 | 0 | 0 | 0 | 1090 | 0.99 | -3.86 |  |  | 2 | Residential Multi-family | Existing | Palm Springs-Intl | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 57.46% | 11.11% | 75% | 792.9561 | 0.1225 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 15 | 469.7403 | 0.0825
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | MFm | Ex | Any | CZ16 | MFmCZ16 | Area-1kH | 0.982 | 982 | None | 0 | 0 | 0 | 264 | 1.12 | -36.5 | 0 | 0 | 0 | 141 | 0.704 | -37.6 |  |  | 2 | Residential Multi-family | Existing | Blue Canyon | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 95.24% | 88.89% | 75% | 188.5714 | 0.74667 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 16 | 100.7143 | 0.46933
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | SFm | Ex | Any | CZ06 | SFmCZ06 | Area-1kH | 1.71 | 1710 | None | 0 | 0 | 0 | 343 | 1.33 | -28 | 0 | 0 | 0 | 182 | 0.773 | -28.3 |  |  | 2 | Residential Single Family | Existing | Torrance | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 56.08% | 33.33% | 75% | 144.2686 | 0.3325 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 6 | 76.5507 | 0.19325
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | SFm | Ex | Any | CZ08 | SFmCZ08 | Area-1kH | 1.65 | 1650 | None | 0 | 0 | 0 | 771 | 1.45 | -27.9 | 0 | 0 | 0 | 405 | 0.953 | -28.2 |  |  | 2 | Residential Single Family | Existing | Fullerton | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 32.52% | 33.33% | 75% | 188.0323 | 0.3625 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 8 | 98.7719 | 0.23825
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | SFm | Ex | Any | CZ09 | SFmCZ09 | Area-1kH | 1.72 | 1720 | None | 0 | 0 | 0 | 898 | 1.4 | -29.6 | 0 | 0 | 0 | 467 | 0.841 | -30 |  |  | 2 | Residential Single Family | Existing | Burbank-Glendale | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 26.3% | 0% | 75% | 177.1263 | 0 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 9 | 92.1136 | 0
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | SFm | Ex | Any | CZ10 | SFmCZ10 | Area-1kH | 1.84 | 1840 | None | 0 | 0 | 0 | 904 | 1.33 | -28.5 | 0 | 0 | 0 | 517 | 0.855 | -28.8 |  |  | 2 | Residential Single Family | Existing | Riverside | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 48.23% | 0% | 75% | 327.0293 | 0 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 10 | 187.0289 | 0
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | SFm | Ex | Any | CZ13 | SFmCZ13 | Area-1kH | 1.72 | 1720 | None | 0 | 0 | 0 | 1190 | 1.41 | -37.4 | 0 | 0 | 0 | 682 | 0.911 | -37.7 |  |  | 2 | Residential Single Family | Existing | Fresno Area | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 65% | 0% | 75% | 580.125 | 0 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 13 | 332.475 | 0
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | SFm | Ex | Any | CZ14 | SFmCZ14 | Area-1kH | 1.72 | 1720 | None | 0 | 0 | 0 | 1160 | 1.99 | -46.9 | 0 | 0 | 0 | 755 | 1.39 | -47.3 |  |  | 2 | Residential Single Family | Existing | Palmdale | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 88.08% | 100% | 75% | 766.3384 | 1.4925 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 14 | 498.7806 | 1.0425
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | SFm | Ex | Any | CZ15 | SFmCZ15 | Area-1kH | 1.7 | 1700 | None | 0 | 0 | 0 | 2370 | 2.06 | -11.7 | 0 | 0 | 0 | 1400 | 1.4 | -11.8 |  |  | 2 | Residential Single Family | Existing | Palm Springs-Intl | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 57.46% | 11.11% | 75% | 1021.3619 | 0.17167 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 15 | 603.3361 | 0.11667
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCE | SFm | Ex | Any | CZ16 | SFmCZ16 | Area-1kH | 1.72 | 1720 | None | 0 | 0 | 0 | 299 | 1.53 | -128 | 0 | 0 | 0 | 131 | 0.976 | -130 |  |  | 2 | Residential Single Family | Existing | Blue Canyon | SCE | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 95.24% | 88.89% | 75% | 213.5714 | 1.02 | 0 | 2027.25 | 2244.7046 | 2244.7046 | 16 | 93.5714 | 0.65067
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | DMo | Ex | Any | CZ05 | DMoCZ05 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 104 | 2.73 | -52.9 | 0 | 0 | 0 | 7.4 | 1.34 | -53.4 |  |  | 2 | Residential Mobile Home | Existing | Santa Maria Area | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 5 | 7.4 | 1.34
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | DMo | Ex | Any | CZ06 | DMoCZ06 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 61.4 | 1.66 | -34.3 | 0 | 0 | 0 | 19.3 | 1 | -34.5 |  |  | 2 | Residential Mobile Home | Existing | Torrance | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 6 | 19.3 | 1
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | DMo | Ex | Any | CZ08 | DMoCZ08 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 529 | 2.81 | -36.8 | 0 | 0 | 0 | 182 | 1.44 | -37.1 |  |  | 2 | Residential Mobile Home | Existing | Fullerton | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 8
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | DMo | Ex | Any | CZ09 | DMoCZ09 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 775 | 2.24 | -39.2 | 0 | 0 | 0 | 261 | 1.08 | -39.5 |  |  | 2 | Residential Mobile Home | Existing | Burbank-Glendale | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 9
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | DMo | Ex | Any | CZ10 | DMoCZ10 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 1190 | 2.53 | -53.7 | 0 | 0 | 0 | 425 | 1.16 | -54 |  |  | 2 | Residential Mobile Home | Existing | Riverside | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 10
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | DMo | Ex | Any | CZ13 | DMoCZ13 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 1620 | 2.86 | -61.6 | 0 | 0 | 0 | 557 | 1.21 | -62.1 |  |  | 2 | Residential Mobile Home | Existing | Fresno Area | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 13
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | DMo | Ex | Any | CZ14 | DMoCZ14 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 1590 | 3.33 | -82.9 | 0 | 0 | 0 | 678 | 1.58 | -83.4 |  |  | 2 | Residential Mobile Home | Existing | Palmdale | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 14
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | DMo | Ex | Any | CZ15 | DMoCZ15 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 2890 | 2.89 | -30.5 | 0 | 0 | 0 | 1170 | 1.4 | -30.7 |  |  | 2 | Residential Mobile Home | Existing | Palm Springs-Intl | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 15
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | DMo | Ex | Any | CZ16 | DMoCZ16 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 58.7 | 1.97 | -151 | 0 | 0 | 0 | -15.8 | 1.42 | -151 |  |  | 2 | Residential Mobile Home | Existing | Blue Canyon | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 16
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ04 | MFmCZ04 | Area-1kH | 1.02 | 1020 | None | 0 | 0 | 0 | 284 | 0.791 | -9.65 | 0 | 0 | 0 | 138 | 0.537 | -10.2 |  |  | 2 | Residential Multi-family | Existing | San Jose-Reid | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 4
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ05 | MFmCZ05 | Area-1kH | 0.927 | 927 | None | 0 | 0 | 0 | 128 | 1.04 | -9.12 | 0 | 0 | 0 | 69.8 | 0.672 | -9.58 |  |  | 2 | Residential Multi-family | Existing | Santa Maria Area | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 5
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ06 | MFmCZ06 | Area-1kH | 1.02 | 1020 | None | 0 | 0 | 0 | 175 | 0.971 | -4.86 | 0 | 0 | 0 | 95.5 | 0.559 | -5.13 |  |  | 2 | Residential Multi-family | Existing | Torrance | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 6
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ07 | MFmCZ07 | Area-1kH | 1.04 | 1040 | None | 0 | 0 | 0 | 227 | 0.823 | -3.61 | 0 | 0 | 0 | 119 | 0.484 | -3.88 |  |  | 2 | Residential Multi-family | Existing | San Diego-Lindbergh | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 7
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ08 | MFmCZ08 | Area-1kH | 1.01 | 1010 | None | 0 | 0 | 0 | 440 | 1.08 | -5.24 | 0 | 0 | 0 | 235 | 0.699 | -5.49 |  |  | 2 | Residential Multi-family | Existing | Fullerton | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 8
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ09 | MFmCZ09 | Area-1kH | 1.12 | 1120 | None | 0 | 0 | 0 | 640 | 1.08 | -6.13 | 0 | 0 | 0 | 336 | 0.68 | -6.41 |  |  | 2 | Residential Multi-family | Existing | Burbank-Glendale | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 9
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ10 | MFmCZ10 | Area-1kH | 1.18 | 1180 | None | 0 | 0 | 0 | 802 | 1.17 | -7.3 | 0 | 0 | 0 | 442 | 0.743 | -7.59 |  |  | 2 | Residential Multi-family | Existing | Riverside | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 10
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ13 | MFmCZ13 | Area-1kH | 0.976 | 976 | None | 0 | 0 | 0 | 1120 | 1.27 | -19.1 | 0 | 0 | 0 | 618 | 0.798 | -19.7 |  |  | 2 | Residential Multi-family | Existing | Fresno Area | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 13
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ14 | MFmCZ14 | Area-1kH | 1.25 | 1250 | None | 0 | 0 | 0 | 989 | 1.47 | -15.3 | 0 | 0 | 0 | 636 | 0.986 | -15.7 |  |  | 2 | Residential Multi-family | Existing | Palmdale | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 14
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ15 | MFmCZ15 | Area-1kH | 1.26 | 1260 | None | 0 | 0 | 0 | 1930 | 1.52 | -4.1 | 0 | 0 | 0 | 1130 | 1.01 | -4.27 |  |  | 2 | Residential Multi-family | Existing | Palm Springs-Intl | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 15
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | MFm | Ex | Any | CZ16 | MFmCZ16 | Area-1kH | 1 | 1000 | None | 0 | 0 | 0 | 250 | 1.12 | -34.7 | 0 | 0 | 0 | 135 | 0.713 | -35.7 |  |  | 2 | Residential Multi-family | Existing | Blue Canyon | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 16
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ04 | SFmCZ04 | Area-1kH | 1.92 | 1920 | None | 0 | 0 | 0 | 393 | 0.854 | -37.5 | 0 | 0 | 0 | 206 | 0.588 | -37.9 |  |  | 2 | Residential Single Family | Existing | San Jose-Reid | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 4
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ05 | SFmCZ05 | Area-1kH | 1.77 | 1770 | None | 0 | 0 | 0 | 203 | 1.38 | -41.7 | 0 | 0 | 0 | 102 | 0.876 | -42.2 |  |  | 2 | Residential Single Family | Existing | Santa Maria Area | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 5
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ06 | SFmCZ06 | Area-1kH | 1.8 | 1800 | None | 0 | 0 | 0 | 318 | 1.26 | -25.2 | 0 | 0 | 0 | 174 | 0.749 | -25.4 |  |  | 2 | Residential Single Family | Existing | Torrance | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 6
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ07 | SFmCZ07 | Area-1kH | 1.66 | 1660 | None | 0 | 0 | 0 | 446 | 0.997 | -22.4 | 0 | 0 | 0 | 232 | 0.562 | -22.8 |  |  | 2 | Residential Single Family | Existing | San Diego-Lindbergh | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 7
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ08 | SFmCZ08 | Area-1kH | 1.65 | 1650 | None | 0 | 0 | 0 | 775 | 1.45 | -28 | 0 | 0 | 0 | 407 | 0.955 | -28.3 |  |  | 2 | Residential Single Family | Existing | Fullerton | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 8
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ09 | SFmCZ09 | Area-1kH | 1.71 | 1710 | None | 0 | 0 | 0 | 914 | 1.42 | -30.4 | 0 | 0 | 0 | 475 | 0.847 | -30.7 |  |  | 2 | Residential Single Family | Existing | Burbank-Glendale | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 9
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ10 | SFmCZ10 | Area-1kH | 1.85 | 1850 | None | 0 | 0 | 0 | 897 | 1.32 | -28.5 | 0 | 0 | 0 | 514 | 0.851 | -28.7 |  |  | 2 | Residential Single Family | Existing | Riverside | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 10
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ13 | SFmCZ13 | Area-1kH | 1.73 | 1730 | None | 0 | 0 | 0 | 1160 | 1.39 | -36.6 | 0 | 0 | 0 | 668 | 0.899 | -37 |  |  | 2 | Residential Single Family | Existing | Fresno Area | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 13
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ14 | SFmCZ14 | Area-1kH | 1.73 | 1730 | None | 0 | 0 | 0 | 1060 | 1.83 | -42.3 | 0 | 0 | 0 | 704 | 1.3 | -42.6 |  |  | 2 | Residential Single Family | Existing | Palmdale | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 0 | N/A | N/A | N/A | 14
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ15 | SFmCZ15 | Area-1kH | 1.67 | 1670 | None | 0 | 0 | 0 | 2730 | 2.44 | -16.7 | 0 | 0 | 0 | 1550 | 1.6 | -16.8 |  |  | 2 | Residential Single Family | Existing | Palm Springs-Intl | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 1 | N/A | N/A | N/A | 15
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SCG | SFm | Ex | Any | CZ16 | SFmCZ16 | Area-1kH | 1.7 | 1700 | None | 0 | 0 | 0 | 294 | 1.53 | -130 | 0 | 0 | 0 | 126 | 0.973 | -131 |  |  | 2 | Residential Single Family | Existing | Blue Canyon | SCG | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 2 | N/A | N/A | N/A | 16
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | DMo | Ex | Any | CZ07 | DMoCZ07 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 242 | 2.35 | -32.9 | 0 | 0 | 0 | 67.1 | 1.02 | -33.2 |  |  | 2 | Residential Mobile Home | Existing | San Diego-Lindbergh | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 3 | N/A | N/A | N/A | 7
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | DMo | Ex | Any | CZ10 | DMoCZ10 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 954 | 2.16 | -51.4 | 0 | 0 | 0 | 395 | 1.15 | -51.8 |  |  | 2 | Residential Mobile Home | Existing | Riverside | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 4 | N/A | N/A | N/A | 10
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | DMo | Ex | Any | CZ14 | DMoCZ14 | Area-1kH | 1.24 | 1240 | None | 0 | 0 | 0 | 1590 | 3.33 | -82.9 | 0 | 0 | 0 | 678 | 1.58 | -83.4 |  |  | 2 | Residential Mobile Home | Existing | Palmdale | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 5 | N/A | N/A | N/A | 14
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | MFm | Ex | Any | CZ06 | MFmCZ06 | Area-1kH | 1.05 | 1050 | None | 0 | 0 | 0 | 161 | 0.925 | -4.14 | 0 | 0 | 0 | 89 | 0.543 | -4.39 |  |  | 2 | Residential Multi-family | Existing | Torrance | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 6 | N/A | N/A | N/A | 6
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | MFm | Ex | Any | CZ07 | MFmCZ07 | Area-1kH | 1.03 | 1030 | None | 0 | 0 | 0 | 225 | 0.809 | -3.55 | 0 | 0 | 0 | 119 | 0.479 | -3.8 |  |  | 2 | Residential Multi-family | Existing | San Diego-Lindbergh | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 7 | N/A | N/A | N/A | 7
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | MFm | Ex | Any | CZ08 | MFmCZ08 | Area-1kH | 1.08 | 1080 | None | 0 | 0 | 0 | 268 | 0.775 | -1.67 | 0 | 0 | 0 | 165 | 0.57 | -1.78 |  |  | 2 | Residential Multi-family | Existing | Fullerton | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 8 | N/A | N/A | N/A | 8
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | MFm | Ex | Any | CZ10 | MFmCZ10 | Area-1kH | 1.17 | 1170 | None | 0 | 0 | 0 | 749 | 1.12 | -6.64 | 0 | 0 | 0 | 416 | 0.716 | -6.92 |  |  | 2 | Residential Multi-family | Existing | Riverside | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 9 | N/A | N/A | N/A | 10
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | SFm | Ex | Any | CZ06 | SFmCZ06 | Area-1kH | 2.15 | 2150 | None | 0 | 0 | 0 | 224 | 0.977 | -14.1 | 0 | 0 | 0 | 143 | 0.652 | -14.2 |  |  | 2 | Residential Single Family | Existing | Torrance | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 10 | N/A | N/A | N/A | 6
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | SFm | Ex | Any | CZ07 | SFmCZ07 | Area-1kH | 1.84 | 1840 | None | 0 | 0 | 0 | 379 | 0.902 | -17.8 | 0 | 0 | 0 | 208 | 0.538 | -18.1 |  |  | 2 | Residential Single Family | Existing | San Diego-Lindbergh | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 11 | N/A | N/A | N/A | 7
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | SFm | Ex | Any | CZ08 | SFmCZ08 | Area-1kH | 2.05 | 2050 | None | 0 | 0 | 0 | 577 | 1.17 | -16.2 | 0 | 0 | 0 | 342 | 0.845 | -16.3 |  |  | 2 | Residential Single Family | Existing | Fullerton | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 12 | N/A | N/A | N/A | 8
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | SFm | Ex | Any | CZ10 | SFmCZ10 | Area-1kH | 1.8 | 1800 | None | 0 | 0 | 0 | 984 | 1.4 | -32.2 | 0 | 0 | 0 | 553 | 0.886 | -32.5 |  |  | 2 | Residential Single Family | Existing | Riverside | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 13 | N/A | N/A | N/A | 10
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | SFm | Ex | Any | CZ14 | SFmCZ14 | Area-1kH | 1.66 | 1660 | None | 0 | 0 | 0 | 1460 | 2.48 | -61.6 | 0 | 0 | 0 | 903 | 1.65 | -62 |  |  | 2 | Residential Single Family | Existing | Palmdale | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 14 | N/A | N/A | N/A | 14
D03-405 | DEER2005 | D05 v2.01 | 2012-02-05 | SDG | SFm | Ex | Any | CZ15 | SFmCZ15 | Area-1kH | 1.6 | 1600 | None | 0 | 0 | 0 | 3300 | 2.97 | -22.2 | 0 | 0 | 0 | 1810 | 1.89 | -22.4 |  |  | 2 | Residential Single Family | Existing | Palm Springs-Intl | SDG&E | D03-405 | None | Direct Evaporative Cooler | Standard |  | Direct Evaporative Cooler | T24 minimum: 13 SEER(11.09 EER) Split System Air Conditioner | 10.0 SEER Split-System Air Conditioner | Measure Definition does not have Energy Impact Qualifiers | 100% | 100% | 100% | N/A | N/A | 15 | N/A | N/A | N/A | 15
Note on AW4: Arvind Subramanya: base case cost from WO017 ($/1,000 sq. ft .) Refer to Attachment #5 - SCE17HC013.0 - Cost Calculation
Note on AY4: Cost taken from WO017. Refer to Attachment #5 - SCE17HC013.0 - Cost Calculation
Note on AQ5: Amber Buhl: if IOU=SCE then lookup in ESAF_&_PDAF_Summary table else =100%.
Note on AT5: Columns AS to AT: if PG&E: uses above code baseline (AStdWB…) & multiplies by common unit to get per household; if SCE uses customer baseline (ACustWB…) & doesn't multiply by common unit so per 1,000 sq. ft
Note on AX5: gross measure $
Note on AY5: Amber Buhl: PG&E RET = measure $ - base cost
Note on BB5: Columns AS to AT: if PG&E: uses above code baseline (AStdWB…) & multiplies by common unit to get per household; if SCE uses customer baseline (ACustWB…) & doesn't multiply by common unit so per 1,000 sq. ft

## ESAF_&_PDAF_Summary
IOU | Climate Zone | Energy Savings Adjustment Factor (ESAF) | Peak Demand Adjustment Factor (PDAF) | Human Error Adjustment Factor (HEAF)
PG&E | 1 | 100% | 100% | 100%
PG&E | 2 | 100% | 100% | 100%
PG&E | 3 | 100% | 100% | 100%
PG&E | 4 | 100% | 100% | 100%
PG&E | 5 | 100% | 100% | 100%
SCE | 6 | 56.08% | 33.33% | 75%
SCE | 8 | 32.52% | 33.33% | 75%
SCE | 9 | 26.3% | 0% | 75%
SCE | 10 | 48.23% | 0% | 75%
PG&E | 11 | 100% | 100% | 100%
PG&E | 12 | 100% | 100% | 100%
Both | 13 | 65% | 0% | 75%
SCE | 14 | 88.08% | 100% | 75%
SCE | 15 | 57.46% | 11.11% | 75%
Both | 16 | 95.24% | 88.89% | 75%
Columns A through D were copied from: Weather Data - ESAF and PDAF - REV 2.xlsx

## Water Costs
[5 empty] | 1000 | 62.4 |  |  | 1.5% | 15
[9 empty] | Inflation escalator | Measure Life
IOU | Climate Zone | Annual Cooling Load (Btu/yr) | Average household sq. ft | ESAF | BTU/lb water evaporated | lbwater/ft3 | Water Rates/100 ft3 | Total $/household*year | Representative City
SCE | 6 | 8317221 | 1401.25 | 56.08% | 1000 | 62.4 | 4.727 | 3.5334 | Torrance
SCE | 9 | 17584000 | 1363.3333 | 26.3% | 1000 | 62.4 | 2.96 | 2.1937 | Alhambra
SCE | 15 | 77573000 | 1421.4286 | 57.46% | 1000 | 62.4 | 4.67 | 33.359 | Coachchella
SCE | Average |  | 1395.3373 |  |  |  |  | 13.03
| Added water costs over life of measure ($/household) | [6 empty] | 244.3579
| Added water costs over life of measure ($/1000 sq. ft) | [6 empty] | 175.1246
US rate of inflation source:
US Inflation Rate ¦ US Inflation
IOU | Climate Zone | Annual Cooling Load (Btu/yr) | Average household sq. ft | ESAF | BTU/lb water evaporated | lbwater/ft3 | Water Rates/100 ft3 | Total $/household*year | Representative City
PG&E | 12 | 16810304 | 1304 | 100% | 1000 | 62.4 | 1.28 | 3.4483 | Fresno
PG&E | Average |  | 1304 |  |  |  |  | 3.45
| Added water costs over life of measure ($/household) | [6 empty] | 64.6995
Note on C3: Based on DEER equest prototype building annual cooling load.
Note on C13: Based on DEER equest prototype building annual cooling load.