## Sheet1
The RS Means Historical Cost Index was constructed to compare construction costs (both material and labor) in the same city over different years.
| RS Means Historical Cost Index Year | Los Angeles Rate |  |  |  |  | Measure | Material Cost | Labor Cost | 2012 to 2018 Cost Increase | Scaled Material Cost | Scalled Labor Cost | Material Cost | Labor Cost | Total Cost
| 2012 | 207.2 | [5 empty] | ($ per Dwelling) | ($ per Dwelling) |  | ($ per Dwelling) | ($ per Dwelling) | ($ per Ton) | ($ Per Ton) | ($ Per Ton)
| 2018 | 240.2 |  |  |  |  | Duct Seal (all) | 71.45 | 181.24 | 15.9% | 82.8106 | 210.0572 | 25.3243 | 64.2377 | 89.562
[7 empty] | Measure | Material Cost | Labor Cost | Material Cost | Labor Cost | Total Cost
[8 empty] | ($ per Household) | ($ per Household) | ($ per Ton) | ($ Per Ton) | ($ Per Ton)
[7 empty] | Airflow Adjustment | 0 | 350 | 0 | 107.0336 | 107.0336
| Percent cost increase from 2012 to 2018: | 15.9%
2012 WO017 Costs
| Measure | Installation Type | Incremental Measure Cost | Full Measure Cost
|  |  |  | 1st Baseline | 2nd Baseline
| AdjustedRefrigerantCharge | REA | 36.7 | 36.7 | N/A
| CondenserCoilCleaning | REA | 32.39 | 32.39 | N/A
| EvaporatorCoilCleaning | REA | 41.69 | 41.69 | N/A
| AirFlowAdjustment | REA
| DuctSealMedtoLow | REA | 77.27 | 77.27 | N/A
| DuctSealHightoLow | REA | 77.27 | 77.27 | N/A
| 2012 WO017 Costs Scaled to 2018 | [5 empty] | 2012 WO017 Costs Scaled to 2018
Solution Code | Measure | Installation Type | Incremental Measure Cost | Full Measure Cost |  | Solution Codes | Measure | WO017 Material Cost | WO017 Labor Cost | 2012 to 2018 Cost Increase | 2018 Material Cost | 2018 Labor Cost | Total Cost
|  |  |  | 1st Baseline | 2nd Baseline
AC-20329 | DecreaseRefrigerantChargeTXV | REA | 42.5353 | 42.5353 | N/A | AC-20329 | DecreaseRefrigerantChargeTXV | 9.92 | 26.78 | 15.9% | 11.4973 | 31.038 | 42.5353
AC-20326 | DecreaseRefrigerantChargeNoTXV | REA | 42.5353 | 42.5353 | N/A | AC-20326 | DecreaseRefrigerantChargeNoTXV | 9.92 | 26.78 | 15.9% | 11.4973 | 31.038 | 42.5353
AC-20327 | IncreaseRefrigerantChargeTXV | REA | 42.5353 | 42.5353 | N/A | AC-20327 | IncreaseRefrigerantChargeTXV | 9.92 | 26.78 | 15.9% | 11.4973 | 31.038 | 42.5353
AC-20328 | IncreaseRefrigerantChargeNoTXV | REA | 42.5353 | 42.5353 | N/A | AC-20328 | IncreaseRefrigerantChargeNoTXV | 9.92 | 26.78 | 15.9% | 11.4973 | 31.038 | 42.5353
AC-56069 | Condenser Coil Cleaning | REA | 37.54 | 37.54 | N/A | AC-56069 | Condenser Coil Cleaning | 6.73 | 25.66 | 15.9% | 7.8001 | 29.7399 | 37.54
AC-95345 | Evaporator Coil Cleaning | REA | 48.3087 | 48.3087 | N/A | AC-95345 | Evaporator Coil Cleaning | 7.98 | 33.7 | 15.9% | 9.2488 | 39.0583 | 48.3071
AC-94699 | AirFlowAdjustment | REA | 107.0336 | 107.0336 | N/A | AC-94699 | AirFlowAdjustment | N/A | N/A | N/A | 0 | 107.0336 | 107.0336
AC-60036 | Duct Seal Med to Low | REA | 89.5559 | 89.5559 | N/A | AC-60036 | Duct Seal Med to Low | 21.8502 | 55.4251 | 15.9% | 25.3243 | 64.2377 | 89.562
AC-21964 | Duct Seal High to Low | REA | 89.5559 | 89.5559 | N/A | AC-21964 | Duct Seal High to Low | 21.8502 | 55.4251 | 15.9% | 25.3243 | 64.2377 | 89.562
Note on D4: Reno, Stephen: Rate increase is the same when using all CA cities (not weighted by population).