## list of T-stat
|  | learns the temperatures you like and programs itsel | automatically turns itself down when nobody’s home | Wi-Fi enabled for remote access | Occ Senses, it lights up to show the time, temperature or weather. | Built-in rechargeable lithium-ion battery |  |  | Smart Costs | 186.5
| T-Stat, type and brand | Auto-Schedule | Auto-Away | Remote control | Farsight | Battery | Compatibility | Cost
1 | 3rd generation Nest Learning Thermostat | Yes | Yes | Yes | Yes | Yes | Works with 95% of 24V heating and cooling systems, including gas, electric, forced air, heat pump, radiant, oil, hot water, solar and geothermal. Heating: 1,2, and 3 stages | 249 | Base Costs | 94.12 | from DEER08 "ProgTStats"
2 | Learning Thermostat, 2nd Generation | Yes | Yes | Yes | No | Yes | Compatable with most heating and cooling systems | 180
3 | Honeywell Lyric Wi-Fi Smart Thermostat | Yes | Yes | Yes | No | Hardwired |  | 199
| Lyric T5 Wi-Fi Thermostat | [6 empty] | 115
4 | ecobee 7-Day Smarter Wi-Fi Programmable Thermostat | Yes | Yes | Yes | No | Yes | compatible with 95% of systems and works with: conventional (2H/2C); heat pump (4H/2C) including 2-stage auxiliary heat | 199 | IMC | 92.38
| Ecobee3 Lite Thermostat | [6 empty] | 169
6 | Allure Energy EverSense Wi-Fi Smart Thermostat | Yes | Yes | Yes | No | Hardwired | 24-Volt Heating & Air Conditioning System | 203
7 | Schneider Electric Wiser Air Wi-Fi Smart Programmable Thermostat | Yes | Yes | Yes | No | Hardwired | Central Air Conditioning | 178

## Cost Summary
| Material | Labor | Total
Measure Case | 186.5 | 56.48 | 242.98
Base Case | 94.12 | 56.48 | 150.6
Incremental Cost | 92.38 | 0 | 92.38