## Savings Summary
Measure Code | Building Type | CZ | HVAC Type | kWh savings | Peak kW savings | Therm Savings |  | Tonnage | kWh svaings/ton | Peak kW savings/ton | Therms Savings/Ton
AC-72229 | ERC, ESe, EPr | 01 | Pkg-HP | 253.2 | 0.22 | -0.08 | 01Pkg-HP | 3.6 | 70.3 | 0.06 | -0.02
AC-72229 | ERC, ESe, EPr | 02 | Pkg-HP | 483.7 | 0 | 0.19 | 02Pkg-HP | 6.5 | 74.4 | 0 | 0.03
AC-72229 | ERC, ESe, EPr | 03 | Pkg-HP | 373.3 | 0 | 0.15 | 03Pkg-HP | 5.9 | 63.3 | 0 | 0.03
AC-72229 | ERC, ESe, EPr | 04 | Pkg-HP | 522.2 | 0 | 0.24 | 04Pkg-HP | 7.1 | 73.5 | 0 | 0.03
AC-72229 | ERC, ESe, EPr | 05 | Pkg-HP | 473.9 | 0.67 | 0.21 | 05Pkg-HP | 5.9 | 80.3 | 0.11 | 0.04
AC-72229 | ERC, ESe, EPr | 06 | Pkg-HP | 600.2 | 0 | 0.3 | 06Pkg-HP | 6.8 | 88.3 | 0 | 0.04
AC-72229 | ERC, ESe, EPr | 07 | Pkg-HP | 520.5 | 1.56 | 0.26 | 07Pkg-HP | 5.9 | 88.2 | 0.26 | 0.04
AC-72229 | ERC, ESe, EPr | 08 | Pkg-HP | 623.9 | 1.78 | 0.32 | 08Pkg-HP | 8.6 | 72.5 | 0.21 | 0.04
AC-72229 | ERC, ESe, EPr | 09 | Pkg-HP | 625.3 | 0 | 0.3 | 09Pkg-HP | 9.1 | 68.7 | 0 | 0.03
AC-72229 | ERC, ESe, EPr | 10 | Pkg-HP | 594.4 | 0 | 0.32 | 10Pkg-HP | 8.9 | 66.8 | 0 | 0.04
AC-72229 | ERC, ESe, EPr | 11 | Pkg-HP | 512.9 | 0 | 0.18 | 11Pkg-HP | 7.3 | 70.3 | 0 | 0.02
AC-72229 | ERC, ESe, EPr | 12 | Pkg-HP | 504.7 | 0 | 0.19 | 12Pkg-HP | 7 | 72.1 | 0 | 0.03
AC-72229 | ERC, ESe, EPr | 13 | Pkg-HP | 566.9 | 0 | 0.21 | 13Pkg-HP | 7.2 | 78.7 | 0 | 0.03
AC-72229 | ERC, ESe, EPr | 14 | Pkg-HP | 521.5 | 0 | 0.24 | 14Pkg-HP | 7.8 | 66.9 | 0 | 0.03
AC-72229 | ERC, ESe, EPr | 15 | Pkg-HP | 674.4 | 0 | 0.37 | 15Pkg-HP | 10.2 | 66.1 | 0 | 0.04
AC-72229 | ERC, ESe, EPr | 16 | Pkg-HP | 552.8 | 0 | -0.04 | 16Pkg-HP | 4.8 | 115.2 | 0 | -0.01
AC-68775 | ERC, ESe, Epr | 01 | Pkg-AC | 50.5 | 0.22 | 32.67 | 01Pkg-AC | 3.8 | 13.3 | 0.06 | 8.6
AC-68775 | ERC, ESe, Epr | 02 | Pkg-AC | 382.7 | 0 | 14.84 | 02Pkg-AC | 6.7 | 57.1 | 0 | 2.21
AC-68775 | ERC, ESe, Epr | 03 | Pkg-AC | 293 | 0 | 12.19 | 03Pkg-AC | 6.2 | 47.3 | 0 | 1.97
AC-68775 | ERC, ESe, Epr | 04 | Pkg-AC | 455.1 | 0 | 10.14 | 04Pkg-AC | 7.3 | 62.3 | 0 | 1.39
AC-68775 | ERC, ESe, Epr | 05 | Pkg-AC | 381.8 | 0.67 | 12.75 | 05Pkg-AC | 6.1 | 62.6 | 0.11 | 2.09
AC-68775 | ERC, ESe, Epr | 06 | Pkg-AC | 544.1 | 0 | 6.45 | 06Pkg-AC | 7.1 | 76.6 | 0 | 0.91
AC-68775 | ERC, ESe, Epr | 07 | Pkg-AC | 485.3 | 1.56 | 4.61 | 07Pkg-AC | 6.1 | 79.6 | 0.26 | 0.76
AC-68775 | ERC, ESe, Epr | 08 | Pkg-AC | 577.4 | 1.67 | 6.23 | 08Pkg-AC | 8.9 | 64.9 | 0.19 | 0.7
AC-68775 | ERC, ESe, Epr | 09 | Pkg-AC | 564.2 | 0 | 8.4 | 09Pkg-AC | 9.3 | 60.7 | 0 | 0.9
AC-68775 | ERC, ESe, Epr | 10 | Pkg-AC | 527.3 | 0 | 8.91 | 10Pkg-AC | 9.2 | 57.3 | 0 | 0.97
AC-68775 | ERC, ESe, Epr | 11 | Pkg-AC | 373.1 | 0 | 19.35 | 11Pkg-AC | 7.5 | 49.7 | 0 | 2.58
AC-68775 | ERC, ESe, Epr | 12 | Pkg-AC | 393.3 | 0 | 16.09 | 12Pkg-AC | 7.2 | 54.6 | 0 | 2.23
AC-68775 | ERC, ESe, Epr | 13 | Pkg-AC | 456.3 | 0 | 15.62 | 13Pkg-AC | 7.5 | 60.8 | 0 | 2.08
AC-68775 | ERC, ESe, Epr | 14 | Pkg-AC | 427.2 | 0 | 13.58 | 14Pkg-AC | 8.1 | 52.7 | 0 | 1.68
AC-68775 | ERC, ESe, Epr | 15 | Pkg-AC | 643.5 | 0 | 4.47 | 15Pkg-AC | 10.5 | 61.3 | 0 | 0.43
AC-68775 | ERC, ESe, Epr | 16 | Pkg-AC | 127.1 | 0 | 43.43 | 16Pkg-AC | 5 | 25.4 | 0 | 8.69

## Base_Batch_Output
[7 empty] | Electric Usage: | [12 empty] | Fuel Usage: | [12 empty] | Non-Coincident Peak Electric Demand: | [12 empty] | Non-Coincident Peak Fuel Demand: | [18 empty] | Utility Bills (sums by rate type):
[7 empty] | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | SS-D | (calced) | BEPS | BEPS | BEPS | BEPS | ES-E
[7 empty] | Space | Heat | Refrig | Space | Heat Pump | Domestic | Ventilation | Pumps | Exterior | Misc | Task | Ambient |  | Space | Heat | Refrig | Space | Heat Pump | Domestic | Ventilation | Pumps | Exterior | Misc | Task | Ambient |  | Space | Heat | Refrig | Space | Heat Pump | Domestic | Ventilation | Pumps | Exterior | Misc | Task | Ambient |  | Space | Heat | Refrig | Space | Heat Pump | Domestic | Ventilation | Pumps | Exterior | Misc | Task | Ambient |  | Peak Cooling | Multi-hour | Zone Outsd | Plant Ld | Cool Loads | Heat Loads |  | Chilled | [8 empty] | Electric
|  | (data from wizard...) |  |  |  |  | Cooling | Reject | Display | Heating | Supplement | Hot Water | Fans | & Aux | Usage | Equip | Lights | Lights | Total | Cooling | Reject | Display | Heating | Supplement | Hot Water | Fans | & Aux | Usage | Equip | Lights | Lights | Total | Cooling | Reject | Display | Heating | Supplement | Hot Water | Fans | & Aux | Usage | Equip | Lights | Lights | Total | Cooling | Reject | Display | Heating | Supplement | Hot Water | Fans | & Aux | Usage | Equip | Lights | Lights | Total | Coil Load | Elec Demand | Thrtlng Rng | Not Met | Not Met | Not Met | Steam | Water | Electric | Natural Gas | LPG | Fuel Oil | Diesel Oil | Coal | Methanol | Other Fuel | Sale | Total
Date & Time of Run | File Name | Name | Region | State | City | Sqft | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | kW | kW | kW | kW | kW | kW | kW | kW | kW | kW | kW | kW | kW | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtu | kW | % hrs | % hrs | # hrs | # hrs | $ | $ | $ | $ | $ | $ | $ | $ | $ | $ | $ | $
07/18/18 @ 05:29 | ERC-w01-v03-airHP.pd2 | ERC-w01-v03-airHP | California (Title 24) | Arcata Area (CZ01) | Arcata | 24998.5 | 0.36022 | 0 | 0 | 5.5354 | 0.79799 | 0 | 2.5532 | 0 | 0 | 3.6399 | 0 | 5.6858 | 18.5725 | 0 | 0 | 0 | 0 | 0 | 26.8477 | 0 | 0 | 0 | 0 | 0 | 0 | 26.8477 | 0 | 0 | 0 | 3.025 | 11.4274 | 0 | 0.50775 | 0 | 0 | 0.09612 | 0 | 1.3952 | 16.4515 | 0 | 0 | 0 | 0 | 0 | 14.1398 | 0 | 0 | 0 | 0 | 0 | 0 | 14.1398 | 44.5071 | 3.5556 | - | - | - | - | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32
07/18/18 @ 05:29 | ERC-w02-v03-airHP.pd2 | ERC-w02-v03-airHP | California (Title 24) | Santa Rosa Area (CZ02) | Santa Rosa | 24998.5 | 3.2371 | 0 | 0 | 4.2872 | 0.30549 | 0 | 4.2618 | 0 | 0 | 3.6399 | 0 | 5.6858 | 21.4174 | 0 | 0 | 0 | 0 | 0 | 25.0814 | 0 | 0 | 0 | 0 | 0 | 0 | 25.0814 | 0 | 0 | 0 | 5.8394 | 9.4683 | 0 | 0.91169 | 0 | 0 | 0.57672 | 0 | 0.53208 | 17.3282 | 0 | 0 | 0 | 0 | 0 | 13.5814 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5814 | 91.6055 | 0.55556 | - | - | - | - | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
07/18/18 @ 05:30 | ERC-w03-v03-airHP.pd2 | ERC-w03-v03-airHP | California (Title 24) | Oakland Area (CZ03) | Oakland AP | 24998.5 | 1.8171 | 0 | 0 | 3.179 | 0.070596 | 0 | 3.4099 | 0 | 0 | 3.6399 | 0 | 5.6858 | 17.8024 | 0 | 0 | 0 | 0 | 0 | 25.2088 | 0 | 0 | 0 | 0 | 0 | 0 | 25.2088 | 0 | 0 | 0 | 5.4414 | 7.6108 | 0 | 0.83342 | 0 | 0 | 0.57672 | 0 | 0.53208 | 14.9944 | 0 | 0 | 0 | 0 | 0 | 13.3954 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3954 | 67.4016 | 0.44444 | - | - | - | - | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
07/18/18 @ 05:30 | ERC-w04-v03-airHP.pd2 | ERC-w04-v03-airHP | California (Title 24) | Sunnyvale Area (CZ04) | San Jose | 24998.5 | 3.7044 | 0 | 0 | 3.3617 | 0.14147 | 0 | 4.2862 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.8196 | 0 | 0 | 0 | 0 | 0 | 24.4648 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4648 | 0 | 0 | 0 | 6.5623 | 5.5064 | 0 | 0.9958 | 0 | 0 | 0.57672 | 0 | 0.53208 | 14.1733 | 0 | 0 | 0 | 0 | 0 | 13.2896 | 0 | 0 | 0 | 0 | 0 | 0 | 13.2896 | 82.7933 | 2.5556 | - | - | - | - | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23
07/18/18 @ 05:31 | ERC-w05-v03-airHP.pd2 | ERC-w05-v03-airHP | California (Title 24) | Santa Maria Area (CZ05) | Santa Maria AP | 24998.5 | 2.2343 | 0 | 0 | 3.8262 | 0.17895 | 0 | 3.6135 | 0 | 0 | 3.6399 | 0 | 5.6858 | 19.1787 | 0 | 0 | 0 | 0 | 0 | 25.5173 | 0 | 0 | 0 | 0 | 0 | 0 | 25.5173 | 0 | 0 | 0 | 5.3456 | 6.3969 | 0 | 0.823 | 0 | 0 | 0.09612 | 0 | 1.3952 | 14.0568 | 0 | 0 | 0 | 0 | 0 | 13.4978 | 0 | 0 | 0 | 0 | 0 | 0 | 13.4978 | 70.694 | 4.5556 | - | - | - | - | 0 | 0 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41
07/18/18 @ 05:31 | ERC-w06-v03-airHP.pd2 | ERC-w06-v03-airHP | California (Title 24) | Los Angeles Area (CZ06) | Torrance | 24998.5 | 4.0953 | 0 | 0 | 1.9163 | 0.026026 | 0 | 3.5316 | 0 | 0 | 3.6399 | 0 | 5.6858 | 18.895 | 0 | 0 | 0 | 0 | 0 | 23.7869 | 0 | 0 | 0 | 0 | 0 | 0 | 23.7869 | 8.0745 | 0 | 0 | 0 | 0 | 0 | 0.95369 | 0 | 0 | 1.9224 | 0 | 2.3092 | 13.2598 | 0 | 0 | 0 | 0 | 0 | 12.7039 | 0 | 0 | 0 | 0 | 0 | 0 | 12.7039 | 90.856 | 2.2222 | - | - | - | - | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20
07/18/18 @ 05:32 | ERC-w07-v03-airHP.pd2 | ERC-w07-v03-airHP | California (Title 24) | San Diego Area (CZ07) | San Diego AP | 24998.5 | 3.2717 | 0 | 0 | 1.1203 | 0 | 0 | 2.5308 | 0 | 0 | 3.6399 | 0 | 5.6858 | 16.2485 | 0 | 0 | 0 | 0 | 0 | 23.5455 | 0 | 0 | 0 | 0 | 0 | 0 | 23.5455 | 6.6864 | 0 | 0 | 0 | 0 | 0 | 0.82784 | 0 | 0 | 1.9224 | 0 | 2.3092 | 11.7458 | 0 | 0 | 0 | 0 | 0 | 12.471 | 0 | 0 | 0 | 0 | 0 | 0 | 12.471 | 78.1865 | 7.4444 | - | - | - | - | 0 | 0 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67
07/18/18 @ 05:32 | ERC-w08-v03-airHP.pd2 | ERC-w08-v03-airHP | California (Title 24) | El Toro Area (CZ08) | Fullerton | 24998.5 | 5.2867 | 0 | 0 | 1.6117 | 0.00771 | 0 | 4.6953 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.9272 | 0 | 0 | 0 | 0 | 0 | 23.2257 | 0 | 0 | 0 | 0 | 0 | 0 | 23.2257 | 12.0001 | 0 | 0 | 0 | 0 | 0 | 1.2105 | 0 | 0 | 1.9224 | 0 | 2.3092 | 17.4422 | 0 | 0 | 0 | 0 | 0 | 12.445 | 0 | 0 | 0 | 0 | 0 | 0 | 12.445 | 97.5555 | 9.7778 | - | - | - | - | 0 | 0 | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88
07/18/18 @ 05:33 | ERC-w09-v03-airHP.pd2 | ERC-w09-v03-airHP | California (Title 24) | Pasadena Area (CZ09) | Burbank AP | 24998.5 | 5.7824 | 0 | 0 | 2.0135 | 0.019758 | 0 | 5.2882 | 0 | 0 | 3.6399 | 0 | 5.6858 | 22.4295 | 0 | 0 | 0 | 0 | 0 | 23.23 | 0 | 0 | 0 | 0 | 0 | 0 | 23.23 | 12.8919 | 0 | 0 | 0 | 0 | 0 | 1.2783 | 0 | 0 | 1.9224 | 0 | 2.3092 | 18.4018 | 0 | 0 | 0 | 0 | 0 | 12.5744 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5744 | 114.276 | 4.4444 | - | - | - | - | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
07/18/18 @ 05:33 | ERC-w10-v03-airHP.pd2 | ERC-w10-v03-airHP | California (Title 24) | San Bernardino Area (CZ10) | Riverside FS 3 | 24998.5 | 6.1483 | 0 | 0 | 2.0609 | 0.036845 | 0 | 5.2904 | 0 | 0 | 3.6399 | 0 | 5.6858 | 22.8622 | 0 | 0 | 0 | 0 | 0 | 23.1379 | 0 | 0 | 0 | 0 | 0 | 0 | 23.1379 | 13.0548 | 0 | 0 | 0 | 0 | 0 | 1.2562 | 0 | 0 | 1.9224 | 0 | 2.3092 | 18.5426 | 0 | 0 | 0 | 0 | 0 | 12.65 | 0 | 0 | 0 | 0 | 0 | 0 | 12.65 | 101.142 | 4.3333 | - | - | - | - | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39
07/18/18 @ 05:34 | ERC-w11-v03-airHP.pd2 | ERC-w11-v03-airHP | California (Title 24) | Red Bluff Area (CZ11) | Red Bluff AP | 24998.5 | 6.0247 | 0 | 0 | 3.9657 | 0.18577 | 0 | 5.1752 | 0 | 0 | 3.6399 | 0 | 5.6858 | 24.677 | 0 | 0 | 0 | 0 | 0 | 23.5222 | 0 | 0 | 0 | 0 | 0 | 0 | 23.5222 | 0 | 0 | 0 | 6.61 | 8.0958 | 0 | 1.024 | 0 | 0 | 0.57672 | 0 | 0.53208 | 16.8387 | 0 | 0 | 0 | 0 | 0 | 13.5103 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5103 | 86.0116 | 4 | - | - | - | - | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36
07/18/18 @ 05:34 | ERC-w12-v03-airHP.pd2 | ERC-w12-v03-airHP | California (Title 24) | Sacramento Area (CZ12) | Sacramento AP | 24998.5 | 4.6047 | 0 | 0 | 3.7293 | 0.19079 | 0 | 4.6325 | 0 | 0 | 3.6399 | 0 | 5.6858 | 22.483 | 0 | 0 | 0 | 0 | 0 | 24.1205 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1205 | 0 | 0 | 0 | 6.2926 | 8.224 | 0 | 0.98129 | 0 | 0 | 0.57672 | 0 | 0.53208 | 16.6066 | 0 | 0 | 0 | 0 | 0 | 13.3964 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3964 | 89.463 | 3.4444 | - | - | - | - | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31
07/18/18 @ 05:35 | ERC-w13-v03-airHP.pd2 | ERC-w13-v03-airHP | California (Title 24) | Fresno Area (CZ13) | Fresno AP | 24998.5 | 6.6603 | 0 | 0 | 3.4308 | 0.13923 | 0 | 5.0933 | 0 | 0 | 3.6399 | 0 | 5.6858 | 24.6494 | 0 | 0 | 0 | 0 | 0 | 23.2161 | 0 | 0 | 0 | 0 | 0 | 0 | 23.2161 | 9.7722 | 0 | 0 | 0 | 0 | 0 | 1.018 | 0 | 0 | 1.9224 | 0 | 2.3092 | 15.0217 | 0 | 0 | 0 | 0 | 0 | 13.3156 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3156 | 91.4337 | 4.8889 | - | - | - | - | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44
07/18/18 @ 05:35 | ERC-w14-v03-airHP.pd2 | ERC-w14-v03-airHP | California (Title 24) | China Lake Area (CZ14) | Palmdale AP | 24998.5 | 6.6011 | 0 | 0 | 4.1574 | 0.29448 | 0 | 5.4978 | 0 | 0 | 3.6399 | 0 | 5.6858 | 25.8765 | 0 | 0 | 0 | 0 | 0 | 23.6564 | 0 | 0 | 0 | 0 | 0 | 0 | 23.6564 | 10.9562 | 0 | 0 | 0 | 0 | 0 | 1.1011 | 0 | 0 | 1.9224 | 0 | 2.3092 | 16.2889 | 0 | 0 | 0 | 0 | 0 | 13.6144 | 0 | 0 | 0 | 0 | 0 | 0 | 13.6144 | 129.587 | 5.3333 | - | - | - | - | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48
07/18/18 @ 05:36 | ERC-w15-v03-airHP.pd2 | ERC-w15-v03-airHP | California (Title 24) | Blythe Area (CZ15) | Palm Springs | 24998.5 | 14.5001 | 0 | 0 | 0.85555 | 0.0051035 | 0 | 7.0705 | 0 | 0 | 3.6399 | 0 | 5.6858 | 31.7571 | 0 | 0 | 0 | 0 | 0 | 19.9978 | 0 | 0 | 0 | 0 | 0 | 0 | 19.9978 | 16.0918 | 0 | 0 | 0 | 0 | 0 | 1.436 | 0 | 0 | 1.9224 | 0 | 2.3092 | 21.7594 | 0 | 0 | 0 | 0 | 0 | 11.5274 | 0 | 0 | 0 | 0 | 0 | 0 | 11.5274 | 125.51 | 6.4444 | - | - | - | - | 0 | 0 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58
07/18/18 @ 05:36 | ERC-w16-v03-airHP.pd2 | ERC-w16-v03-airHP | California (Title 24) | Mount Shasta Area (CZ16) | Blue Canyon AP | 24998.5 | 1.8246 | 0 | 0 | 8.2269 | 1.9812 | 0 | 3.6074 | 0 | 0 | 3.6399 | 0 | 5.6858 | 24.9658 | 0 | 0 | 0 | 0 | 0 | 26.7377 | 0 | 0 | 0 | 0 | 0 | 0 | 26.7377 | 0 | 0 | 0 | 3.8537 | 17.7337 | 0 | 0.67633 | 0 | 0 | 0.57672 | 0 | 0.53208 | 23.3725 | 0 | 0 | 0 | 0 | 0 | 15.114 | 0 | 0 | 0 | 0 | 0 | 0 | 15.114 | 59.4385 | 2.7778 | - | - | - | - | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25
07/18/18 @ 05:37 | ERC-w01-v03-airAC.pd2 | ERC-w01-v03-airAC | California (Title 24) | Arcata Area (CZ01) | Arcata | 24998.5 | 0.37325 | 0 | 0 | 0 | 0 | 0 | 2.6865 | 0 | 0 | 3.6399 | 0 | 5.6858 | 12.3855 | 0 | 0 | 0 | 80.955 | 0 | 26.8414 | 0 | 0 | 0 | 0 | 0 | 0 | 107.796 | 3.2977 | 0 | 0 | 0 | 0 | 0 | 0.53501 | 0 | 0 | 1.9224 | 0 | 2.3092 | 8.0643 | 0 | 0 | 0 | 85.9708 | 0 | 8.7311 | 0 | 0 | 0 | 0 | 0 | 0 | 94.7019 | 43.976 | 3.5556 | - | - | - | - | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32
07/18/18 @ 05:37 | ERC-w02-v03-airAC.pd2 | ERC-w02-v03-airAC | California (Title 24) | Santa Rosa Area (CZ02) | Santa Rosa | 24998.5 | 3.2386 | 0 | 0 | 0 | 0 | 0 | 4.3987 | 0 | 0 | 3.6399 | 0 | 5.6858 | 16.963 | 0 | 0 | 0 | 56.9529 | 0 | 25.0795 | 0 | 0 | 0 | 0 | 0 | 0 | 82.0324 | 8.8208 | 0 | 0 | 0 | 0 | 0 | 0.94167 | 0 | 0 | 1.9224 | 0 | 2.3092 | 13.9941 | 0 | 0 | 0 | 94.7574 | 0 | 8.1155 | 0 | 0 | 0 | 0 | 0 | 0 | 102.873 | 90.6591 | 0.55556 | - | - | - | - | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
07/18/18 @ 05:38 | ERC-w03-v03-airAC.pd2 | ERC-w03-v03-airAC | California (Title 24) | Oakland Area (CZ03) | Oakland AP | 24998.5 | 1.8164 | 0 | 0 | 0 | 0 | 0 | 3.5341 | 0 | 0 | 3.6399 | 0 | 5.6858 | 14.6763 | 0 | 0 | 0 | 45.7997 | 0 | 25.2069 | 0 | 0 | 0 | 0 | 0 | 0 | 71.0066 | 6.4926 | 0 | 0 | 0 | 0 | 0 | 0.86485 | 0 | 0 | 1.9224 | 0 | 2.3092 | 11.589 | 0 | 0 | 0 | 90.3713 | 0 | 0.73746 | 0 | 0 | 0 | 0 | 0 | 0 | 91.1087 | 67.028 | 0.44444 | - | - | - | - | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
07/18/18 @ 05:38 | ERC-w04-v03-airAC.pd2 | ERC-w04-v03-airAC | California (Title 24) | Sunnyvale Area (CZ04) | San Jose | 24998.5 | 3.6879 | 0 | 0 | 0 | 0 | 0 | 4.4257 | 0 | 0 | 3.6399 | 0 | 5.6858 | 17.4392 | 0 | 0 | 0 | 44.9322 | 0 | 24.4636 | 0 | 0 | 0 | 0 | 0 | 0 | 69.3958 | 8.544 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0 | 0 | 1.9224 | 0 | 2.3092 | 13.8039 | 0 | 0 | 0 | 86.063 | 0 | 7.9137 | 0 | 0 | 0 | 0 | 0 | 0 | 93.9767 | 82.271 | 2.5556 | - | - | - | - | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23
07/18/18 @ 05:39 | ERC-w05-v03-airAC.pd2 | ERC-w05-v03-airAC | California (Title 24) | Santa Maria Area (CZ05) | Santa Maria AP | 24998.5 | 2.2402 | 0 | 0 | 0 | 0 | 0 | 3.763 | 0 | 0 | 3.6399 | 0 | 5.6858 | 15.3289 | 0 | 0 | 0 | 53.1674 | 0 | 25.5152 | 0 | 0 | 0 | 0 | 0 | 0 | 78.6827 | 6.6979 | 0 | 0 | 0 | 0 | 0 | 0.85801 | 0 | 0 | 1.9224 | 0 | 2.3092 | 11.7875 | 0 | 0 | 0 | 87.7162 | 0 | 8.2154 | 0 | 0 | 0 | 0 | 0 | 0 | 95.9316 | 70.295 | 4.5556 | - | - | - | - | 0 | 0 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41
07/18/18 @ 05:39 | ERC-w06-v03-airAC.pd2 | ERC-w06-v03-airAC | California (Title 24) | Los Angeles Area (CZ06) | Torrance | 24998.5 | 4.0644 | 0 | 0 | 0 | 0 | 0 | 3.671 | 0 | 0 | 3.6399 | 0 | 5.6858 | 17.0612 | 0 | 0 | 0 | 27.8409 | 0 | 23.7864 | 0 | 0 | 0 | 0 | 0 | 0 | 51.6273 | 8.3876 | 0 | 0 | 0 | 0 | 0 | 0.99177 | 0 | 0 | 1.9224 | 0 | 2.3092 | 13.611 | 0 | 0 | 0 | 77.2048 | 0 | 7.4901 | 0 | 0 | 0 | 0 | 0 | 0 | 84.6949 | 92.9834 | 2.2222 | - | - | - | - | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20
07/18/18 @ 05:40 | ERC-w07-v03-airAC.pd2 | ERC-w07-v03-airAC | California (Title 24) | San Diego Area (CZ07) | San Diego AP | 24998.5 | 3.2606 | 0 | 0 | 0 | 0 | 0 | 2.6375 | 0 | 0 | 3.6399 | 0 | 5.6858 | 15.2239 | 0 | 0 | 0 | 17.0842 | 0 | 23.5455 | 0 | 0 | 0 | 0 | 0 | 0 | 40.6297 | 6.7487 | 0 | 0 | 0 | 0 | 0 | 0.86348 | 0 | 0 | 1.9224 | 0 | 2.3092 | 11.8437 | 0 | 0 | 0 | 57.3173 | 0 | 7.5807 | 0 | 0 | 0 | 0 | 0 | 0 | 64.898 | 77.494 | 7.4444 | - | - | - | - | 0 | 0 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67
07/18/18 @ 05:40 | ERC-w08-v03-airAC.pd2 | ERC-w08-v03-airAC | California (Title 24) | El Toro Area (CZ08) | Fullerton | 24998.5 | 5.2519 | 0 | 0 | 0 | 0 | 0 | 4.8337 | 0 | 0 | 3.6399 | 0 | 5.6858 | 19.4114 | 0 | 0 | 0 | 23.5147 | 0 | 23.2257 | 0 | 0 | 0 | 0 | 0 | 0 | 46.7405 | 11.8808 | 0 | 0 | 0 | 0 | 0 | 1.2462 | 0 | 0 | 1.9224 | 0 | 2.3092 | 17.3586 | 0 | 0 | 0 | 75.9412 | 0 | 7.5014 | 0 | 0 | 0 | 0 | 0 | 0 | 83.4426 | 96.9532 | 9.6667 | - | - | - | - | 0 | 0 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87
07/18/18 @ 05:40 | ERC-w09-v03-airAC.pd2 | ERC-w09-v03-airAC | California (Title 24) | Pasadena Area (CZ09) | Burbank AP | 24998.5 | 5.754 | 0 | 0 | 0 | 0 | 0 | 5.4329 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.5125 | 0 | 0 | 0 | 28.5256 | 0 | 23.23 | 0 | 0 | 0 | 0 | 0 | 0 | 51.7557 | 12.8719 | 0 | 0 | 0 | 0 | 0 | 1.3142 | 0 | 0 | 1.9224 | 0 | 2.3092 | 18.4177 | 0 | 0 | 0 | 78.2557 | 0 | 7.5201 | 0 | 0 | 0 | 0 | 0 | 0 | 85.7757 | 113.43 | 4.4444 | - | - | - | - | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
07/18/18 @ 05:41 | ERC-w10-v03-airAC.pd2 | ERC-w10-v03-airAC | California (Title 24) | San Bernardino Area (CZ10) | Riverside FS 3 | 24998.5 | 6.1109 | 0 | 0 | 0 | 0 | 0 | 5.4329 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.8695 | 0 | 0 | 0 | 28.6213 | 0 | 23.1378 | 0 | 0 | 0 | 0 | 0 | 0 | 51.7591 | 13.0533 | 0 | 0 | 0 | 0 | 0 | 1.2909 | 0 | 0 | 1.9224 | 0 | 2.3092 | 18.5758 | 0 | 0 | 0 | 83.3326 | 0 | 7.2025 | 0 | 0 | 0 | 0 | 0 | 0 | 90.5351 | 100.137 | 4.3333 | - | - | - | - | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39
07/18/18 @ 05:41 | ERC-w11-v03-airAC.pd2 | ERC-w11-v03-airAC | California (Title 24) | Red Bluff Area (CZ11) | Red Bluff AP | 24998.5 | 6.0193 | 0 | 0 | 0 | 0 | 0 | 5.3508 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.6958 | 0 | 0 | 0 | 51.4968 | 0 | 23.5211 | 0 | 0 | 0 | 0 | 0 | 0 | 75.0178 | 10.491 | 0 | 0 | 0 | 0 | 0 | 1.0587 | 0 | 0 | 1.9224 | 0 | 2.3092 | 15.7813 | 0 | 0 | 0 | 101.816 | 0 | 0.74428 | 0 | 0 | 0 | 0 | 0 | 0 | 102.561 | 85.4691 | 4 | - | - | - | - | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36
07/18/18 @ 05:42 | ERC-w12-v03-airAC.pd2 | ERC-w12-v03-airAC | California (Title 24) | Sacramento Area (CZ12) | Sacramento AP | 24998.5 | 4.5874 | 0 | 0 | 0 | 0 | 0 | 4.786 | 0 | 0 | 3.6399 | 0 | 5.6858 | 18.6991 | 0 | 0 | 0 | 49.4242 | 0 | 24.1193 | 0 | 0 | 0 | 0 | 0 | 0 | 73.5435 | 9.1344 | 0 | 0 | 0 | 0 | 0 | 1.0146 | 0 | 0 | 1.9224 | 0 | 2.3092 | 14.3806 | 0 | 0 | 0 | 98.5425 | 0 | 0.74094 | 0 | 0 | 0 | 0 | 0 | 0 | 99.2835 | 88.7821 | 3.4444 | - | - | - | - | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31
07/18/18 @ 05:42 | ERC-w13-v03-airAC.pd2 | ERC-w13-v03-airAC | California (Title 24) | Fresno Area (CZ13) | Fresno AP | 24998.5 | 6.6377 | 0 | 0 | 0 | 0 | 0 | 5.2562 | 0 | 0 | 3.6399 | 0 | 5.6858 | 21.2196 | 0 | 0 | 0 | 44.8116 | 0 | 23.2154 | 0 | 0 | 0 | 0 | 0 | 0 | 68.0269 | 9.9298 | 0 | 0 | 0 | 0 | 0 | 1.0514 | 0 | 0 | 1.9224 | 0 | 2.3092 | 15.2128 | 0 | 0 | 0 | 84.8615 | 0 | 7.5787 | 0 | 0 | 0 | 0 | 0 | 0 | 92.4402 | 90.7994 | 4.8889 | - | - | - | - | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44
07/18/18 @ 05:43 | ERC-w14-v03-airAC.pd2 | ERC-w14-v03-airAC | California (Title 24) | China Lake Area (CZ14) | Palmdale AP | 24998.5 | 6.6092 | 0 | 0 | 0 | 0 | 0 | 5.65 | 0 | 0 | 3.6399 | 0 | 5.6858 | 21.585 | 0 | 0 | 0 | 52.7835 | 0 | 23.6553 | 0 | 0 | 0 | 0 | 0 | 0 | 76.4388 | 11.2707 | 0 | 0 | 0 | 0 | 0 | 1.1322 | 0 | 0 | 1.9224 | 0 | 2.3092 | 16.6345 | 0 | 0 | 0 | 101.529 | 0 | 7.7447 | 0 | 0 | 0 | 0 | 0 | 0 | 109.273 | 131.506 | 5.4444 | - | - | - | - | 0 | 0 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49
07/18/18 @ 05:43 | ERC-w15-v03-airAC.pd2 | ERC-w15-v03-airAC | California (Title 24) | Blythe Area (CZ15) | Palm Springs | 24998.5 | 14.428 | 0 | 0 | 0 | 0 | 0 | 7.2551 | 0 | 0 | 3.6399 | 0 | 5.6858 | 31.0089 | 0 | 0 | 0 | 12.3012 | 0 | 19.9988 | 0 | 0 | 0 | 0 | 0 | 0 | 32.3 | 16.5288 | 0 | 0 | 0 | 0 | 0 | 1.4737 | 0 | 0 | 1.9224 | 0 | 2.3092 | 22.2342 | 0 | 0 | 0 | 65.2176 | 0 | 6.0104 | 0 | 0 | 0 | 0 | 0 | 0 | 71.228 | 125.217 | 6.4444 | - | - | - | - | 0 | 0 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58
07/18/18 @ 05:44 | ERC-w16-v03-airAC.pd2 | ERC-w16-v03-airAC | California (Title 24) | Mount Shasta Area (CZ16) | Blue Canyon AP | 24998.5 | 1.8302 | 0 | 0 | 0 | 0 | 0 | 3.7543 | 0 | 0 | 3.6399 | 0 | 5.6858 | 14.9103 | 0 | 0 | 0 | 105.931 | 0 | 26.7322 | 0 | 0 | 0 | 0 | 0 | 0 | 132.663 | 5.2737 | 0 | 0 | 0 | 0 | 0 | 0.70466 | 0 | 0 | 1.9224 | 0 | 2.3092 | 10.21 | 0 | 0 | 0 | 119.491 | 0 | 0.76723 | 0 | 0 | 0 | 0 | 0 | 0 | 120.258 | 58.5526 | 2.7778 | - | - | - | - | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25

## Post_Batch_Output
[7 empty] | Electric Usage: | [12 empty] | Fuel Usage: | [12 empty] | Non-Coincident Peak Electric Demand: | [12 empty] | Non-Coincident Peak Fuel Demand: | [18 empty] | Utility Bills (sums by rate type):
[7 empty] | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | PS-E | SS-D | (calced) | BEPS | BEPS | BEPS | BEPS | ES-E
[7 empty] | Space | Heat | Refrig | Space | Heat Pump | Domestic | Ventilation | Pumps | Exterior | Misc | Task | Ambient |  | Space | Heat | Refrig | Space | Heat Pump | Domestic | Ventilation | Pumps | Exterior | Misc | Task | Ambient |  | Space | Heat | Refrig | Space | Heat Pump | Domestic | Ventilation | Pumps | Exterior | Misc | Task | Ambient |  | Space | Heat | Refrig | Space | Heat Pump | Domestic | Ventilation | Pumps | Exterior | Misc | Task | Ambient |  | Peak Cooling | Multi-hour | Zone Outsd | Plant Ld | Cool Loads | Heat Loads |  | Chilled | [8 empty] | Electric
|  | (data from wizard...) |  |  |  |  | Cooling | Reject | Display | Heating | Supplement | Hot Water | Fans | & Aux | Usage | Equip | Lights | Lights | Total | Cooling | Reject | Display | Heating | Supplement | Hot Water | Fans | & Aux | Usage | Equip | Lights | Lights | Total | Cooling | Reject | Display | Heating | Supplement | Hot Water | Fans | & Aux | Usage | Equip | Lights | Lights | Total | Cooling | Reject | Display | Heating | Supplement | Hot Water | Fans | & Aux | Usage | Equip | Lights | Lights | Total | Coil Load | Elec Demand | Thrtlng Rng | Not Met | Not Met | Not Met | Steam | Water | Electric | Natural Gas | LPG | Fuel Oil | Diesel Oil | Coal | Methanol | Other Fuel | Sale | Total
Date & Time of Run | File Name | Name | Region | State | City | Sqft | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MWh | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | MBtu | kW | kW | kW | kW | kW | kW | kW | kW | kW | kW | kW | kW | kW | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtuh | kBtu | kW | % hrs | % hrs | # hrs | # hrs | $ | $ | $ | $ | $ | $ | $ | $ | $ | $ | $ | $
07/18/18 @ 05:52 | ERC-w01-v03-airHP.pd2 | ERC-w01-v03-airHP | California (Title 24) | Arcata Area (CZ01) | Arcata | 24998.5 | 0.28507 | 0 | 0 | 5.3316 | 0.79888 | 0 | 2.578 | 0 | 0 | 3.6399 | 0 | 5.6858 | 18.3193 | 0 | 0 | 0 | 0 | 0 | 26.8554 | 0 | 0 | 0 | 0 | 0 | 0 | 26.8554 | 0 | 0 | 0 | 3.025 | 11.4307 | 0 | 0.50775 | 0 | 0 | 0.09612 | 0 | 1.3952 | 16.4548 | 0 | 0 | 0 | 0 | 0 | 14.14 | 0 | 0 | 0 | 0 | 0 | 0 | 14.14 | 44.5725 | 3.3333 | - | - | - | - | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30
07/18/18 @ 05:53 | ERC-w02-v03-airHP.pd2 | ERC-w02-v03-airHP | California (Title 24) | Santa Rosa Area (CZ02) | Santa Rosa | 24998.5 | 2.8059 | 0 | 0 | 4.1877 | 0.30493 | 0 | 4.3093 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.9337 | 0 | 0 | 0 | 0 | 0 | 25.0624 | 0 | 0 | 0 | 0 | 0 | 0 | 25.0624 | 0 | 0 | 0 | 5.8394 | 9.4683 | 0 | 0.91169 | 0 | 0 | 0.57672 | 0 | 0.53208 | 17.3282 | 0 | 0 | 0 | 0 | 0 | 13.5813 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5813 | 85.7735 | 0.55556 | - | - | - | - | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
07/18/18 @ 05:53 | ERC-w03-v03-airHP.pd2 | ERC-w03-v03-airHP | California (Title 24) | Oakland Area (CZ03) | Oakland AP | 24998.5 | 1.4788 | 0 | 0 | 3.1032 | 0.070553 | 0 | 3.4507 | 0 | 0 | 3.6399 | 0 | 5.6858 | 17.4291 | 0 | 0 | 0 | 0 | 0 | 25.1938 | 0 | 0 | 0 | 0 | 0 | 0 | 25.1938 | 0 | 0 | 0 | 5.4414 | 7.6108 | 0 | 0.83342 | 0 | 0 | 0.57672 | 0 | 0.53208 | 14.9944 | 0 | 0 | 0 | 0 | 0 | 13.3954 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3954 | 67.4686 | 0.44444 | - | - | - | - | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
07/18/18 @ 05:54 | ERC-w04-v03-airHP.pd2 | ERC-w04-v03-airHP | California (Title 24) | Sunnyvale Area (CZ04) | San Jose | 24998.5 | 3.208 | 0 | 0 | 3.2992 | 0.14119 | 0 | 4.3233 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.2974 | 0 | 0 | 0 | 0 | 0 | 24.4411 | 0 | 0 | 0 | 0 | 0 | 0 | 24.4411 | 0 | 0 | 0 | 6.5623 | 5.5064 | 0 | 0.9958 | 0 | 0 | 0.57672 | 0 | 0.53208 | 14.1733 | 0 | 0 | 0 | 0 | 0 | 13.2896 | 0 | 0 | 0 | 0 | 0 | 0 | 13.2896 | 82.8484 | 2.5556 | - | - | - | - | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23
07/18/18 @ 05:54 | ERC-w05-v03-airHP.pd2 | ERC-w05-v03-airHP | California (Title 24) | Santa Maria Area (CZ05) | Santa Maria AP | 24998.5 | 1.7948 | 0 | 0 | 3.7411 | 0.17816 | 0 | 3.665 | 0 | 0 | 3.6399 | 0 | 5.6858 | 18.7048 | 0 | 0 | 0 | 0 | 0 | 25.4967 | 0 | 0 | 0 | 0 | 0 | 0 | 25.4967 | 0 | 0 | 0 | 5.3456 | 6.3932 | 0 | 0.823 | 0 | 0 | 0.09612 | 0 | 1.3952 | 14.0531 | 0 | 0 | 0 | 0 | 0 | 13.4978 | 0 | 0 | 0 | 0 | 0 | 0 | 13.4978 | 70.762 | 3.8889 | - | - | - | - | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35
07/18/18 @ 05:54 | ERC-w06-v03-airHP.pd2 | ERC-w06-v03-airHP | California (Title 24) | Los Angeles Area (CZ06) | Torrance | 24998.5 | 3.4676 | 0 | 0 | 1.8772 | 0.025913 | 0 | 3.5984 | 0 | 0 | 3.6399 | 0 | 5.6858 | 18.2948 | 0 | 0 | 0 | 0 | 0 | 23.7572 | 0 | 0 | 0 | 0 | 0 | 0 | 23.7572 | 8.075 | 0 | 0 | 0 | 0 | 0 | 0.95369 | 0 | 0 | 1.9224 | 0 | 2.3092 | 13.2603 | 0 | 0 | 0 | 0 | 0 | 12.7037 | 0 | 0 | 0 | 0 | 0 | 0 | 12.7037 | 90.8732 | 2.2222 | - | - | - | - | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20
07/18/18 @ 05:54 | ERC-w07-v03-airHP.pd2 | ERC-w07-v03-airHP | California (Title 24) | San Diego Area (CZ07) | San Diego AP | 24998.5 | 2.7112 | 0 | 0 | 1.093 | 0 | 0 | 2.598 | 0 | 0 | 3.6399 | 0 | 5.6858 | 15.728 | 0 | 0 | 0 | 0 | 0 | 23.5193 | 0 | 0 | 0 | 0 | 0 | 0 | 23.5193 | 6.6879 | 0 | 0 | 0 | 0 | 0 | 0.82784 | 0 | 0 | 1.9224 | 0 | 2.3092 | 11.7474 | 0 | 0 | 0 | 0 | 0 | 12.471 | 0 | 0 | 0 | 0 | 0 | 0 | 12.471 | 78.2452 | 5.8889 | - | - | - | - | 0 | 0 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53
07/18/18 @ 05:55 | ERC-w08-v03-airHP.pd2 | ERC-w08-v03-airHP | California (Title 24) | El Toro Area (CZ08) | Fullerton | 24998.5 | 4.6137 | 0 | 0 | 1.5736 | 0.0076698 | 0 | 4.7825 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.3033 | 0 | 0 | 0 | 0 | 0 | 23.1932 | 0 | 0 | 0 | 0 | 0 | 0 | 23.1932 | 11.6483 | 0 | 0 | 0 | 0 | 0 | 1.2105 | 0 | 0 | 1.9224 | 0 | 2.3092 | 17.0904 | 0 | 0 | 0 | 0 | 0 | 12.445 | 0 | 0 | 0 | 0 | 0 | 0 | 12.445 | 97.6017 | 8 | - | - | - | - | 0 | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72
07/18/18 @ 05:55 | ERC-w09-v03-airHP.pd2 | ERC-w09-v03-airHP | California (Title 24) | Pasadena Area (CZ09) | Burbank AP | 24998.5 | 5.1449 | 0 | 0 | 1.9585 | 0.019711 | 0 | 5.3553 | 0 | 0 | 3.6399 | 0 | 5.6858 | 21.8042 | 0 | 0 | 0 | 0 | 0 | 23.2001 | 0 | 0 | 0 | 0 | 0 | 0 | 23.2001 | 12.2873 | 0 | 0 | 0 | 0 | 0 | 1.2783 | 0 | 0 | 1.9224 | 0 | 2.3092 | 17.7972 | 0 | 0 | 0 | 0 | 0 | 12.5746 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5746 | 114.338 | 4.4444 | - | - | - | - | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
07/18/18 @ 05:56 | ERC-w10-v03-airHP.pd2 | ERC-w10-v03-airHP | California (Title 24) | San Bernardino Area (CZ10) | Riverside FS 3 | 24998.5 | 5.527 | 0 | 0 | 2.0025 | 0.036704 | 0 | 5.3759 | 0 | 0 | 3.6399 | 0 | 5.6858 | 22.2678 | 0 | 0 | 0 | 0 | 0 | 23.1058 | 0 | 0 | 0 | 0 | 0 | 0 | 23.1058 | 12.4939 | 0 | 0 | 0 | 0 | 0 | 1.2562 | 0 | 0 | 1.9224 | 0 | 2.3092 | 17.9817 | 0 | 0 | 0 | 0 | 0 | 12.6499 | 0 | 0 | 0 | 0 | 0 | 0 | 12.6499 | 101.184 | 4.3333 | - | - | - | - | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39
07/18/18 @ 05:56 | ERC-w11-v03-airHP.pd2 | ERC-w11-v03-airHP | California (Title 24) | Red Bluff Area (CZ11) | Red Bluff AP | 24998.5 | 5.5938 | 0 | 0 | 3.8256 | 0.18586 | 0 | 5.2331 | 0 | 0 | 3.6399 | 0 | 5.6858 | 24.1641 | 0 | 0 | 0 | 0 | 0 | 23.5044 | 0 | 0 | 0 | 0 | 0 | 0 | 23.5044 | 0 | 0 | 0 | 6.61 | 8.0958 | 0 | 1.024 | 0 | 0 | 0.57672 | 0 | 0.53208 | 16.8387 | 0 | 0 | 0 | 0 | 0 | 13.5102 | 0 | 0 | 0 | 0 | 0 | 0 | 13.5102 | 86.0235 | 4 | - | - | - | - | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36
07/18/18 @ 05:57 | ERC-w12-v03-airHP.pd2 | ERC-w12-v03-airHP | California (Title 24) | Sacramento Area (CZ12) | Sacramento AP | 24998.5 | 4.1641 | 0 | 0 | 3.6204 | 0.19076 | 0 | 4.6772 | 0 | 0 | 3.6399 | 0 | 5.6858 | 21.9783 | 0 | 0 | 0 | 0 | 0 | 24.1015 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1015 | 0 | 0 | 0 | 6.2926 | 8.224 | 0 | 0.98129 | 0 | 0 | 0.57672 | 0 | 0.53208 | 16.6066 | 0 | 0 | 0 | 0 | 0 | 13.3965 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3965 | 89.5136 | 3.4444 | - | - | - | - | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31
07/18/18 @ 05:57 | ERC-w13-v03-airHP.pd2 | ERC-w13-v03-airHP | California (Title 24) | Fresno Area (CZ13) | Fresno AP | 24998.5 | 6.158 | 0 | 0 | 3.3205 | 0.13915 | 0 | 5.1391 | 0 | 0 | 3.6399 | 0 | 5.6858 | 24.0825 | 0 | 0 | 0 | 0 | 0 | 23.1946 | 0 | 0 | 0 | 0 | 0 | 0 | 23.1946 | 9.29 | 0 | 0 | 0 | 0 | 0 | 1.018 | 0 | 0 | 1.9224 | 0 | 2.3092 | 14.5396 | 0 | 0 | 0 | 0 | 0 | 13.3156 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3156 | 91.4789 | 4.8889 | - | - | - | - | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44
07/18/18 @ 05:57 | ERC-w14-v03-airHP.pd2 | ERC-w14-v03-airHP | California (Title 24) | China Lake Area (CZ14) | Palmdale AP | 24998.5 | 6.1206 | 0 | 0 | 4.0588 | 0.2932 | 0 | 5.5567 | 0 | 0 | 3.6399 | 0 | 5.6858 | 25.355 | 0 | 0 | 0 | 0 | 0 | 23.6325 | 0 | 0 | 0 | 0 | 0 | 0 | 23.6325 | 10.6852 | 0 | 0 | 0 | 0 | 0 | 1.1011 | 0 | 0 | 1.9224 | 0 | 2.3092 | 16.0179 | 0 | 0 | 0 | 0 | 0 | 13.6149 | 0 | 0 | 0 | 0 | 0 | 0 | 13.6149 | 129.597 | 5.3333 | - | - | - | - | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48
07/18/18 @ 05:57 | ERC-w15-v03-airHP.pd2 | ERC-w15-v03-airHP | California (Title 24) | Blythe Area (CZ15) | Palm Springs | 24998.5 | 13.7581 | 0 | 0 | 0.82706 | 0.0050929 | 0 | 7.1668 | 0 | 0 | 3.6399 | 0 | 5.6858 | 31.0827 | 0 | 0 | 0 | 0 | 0 | 19.9608 | 0 | 0 | 0 | 0 | 0 | 0 | 19.9608 | 15.7188 | 0 | 0 | 0 | 0 | 0 | 1.436 | 0 | 0 | 1.9224 | 0 | 2.3092 | 21.3864 | 0 | 0 | 0 | 0 | 0 | 11.5274 | 0 | 0 | 0 | 0 | 0 | 0 | 11.5274 | 125.524 | 6.4444 | - | - | - | - | 0 | 0 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58
07/18/18 @ 05:58 | ERC-w16-v03-airHP.pd2 | ERC-w16-v03-airHP | California (Title 24) | Mount Shasta Area (CZ16) | Blue Canyon AP | 24998.5 | 1.6465 | 0 | 0 | 7.9568 | 1.8279 | 0 | 3.6561 | 0 | 0 | 3.6399 | 0 | 5.6858 | 24.413 | 0 | 0 | 0 | 0 | 0 | 26.7415 | 0 | 0 | 0 | 0 | 0 | 0 | 26.7415 | 0 | 0 | 0 | 3.8537 | 17.7337 | 0 | 0.67633 | 0 | 0 | 0.57672 | 0 | 0.53208 | 23.3725 | 0 | 0 | 0 | 0 | 0 | 15.114 | 0 | 0 | 0 | 0 | 0 | 0 | 15.114 | 58.2386 | 2.7778 | - | - | - | - | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25
07/18/18 @ 05:58 | ERC-w01-v03-airAC.pd2 | ERC-w01-v03-airAC | California (Title 24) | Arcata Area (CZ01) | Arcata | 24998.5 | 0.29625 | 0 | 0 | 0 | 0 | 0 | 2.713 | 0 | 0 | 3.6399 | 0 | 5.6858 | 12.335 | 0 | 0 | 0 | 77.68 | 0 | 26.8488 | 0 | 0 | 0 | 0 | 0 | 0 | 104.529 | 3.3019 | 0 | 0 | 0 | 0 | 0 | 0.53501 | 0 | 0 | 1.9224 | 0 | 2.3092 | 8.0685 | 0 | 0 | 0 | 85.9668 | 0 | 8.7311 | 0 | 0 | 0 | 0 | 0 | 0 | 94.6979 | 44.0398 | 3.3333 | - | - | - | - | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30
07/18/18 @ 05:58 | ERC-w02-v03-airAC.pd2 | ERC-w02-v03-airAC | California (Title 24) | Santa Rosa Area (CZ02) | Santa Rosa | 24998.5 | 2.805 | 0 | 0 | 0 | 0 | 0 | 4.4497 | 0 | 0 | 3.6399 | 0 | 5.6858 | 16.5803 | 0 | 0 | 0 | 55.4879 | 0 | 25.0603 | 0 | 0 | 0 | 0 | 0 | 0 | 80.5483 | 8.4832 | 0 | 0 | 0 | 0 | 0 | 0.94167 | 0 | 0 | 1.9224 | 0 | 2.3092 | 13.6564 | 0 | 0 | 0 | 94.7469 | 0 | 8.1155 | 0 | 0 | 0 | 0 | 0 | 0 | 102.862 | 85.3334 | 0.55556 | - | - | - | - | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
07/18/18 @ 05:58 | ERC-w03-v03-airAC.pd2 | ERC-w03-v03-airAC | California (Title 24) | Oakland Area (CZ03) | Oakland AP | 24998.5 | 1.4806 | 0 | 0 | 0 | 0 | 0 | 3.577 | 0 | 0 | 3.6399 | 0 | 5.6858 | 14.3833 | 0 | 0 | 0 | 44.5955 | 0 | 25.1917 | 0 | 0 | 0 | 0 | 0 | 0 | 69.7872 | 6.497 | 0 | 0 | 0 | 0 | 0 | 0.86485 | 0 | 0 | 1.9224 | 0 | 2.3092 | 11.5934 | 0 | 0 | 0 | 90.3713 | 0 | 0.73746 | 0 | 0 | 0 | 0 | 0 | 0 | 91.1087 | 67.0942 | 0.44444 | - | - | - | - | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
07/18/18 @ 05:58 | ERC-w04-v03-airAC.pd2 | ERC-w04-v03-airAC | California (Title 24) | Sunnyvale Area (CZ04) | San Jose | 24998.5 | 3.194 | 0 | 0 | 0 | 0 | 0 | 4.4644 | 0 | 0 | 3.6399 | 0 | 5.6858 | 16.9841 | 0 | 0 | 0 | 43.9422 | 0 | 24.4396 | 0 | 0 | 0 | 0 | 0 | 0 | 68.3819 | 8.5484 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0 | 0 | 1.9224 | 0 | 2.3092 | 13.8083 | 0 | 0 | 0 | 86.0443 | 0 | 7.9136 | 0 | 0 | 0 | 0 | 0 | 0 | 93.9579 | 82.3243 | 2.5556 | - | - | - | - | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23
07/18/18 @ 05:59 | ERC-w05-v03-airAC.pd2 | ERC-w05-v03-airAC | California (Title 24) | Santa Maria Area (CZ05) | Santa Maria AP | 24998.5 | 1.8008 | 0 | 0 | 0 | 0 | 0 | 3.8205 | 0 | 0 | 3.6399 | 0 | 5.6858 | 14.9471 | 0 | 0 | 0 | 51.9138 | 0 | 25.4943 | 0 | 0 | 0 | 0 | 0 | 0 | 77.4081 | 6.7036 | 0 | 0 | 0 | 0 | 0 | 0.85801 | 0 | 0 | 1.9224 | 0 | 2.3092 | 11.7932 | 0 | 0 | 0 | 87.7001 | 0 | 8.2153 | 0 | 0 | 0 | 0 | 0 | 0 | 95.9154 | 70.3625 | 3.8889 | - | - | - | - | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35
07/18/18 @ 05:59 | ERC-w06-v03-airAC.pd2 | ERC-w06-v03-airAC | California (Title 24) | Los Angeles Area (CZ06) | Torrance | 24998.5 | 3.4502 | 0 | 0 | 0 | 0 | 0 | 3.741 | 0 | 0 | 3.6399 | 0 | 5.6858 | 16.5171 | 0 | 0 | 0 | 27.2261 | 0 | 23.7565 | 0 | 0 | 0 | 0 | 0 | 0 | 50.9826 | 8.3876 | 0 | 0 | 0 | 0 | 0 | 0.99177 | 0 | 0 | 1.9224 | 0 | 2.3092 | 13.6109 | 0 | 0 | 0 | 77.2035 | 0 | 7.4901 | 0 | 0 | 0 | 0 | 0 | 0 | 84.6935 | 93.038 | 2.2222 | - | - | - | - | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20
07/18/18 @ 05:59 | ERC-w07-v03-airAC.pd2 | ERC-w07-v03-airAC | California (Title 24) | San Diego Area (CZ07) | San Diego AP | 24998.5 | 2.7043 | 0 | 0 | 0 | 0 | 0 | 2.7085 | 0 | 0 | 3.6399 | 0 | 5.6858 | 14.7386 | 0 | 0 | 0 | 16.6501 | 0 | 23.519 | 0 | 0 | 0 | 0 | 0 | 0 | 40.169 | 6.7519 | 0 | 0 | 0 | 0 | 0 | 0.86348 | 0 | 0 | 1.9224 | 0 | 2.3092 | 11.8469 | 0 | 0 | 0 | 57.254 | 0 | 7.5805 | 0 | 0 | 0 | 0 | 0 | 0 | 64.8345 | 77.5627 | 5.8889 | - | - | - | - | 0 | 0 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53
07/18/18 @ 05:59 | ERC-w08-v03-airAC.pd2 | ERC-w08-v03-airAC | California (Title 24) | El Toro Area (CZ08) | Fullerton | 24998.5 | 4.5867 | 0 | 0 | 0 | 0 | 0 | 4.9216 | 0 | 0 | 3.6399 | 0 | 5.6858 | 18.834 | 0 | 0 | 0 | 22.9245 | 0 | 23.193 | 0 | 0 | 0 | 0 | 0 | 0 | 46.1176 | 11.5754 | 0 | 0 | 0 | 0 | 0 | 1.2462 | 0 | 0 | 1.9224 | 0 | 2.3092 | 17.0531 | 0 | 0 | 0 | 75.8437 | 0 | 7.5011 | 0 | 0 | 0 | 0 | 0 | 0 | 83.3448 | 96.9993 | 8 | - | - | - | - | 0 | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72
07/18/18 @ 06:00 | ERC-w09-v03-airAC.pd2 | ERC-w09-v03-airAC | California (Title 24) | Pasadena Area (CZ09) | Burbank AP | 24998.5 | 5.1174 | 0 | 0 | 0 | 0 | 0 | 5.5051 | 0 | 0 | 3.6399 | 0 | 5.6858 | 19.9483 | 0 | 0 | 0 | 27.716 | 0 | 23.1998 | 0 | 0 | 0 | 0 | 0 | 0 | 50.9158 | 12.6391 | 0 | 0 | 0 | 0 | 0 | 1.3142 | 0 | 0 | 1.9224 | 0 | 2.3092 | 18.185 | 0 | 0 | 0 | 78.1812 | 0 | 7.5198 | 0 | 0 | 0 | 0 | 0 | 0 | 85.701 | 113.492 | 4.4444 | - | - | - | - | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
07/18/18 @ 06:00 | ERC-w10-v03-airAC.pd2 | ERC-w10-v03-airAC | California (Title 24) | San Bernardino Area (CZ10) | Riverside FS 3 | 24998.5 | 5.4958 | 0 | 0 | 0 | 0 | 0 | 5.5207 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.3422 | 0 | 0 | 0 | 27.7631 | 0 | 23.1054 | 0 | 0 | 0 | 0 | 0 | 0 | 50.8685 | 12.6949 | 0 | 0 | 0 | 0 | 0 | 1.2909 | 0 | 0 | 1.9224 | 0 | 2.3092 | 18.2174 | 0 | 0 | 0 | 83.3337 | 0 | 7.2025 | 0 | 0 | 0 | 0 | 0 | 0 | 90.5362 | 100.179 | 4.3333 | - | - | - | - | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39
07/18/18 @ 06:00 | ERC-w11-v03-airAC.pd2 | ERC-w11-v03-airAC | California (Title 24) | Red Bluff Area (CZ11) | Red Bluff AP | 24998.5 | 5.5863 | 0 | 0 | 0 | 0 | 0 | 5.4107 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.3227 | 0 | 0 | 0 | 49.5799 | 0 | 23.503 | 0 | 0 | 0 | 0 | 0 | 0 | 73.0829 | 10.4066 | 0 | 0 | 0 | 0 | 0 | 1.0587 | 0 | 0 | 1.9224 | 0 | 2.3092 | 15.6969 | 0 | 0 | 0 | 101.816 | 0 | 0.74428 | 0 | 0 | 0 | 0 | 0 | 0 | 102.561 | 85.4807 | 4 | - | - | - | - | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36
07/18/18 @ 06:00 | ERC-w12-v03-airAC.pd2 | ERC-w12-v03-airAC | California (Title 24) | Sacramento Area (CZ12) | Sacramento AP | 24998.5 | 4.1474 | 0 | 0 | 0 | 0 | 0 | 4.8327 | 0 | 0 | 3.6399 | 0 | 5.6858 | 18.3058 | 0 | 0 | 0 | 47.8346 | 0 | 24.1 | 0 | 0 | 0 | 0 | 0 | 0 | 71.9346 | 9.1344 | 0 | 0 | 0 | 0 | 0 | 1.0146 | 0 | 0 | 1.9224 | 0 | 2.3092 | 14.3806 | 0 | 0 | 0 | 98.5425 | 0 | 0.74094 | 0 | 0 | 0 | 0 | 0 | 0 | 99.2835 | 88.8333 | 3.4444 | - | - | - | - | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31
07/18/18 @ 06:01 | ERC-w13-v03-airAC.pd2 | ERC-w13-v03-airAC | California (Title 24) | Fresno Area (CZ13) | Fresno AP | 24998.5 | 6.1351 | 0 | 0 | 0 | 0 | 0 | 5.3025 | 0 | 0 | 3.6399 | 0 | 5.6858 | 20.7633 | 0 | 0 | 0 | 43.271 | 0 | 23.1936 | 0 | 0 | 0 | 0 | 0 | 0 | 66.4647 | 9.5987 | 0 | 0 | 0 | 0 | 0 | 1.0514 | 0 | 0 | 1.9224 | 0 | 2.3092 | 14.8816 | 0 | 0 | 0 | 84.8542 | 0 | 7.5787 | 0 | 0 | 0 | 0 | 0 | 0 | 92.4328 | 90.8442 | 4.8889 | - | - | - | - | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44
07/18/18 @ 06:01 | ERC-w14-v03-airAC.pd2 | ERC-w14-v03-airAC | California (Title 24) | China Lake Area (CZ14) | Palmdale AP | 24998.5 | 6.1208 | 0 | 0 | 0 | 0 | 0 | 5.7112 | 0 | 0 | 3.6399 | 0 | 5.6858 | 21.1578 | 0 | 0 | 0 | 51.4492 | 0 | 23.6312 | 0 | 0 | 0 | 0 | 0 | 0 | 75.0805 | 10.9911 | 0 | 0 | 0 | 0 | 0 | 1.1322 | 0 | 0 | 1.9224 | 0 | 2.3092 | 16.3549 | 0 | 0 | 0 | 101.577 | 0 | 7.7449 | 0 | 0 | 0 | 0 | 0 | 0 | 109.322 | 131.516 | 5.4444 | - | - | - | - | 0 | 0 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49
07/18/18 @ 06:01 | ERC-w15-v03-airAC.pd2 | ERC-w15-v03-airAC | California (Title 24) | Blythe Area (CZ15) | Palm Springs | 24998.5 | 13.6858 | 0 | 0 | 0 | 0 | 0 | 7.3539 | 0 | 0 | 3.6399 | 0 | 5.6858 | 30.3654 | 0 | 0 | 0 | 11.8909 | 0 | 19.9616 | 0 | 0 | 0 | 0 | 0 | 0 | 31.8525 | 16.1451 | 0 | 0 | 0 | 0 | 0 | 1.4737 | 0 | 0 | 1.9224 | 0 | 2.3092 | 21.8505 | 0 | 0 | 0 | 65.2158 | 0 | 6.0104 | 0 | 0 | 0 | 0 | 0 | 0 | 71.2262 | 125.251 | 6.4444 | - | - | - | - | 0 | 0 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58
07/18/18 @ 06:01 | ERC-w16-v03-airAC.pd2 | ERC-w16-v03-airAC | California (Title 24) | Mount Shasta Area (CZ16) | Blue Canyon AP | 24998.5 | 1.6524 | 0 | 0 | 0 | 0 | 0 | 3.8051 | 0 | 0 | 3.6399 | 0 | 5.6858 | 14.7832 | 0 | 0 | 0 | 101.584 | 0 | 26.736 | 0 | 0 | 0 | 0 | 0 | 0 | 128.32 | 5.2779 | 0 | 0 | 0 | 0 | 0 | 0.70466 | 0 | 0 | 1.9224 | 0 | 2.3092 | 10.2142 | 0 | 0 | 0 | 119.491 | 0 | 0.76723 | 0 | 0 | 0 | 0 | 0 | 0 | 120.258 | 57.4361 | 2.7778 | - | - | - | - | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25

## Tonnage
|  |  | kBTUH |  |  | Tons
CA | HVAC Type | CA and HVAC Type | Unit 1 | Unit 2 | Total | Total
01 | Pkg-AC | 01Pkg-AC | 22.369 | 23.294 | 45.663 | 3.8052
01 | Pkg-HP | 01Pkg-HP | 21.224 | 22.112 | 43.336 | 3.6113
02 | Pkg-AC | 02Pkg-AC | 39.577 | 40.794 | 80.371 | 6.6976
02 | Pkg-HP | 02Pkg-HP | 38.324 | 39.488 | 77.812 | 6.4843
03 | Pkg-AC | 03Pkg-AC | 36.377 | 37.438 | 73.815 | 6.1513
03 | Pkg-HP | 03Pkg-HP | 35.058 | 36.074 | 71.132 | 5.9277
04 | Pkg-AC | 04Pkg-AC | 43.132 | 44.634 | 87.766 | 7.3138
04 | Pkg-HP | 04Pkg-HP | 41.777 | 43.214 | 84.991 | 7.0826
05 | Pkg-AC | 05Pkg-AC | 35.677 | 37.554 | 73.231 | 6.1026
05 | Pkg-HP | 05Pkg-HP | 34.229 | 36.014 | 70.243 | 5.8536
06 | Pkg-AC | 06Pkg-AC | 41.762 | 42.885 | 84.647 | 7.0539
06 | Pkg-HP | 06Pkg-HP | 40.165 | 41.232 | 81.397 | 6.7831
07 | Pkg-AC | 07Pkg-AC | 36.186 | 37.512 | 73.698 | 6.1415
07 | Pkg-HP | 07Pkg-HP | 34.698 | 35.958 | 70.656 | 5.888
08 | Pkg-AC | 08Pkg-AC | 52.699 | 53.663 | 106.362 | 8.8635
08 | Pkg-HP | 08Pkg-HP | 51.197 | 52.12 | 103.317 | 8.6098
09 | Pkg-AC | 09Pkg-AC | 55.571 | 56.599 | 112.17 | 9.3475
09 | Pkg-HP | 09Pkg-HP | 54.06 | 55.044 | 109.104 | 9.092
10 | Pkg-AC | 10Pkg-AC | 54.684 | 55.497 | 110.181 | 9.1817
10 | Pkg-HP | 10Pkg-HP | 53.218 | 53.997 | 107.215 | 8.9346
11 | Pkg-AC | 11Pkg-AC | 44.46 | 45.898 | 90.358 | 7.5298
11 | Pkg-HP | 11Pkg-HP | 43.013 | 44.388 | 87.401 | 7.2834
12 | Pkg-AC | 12Pkg-AC | 42.66 | 43.931 | 86.591 | 7.2159
12 | Pkg-HP | 12Pkg-HP | 41.268 | 42.484 | 83.752 | 6.9793
13 | Pkg-AC | 13Pkg-AC | 44.516 | 45.217 | 89.733 | 7.4778
13 | Pkg-HP | 13Pkg-HP | 43.106 | 43.777 | 86.883 | 7.2403
14 | Pkg-AC | 14Pkg-AC | 47.885 | 48.747 | 96.632 | 8.0527
14 | Pkg-HP | 14Pkg-HP | 46.577 | 47.404 | 93.981 | 7.8317
15 | Pkg-AC | 15Pkg-AC | 62.319 | 63.465 | 125.784 | 10.482
15 | Pkg-HP | 15Pkg-HP | 60.731 | 61.829 | 122.56 | 10.2133
16 | Pkg-AC | 16Pkg-AC | 29.808 | 30.335 | 60.143 | 5.0119
16 | Pkg-HP | 16Pkg-HP | 28.611 | 29.114 | 57.725 | 4.8104