## Base Material Cost (old) (hidden)
Average Material Cost | 32.6533
Est Shipping Cost | 8.99
Est Tax | 2.7755
Total Material Cost | 44.4189
Total Measure Cost | 44.4189
Equipment Type/ Description | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Pewter Incandescent Outdoor Fixture | Lithonia OVT 150I 120 M6 | 29.97 | http://www.homedepot.com/p/Lithonia-Lighting-Pewter-Incandescent-Outdoor-Flushmount-Vapor-Tight-Light-Fixture-OVT-150I-120-M6/100652873
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Incandescent Outdoor Fixture | Polymer Products 2119-S50701P-DD | 35.34 | http://www.homedepot.com/p/Polymer-Products-1-Light-Black-Outdoor-Incandescent-Short-Neck-Wall-Bracket-Fixture-with-Dusk-Dawn-Sensor-2119-S50701P-DD/205155155
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Incandescent Outdoor Fixture | Polymer Products 2120-S50701P-DD | 32.65 | http://www.homedepot.com/p/Polymer-Products-1-Light-White-Outdoor-Incandescent-Short-Neck-Wall-Bracket-Fixture-with-Dusk-Dawn-Sensor-2120-S50701P-DD/205155159
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Add Screen Shot

## Cost Summary
Base Watt | Base Mat | Base Lab | Base Total | Measure Watt | Measure Mat | Measure Lab | Measure Total | IMC | Measure Cost ID | Base Cost ID
<=60 | 56.8244 | 55 | 111.8244 | 13W-20W | 62.3174 | 55 | 117.3174 | 5.493 | SCE17LG007_00_M001 | SCE17LG007_00_B001
61-100 | 56.1667 | 55 | 111.1667 | 22W-27W | 76.4657 | 55 | 131.4658 | 20.299 | SCE17LG007_00_M002 | SCE17LG007_00_B002
101-150 | 64.7143 | 55 | 119.7143 | 36W-50W | 83.5418 | 55 | 138.5418 | 18.8275 | SCE17LG007_00_M003 | SCE17LG007_00_B003
>150 | 68.8167 | 55 | 123.8167 | 55W-70W | 179.5898 | 55 | 234.5898 | 110.773 | SCE17LG007_00_M004 | SCE17LG007_00_B004
Measure | Installation Type | Incremental Measure Cost | Full Measure Cost |  |  |  | Base Bin
|  |  | 1st Baseline | 2nd Baseline | Measure Watt | Base Watt | Bin |  | Measure Cost ID | Base Cost ID | Measure Tech ID | Calculation Permutation
LT-10121 | ROB | 110.773 | 110.773 | 0 | 70 | 249.9 | >150 |  | SCE17LG007_00_M004 | SCE17LG007_00_B004 | N/A | (ROB//) - (Commercial////) - (/Financial Support: Down-Stream Incentive - Deemed////)
LT-10832 | ROB | 20.299 | 20.299 | 0 | 26 | 73.84 | 61-100 |  | SCE17LG007_00_M002 | SCE17LG007_00_B002 | CFLfixt-26w-ext(26w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-19247 | ROB | 20.299 | 20.299 | 0 | 22 | 62.48 | 61-100 |  | SCE17LG007_00_M002 | SCE17LG007_00_B002 | CFLfixt-22w-ext(22w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-19831 | ROB | 110.773 | 110.773 | 0 | 55 | 156.2 | >150 |  | SCE17LG007_00_M004 | SCE17LG007_00_B004 | CFLfixt-55w-ext(55w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-21096 | ROB | 110.773 | 110.773 | 0 | 55 | 156.2 | >150 |  | SCE17LG007_00_M004 | SCE17LG007_00_B004 | CFLfixt-55w-ext(55w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-21431 | ROB | 20.299 | 20.299 | 0 | 22 | 62.48 | 61-100 |  | SCE17LG007_00_M002 | SCE17LG007_00_B002 | CFLfixt-22w-ext(22w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-24983 | ROB | 20.299 | 20.299 | 0 | 26 | 73.84 | 61-100 |  | SCE17LG007_00_M002 | SCE17LG007_00_B002 | CFLfixt-26w-ext(26w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-27654 | ROB | 5.493 | 5.493 | 0 | 18 | 51.12 | <=60 |  | SCE17LG007_00_M001 | SCE17LG007_00_B001 | CFLfixt-18w-ext(18w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/Financial Support: Down-Stream Incentive - Deemed////)
LT-38956 | ROB | 5.493 | 5.493 | 0 | 18 | 51.12 | <=60 |  | SCE17LG007_00_M001 | SCE17LG007_00_B001 | CFLfixt-18w-ext(18w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install//Up-Stream Programs: Up-Stream Buy Down///)
LT-43854 | ROB | 18.8275 | 18.8275 | 0 | 50 | 142 | 101-150 |  | SCE17LG007_00_M003 | SCE17LG007_00_B003 | CFLfixt-50w-ext(50w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-43988 | ROB | 5.493 | 5.493 | 0 | 20 | 56.8 | <=60 |  | SCE17LG007_00_M001 | SCE17LG007_00_B001 | CFLfixt-20w-ext(20w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-53851 | ROB | 18.8275 | 18.8275 | 0 | 50 | 142 | 101-150 |  | SCE17LG007_00_M003 | SCE17LG007_00_B003 | CFLfixt-50w-ext(50w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-57223 | ROB | 5.493 | 5.493 | 0 | 20 | 56.8 | <=60 |  | SCE17LG007_00_M001 | SCE17LG007_00_B001 | CFLfixt-20w-ext(20w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-57633 | ROB | 5.493 | 5.493 | 0 | 13 | 36.92 | <=60 |  | SCE17LG007_00_M001 | SCE17LG007_00_B001 | CFLfixt-13w-ext(13w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-59488 | ROB | 5.493 | 5.493 | 0 | 18 | 51.12 | <=60 |  | SCE17LG007_00_M001 | SCE17LG007_00_B001 | CFLfixt-18w-ext(18w) | (ROB//) - (/Single Family///) - (Financial Support: Direct Install/////)
LT-69223 | ROB | 5.493 | 5.493 | 0 | 13 | 36.92 | <=60 |  | SCE17LG007_00_M001 | SCE17LG007_00_B001 | CFLfixt-13w-ext(13w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-71631 | ROB | 18.8275 | 18.8275 | 0 | 36 | 102.24 | 101-150 |  | SCE17LG007_00_M003 | SCE17LG007_00_B003 | CFLfixt-36w-ext(36w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-72431 | ROB | 20.299 | 20.299 | 0 | 23 | 65.32 | 61-100 |  | SCE17LG007_00_M002 | SCE17LG007_00_B002 | CFLfixt-23w-ext(23w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-75483 | ROB | 20.299 | 20.299 | 0 | 27 | 76.68 | 61-100 |  | SCE17LG007_00_M002 | SCE17LG007_00_B002 | CFLfixt-27w-ext(27w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-81042 | ROB | 20.299 | 20.299 | 0 | 23 | 65.32 | 61-100 |  | SCE17LG007_00_M002 | SCE17LG007_00_B002 | CFLfixt-23w-ext(23w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-83098 | ROB | 110.773 | 110.773 | 0 | 65 | 184.6 | >150 |  | SCE17LG007_00_M004 | SCE17LG007_00_B004 | CFLfixt-65w-ext(65w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-83742 | ROB | 20.299 | 20.299 | 0 | 27 | 76.68 | 61-100 |  | SCE17LG007_00_M002 | SCE17LG007_00_B002 | CFLfixt-27w-ext(27w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-84213 | ROB | 18.8275 | 18.8275 | 0 | 36 | 102.24 | 101-150 |  | SCE17LG007_00_M003 | SCE17LG007_00_B003 | CFLfixt-36w-ext(36w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-91873 | ROB | 110.773 | 110.773 | 0 | 65 | 184.6 | >150 |  | SCE17LG007_00_M004 | SCE17LG007_00_B004 | CFLfixt-65w-ext(65w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)

## Watts and Bins
Solution Code | Description | Measure Watts | Est Base Watts | Bin | Measure Tech ID | Calculation Permutation
LT-57633 | 13 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 13 | 36.92 | <=60 | CFLfixt-13w-ext(13w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-69223 | 13 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 13 | 36.92 | <=60 | CFLfixt-13w-ext(13w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-59488 | 18 Watt Exterior Fixture CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 18 | 51.12 | <=60 | CFLfixt-18w-ext(18w) | (ROB//) - (/Single Family///) - (Financial Support: Direct Install/////)
LT-27654 | 18 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 18 | 51.12 | <=60 | CFLfixt-18w-ext(18w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/Financial Support: Down-Stream Incentive - Deemed////)
LT-38956 | 18 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 18 | 51.12 | <=60 | CFLfixt-18w-ext(18w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install//Up-Stream Programs: Up-Stream Incentive///)
LT-43988 | 20 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 20 | 56.8 | <=60 | CFLfixt-20w-ext(20w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-57223 | 20 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 20 | 56.8 | <=60 | CFLfixt-20w-ext(20w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-19247 | 22 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 22 | 62.48 | 61-100 | CFLfixt-22w-ext(22w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-21431 | 22 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 22 | 62.48 | 61-100 | CFLfixt-22w-ext(22w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-72431 | 23 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 23 | 65.32 | 61-100 | CFLfixt-23w-ext(23w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-81042 | 23 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 23 | 65.32 | 61-100 | CFLfixt-23w-ext(23w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-10832 | 26 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 26 | 73.84 | 61-100 | CFLfixt-26w-ext(26w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-24983 | 26 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 26 | 73.84 | 61-100 | CFLfixt-26w-ext(26w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-75483 | 27 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 27 | 76.68 | 61-100 | CFLfixt-27w-ext(27w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-83742 | 27 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 27 | 76.68 | 61-100 | CFLfixt-27w-ext(27w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-71631 | 36 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 36 | 102.24 | 101-150 | CFLfixt-36w-ext(36w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-84213 | 36 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 36 | 102.24 | 101-150 | CFLfixt-36w-ext(36w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-43854 | 50 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 50 | 142 | 101-150 | CFLfixt-50w-ext(50w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-53851 | 50 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 50 | 142 | 101-150 | CFLfixt-50w-ext(50w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-19831 | 55 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 55 | 156.2 | >150 | CFLfixt-55w-ext(55w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-21096 | 55 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 55 | 156.2 | >150 | CFLfixt-55w-ext(55w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-83098 | 65 Watt Exterior Fixture (Common Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 65 | 184.6 | >150 | CFLfixt-65w-ext(65w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-91873 | 65 Watt Exterior Fixture (Dwelling Area) CFL replacing Incandescent Total Watts = 2.84 x Msr Watts | 65 | 184.6 | >150 | CFLfixt-65w-ext(65w) | (ROB//) - (//Multifamily//) - (Financial Support: Direct Install/////)
LT-10121 | Up to 70 Watt Exterior Fixture CFL replacing less than 100 Watt lamp base case | 70 | 249.9 | >150 | N/A | (ROB//) - (Commercial////) - (/Financial Support: Down-Stream Incentive - Deemed////)

## Base Inc Cost Findings
Includes tax and shipping (if applicable)
Wattage | Light | Photocell | Total Mat | Source
100 | 26.93 | 22.5 | 53.6315 | http://www.homedepot.com/p/Designers-Edge-100-Watt-Hammered-Black-Incandescent-Industrial-Wall-Work-Light-L1707SVBLK/206271879
100 | 22.04 | 22.5 | 48.3259 | http://www.homedepot.com/p/Designers-Edge-100-Watt-Hammered-Black-Incandescent-Industrial-Ceiling-Work-Light-L1706BLK/206271878
100 | 31.49 | 22.5 | 63.5291 | https://www.overstock.com/Home-Garden/Outdoor-Wall-Light-Lora-Black-Metal-Exterior-Light/12003845/product.html?refccid=XQ32CHAA2FUIK7SKEY2FBVRP34&searchidx=0
100 | 57.99 | 22.5 | 92.2817 | https://www.overstock.com/Home-Garden/Chloe-Transitional-1-light-Black-Outdoor-Wall-Lantern/10570979/product.html?refccid=XQ32CHAA2FUIK7SKEY2FBVRP34&searchidx=1
60 | 43.99 | 22.5 | 77.0917 | https://www.overstock.com/Home-Garden/Taysom-Oil-Rubbed-Bronze-Outdoor-Light-Fixture-with-Clear-Seedy-Glass/11903841/product.html?refccid=XQ32CHAA2FUIK7SKEY2FBVRP34&searchidx=4
60 | 44.99 | 22.5 | 78.1767 | https://www.overstock.com/Home-Garden/Kichler-Lighting-Transitional-1-light-Olde-Bronze-Outdoor-Wall-Lantern/11663586/product.html?refccid=XQ32CHAA2FUIK7SKEY2FBVRP34&searchidx=5
65 | 23.79 | 22.5 | 55.1746 | https://www.overstock.com/Home-Garden/Contemporary-1-light-Black-Outdoor-Wall-Light/10647111/product.html?refccid=XQ32CHAA2FUIK7SKEY2FBVRP34&searchidx=8
75 | 39.8 | 22.5 | 72.5455 | https://www.overstock.com/Home-Garden/Maxim-Bronze-Die-Cast-Aluminum-Shade-Essentials-9200X-2-light-Outdoor-Wall-Mount-Light/9961218/product.html?refccid=XQ32CHAA2FUIK7SKEY2FBVRP34&searchidx=39
120 | 27.4 | 22.5 | 64.6215 | https://www.grainger.com/product/DESIGNERS-EDGE-Motion-Light-38RZ85?s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/38RZ85_AS01?$smthumb$&breadcrumbCatId=12974
75 | 38.5 | 22.5 | 76.665 | https://www.grainger.com/product/LUMAPRO-Floodlight-WP23600/_/N-9hv/Ntt-outdoor+incandescent?sst=subset&ts_optout=true&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/6MPA6_AS01?$smthumb$&breadcrumbCatId=4332
150 | 49.9 | 22.5 | 89.034 | https://www.grainger.com/product/LUMAPRO-Floodlight-WP23600/_/N-9hv/Ntt-outdoor+incandescent?sst=subset&ts_optout=true&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/6MPA6_AS01?$smthumb$&breadcrumbCatId=4332
60 | 31.99 | 22.5 | 59.1216 | http://www.homedepot.com/p/Glomar-1-Light-Textured-Black-Outdoor-Incandescent-Post-Light-HD-548/202646966
60 | 22.97 | 22.5 | 49.3349 | http://www.homedepot.com/p/Newport-Coastal-8-in-White-Outdoor-Incandescent-Round-Nautical-Flushmount-with-Grille-7971-04W/203560998
60 | 9.97 | 22.5 | 35.2299 | http://www.homedepot.com/p/Newport-Coastal-White-Outdoor-Incandescent-Wall-Mount-Coastal-Jelly-Jar-7791-30W/203570642
60 | 27.97 | 22.5 | 54.7599 | http://www.homedepot.com/p/Newport-Coastal-10-25-in-Black-Outdoor-Incandescent-Nautical-Flushmount-7971-02B/203561000
60 | 12.51 | 22.5 | 37.9858 | http://www.1stoplighting.com/lighting/4-9-676-0-343360/Sunset-Lighting_One-Light-Outdoor-Wall-Mount-F4600-62.htm?CAWELAID=1705150171&source=googleshopping&kw=SunsetLighting-PLA_371;SunsetLighting-AllItems&ac=&gclid=CjwKEAiAp97CBRDr2Oyl-faxqRMSJABx4kh9twoMbV5A2ZNeHmTYAc8xMvpZV9FhYjc2c_76nSsK9RoCjCTw_wcB
60 | 31.95 | 22.5 | 59.0783 | http://www.illuminatorwholesaler.com/ecommerce/w-2200.html
100 | 8.28 | 22.5 | 33.3963 | http://www.homedepot.com/p/Designers-Fountain-Basic-Porch-1-Light-White-Outdoor-Incandescent-Wall-Lantern-2061-WH/206847915
60 | 31.95 | 22.5 | 59.0783 | http://www.illuminatorwholesaler.com/ecommerce/w-2700.html
60 | 31.43 | 22.5 | 58.514 | https://www.iqlighting.com/rab-lighting-vb75bpa-vaporproof-entry-wall-polycarb-ball-gl-75w-incan-120v-bronze.asp
150 | 29.97 | 22.5 | 56.9299 | http://www.homedepot.com/p/Lithonia-Lighting-Pewter-Incandescent-Outdoor-Flushmount-Vapor-Tight-Light-Fixture-OVT-150I-120-M6/100652873
150 | 21.99 | 22.5 | 48.2716 | http://www.homedepot.com/p/Lithonia-Lighting-150W-Incandescent-Utility-Vapor-Tight-Wall-Mount-Fixture-VW150I-M12/205507747
300 | 45.69 | 22.5 | 73.9861 | http://www.homedepot.com/p/Lithonia-Lighting-300-Watt-Incandescent-Utility-Vapor-Tight-Wall-Mount-Fixture-VW300I-M6/205507748
60 | 39.97 | 22.5 | 73.7699 | https://www.lowes.com/pd/Portfolio-GFCI-15-75-in-H-Black-Outdoor-Wall-Light/999919344
60 | 19.98 | 22.5 | 52.0808 | https://www.lowes.com/pd/Portfolio-10-75-in-H-Sandy-Black-Outdoor-Wall-Light/50254135
100 | 12.98 | 22.5 | 44.4858 | https://www.lowes.com/pd/Portfolio-7-17-in-H-Medium-Base-E-26-Black-Outdoor-Wall-Light/50106238
60 | 23 | 22.5 | 55.3575 | https://www.lowes.com/pd/Sea-Gull-Lighting-Lormont-9-in-H-White-Outdoor-Wall-Light/50370064
100 | 43.7 | 22.5 | 77.817 | https://www.lowes.com/pd/Sea-Gull-Lighting-Wynfield-9-75-in-H-Black-Outdoor-Wall-Light/50370018
75 | 10.8 | 22.5 | 42.1205 | https://www.lowes.com/pd/Progress-Lighting-7-25-in-H-Black-Outdoor-Wall-Light/50097998
75 | 10.8 | 22.5 | 42.1205 | https://www.lowes.com/pd/Progress-Lighting-7-25-in-H-Black-Outdoor-Wall-Light/50097998
75 | 10.8 | 22.5 | 42.1205 | https://www.lowes.com/pd/Progress-Lighting-7-25-in-H-Black-Outdoor-Wall-Light/50097998
75 | 10.8 | 22.5 | 42.1205 | https://www.lowes.com/pd/Progress-Lighting-7-25-in-H-Black-Outdoor-Wall-Light/50097998
40 | 19.615 | 22.5 | 51.6848 | http://www.efaucets.com/detail.asp?product_id=LUM-F2400-31
40 | 18.715 | 22.5 | 50.7083 | https://www.wayfair.com/Sunset-Lighting-1-Light-Flush-Mount-F2400-31-F2400-62-L6086-K~SUNS1592.html?refid=GX107983286306-SUNS1592_10028930&device=c&ptid=154604491020&PiID%5B%5D=10028930&gclid=CjwKEAiAp97CBRDr2Oyl-faxqRMSJABx4kh9JYynBL16DahLV0vo_MwU9GdY5MVvWU10oS852YuTCBoCS0Tw_wcB
40 | 24.715 | 22.5 | 57.2183 | https://www.lightingdirect.com/sunset-lighting-f2402-2-light-outdoor-10-wide-flush-mount-ceiling-fixture/p2151007?gclid=CjwKEAiAp97CBRDr2Oyl-faxqRMSJABx4kh9nOTrd-Lb9acY3ZGIPCyU94p1WoxNsn_AdlATaUktcxoCxKrw_wcB&source=gg-gba-pla_2151007____52721143289&s_kwcid=AL!3805!3!52721143289!!!g!86421791969!&CAWELAID=120135400003247754&CAGPSPN=pla&CAAGID=15605150729&CATCI=pla-86421791969
200 | 30.16 | 22.5 | 63.1261 | http://www.wholesalecontractorsupply.com/200w-incadescent-VIW-3-4-200-p/viw-3-4-200.htm
300 | 27.94 | 22.5 | 60.7174 | http://www.wholesalecontractorsupply.com/300w-box-mount-VIB-1-2-300-p/vib-1-2-300.htm
300 | 43.35 | 22.5 | 77.4372 | http://www.wholesalecontractorsupply.com/300w-wall-mount-vapor-VIW-1-2-300-p/viw-1-2-300.htm
|  | Lamp Watt | Cost | Source
|  | 40 | 0.63 | https://www.1000bulbs.com/product/113614/PLT-101429.html
|  | 40 | 0.52 | https://www.commercialbulbs.com/item/0009919?gclid=CjwKEAiAp97CBRDr2Oyl-faxqRMSJABx4kh9OfDCJgMl3WXO8F_yv2_3hWWjbiBTadEY1m2utOLg_RoCxNnw_wcB
|  | 40 | 0.995 | https://www.lightbulbs.com/product/sunlite-01101/?source=NexTagCSE
|  | Average | 0.715 | Note: 40W fixtures did not include lamps so Average lamp price was found and added to fixture pricing.
Wattage | Average Cost
40 | 53.2038
60 | 57.66
65 | 55.1746
75 | 52.9487
100 | 59.0668
120 | 64.6215
150 | 64.7452
300 | 70.7136
Watt Bin | Cost
<=60 | 56.8244
61-100 | 56.1667
101-150 | 64.7143
>150 | 68.8167

## Measure Material Cost
Average Material Cost
Est Shipping Cost
Est Tax
Total Material Cost | 0
Total Measure Cost | 0
Equipment Type/ Description - 13W-20W | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
13W CFL | Leviton 9853-SEN | 41.97 | https://www.amazon.com/Leviton-9863-SEN-Fluorescent-Lampholder-Occupancy/dp/B004KZKN8K/ref=sr_1_4?s=hi&ie=UTF8&qid=1477600027&sr=1-4&keywords=cfl+fixtures&refinements=p_n_feature_browse-bin%3A5676450011
9W CFL | RAB VAN2F9 | 70.5 | https://www.prolighting.com/van2f9.html?utm_source=google_shopping&gclid=CjwKEAiAyanCBRDkiO6M_rDroH0SJAAfZ4KLrlEbBdcJXq1wvHYyYeVPVUeQOg8h1g4gSEHlHQ9qaxoCPwvw_wcB
13W CFL | Westinghouse 6482900 | 59.44 | http://www.sears.com/westinghouse-6482948-wall-lantern-with-dusk-to-dawn/p-SPM11911906316?plpSellerId=Tool%20Box%20Supply&prdNo=3&blockNo=3&blockType=G3
62.3174
Equipment Type - 36W-50W | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
42W CFL | Intermatic CML242FBL | 120.5 | http://www.homedepot.com/p/Intermatic-CML-Series-42-Watt-Dark-Bronze-Outdoor-Fluorescent-Ceiling-Mount-Canopy-CML242FBL/206668918
42W CFL | Lithonia OWP3 42F 120 BZ | 60.96 | http://www.homedepot.com/p/Lithonia-Lighting-Dusk-to-Dawn-Wall-Mount-Outdoor-Bronze-Fluorescent-Mini-Wall-Pack-OWP3-42F-120-BZ/202192984
42W CFL | Hubbell NRG204BMS | 49 | https://www.amazon.com/Hubbell-Outdoor-NRG204BMS-Decorative-Wallpack/dp/B0092Q6TF8/ref=sr_1_35?s=lawn-garden&ie=UTF8&qid=1478550034&sr=1-35&keywords=cfl+outdoor+fixture
83.5418
Equipment Type - 22W-26W | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
26W Flood light | Utilitech FW26PCUT | 45.97 | https://www.lowes.com/pd/Utilitech-26-Watt-Black-Fluorescent-Dusk-to-Dawn-Flood-Light/50031668
26W Vandalproof CFL | RAB VAN4F26 | 112.5 | https://www.prolighting.com/van4f26.html?utm_source=google_shopping&gclid=CjwKEAiAp97CBRDr2Oyl-faxqRMSJABx4kh9-PYGd58_D1Sj3OcnLhrx8i7XbKh3TdB0dkMTil-tZBoCxE_w_wcB
27W Flood Light | Utilitech GU8923-WH-I | 52.47 | https://www.lowes.com/pd/Utilitech-23-Watt-White-Fluorescent-Dusk-to-Dawn-Flood-Light/3195237
76.4657
Equipment Type - 55W-70W | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
84W CFL | Filament Design CLI-EXXTL110CF84120277 | 360.01 | http://www.homedepot.com/p/Filament-Design-Nexis-2-Light-Die-Cast-Aluminum-Compact-Fluorescent-Wall-Pack-Security-Light-CLI-EXXTL110CF84120277/203828501
65W CFL | Lithonia OALS12A 65F 120 P LP WH M2 | 73.54 | http://www.homedepot.com/p/Lithonia-Lighting-Wall-Mount-Outdoor-White-Fluorescent-Area-Light-OALS12A-65F-120-P-LP-WH-M2/202197739
65W CFL | MaxLite SK4HM651AC | 61.87 | https://www.amazon.com/MaxLite-SK4HM651AC-65-Watt-Fluorescent-Outdoor/dp/B003BEEHCE/ref=sr_1_34?s=lawn-garden&ie=UTF8&qid=1478550034&sr=1-34&keywords=cfl+outdoor+fixture
179.5898
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Add Screen Shot

## Material Cost (many links) (hidden)
Solution Code | Solution Code Description | Equipment Type/Description | Manufacturer | Cost | Link

## Labor Costs (hidden)
Total Labor Cost | 0
Misc. Labor Factor | 100%
*Note No RS Means Labor Factor is Included
Labor Desciption | Source | Cost
Install Recessed Troffer | RS Means Electrical 2015 - xx.xxx.xx
Screen Shot/Scan