## Sheet1
WO017 Cost Model - Equipment
Technology | Variable | Type | Values | Count | Mean | Std Dev | Mean Price | Std Dev Price | Type | Values | Type | Values | Model Coefficients | t-stat | s.e. | Weights for Roll-up to DEER/WP | DEER/WP-equivalent Coefficients | Data and Model Info
Occupancy Sensors | Coverage (ft2) | Continuous | 90 - 2,152 | 40 | 1062 | 579 | 109.35 | 59.31 | Discrete | 200, 1000 | Discrete | 200, 1000 | -0.002 | 0.36 | 0.006 | N/A | 0.006 | Data Source | Data Type
| Battery Powered | Binary | Yes | 2 | N/A | N/A | 56.88 | 9.72 | N/A | N/A | N/A | N/A | -60.55 | 3.35 | 18.07 | 0.05 | -3.0275 | DEG, QuEST | Distributor Prices
|  |  | No | 38 | N/A | N/A | 112.11 | 59.57 | N/A | N/A | N/A | N/A | 0 |  |  | 0.95 |  | Weighting | % CA market
| Solar Powered | Binary | Yes | 1 | N/A | N/A | 166.69 | N/A | N/A | N/A | N/A | N/A | 49.27 | 2.21 | 22.33 | 0.025 | 1.2318 | None | Unknown
|  |  | No | 39 | N/A | N/A | 107.88 | 59.34 | N/A | N/A | N/A | N/A | 0 |  |  | 0.975 |  | N observations | N unit sales
| Outdoor | Binary | Yes | 3 | N/A | N/A | 246.97 | 0 | N/A | N/A | N/A | N/A | 178.88 | 14.08 | 12.71 | 0.075 | 13.416 | 40 | N/A
|  |  | No | 37 | N/A | N/A | 98.19 | 45.88 | N/A | N/A | N/A | N/A | 0 |  |  | 0.925 |  | R2 | Intercept
| Two Loads | Binary | Yes | 2 | N/A | N/A | 197.29 | 0 | N/A | N/A | N/A | N/A | 101.15 | 5.91 | 17.13 | 0.05 | 5.0575 | 0.927 | 117.42
|  |  | No | 38 | N/A | N/A | 104.72 | 57.17 | N/A | N/A | N/A | N/A | 0 |  |  | 0.95 |  | MAE | Contr. Markup
| Ultrasonic | Binary | Yes | 15 | N/A | N/A | 136.07 | 40.41 | N/A | N/A | N/A | N/A | 42.36 | 5.14 | 8.24 | 0.375 | 15.885 | 12.31 | 25%
|  |  | No | 25 | N/A | N/A | 93.32 | 63.65 | N/A | N/A | N/A | N/A | 0 |  |  | 0.625
| 12 volt | Binary | Yes | 1 | N/A | N/A | 67.89 | N/A | N/A | N/A | N/A | N/A | -49.53 | 2.22 | 22.33 | 0.025 | -1.2383
|  |  | No | 39 | N/A | N/A | 110.41 | 59.7 | N/A | N/A | N/A | N/A | 0 |  |  | 0.975
| 18 volt | Binary | Yes | 3 | N/A | N/A | 144.78 | 41.79 | N/A | N/A | N/A | N/A | 48.54 | 4.1 | 11.83 | 0.075 | 3.6405
|  |  | No | 37 | N/A | N/A | 106.48 | 60.01 | N/A | N/A | N/A | N/A | 0 |  |  | 0.925
| 24 volt | Binary | Yes | 20 | N/A | N/A | 123.37 | 62.27 | N/A | N/A | N/A | N/A | -49.33 | 4.15 | 11.88 | 0.5 | -24.665
|  |  | No | 20 | N/A | N/A | 95.34 | 54.13 | N/A | N/A | N/A | N/A | 0 |  |  | 0.5
| 120 volt | Binary | Yes | 12 | N/A | N/A | 88.56 | 55.65 | N/A | N/A | N/A | N/A | -34.27 | 3 | 11.42 | 0.3 | -10.281
|  |  | No | 28 | N/A | N/A | 118.26 | 59.54 | N/A | N/A | N/A | N/A | 0 |  |  | 0.7
| 277 volt | Binary | Yes | 11 | N/A | N/A | 86.1 | 57.68 | N/A | N/A | N/A | N/A | -29.37 | 2.56 | 11.46 | 0.275 | -8.0768
|  |  | No | 29 | N/A | N/A | 118.17 | 58.47 | N/A | N/A | N/A | N/A | 0 |  |  | 0.725
WO017 Cost Model - Labor
| Installation Dimension/Scenario | Common Unit | Source of recommend values | Labor Hours per unit | Total Labor Hours Formula | Labor Hourly Rate | Labor Cost per unit | Miscellaneous Costs per unit | Miscellaneous Fixed Costs (per project) | Markup | Total Non-equipment costs ($/unit) excluding fixed costs
Occupancy Sensors | Wall mounted labor | sensor | Contractor survey | 1.1946 |  |  | 67.5541 |  |  | 26% | 91.8505
| Wall mounted disposal and taxes | sensor | Artificial bids |  |  |  |  | 5.3431
| Ceiling mounted labor | sensor | Contractor survey | 1.5098 |  |  | 85.3788 |  |  |  | 124.1061
| Ceiling mounted disposal and taxes | sensor | Artificial bids |  |  |  |  | 13.1181
| Fixture integrated labor | sensor | Contractor survey | 1.1355 |  |  | 64.2102 |  |  |  | 90.4579
| Fixture integrated disposal and taxes | sensor | Artificial bids |  |  |  |  | 7.5818
| Labor rate | sensor | Artificial bids |  |  | 56.549
Work Paper Cost Calculations (uses only highlighted cells from above)
Measure Code | Controlled sq ft | Material Cost with markup | Labor + Misc Cost | Full Measure Cost
LT-78685 | 500 | 140.4528 | 91.8505 | 232.3033
LT-60934 | 500 | 140.4528 | 91.8505 | 232.3033
Note on G27: Lucas Scheidler: Bare Labor - CA statewide