## Energy Savings
| LED W | Avg. LED W | Inc. W
LED Luminaire A | 25.8 |  | N/A
LED Luminaire B | 49.4 | 45.75 | 300 |  | 0.04575 | 0.3
LED Luminaire C | 42.1 |  |  |  | 0.0524 | 0.4
LED Luminaire D | 52.4 |  | 400 |  | 0.0674 | 0.5
LED Luminaire E | 67.4 |  | 500
Life (hrs)
LED Luminaire B | 50000
LED Luminaire C | 50000
LED Luminaire D | 50000
LED Luminaire E | 50000
| Life (hrs) | Operating Hours (hrs) | Life (yrs)
Dusk to Dawn | 50000 | 4380 | 11.4155
Dusk to Close | 50000 | 1460 | 34.2466
Residential | 50000 | 48 | 1041.6667
| measure | base | Delta | hrs | savings
LED Pool Lighting (Dusk to Dawn) | 45.8 | 300 | 254.2 | 4380 | 1113.396
LED Pool Lighting (Dusk to Dawn) | 52.4 | 400 | 347.6 | 4380 | 1522.488
LED Pool Lighting (Dusk to Dawn) | 67.4 | 500 | 432.6 | 4380 | 1894.788
LED Pool Lighting (Dusk to Close) | 45.8 | 300 | 254.2 | 1460 | 371.132
LED Pool Lighting (Dusk to Close) | 52.4 | 400 | 347.6 | 1460 | 507.496
LED Pool Lighting (Dusk to Close) | 67.4 | 500 | 432.6 | 1460 | 631.596
LED Pool Lighting (Residential) | 45.8 | 300 | 254.2 | 48 | 12.2016
LED Pool Lighting (Residential) | 52.4 | 400 | 347.6 | 48 | 16.6848 |  | Small Diameter
LED Pool Lighting (Residential) | 67.4 | 500 | 432.6 | 48 | 20.7648 |  | 13 | J&J
Small Diameter LED Pool Lighting (Dusk to Dawn) | 15.5 | 60 | 44.5 | 4380 | 194.91 |  | 18 | Pentair
Small Diameter LED Pool Lighting (Dusk to Close) | 15.5 | 60 | 44.5 | 1460 | 64.97 |  | 15.5 | Average
Small Diameter LED Pool Lighting (Residential) | 15.5 | 60 | 44.5 | 48 | 2.136

## Cost (hidden)
RETROFIT |  |  |  |  | 6" Diameter New Base Fixture
Base Cost | Lamp | Gasket | Labor | Total | 179.99 | http://www.yourpoolhq.com/pentair-spa-brite-60w-light-120v-50-foot-cord-78106100.html
300W | 9.04 | 16.11 | 65 | 90.15 | 168 | http://www.swimmingpoolsetc.com/pentair-spabright120v50-spalight.htm
400W | 9.04 | 16.11 | 65 | 90.15 | 157.99 | http://www.aquasupercenter.com/productdetails/pentair-spabrite-spa-light-120v-60w-50ft-cord~3426.html
500W | 9.04 | 16.11 | 65 | 90.15 | 168.66 | Average
[5 empty] | 65 | labor
Measure | Lamp | Fixture | Total | Average | 233.66 | Total
300W L. | 300 | 213.51 | 513.51 | 569.255
300W F. |  | 625 | 625
6" LED lamp replacement
Measure |  | Fixture | Labor | Total | 121.99 | http://www.poolsupplyworld.com/poolsupplies/poollights/jjelectronics/purewhite/products/LPL-M1-WHT-120.htm
300W avg. |  | 569.255 | 65 | 634.255 | 135.92 | http://www.yourpoolparts.com/store/product9373.html
400W |  | 625 | 65 | 690 | 119.94 | http://www.poolsupplyunlimited.com/bestprice/JandJElectronicsPureWhiteLEDRetrofitLightBulbforMiniSpaLights12VLPLM1WHT12/53395
500W |  | 625 | 65 | 690 | 125.95 | Average Lamp
[5 empty] | 168.66 | Fixture
[5 empty] | 294.61 | Total
NEW | Fixture | Labor | Total
Base Cost | 213.51 | 65 | 278.51 |  | 6" LED fixture
[5 empty] | 389.5 | http://www.poolplaza.com/P-PEN-640141-3638.html
[5 empty] | 349.99 | http://www.inyopools.com/lights_pentair_intellibrite_white.aspx
NEW/ROB GMC | Base | Measure | GMC |  | 394.22 | http://www.poolpartsonline.com/p-84105-pentair-intellibrite-5g-white-led-spa-lights.aspx
300W | 278.51 | 634.26 | 355.75 |  | 377.9033 | Average
400W | 278.51 | 690 | 411.49
500W | 278.51 | 690 | 411.49
100W | 168.66 | 336.2567 | 167.5967

## 2016 Cost Update
Baseline Luminaire Costs
100W Fixture - 50 ft cord |  | 300W Fixture - 50 ft cord |  | 400W Fixture - 50 ft cord |  | 500W Fixture - 50 ft cord |  | 300W, 400W, 500W eq. Average
199.4908 | Average | 213.7606 | Average | 213.6937 | Average | 213.8885 | Average | 213.7809 | Average
130 | Labor | 130 | Labor | 130 | Labor | 130 | Labor | 130 | Labor
329.4908 | Total | 343.7606 | Total | 343.6938 | Total | 343.8885 | Total | 343.7809 | Total
192.99 | http://www.yourpoolhq.com/hayward-astrolite-sp058050-light.html | 229.99 | http://www.yourpoolhq.com/hayward-astrolite-sp058150-light.html | 199.99 | http://www.yourpoolhq.com/hayward-astrolite-sp0584sl50-pool-light.html | 234.99 | http://www.yourpoolhq.com/hayward-sp0573ln50-duralite.html
229.99 | http://www.yourpoolhq.com/jandy-white-spa-light-50ft.html | 229.99 | http://www.yourpoolhq.com/hayward-astrolite-sp0581s50-light.html | 208.99 | http://www.yourpoolhq.com/pentair-amerlite-78448100-pool-light.html | 213.99 | http://www.yourpoolhq.com/hayward-astrolite-sp0583l50-light.html
199.99 | http://www.yourpoolhq.com/pentair-aqualight-77118100-light.html | 204.99 | http://www.yourpoolhq.com/hayward-astrolite-sp0582l50-light.html | 223.99 | http://www.yourpoolhq.com/pentair-amerlite-78448200-blue-light.html | 209.99 | http://www.yourpoolhq.com/hayward-astrolite-sp0583sl50-light.html
199.99 | http://www.yourpoolhq.com/pentair-amerlite-78418100-pool-light.html | 199.99 | http://www.yourpoolhq.com/hayward-astrolite-sp0582sl50-light.html | 199.99 | http://www.poolsupplyworld.com/Pentair-78448100-Amerlite-120V-400W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/78448100.htm | 212.99 | http://www.yourpoolhq.com/pentair-amerlite-78458100-pool-light.html
200.99 | http://www.poolsupplyworld.com/Pentair-78418100-Amerlite-12V-100W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/78418100.htm | 216.99 | http://www.yourpoolhq.com/pentair-amerlite-78428100-pool-light.html | 253.99 | http://www.poolsupplyworld.com/Hayward-SP0584SL50-AstroLite-120V-400W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/SP0584SL50.htm | 236.99 | http://www.yourpoolhq.com/sta-rite-swimquip-light-05086-0050.html
223.99 | http://www.poolsupplyworld.com/Hayward-SP0580S50-AstroLite-12V-100W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/SP0580S50.htm | 236.99 | http://www.yourpoolhq.com/pentair-amerlite-78438100-pool-light.html | 262.99 | http://www.poolsupplyworld.com/Hayward-SP0584SLB50-AstroLite-120V-400W-50-Cord-with-Stainless-Steel-Face-Ring-Blue-Lens-Pool-Light/SP0584SLB50.htm | 179.99 | http://www.poolsupplyworld.com/Pentair-78458100-Amerlite-120V-500W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/78458100.htm
240.99 | http://www.poolsupplyworld.com/Jandy-WPLV100WS50-White-12V-100W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/WPLV100WS50.htm | 185.99 | http://www.poolsupplyworld.com/Pentair-78428100-Amerlite-120V-300W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/78428100.htm | 175.07 | https://www.poolsupplyunlimited.com/pentair-78448100-amerlite-pool-light/4086p1 | 250.99 | http://www.poolsupplyworld.com/Pentair-05086-0050-Sta-Rite-SwimQuip-120V-500W-50-Cord-Underwater-Pool-Light/05086-0050.htm
224.99 | http://www.poolsupplyworld.com/Hayward-SP058050-AstroLite-12V-100W-50-Cord-with-Thermoplastic-Face-Ring-Pool-Light/SP058050.htm | 266.99 | http://www.poolsupplyworld.com/Pentair-78438100-Amerlite-12V-300W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/78438100.htm | 184.54 | https://www.poolsupplyunlimited.com/hayward-sp0584sl50-astrolite-pool-light/45588p1 | 238.99 | http://www.poolsupplyworld.com/Hayward-SP0583L50-AstroLite-120V-500W-50-Cord-with-Thermoplastic-Face-Ring-Pool-Light/SP0583L50.htm
170.99 | https://www.poolsupplyunlimited.com/pentair-78418100-amerlite-pool-light/4116p1 | 225.99 | http://www.poolsupplyworld.com/Hayward-SP0582L50-AstroLite-120V-300W-50-Cord-with-Thermoplastic-Face-Ring-Pool-Light/SP0582L50.htm |  |  | 239.99 | http://www.poolsupplyworld.com/Jandy-WPHV500WS50-White-120V-500W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/WPHV500WS50.htm
173.43 | https://www.poolsupplyunlimited.com/pentair-78108200-spabrite-spa-light/4075p1 | 248.99 | http://www.poolsupplyworld.com/Hayward-SP058150-AstroLite-12V-300W-50-Cord-with-Thermoplastic-Face-Ring-Pool-Light/SP058150.htm |  |  | 183.95 | https://www.poolsupplyunlimited.com/pentair-78458100-amerlite-pool-light/4046p1
164 | https://www.poolsupplyunlimited.com/hayward-sp0591sl50-astrolite-ii-spa-light/45512p1 | 249.99 | http://www.poolsupplyworld.com/Jandy-WPHV300WS50-White-120V-300W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/WPHV300WS50.htm |  |  | 195.81 | https://www.poolsupplyunlimited.com/pentair-05086-0050-swimquip-pool-light/97218p1
171.55 | https://www.poolsupplyunlimited.com/jandy-wshv100ws50-white-pool-light/52850p1 | 219.99 | http://www.poolsupplyworld.com/Hayward-SP0582SL50-AstroLite-120V-300W-50-Cord-with-Stainless-Steel-Face-Ring-Pool-Light/SP0582SL50.htm |  |  | 191.49 | https://www.poolsupplyunlimited.com/hayward-sp0583sl50-astrolite-pool-light/45490p1
|  | 174.53 | https://www.poolsupplyunlimited.com/pentair-78428100-amerlite-pool-light/4111p1 |  |  | 190.39 | https://www.poolsupplyunlimited.com/hayward-sp0583l50-astrolite-pool-light/45542p1
|  | 198.75 | https://www.poolsupplyunlimited.com/pentair-78438100-amerlite-pool-light/4042p1 |  |  | 195.89 | https://www.poolsupplyunlimited.com/jandy-wphv500ws50-white-pool-light/52839p1
|  | 180.57 | https://www.poolsupplyunlimited.com/hayward-sp0582sl50-astrolite-pool-light/45537p1
|  | 180.57 | https://www.poolsupplyunlimited.com/hayward-sp0582l50-astrolite-pool-light/45553p1
|  | 182.63 | https://www.poolsupplyunlimited.com/jandy-wphv300ws50-white-pool-light/52834p1
Measure Luminaire Costs
100W eq. LED Fixt. (15.5W) |  | 300W eq. LED Fixt. (45.8W) |  | 400W eq. LED Fixt. (52.4W) |  | 500W eq. LED Fixt. (67.4W)
342.1467 | Average | 386.745 | Average | 430.35 | Average | 392.7333 | Average
130 | Labor | 130 | Labor | 130 | Labor | 130 | Labor
472.1467 | Total | 516.745 | Total | 560.35 | Total | 522.7333 | Total
388.99 | http://www.yourpoolhq.com/pentair-intellibrite-640141-spa-led-light.html | 432.99 | http://www.poolsupplyworld.com/Pentair-601101-IntelliBrite-5G-White-LED-120V-40W-50-with-Stainless-Steel-Face-Ring-Pool-Light/601101.htm | 528.99 | http://www.poolsupplyworld.com/Pentair-601301-IntelliBrite-5G-White-LED-120V-55W-50-with-Stainless-Steel-Face-Ring-Pool-Light/601301.htm | 374.03 | https://www.poolsupplyunlimited.com/pentair-601306-intellibrite-5g-white-pool-light/136276p1
338.57 | https://www.poolsupplyunlimited.com/pentair-640141-intellibrite-white-spa-light/136284p1 | 395.99 | http://www.poolsupplyworld.com/Pentair-601106-IntelliBrite-5G-White-LED-12V-40W-50-with-Stainless-Steel-Face-Ring-Pool-Light/601106.htm | 472.99 | http://www.poolsupplyworld.com/Pentair-601306-IntelliBrite-5G-White-LED-12V-55W-50-with-Stainless-Steel-Face-Ring-Pool-Light/601306.htm | 386.93 | https://www.poolsupplyunlimited.com/pentair-601301-intellibrite-white-pool-light/136271p1
313.82 | https://www.poolsupplyunlimited.com/pentair-640151-intellibrite-5g-white-spa-light/136289p1 | 492.99 | http://www.poolsupplyworld.com/Pentair-601201-IntelliBrite-5G-White-LED-120V-48W-50-with-Stainless-Steel-Face-Ring-Pool-Light/601201.htm | 355.05 | https://www.poolsupplyunlimited.com/pentair-601206-intellibrite-5g-white-pool-light/136266p1 | 404.98 | https://www.poolsupplyunlimited.com/jandj-electronics-lpl-f3w-120-50-p-pool-light/143290p1
338.06 | https://www.poolsupplyunlimited.com/hayward-lslus11050-spa-light/140886p1 | 467.99 | http://www.poolsupplyworld.com/Pentair-601206-IntelliBrite-5G-White-LED-12V-48W-50-with-Stainless-Steel-Face-Ring-Pool-Light/601206.htm | 364.37 | https://www.poolsupplyunlimited.com/pentair-601201-intellibrite-white-pool-light/136260p1 | 360.2 | https://www.poolsupplyunlimited.com/jandj-electronics-lpl-f3w-12-50-p-pool-light/143298p1
334.07 | https://www.poolsupplyunlimited.com/jandj-electronics-lpl-s1w-120-50-p-spa-light/143305p1 | 396.99 | http://www.yourpoolhq.com/pentair-intellibrite-601101-white-led-light.html |  |  | 425.28 | https://www.poolsupplyunlimited.com/jandj-electronics-lpl-f3w-120-50-psq-light-fixture/152061p1
339.37 | https://www.poolsupplyunlimited.com/jandj-electronics-lpl-s1w-12-50-p-spa-light/143310p1 | 364.99 | http://www.yourpoolhq.com/pentair-intellibrite-601106-white-led-light.html |  |  | 404.98 | https://www.poolsupplyunlimited.com/jandj-electronics-lpl-f3w-12-50-psq-light-fixture/152092p1
|  | 374.99 | http://www.yourpoolhq.com/hayward-lplus11050-crystalogic-light.html
|  | 326.14 | https://www.poolsupplyunlimited.com/pentair-601106-intellibrite-white-pool-light/136251p1
|  | 328.76 | https://www.poolsupplyunlimited.com/pentair-601101-intellibritewhite-pool-light/136241p1
|  | 339.11 | https://www.poolsupplyunlimited.com/hayward-lplus11050-pool-light/140889p1
|  | 346.97 | https://www.poolsupplyunlimited.com/jandj-electronics-lpl-f1w-120-50-p-pool-light/143302p1
|  | 373.03 | https://www.poolsupplyunlimited.com/jandj-electronics-lpl-f1w-12-50-p-pool-light/143318p1
Baseline Lamp Costs
100W Lamp |  | 300W Lamp |  | 400W Lamp |  | 500W Lamp |  | 300W, 400W, 500W Average
17.382 | Average | 21.122 | Average | 29.99 | Average | 19.29 | Average | 23.4673 | Average
65 | Labor | 65 | Labor | 65 | Labor | 65 | Labor | 65 | Labor
82.382 | Total | 86.122 | Total | 94.99 | Total | 84.29 | Total | 88.4673 | Total
31.99 | http://www.poolsupplyworld.com/SmartPool-NLK8-Replacement-Bulb-Kit-with-Gasket-100-Watts-for-NL100-Model/NLK8.htm | 29.99 | http://www.inyopools.com/Products/00100001005424.htm | 29.99 | http://www.inyopools.com/Products/00100001005426.htm | 29.99 | http://www.inyopools.com/Products/00100001005427.htm
20.99 | http://www.inyopools.com/Products/00100001005417.htm | 29.99 | http://www.inyopools.com/Products/00100001005425.htm |  |  | 8.59 | https://www.poolpartsonline.com/p-500-bulbs-replacement-pool-spa-light-bulbs.aspx
23.99 | http://www.inyopools.com/Products/00100001005428.htm | 8.19 | https://www.poolpartsonline.com/p-500-bulbs-replacement-pool-spa-light-bulbs.aspx
4.81 | https://www.poolpartsonline.com/p-500-bulbs-replacement-pool-spa-light-bulbs.aspx | 8.19 | https://www.poolpartsonline.com/p-500-bulbs-replacement-pool-spa-light-bulbs.aspx
5.13 | https://www.poolpartsonline.com/p-500-bulbs-replacement-pool-spa-light-bulbs.aspx | 29.25 | https://www.poolpartsonline.com/p-500-bulbs-replacement-pool-spa-light-bulbs.aspx
Measure Lamp Costs
100W eq. Lamp |  | 300W eq. Lamp |  | 400W eq. Lamp |  | 500W eq. Lamp |  | 300W, 400W, 500W Average
131.6333 | Average | 274.49 | Average | 285.39 | Average | 381.99 | Average | 313.9567 | Average
65 | Labor | 65 | Labor | 65 | Labor | 65 | Labor | 65 | Labor
196.6333 | Total | 339.49 | Total | 350.39 | Total | 446.99 | Total | 378.9567 | Total
117.92 | https://www.poolsupplyunlimited.com/jandj-electronics-pure-white-led-retrofit-light-bulb-for-mini-spa-lights-12v-lpl-m1-wht-12/53395p1 | 269.99 | http://www.inyopools.com/Products/03500015075918.htm | 280.99 | http://www.poolsupplyworld.com/JJ-Electronics-LPL-P2-WHT-120-PureWhite-2-White-LED-Replacement-Bulb-45W-120V/LPL-P2-WHT-120.htm | 363.99 | http://www.inyopools.com/Products/03500015075922.htm
138.99 | http://www.poolsupplyworld.com/JJ-Electronics-LPL-M1-WHT-120-PureWhite-2-LED-120V-13W-White-LED-Pool-and-Spa-Light-Fixture/LPL-M1-WHT-120.htm? | 279.99 | http://www.inyopools.com/Products/03500015075919.htm | 275.99 | http://www.poolsupplyworld.com/JJ-Electronics-LPL-P2-WHT-12-PureWhite-2-LED-12V-40W-White-LED-Pool-and-Spa-Light-Fixture/LPL-P2-WHT-12.htm | 399.99 | http://www.inyopools.com/Products/03500015075923.htm
137.99 | http://www.poolsupplyworld.com/JJ-Electronics-LPL-M1-WHT-12-PureWhite-2-LED-12V-10W-White-LED-Pool-and-Spa-Light-Fixture/LPL-M1-WHT-12.htm | 272.99 | http://www.poolsupplyworld.com/JJ-Electronics-LPL-P2-WHT-12-SQ-S-PureWhite-2-LED-12V-36W-White-LED-Pool-and-Spa-Light-Fixture-StaRite-SwimQuip/LPL-P2-WHT-12-SQ-S.htm | 291.99 | http://www.poolsupplyworld.com/JJ-Electronics-LPL-P2-WHT-120-S-PureWhite-2-LED-120V-41W-White-LED-Pool-and-Spa-Light-Fixture/LPL-P2-WHT-120-S.htm
|  | 274.99 | http://www.poolsupplyworld.com/JJ-Electronics-LPL-P2-WHT-12-S-PureWhite-2-LED-12V-36W-White-LED-Pool-and-Spa-Light-Fixture/LPL-P2-WHT-12-S.htm | 283.99 | http://www.inyopools.com/Products/03500015075920.htm
|  |  |  | 293.99 | http://www.inyopools.com/Products/03500015075921.htm

## Check Sheet (hidden)
Paste from WP |  |  |  |  | Check | [5 empty] | Work Paper Calc |  |  |  | Cost Sheet |  | Work Paper Calc |  | Cost Sheet
Sol Code | type | IMC | 1st BL | 2nd BL | IMC | 1st BL | 2nd BL | Matching? |  |  | SolutionCode | MeasIndex | MeasMatlCost | MeasLaborCost |  |  | WP StdMatlCost | WP StdLaborCost | Material |  | IMC | GMC
LT-97531 | ROB | 142.66 | 142.66 | N/A | 142.66 | 142.66 | N/A | TRUE | TRUE | TRUE | LT-97531 | 15.5 Watt Pool Light (Dusk to Close) LED | 342.15 | 130 | 342.15 | TRUE | 199.49 | 130 | 199.49 | TRUE | 142.66 | 472.15
LT-60864 | ROB | 142.66 | 142.66 | N/A | 142.66 | 142.66 | N/A | TRUE | TRUE | TRUE | LT-60864 | 15.5 Watt Pool Light (Dusk to Dawn) LED | 342.15 | 130 | 342.15 | TRUE | 199.49 | 130 | 199.49 | TRUE | 142.66 | 472.15
LT-18465 | ROB | 142.66 | 142.66 | N/A | 142.66 | 142.66 | N/A | TRUE | TRUE | TRUE | LT-18465 | 15.5 Watt Pool Light (Res) LED | 342.15 | 130 | 342.15 | TRUE | 199.49 | 130 | 199.49 | TRUE | 142.66 | 472.15
LT-79642 | ROB | 142.66 | 142.66 | N/A | 142.66 | 142.66 | N/A | TRUE | TRUE | TRUE | LT-79642 | 15.5 Watt Spa Light (Res) LED | 342.15 | 130 | 342.15 | TRUE | 199.49 | 130 | 199.49 | TRUE | 142.66 | 472.15
LT-19365 | ROB | 173.24 | 173.24 | N/A | 172.97 | 172.97 | N/A | FALSE | FALSE | TRUE | LT-19365 | 45.8 Watt Pool Light (Dusk to Close) LED | 386.75 | 130 | 386.75 | TRUE | 213.51 | 130 | 213.78 | FALSE | 172.97 | 516.75
LT-28111 | ROB | 173.24 | 173.24 | N/A | 172.97 | 172.97 | N/A | FALSE | FALSE | TRUE | LT-28111 | 45.8 Watt Pool Light (Dusk to Dawn) LED | 386.75 | 130 | 386.75 | TRUE | 213.51 | 130 | 213.78 | FALSE | 172.97 | 516.75
LT-34888 | ROB | 173.24 | 173.24 | N/A | 172.97 | 172.97 | N/A | FALSE | FALSE | TRUE | LT-34888 | 45.8 Watt Pool Light (Res) LED | 386.75 | 130 | 386.75 | TRUE | 213.51 | 130 | 213.78 | FALSE | 172.97 | 516.75
LT-42086 | ROB | 173.24 | 173.24 | N/A | 172.97 | 172.97 | N/A | FALSE | FALSE | TRUE | LT-42086 | 45.8 Watt Spa Light (Res) LED | 386.75 | 130 | 386.75 | TRUE | 213.51 | 130 | 213.78 | FALSE | 172.97 | 516.75
LT-47665 | ROB | 216.84 | 216.84 | N/A | 216.57 | 216.57 | N/A | FALSE | FALSE | TRUE | LT-47665 | 52.4 Watt Pool Light (Dusk to Close) LED | 430.35 | 130 | 430.35 | TRUE | 213.51 | 130 | 213.78 | FALSE | 216.57 | 560.35
LT-59777 | ROB | 216.84 | 216.84 | N/A | 216.57 | 216.57 | N/A | FALSE | FALSE | TRUE | LT-59777 | 52.4 Watt Pool Light (Dusk to Dawn) LED | 430.35 | 130 | 430.35 | TRUE | 213.51 | 130 | 213.78 | FALSE | 216.57 | 560.35
LT-69385 | ROB | 216.84 | 216.84 | N/A | 216.57 | 216.57 | N/A | FALSE | FALSE | TRUE | LT-69385 | 52.4 Watt Pool Light (Res) LED | 430.35 | 130 | 430.35 | TRUE | 213.51 | 130 | 213.78 | FALSE | 216.57 | 560.35
LT-50864 | ROB | 216.84 | 216.84 | N/A | 216.57 | 216.57 | N/A | FALSE | FALSE | TRUE | LT-50864 | 52.4 Watt Spa Light (Res) LED | 430.35 | 130 | 430.35 | TRUE | 213.51 | 130 | 213.78 | FALSE | 216.57 | 560.35
LT-78882 | ROB | 179.22 | 179.22 | N/A | 178.95 | 178.95 | N/A | FALSE | FALSE | TRUE | LT-78882 | 67.4 Watt Pool Light (Dusk to Close) LED | 392.73 | 130 | 392.73 | TRUE | 213.51 | 130 | 213.78 | FALSE | 178.95 | 522.73
LT-88786 | ROB | 179.22 | 179.22 | N/A | 178.95 | 178.95 | N/A | FALSE | FALSE | TRUE | LT-88786 | 67.4 Watt Pool Light (Dusk to Dawn) LED | 392.73 | 130 | 392.73 | TRUE | 213.51 | 130 | 213.78 | FALSE | 178.95 | 522.73
LT-95643 | ROB | 179.22 | 179.22 | N/A | 178.95 | 178.95 | N/A | FALSE | FALSE | TRUE | LT-95643 | 67.4 Watt Pool Light (Res) LED | 392.73 | 130 | 392.73 | TRUE | 213.51 | 130 | 213.78 | FALSE | 178.95 | 522.73
LT-80864 | ROB | 179.22 | 179.22 | N/A | 178.95 | 178.95 | N/A | FALSE | FALSE | TRUE | LT-80864 | 67.4 Watt Spa Light (Res) LED | 392.73 | 130 | 392.73 | TRUE | 213.51 | 130 | 213.78 | FALSE | 178.95 | 522.73
LT-97531 | RET | 142.66 | 472.15 | 142.66 | 142.66 | 472.15 | 142.66 | TRUE | TRUE | TRUE | LT-18635 | 15.5 Watt Pool Lamp (Res) LED replacing 100 Watt Incandescent | 131.63 | 65 | 131.63 | TRUE | 17.38 | 65 | 17.38 | TRUE | 114.25 | 196.63
LT-60864 | RET | 142.66 | 472.15 | 142.66 | 142.66 | 472.15 | 142.66 | TRUE | TRUE | TRUE | LT-18643 | 15.5 Watt Pool Lamp (Dusk to Dawn) LED replacing 100 Watt Incandescent | 131.63 | 65 | 131.63 | TRUE | 17.38 | 65 | 17.38 | TRUE | 114.25 | 196.63
LT-18465 | RET | 142.66 | 472.15 | 142.66 | 142.66 | 472.15 | 142.66 | TRUE | TRUE | TRUE | LT-18646 | 15.5 Watt Spa Lamp (Res) LED replacing 100 Watt Incandescent | 131.63 | 65 | 131.63 | TRUE | 17.38 | 65 | 17.38 | TRUE | 114.25 | 196.63
LT-79642 | RET | 142.66 | 472.15 | 142.66 | 142.66 | 472.15 | 142.66 | TRUE | TRUE | TRUE | LT-18650 | 15.5 Watt Pool Lamp (Dusk to Close) LED replacing 100 Watt Incandescent | 131.63 | 65 | 131.63 | TRUE | 17.38 | 65 | 17.38 | TRUE | 114.25 | 196.63
LT-19365 | RET | 173.24 | 516.75 | 173.24 | 172.97 | 516.75 | 172.97 | FALSE | TRUE | FALSE | LT-18636 | 45.8 Watt Pool Lamp (Dusk to Close) LED replacing 300 Watt Incandescent | 274.49 | 65 | 274.49 | TRUE | 23.47 | 65 | 23.47 | TRUE | 251.02 | 339.49
LT-28111 | RET | 173.24 | 516.75 | 173.24 | 172.97 | 516.75 | 172.97 | FALSE | TRUE | FALSE | LT-18637 | 45.8 Watt Pool Lamp (Dusk to Dawn) LED replacing 300 Watt Incandescent | 274.49 | 65 | 274.49 | TRUE | 23.47 | 65 | 23.47 | TRUE | 251.02 | 339.49
LT-34888 | RET | 173.24 | 516.75 | 173.24 | 172.97 | 516.75 | 172.97 | FALSE | TRUE | FALSE | LT-18638 | 45.8 Watt Pool Lamp (Res) LED replacing 300 Watt Incandescent | 274.49 | 65 | 274.49 | TRUE | 23.47 | 65 | 23.47 | TRUE | 251.02 | 339.49
LT-42086 | RET | 173.24 | 516.75 | 173.24 | 172.97 | 516.75 | 172.97 | FALSE | TRUE | FALSE | LT-18639 | 45.8 Watt Spa Lamp (Res) LED replacing 300 Watt Incandescent | 274.49 | 65 | 274.49 | TRUE | 23.47 | 65 | 23.47 | TRUE | 251.02 | 339.49
LT-47665 | RET | 216.84 | 560.35 | 216.84 | 216.57 | 560.35 | 216.57 | FALSE | TRUE | FALSE | LT-18640 | 52.4 Watt Pool Lamp (Dusk to Close) LED replacing 400 Watt Incandescent | 285.39 | 65 | 285.39 | TRUE | 23.47 | 65 | 23.47 | TRUE | 261.92 | 350.39
LT-59777 | RET | 216.84 | 560.35 | 216.84 | 216.57 | 560.35 | 216.57 | FALSE | TRUE | FALSE | LT-18641 | 52.4 Watt Spa Lamp (Res) LED replacing 400 Watt Incandescent | 285.39 | 65 | 285.39 | TRUE | 23.47 | 65 | 23.47 | TRUE | 261.92 | 350.39
LT-69385 | RET | 216.84 | 560.35 | 216.84 | 216.57 | 560.35 | 216.57 | FALSE | TRUE | FALSE | LT-18644 | 52.4 Watt Pool Lamp (Res) LED replacing 400 Watt Incandescent | 285.39 | 65 | 285.39 | TRUE | 23.47 | 65 | 23.47 | TRUE | 261.92 | 350.39
LT-50864 | RET | 216.84 | 560.35 | 216.84 | 216.57 | 560.35 | 216.57 | FALSE | TRUE | FALSE | LT-18642 | 52.4 Watt Pool Lamp (Dusk to Dawn) LED replacing 400 Watt Incandescent | 285.39 | 65 | 285.39 | TRUE | 23.47 | 65 | 23.47 | TRUE | 261.92 | 350.39
LT-78882 | RET | 179.22 | 522.73 | 179.22 | 178.95 | 522.73 | 178.95 | FALSE | TRUE | FALSE | LT-18645 | 67.4 Watt Pool Lamp (Dusk to Close) LED replacing 500 Watt Incandescent | 381.99 | 65 | 381.99 | TRUE | 23.47 | 65 | 23.47 | TRUE | 358.52 | 446.99
LT-88786 | RET | 179.22 | 522.73 | 179.22 | 178.95 | 522.73 | 178.95 | FALSE | TRUE | FALSE | LT-18647 | 67.4 Watt Spa Lamp (Res) LED replacing 500 Watt Incandescent | 381.99 | 65 | 381.99 | TRUE | 23.47 | 65 | 23.47 | TRUE | 358.52 | 446.99
LT-95643 | RET | 179.22 | 522.73 | 179.22 | 178.95 | 522.73 | 178.95 | FALSE | TRUE | FALSE | LT-18648 | 67.4 Watt Pool Lamp (Dusk to Dawn) LED replacing 500 Watt Incandescent | 381.99 | 65 | 381.99 | TRUE | 23.47 | 65 | 23.47 | TRUE | 358.52 | 446.99
LT-80864 | RET | 179.22 | 522.73 | 179.22 | 178.95 | 522.73 | 178.95 | FALSE | TRUE | FALSE | LT-18663 | 67.4 Watt Pool Lamp (Res) LED replacing 500 Watt Incandescent | 381.99 | 65 | 381.99 | TRUE | 23.47 | 65 | 23.47 | TRUE | 358.52 | 446.99
LT-18635 | ROB | 114.25 | 114.25 | N/A | 114.25 | 114.25 | N/A | TRUE | TRUE | TRUE
LT-18643 | ROB | 114.25 | 114.25 | N/A | 114.25 | 114.25 | N/A | TRUE | TRUE | TRUE
LT-18646 | ROB | 114.25 | 114.25 | N/A | 114.25 | 114.25 | N/A | TRUE | TRUE | TRUE
LT-18650 | ROB | 114.25 | 114.25 | N/A | 114.25 | 114.25 | N/A | TRUE | TRUE | TRUE
LT-18636 | ROB | 251.02 | 251.02 | N/A | 251.02 | 251.02 | N/A | TRUE | TRUE | TRUE
LT-18637 | ROB | 251.02 | 251.02 | N/A | 251.02 | 251.02 | N/A | TRUE | TRUE | TRUE
LT-18638 | ROB | 251.02 | 251.02 | N/A | 251.02 | 251.02 | N/A | TRUE | TRUE | TRUE
LT-18639 | ROB | 251.02 | 251.02 | N/A | 251.02 | 251.02 | N/A | TRUE | TRUE | TRUE
LT-18640 | ROB | 261.92 | 261.92 | N/A | 261.92 | 261.92 | N/A | TRUE | TRUE | TRUE
LT-18641 | ROB | 261.92 | 261.92 | N/A | 261.92 | 261.92 | N/A | TRUE | TRUE | TRUE
LT-18644 | ROB | 261.92 | 261.92 | N/A | 261.92 | 261.92 | N/A | TRUE | TRUE | TRUE
LT-18642 | ROB | 261.92 | 261.92 | N/A | 261.92 | 261.92 | N/A | TRUE | TRUE | TRUE
LT-18645 | ROB | 358.52 | 358.52 | N/A | 358.52 | 358.52 | N/A | TRUE | TRUE | TRUE
LT-18647 | ROB | 358.52 | 358.52 | N/A | 358.52 | 358.52 | N/A | TRUE | TRUE | TRUE
LT-18648 | ROB | 358.52 | 358.52 | N/A | 358.52 | 358.52 | N/A | TRUE | TRUE | TRUE
LT-18663 | ROB | 358.52 | 358.52 | N/A | 358.52 | 358.52 | N/A | TRUE | TRUE | TRUE
LT-18635 | RET | 114.25 | 196.63 | 114.25 | 114.25 | 196.63 | 114.25 | TRUE | TRUE | TRUE
LT-18643 | RET | 114.25 | 196.63 | 114.25 | 114.25 | 196.63 | 114.25 | TRUE | TRUE | TRUE
LT-18646 | RET | 114.25 | 196.63 | 114.25 | 114.25 | 196.63 | 114.25 | TRUE | TRUE | TRUE
LT-18650 | RET | 114.25 | 196.63 | 114.25 | 114.25 | 196.63 | 114.25 | TRUE | TRUE | TRUE
LT-18636 | RET | 251.02 | 339.49 | 251.02 | 251.02 | 339.49 | 251.02 | TRUE | TRUE | TRUE
LT-18637 | RET | 251.02 | 339.49 | 251.02 | 251.02 | 339.49 | 251.02 | TRUE | TRUE | TRUE
LT-18638 | RET | 251.02 | 339.49 | 251.02 | 251.02 | 339.49 | 251.02 | TRUE | TRUE | TRUE
LT-18639 | RET | 251.02 | 339.49 | 251.02 | 251.02 | 339.49 | 251.02 | TRUE | TRUE | TRUE
LT-18640 | RET | 261.92 | 350.39 | 261.92 | 261.92 | 350.39 | 261.92 | TRUE | TRUE | TRUE
LT-18641 | RET | 261.92 | 350.39 | 261.92 | 261.92 | 350.39 | 261.92 | TRUE | TRUE | TRUE
LT-18644 | RET | 261.92 | 350.39 | 261.92 | 261.92 | 350.39 | 261.92 | TRUE | TRUE | TRUE
LT-18642 | RET | 261.92 | 350.39 | 261.92 | 261.92 | 350.39 | 261.92 | TRUE | TRUE | TRUE
LT-18645 | RET | 358.52 | 446.99 | 358.52 | 358.52 | 446.99 | 358.52 | TRUE | TRUE | TRUE
LT-18647 | RET | 358.52 | 446.99 | 358.52 | 358.52 | 446.99 | 358.52 | TRUE | TRUE | TRUE
LT-18648 | RET | 358.52 | 446.99 | 358.52 | 358.52 | 446.99 | 358.52 | TRUE | TRUE | TRUE
LT-18663 | RET | 358.52 | 446.99 | 358.52 | 358.52 | 446.99 | 358.52 | TRUE | TRUE | TRUE

## Lumens
Watts | LED Screw | LED Fixt
100 | 13 | 18
300 | 49.4 | 42.1
400 |  | 52.4
500 |  | 67.4
Lumens | Inc lumens | Inc efficacy | LED screw-in lumens | LED screw-in efficacy | LED fixture lumens | LED fixture efficacy
100 | 478.53 | 4.7853 | 504.4737
300 | 2092 | 6.9733 | 1917 | 38.8057 | 2353 | 55.8907
400 | 3201 | 8.0025 |  |  | 2732 | 52.1374
500 | 4573 | 9.146 |  |  | 3039 | 45.089