## Sheet1
|  |  | Base Case Demand (W) | [12 empty] | Source (HID base)
|  | ranges |  | base case nominal wattage | base case initial HID lamp lumens (Philips 2013 Lamp Spec Guide) | base case avg HID lamp lumens | est. base case fixture efficiency | est. base case fixture to target efficiency | est. net base lumens on target | Proposed Measure Case (W) | est. measure case mean light engine lumens based on avg mntd 85 lumens/W | est. measure case fixture efficiency | est. measure case fixture to target efficiency | est. net measure lumens on target | delta light check |  | Off-peak Demand (kW) | kWh saved per year
[5 empty] | 0.875 | 0.85
LT-27419 | LED Street Lighting Up to 28 Watts | 0-28 | 66 | 50 | 4000 | 3500 | 0.8 | 0.65 | 1820 | 28 | 2380 | 0.95 | 0.92 | 2080.12 | 1.1429 | HPS | 0.038 | 155.8
LT-73136 | LED Street Lighting 29-43 Watts | 29-43 | 95 | 70 | 6500 | 5687.5 | 0.8 | 0.65 | 2957.5 | 43 | 3655 | 0.95 | 0.92 | 3194.47 | 1.0801 | HPS | 0.052 | 213.2
LT-80500 | LED Street Lighting 44-54 Watts | 44-54 | 138 | 100 | 9400 | 8225 | 0.8 | 0.65 | 4277 | 54 | 4590 | 0.95 | 0.92 | 4011.66 | 0.93796 | HPS | 0.084 | 344.4
LT-24820 | LED Street Lighting 55-90 Watts | 55-90 | 188 | 150 | 15400 | 13475 | 0.8 | 0.65 | 7007 | 90 | 7650 | 0.95 | 0.92 | 6686.1 | 0.9542 | HPS | 0.098 | 401.8
LT-78130 | LED Street Lighting 91-130 Watts | 91-130 | 250 | 200 | 21400 | 18725 | 0.8 | 0.65 | 9737 | 130 | 11050 | 0.95 | 0.92 | 9657.7 | 0.99186 | HPS | 0.12 | 492
LT-35164 | LED Street Lighting 131-190 Watts | 131-190 | 295 | 250 | 27000 | 23625 | 0.8 | 0.65 | 12285 | 190 | 16150 | 0.95 | 0.92 | 14115.1 | 1.149 | HPS | 0.105 | 430.5
LT-61338 | LED Street Lighting 191-222 Watts | 191-222 | 365 | 310 | 36666.6667 | 32083.3333 | 0.8 | 0.65 | 16683.3333 | 222 | 18870 | 0.95 | 0.92 | 16492.38 | 0.98855 | HPS | 0.143 | 586.3
LT-81983 | LED Street Lighting 223-260 Watts | 223-260 | 465 | 400 | 50000 | 43750 | 0.8 | 0.65 | 22750 | 260 | 22100 | 0.95 | 0.92 | 19315.4 | 0.84903 | HPS | 0.205 | 840.5
LT-94198 | LED Street Lighting 29-43 Watts | 29-43 | 95 | 70 | 5500 | 4675 | 0.8 | 0.65 | 2431 | 43 | 3655 | 0.95 | 0.92 | 3194.47 | 1.3141 | PSMH | 0.052 | 213.2
LT-18053 | LED Street Lighting 44-54 Watts | 44-54 | 128 | 100 | 9000 | 7650 | 0.8 | 0.65 | 3978 | 54 | 4590 | 0.95 | 0.92 | 4011.66 | 1.0085 | PSMH | 0.074 | 303.4
LT-39353 | LED Street Lighting 55-90 Watts | 55-90 | 190 | 150 | 12500 | 10625 | 0.8 | 0.65 | 5525 | 90 | 7650 | 0.95 | 0.92 | 6686.1 | 1.2102 | PSMH | 0.1 | 410
LT-59292 | LED Street Lighting 55-90 Watts | 55-90 | 215 | 175 | 13500 | 11475 | 0.8 | 0.65 | 5967 | 90 | 7650 | 0.95 | 0.92 | 6686.1 | 1.1205 | PSMH | 0.125 | 512.5
LT-35035 | LED Street Lighting 91-130 Watts | 91-130 | 295 | 250 | 20500 | 17425 | 0.8 | 0.65 | 9061 | 130 | 11050 | 0.95 | 0.92 | 9657.7 | 1.0659 | PSMH | 0.165 | 676.5
LT-46736 | LED Street Lighting 131-190 Watts | 131-190 | 458 | 400 | 37500 | 31875 | 0.8 | 0.65 | 16575 | 190 | 16150 | 0.95 | 0.92 | 14115.1 | 0.85159 | PSMH | 0.268 | 1098.8