## Base Case Costs_10.30.15
Solution Code | Cost Case Description | Cost Case ID |  | Lamp | Ballast | Material Cost/Fixture | Material Cost/door | Installation Man Hours - Retrofit | Installation Labor Cost - Retrofit | Lamp Description | Lamp Source | Ballast Description | Ballast Source
LT-17642 | (2) 48in T8 Linear Fluorescent [59W Total, F32T8] | SCE17LG098_00_B001 | MT - T8 | 3.08 | 13.57 |  | N/A | 1.84 | 74.91 | Philips 27249-2 - F32T8/TL735/ALTO | https://www.1000bulbs.com/product/4716/F-32T8P73525.html | GE UltraMax H 73190 | https://www.1000bulbs.com/product/92008/GE-73190.html
|  |  |  | 6.56 | 13.81 |  | N/A | 1.84 | 74.91 | Philips 280818 - F32T8/ADV835/ALTO | https://www.1000bulbs.com/product/99672/PHILIPS-280818.html | Plusrite 7284 | https://www.1000bulbs.com/product/137197/PLUSRITE-7284.html
|  |  |  | 8.54 | 17.37 |  | N/A | 1.84 | 74.91 | Philips 282095 - F32T8/ADV835/XEW | https://www.1000bulbs.com/product/85809/PHILIPS-282095.html | Advance Optanium IOP-A2P32-N | https://www.1000bulbs.com/product/57934/BA-IOPA2P32N35.html
|  |  | Average | 6.06 | 14.9167 | 20.9767
LT-20643 | (1) 48in T12 Linear Fluorescent [41W Total, F48T12/ES] | SCE17LG098_00_B002 | MT - T12 | 4.11 | 24.34 |  | N/A | 1.84 | 74.91 | Philips 36321-8 - F48T12/CW ALTO | https://www.1000bulbs.com/product/152927/PHILIPS-363218.html | Fulham Workhorse 5 WH5-277-L | https://www.1000bulbs.com/product/2170/BF-WH5277LC.html
|  |  |  | 3.95 |  |  | N/A | 1.84 | 74.91 | SYLVANIA 25150 - F48T12/D/HO | https://www.1000bulbs.com/product/153034/SYLVANIA-25150.html
|  |  |  | 6.09 |  |  | N/A | 1.84 | 74.91 | SYLVANIA 25248 - F48T12/CW/VHO | https://www.1000bulbs.com/product/153056/SYLVANIA-25248.html
|  |  | Average | 4.7167 | 24.34 | 29.0567
LT-30954 | (1) 48in T8 Linear Fluorescent [30W Total, F32T8] | SCE17LG098_00_B003 | MT - T8 | 1.54 | 13.57 |  | N/A | 1.84 | 74.91 | Philips 27249-2 - F32T8/TL735/ALTO | https://www.1000bulbs.com/product/4716/F-32T8P73525.html | GE UltraMax H 73190 | https://www.1000bulbs.com/product/92008/GE-73190.html
|  |  |  | 3.28 | 13.81 |  | N/A | 1.84 | 74.91 | Philips 280818 - F32T8/ADV835/ALTO | https://www.1000bulbs.com/product/99672/PHILIPS-280818.html | Plusrite 7284 | https://www.1000bulbs.com/product/137197/PLUSRITE-7284.html
|  |  |  | 4.27 | 17.37 |  | N/A | 1.84 | 74.91 | Philips 282095 - F32T8/ADV835/XEW | https://www.1000bulbs.com/product/85809/PHILIPS-282095.html | Advance Optanium IOP-A2P32-N | https://www.1000bulbs.com/product/57934/BA-IOPA2P32N35.html
|  |  | Average | 3.03 | 14.9167 | 17.9467
LT-49651 | (2) 36in T12 Linear Fluorescent [74W Total, F30T12] | SCE17LG098_00_B004 | MT - T12 | 5.2 | 9.42 |  | N/A | 1.84 | 74.91 | Philips 13221-7 - F30T12/WW | https://www.1000bulbs.com/product/4655/PHILIPS-132217.html | Sola ERSF-134-TP | https://www.1000bulbs.com/product/5949/BS-ERSF134TP.html
|  |  |  | 5 |  |  | N/A | 1.84 | 74.91 | Philips 27242-7 - F30T12/CW/RS | https://www.1000bulbs.com/product/4656/PHILIPS-272427.html
|  |  |  | 3.34 |  |  | N/A | 1.84 | 74.91 | Halco 9236 - F30T12/D | https://www.1000bulbs.com/product/2842/HALCO-9236.html
|  |  | Average | 4.5133 | 9.42 | 13.9333
LT-58674 | (2) 36in T8 Linear Fluorescent [50W Total, F25T8] | SCE17LG098_00_B005 | MT - T8 | 14.5 | 8.99 |  | N/A | 1.84 | 74.91 | SYLVANIA 21872 - FO25/950/36in | https://www.1000bulbs.com/product/153088/SYLVANIA-21872.html | Plusrite 7282 | https://www.1000bulbs.com/product/91985/PLUSRITE-7282.html
|  |  |  | 3.74 | 10.53 |  | N/A | 1.84 | 74.91 | Litetronics L-341 - F25T8/750 | https://www.1000bulbs.com/product/153022/LITRO-L341.html | Fulham Workhorse 3 WHCG3-120-T8-IS | https://www.1000bulbs.com/product/7831/BF-WHCG3120T8IS.html
|  |  |  | 3.7 | 11.79 |  | N/A | 1.84 | 74.91 | Ushio 3000266 - F25T8/850 | https://www.1000bulbs.com/product/90169/USH-3000266.html | Howard EP2/32IS/MV/MC/HE | https://www.1000bulbs.com/product/101025/BH-EP232ISMVMCHE.html
|  |  | Average | 7.3133 | 10.4367 | 17.75
LT-65612 | (1) 36in T12 Linear Fluorescent [37W Total, F30T12] | SCE17LG098_00_B006 | MT - T12 | 2.6 | 9.42 |  | N/A | 1.84 | 74.91 | Philips 13221-7 - F30T12/WW | https://www.1000bulbs.com/product/4655/PHILIPS-132217.html | Sola ERSF-134-TP | https://www.1000bulbs.com/product/5949/BS-ERSF134TP.html
|  |  |  | 2.5 |  |  | N/A | 1.84 | 74.91 | Philips 27242-7 - F30T12/CW/RS | https://www.1000bulbs.com/product/4656/PHILIPS-272427.html
|  |  |  | 1.67 |  |  | N/A | 1.84 | 74.91 | Halco 9236 - F30T12/D | https://www.1000bulbs.com/product/2842/HALCO-9236.html
|  |  | Average | 2.2567 | 9.42 | 11.6767
LT-69439 | (1) 60in T12 Linear Fluorescent [176W Total, F60T12/HO] | SCE17LG098_00_B007 | LT - T12 | 8.59 | 34.95 |  |  | 1.84 | 74.91 | F60T12/CW/HO - 75 Watt - T12 | https://www.1000bulbs.com/product/100475/PLT-90163.html | GE296HO-MV-N (75671) GE Multi-Volt ProLine™ Electronic Ballast | http://www.ballastshop.com/ge296ho-mv-n.html?gclid=CKb8i8XS5cgCFYJqfgods5IDOA
|  |  |  | 8 | 29.85 |  |  | 1.84 | 74.91 | GE 23075 - F60T12/CW/HO | https://www.1000bulbs.com/product/152953/GE-23075.html | Universal Basic-12 B295SRUNVHP T12HO Electronic Fluorescent Ballast | http://www.bulbsdepot.com/b295srunvhp.html?gclid=CPDGr9rS5cgCFYeEfgodaV4CFA
|  |  |  | 6.82 | 37 |  |  | 1.84 | 74.91 | GE 23077 - F60T12/D/HO | https://www.1000bulbs.com/product/152917/GE-23077.html | Philips Rapid Start Electronic Fluorescent Ballast for (1-2) F48T12/HO to F96T12/HO Lamps - 120V-277V (ICN-2S110-SC) | http://www.lightingsupply.com/icn-2s110-sc.aspx?utm_source=google&utm_term=&utm_campaign=Margin+Medium+PLAs&utm_medium=cpc&utm_content=WtPzXk28¦pcrid¦49427984214¦pkw¦¦pmt¦¦pdv¦c¦&gclid=CMPj9NTU5cgCFRSIfgoda0YMGw
|  |  | Average | 7.8033 | 33.9333 | 41.7367 | 50.084
LT-75912 | (1) 36in T8 Linear Fluorescent [25W Total, F25T8] | SCE17LG098_00_B008 | MT - T8 | 7.25 | 9.15 |  |  | 1.84 | 74.91 | SYLVANIA 21872 - FO25/950/36in | https://www.1000bulbs.com/product/153088/SYLVANIA-21872.html | Universal Triad B232IUNVHP-N | https://www.1000bulbs.com/product/98460/BU-B232IUNVHP-N.html
|  |  |  | 1.87 |  |  |  | 1.84 | 74.91 | Litetronics L-341 - F25T8/750 | https://www.1000bulbs.com/product/153022/LITRO-L341.html
|  |  |  | 1.85 |  |  |  | 1.84 | 74.91 | Ushio 3000266 - F25T8/850 | https://www.1000bulbs.com/product/90169/USH-3000266.html
|  |  | Average | 3.6567 | 9.15 | 12.8067 | 15.368
LT-78303 | (1) 60in T8 Linear Fluorescent [56.3W Total, F40T8/HO] | SCE17LG098_00_B009 | LT - T8 | 7.28 | 39.09 |  |  | 1.84 | 74.91 | Philips 236794 - F48T8/TL841/HO/ALTO | https://www.1000bulbs.com/product/153121/PHILIPS-236794.html | Standard E260T12PRS120/N/HO - F48T12/HO, F72T12HO Electronic Ballast | http://www.topbulb.com/f48t12-ho-f24t12ho-f36t12ho-f60t12ho-f72t12ho-electronic-ballast?gclid=CO6e_Mba5cgCFQtrfgodePEHNA
[8 empty] | 1.84 | 74.91
[8 empty] | 1.84 | 74.91
|  |  | Average | 7.28 | 39.09 | 46.37 | 55.644
LT-79548 | (1) 72in T12 Linear Fluorescent [97W Total, F72T12] | SCE17LG098_00_B010 | MT - T12 | 18.99 | 26.99 |  |  | 1.84 | 74.91 | GE13760 | http://www.elightbulbs.com/GE-13760-F72T12-CW-1500-Straight-T12-Fluorescent-Tube&source=GooglePPC-ProductAds?gclid=CKvf0bC66MgCFQhsfgodfdAOFQ | F48T12, F48T12ES, F72T12, F96T12, F96T12ES Instant Start Electronic Ballast (1-2 Lamps) | http://www.topbulb.com/f48t12-f48t12es-f72t12-f96t12-f96t12es-instant-start-electronic-ballast-1-2-lamps?gclid=CPb-x4G86MgCFQ5rfgoduM8Peg
|  |  |  | 31.99 |  |  |  | 1.84 | 74.91 | Sylvania 25281 | http://www.elightbulbs.com/Sylvania-25281-F72T12-D835-HO-Straight-T12-Fluorescent-Tube&source=GooglePPC-ProductAds?gclid=CKDr6o276MgCFU-Rfgodp88H2A
|  |  |  | 13.99 |  |  |  | 1.84 | 74.91 | GE13702 | http://www.elightbulbs.com/GE-13702-F72T12-WW-HO-Straight-T12-Fluorescent-Tube&source=GooglePPC-ProductAds?gclid=CIKRzKS76MgCFQdafgod_10BAQ
|  |  | Average | 21.6567 | 26.99 | 48.6467 | 58.376
LT-80693 | (1) 60in T8 Linear Fluorescent [56.3W Total, F40T8] | SCE17LG098_00_B011 | MT - T8 | 7.99 | 26.55 |  |  | 1.84 | 74.91 | GE 15952 | http://www.elightbulbs.com/GE-15952-F40T8-SP41-Straight-T8-Fluorescent-Tube&source=GooglePPC-ProductAds?gclid=CMbr_PeG6MgCFYZgfgod8jIKVA | Programmed Rapid Start FL Ballast for 2-3 F32T8 F40T8 F17T8 Lamps, Parallel Wiring Run at 120 - 277 Volt (B332PUNVEL-A) | http://www.lightingsupply.com/b332punvel-a.aspx?utm_source=google&utm_term=&utm_campaign=Margin+Medium+High+PLAs&utm_medium=cpc&utm_content=7agsvYD8¦pcrid¦74568390774¦pkw¦¦pmt¦¦pdv¦c¦&gclid=CLLhrsOL6MgCFU6Sfgodu8gF_A
|  |  |  | 9.99 |  |  |  | 1.84 | 74.91 | Philips 368472 | http://www.elightbulbs.com/Philips-368472-F40T8-TL841-ALTO-Straight-T8-Fluorescent-Tube&source=GooglePPC-ProductAds?gclid=CJHUkpKH6MgCFU1hfgod55IL9w
|  |  |  | 7.09 |  |  |  | 1.84 | 74.91 | GE 22661 - F40T8/SPX35 | https://www.1000bulbs.com/product/2405/F-40T8835.html?utm_source=SmartFeedGoogleBase&utm_medium=Shopping&utm_term=F-40T8835&utm_content=F40T8+-+40+Watt+-+T8+Linear+Fluorescent+Tubes&utm_campaign=SmartFeedGoogleBaseShopping&gclid=CMbnxNiH6MgCFcdgfgod9RkLLg
|  |  | Average | 8.3567 | 26.55 | 34.9067 | 41.888
LT-84544 | (1) 60in T12 Linear Fluorescent [176W Total, F60T12] | SCE17LG098_00_B012 | MT - T12 | 29.99 | 31.65 |  |  | 1.84 | 74.91 | GE41148 | http://www.elightbulbs.com/GE-41148-F60T12-CW-HO-CVG-Straight-T12-Fluorescent-Tube&source=GooglePPC-ProductAds?gclid=CK7a-fSU6MgCFc5efgod1icEDQ | Keystone Keystone - 3 Pack - 120 Volts - T12 Electronic Ballast - Normal Ballast Factor - High Power Factor - Operates 2 T12 | https://www.google.com/shopping/product/6269500946424129307?q=F60T12+ballast&rlz=1C1QJDB_enUS604US604&espv=2&biw=1777&bih=932&bav=on.2,or.&bvm=bv.106130839,d.cGc&ion=1&tch=1&ech=1&psi=JVQyVpjTOMyAjwOKto6IDw.1446138919177.5&prds=hsec:online,paur:ClkAsKraX8lOTRv7B3Ex4LQ_CmlAFdVxMxhkz-iYDBVj3hJMvwFF-pefURk-eCupbdA6YCHUchsks6aUXPe3ol-4muDrPUJk1fMlQIBN9jtOla4VDHuCa0OgPBIZAFPVH72jvLdiIwNzwRF9twJTy_mU4oyWHg&ved=0CCIQ2StqFQoTCO6n7KiX6MgCFQPRYwodKiYLCw&ei=MFQyVu7PBoOijwOqzKxY
|  |  |  | 11.99 | 43.19 |  |  | 1.84 | 74.91 | GE23075 | http://www.elightbulbs.com/catalog_product.cfm?source=NexTagCSE&prod=GL23075
|  |  |  | 12.99 | 29.69 |  |  | 1.84 | 74.91 | GE23077 | http://www.elightbulbs.com/GE-23077-F60T12-D-HO-Straight-T12-Fluorescent-Tube&source=GooglePPC-ProductAds?gclid=CLeujs-V6MgCFU9ffgodIlYB_w
|  |  | Average | 18.3233 | 34.8433 | 53.1667 | 63.8
LT-89513 | (2) 48in T12 Linear Fluorescent [82W Total, F48T12/ES] | SCE17LG098_00_B013 | MT - T12 | 8.22 | 22.85 |  | N/A | 1.84 | 74.91 | Philips 36321-8 - F48T12/CW ALTO | https://www.1000bulbs.com/product/152927/PHILIPS-363218.html | Keystone KTEB-275-UV-TP-PIC T12 Electronic Ballast | http://www.bulbsdepot.com/kteb-275-uv-tp-pic.html?gclid=COnf5cWY6MgCFQhsfgodfdAOFQ
|  |  |  | 7.9 | 21.85 |  | N/A | 1.84 | 74.91 | SYLVANIA 25150 - F48T12/D/HO | https://www.1000bulbs.com/product/153034/SYLVANIA-25150.html | Keystone KTEB-275-1-TP-PIC-SL T12 Electronic Ballast | http://www.bulbsdepot.com/kteb-275-1-tp-pic-sl.html?gclid=CK3345Gh6MgCFQ5rfgoduM8Peg
|  |  |  | 12.18 |  |  | N/A | 1.84 | 74.91 | SYLVANIA 25248 - F48T12/CW/VHO | https://www.1000bulbs.com/product/153056/SYLVANIA-25248.html
|  |  | Average | 9.4333 | 22.35 | 31.7833
LT-93848 | (1) 72in T12 Linear Fluorescent [97W Total, F72T12] | SCE17LG098_00_B014 | MT - T12 | 18.99 | 26.99 |  |  | 1.84 | 74.91 | GE13760 | http://www.elightbulbs.com/GE-13760-F72T12-CW-1500-Straight-T12-Fluorescent-Tube&source=GooglePPC-ProductAds?gclid=CKvf0bC66MgCFQhsfgodfdAOFQ | F48T12, F48T12ES, F72T12, F96T12, F96T12ES Instant Start Electronic Ballast (1-2 Lamps) | http://www.topbulb.com/f48t12-f48t12es-f72t12-f96t12-f96t12es-instant-start-electronic-ballast-1-2-lamps?gclid=CPb-x4G86MgCFQ5rfgoduM8Peg
|  |  |  | 31.99 |  |  |  | 1.84 | 74.91 | Sylvania 25281 | http://www.elightbulbs.com/Sylvania-25281-F72T12-D835-HO-Straight-T12-Fluorescent-Tube&source=GooglePPC-ProductAds?gclid=CKDr6o276MgCFU-Rfgodp88H2A
|  |  |  | 13.99 |  |  |  | 1.84 | 74.91 | GE13702 | http://www.elightbulbs.com/GE-13702-F72T12-WW-HO-Straight-T12-Fluorescent-Tube&source=GooglePPC-ProductAds?gclid=CIKRzKS76MgCFQdafgod_10BAQ
|  |  | Average | 21.6567 | 26.99 | 48.6467 | 58.376
LT-97154 | (1) 48in T12 Linear Fluorescent [41W Total, F48T12/ES] | SCE17LG098_00_B015 | MT - T12 | 4.11 | 24.34 |  | N/A | 1.84 | 74.91 | Philips 36321-8 - F48T12/CW ALTO | https://www.1000bulbs.com/product/152927/PHILIPS-363218.html | Fulham Workhorse 5 WH5-277-L | https://www.1000bulbs.com/product/2170/BF-WH5277LC.html
|  |  |  | 3.95 |  |  | N/A | 1.84 | 74.91 | SYLVANIA 25150 - F48T12/D/HO | https://www.1000bulbs.com/product/153034/SYLVANIA-25150.html
|  |  |  | 6.09 |  |  | N/A | 1.84 | 74.91 | SYLVANIA 25248 - F48T12/CW/VHO | https://www.1000bulbs.com/product/153056/SYLVANIA-25248.html
|  |  | Average | 4.7167 | 24.34 | 29.0567
Reference only Rev.2 | (1) 96in T8 Linear Fluorescent (T8 High Output Linear Fluorescent Tubes) | N/A |  | 11.78 |  | 11.78 | 14.136 |  |  |  | https://www.1000bulbs.com/product/93406/F-96T8TL850ALTO.html
Reference only Rev.2 | (1) 48in T8 Linear Fluorescent (T8 High Output Linear Fluorescent Tubes) | N/A |  | 7.28 |  | 7.28 | 8.736 |  |  |  | https://www.1000bulbs.com/category/t8-high-output-linear-fluorescent-tubes/
Labor Hours = 1.84 and CA Average Labor Rate = $74.91, WO17, MCS Results Matrix-Volume I.xlsx

## Measure Case Costs_10.30.15
Solution Code | Measure Case Description | Cost Case ID | Temp/Base Case | Material Cost/fixture | Material Cost/door | Installation Man Hours - Retrofit | Installation Labor Cost - Retrofit | LED description | Source
LT-17642 | (1) 48in Medium Temp Reach-in Display Cases Canopy LED (open/horizontal) | SCE17LG098_00_M001 | MT - T8 | 127.29 | N/A | 1.84 | 74.91 | GE Lighting 69680 GEMT314840USL-SY 48 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 4000K | http://www.shineretrofits.com/ge-lighting-69680-gemt314840usl-sy-48-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-4000k.html?gclid=CJ_M8v_D6MgCFYVqfgodm0MM7A
|  |  |  | 109.09 | N/A | 1.84 | 74.91 | GE Lighting 69668 GEMT304840USL-SY 48 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 4000K | http://www.shineretrofits.com/ge-lighting-69668-gemt304840usl-sy-48-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-4000k.html?gclid=CO2v3-PE6MgCFROSfgodpqsKFA
|  |  | Average | 118.19
LT-20643 | (1) 48in Medium Temp Reach-in Display Cases Shelf LED (open) | SCE17LG098_00_M002 | MT - T12 | 127.29 | N/A | 1.84 | 74.91 | GE Lighting 69680 GEMT314840USL-SY 48 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 4000K | http://www.shineretrofits.com/ge-lighting-69680-gemt314840usl-sy-48-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-4000k.html?gclid=CJ_M8v_D6MgCFYVqfgodm0MM7A
|  |  |  | 109.09 | N/A | 1.84 | 74.91 | GE Lighting 69668 GEMT304840USL-SY 48 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 4000K | http://www.shineretrofits.com/ge-lighting-69668-gemt304840usl-sy-48-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-4000k.html?gclid=CO2v3-PE6MgCFROSfgodpqsKFA
|  |  | Average | 118.19
LT-30954 | (1) 48in Medium Temp Reach-in Display Cases Shelf LED (open) | SCE17LG098_00_M003 | MT - T8 | 127.29 | N/A | 1.84 | 74.91 | GE Lighting 69680 GEMT314840USL-SY 48 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 4000K | http://www.shineretrofits.com/ge-lighting-69680-gemt314840usl-sy-48-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-4000k.html?gclid=CJ_M8v_D6MgCFYVqfgodm0MM7A
|  |  |  | 109.09 | N/A | 1.84 | 74.91 | GE Lighting 69668 GEMT304840USL-SY 48 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 4000K | http://www.shineretrofits.com/ge-lighting-69668-gemt304840usl-sy-48-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-4000k.html?gclid=CO2v3-PE6MgCFROSfgodpqsKFA
|  |  | Average | 118.19
LT-49651 | (1) 36in Medium Temp Reach-in Display Cases Canopy LED | SCE17LG098_00_M004 | MT - T12 | 109.09 | N/A | 1.84 | 74.91 | GE Lighting 69705 GEMT313630USL-SY 36 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 3000K | http://www.shineretrofits.com/ge-lighting-69705-gemt313630usl-sy-36-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-3000k.html?gclid=CNf0tNfG6MgCFU1hfgod55IL9w
|  |  |  | 100 | N/A | 1.84 | 74.91 | GE Lighting 69691 GEMT303630USL-SY 36 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 3000K | http://www.shineretrofits.com/ge-lighting-69691-gemt303630usl-sy-36-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-3000k.html?gclid=CNjWzfLG6MgCFUSCfgodeUAHEw
|  |  | Average | 104.545
LT-58674 | (1) 36in Medium Temp Reach-in Display Cases Canopy LED | SCE17LG098_00_M005 | MT - T8 | 109.09 | N/A | 1.84 | 74.91 | GE Lighting 69705 GEMT313630USL-SY 36 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 3000K | http://www.shineretrofits.com/ge-lighting-69705-gemt313630usl-sy-36-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-3000k.html?gclid=CNf0tNfG6MgCFU1hfgod55IL9w
|  |  |  | 100 | N/A | 1.84 | 74.91 | GE Lighting 69691 GEMT303630USL-SY 36 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 3000K | http://www.shineretrofits.com/ge-lighting-69691-gemt303630usl-sy-36-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-3000k.html?gclid=CNjWzfLG6MgCFUSCfgodeUAHEw
|  |  | Average | 104.545
LT-65612 | (1) 36in Medium Temp Reach-in Display Cases Shelf LED | SCE17LG098_00_M006 | MT - T12 | 109.09 | N/A | 1.84 | 74.91 | GE Lighting 69705 GEMT313630USL-SY 36 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 3000K | http://www.shineretrofits.com/ge-lighting-69705-gemt313630usl-sy-36-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-3000k.html?gclid=CNf0tNfG6MgCFU1hfgod55IL9w
|  |  |  | 100 | N/A | 1.84 | 74.91 | GE Lighting 69691 GEMT303630USL-SY 36 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 3000K | http://www.shineretrofits.com/ge-lighting-69691-gemt303630usl-sy-36-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-3000k.html?gclid=CNjWzfLG6MgCFUSCfgodeUAHEw
|  |  | Average | 104.545
LT-69439 | (1) 60in Retrofits in Low Temp Reach-in Display Cases LED | SCE17LG098_00_M007 | LT - T12 | 180 | 216 | 1.84 | 74.91
LT-75912 | (1) 36in Medium Temp Reach-in Display Cases Shelf LED | SCE17LG098_00_M008 | MT - T8 | 109.09 | N/A | 1.84 | 74.91 | GE Lighting 69705 GEMT313630USL-SY 36 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 3000K | http://www.shineretrofits.com/ge-lighting-69705-gemt313630usl-sy-36-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-3000k.html?gclid=CNf0tNfG6MgCFU1hfgod55IL9w
|  |  |  | 100 | N/A | 1.84 | 74.91 | GE Lighting 69691 GEMT303630USL-SY 36 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 3000K | http://www.shineretrofits.com/ge-lighting-69691-gemt303630usl-sy-36-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-3000k.html?gclid=CNjWzfLG6MgCFUSCfgodeUAHEw
|  |  | Average | 104.545
LT-78303 | (1) 60in Retrofits in Low Temp Reach-in Display Cases LED | SCE17LG098_00_M009 | LT - T8 | 127.27 | 152.724 | 1.84 | 74.91 | GE Lighting GELT6060 60 Inch Immersion RV60 Vertical LED Refrigerator Cooler Case Display Light | http://www.shineretrofits.com/ge-lighting-gelt6060-60-inch-immersion-rv60-vertical-led-refrigerator-cooler-case-display-light.html?gclid=CMbk9efJ6MgCFYZgfgod8jIKVA
|  |  |  | 100 | 120 | 1.84 | 74.91 | GE Lighting GELT4E60 60 Inch Immersion RV45 Vertical LED Refrigerator Cooler Case Display Light | http://www.shineretrofits.com/ge-lighting-gelt4e60-60-inch-immersion-rv45-vertical-led-refrigerator-cooler-case-display-light.html?gclid=CMbb-oTK6MgCFYhcfgodOMwOAA
|  |  | Average | 113.635 | 136.362
LT-79548 | (1) 72in Retrofits in Medium Temp Reach-in Display Cases LED | SCE17LG098_00_M010 | MT - T12 | 127.33 | 152.796 | 1.84 | 74.91 | LED REFRIGERATED CASE LIGHTING 72 INCH LONG 18 WATT (LEFT & RIGHT SYSTEM) | http://www.warehouse-lighting.com/LED-Refrigerated-Case-Lighting-72-inch-long-18-Watt.aspx?gdftrk=gdfV25804_a_7c2259_a_7c8441_a_7c72_d_18W&gclid=CM6F9fjK6MgCFQqEfgod4dYCEg
|  |  |  | 199 | 238.8 | 1.84 | 74.91 | LED REFRIGERATED CASE LIGHTING 72 INCH LONG 36 WATT (CENTER LIGHT SYSTEM) | http://www.warehouse-lighting.com/LED-Refrigerated-Case-Lighting-36-Watt.aspx?gdftrk=gdfV25804_a_7c2259_a_7c8441_a_7c72_d_36W&gclid=CPGgqo7L6MgCFc5efgod1icEDQ
|  |  | Average | 163.165 | 195.798
LT-80693 | (1) 60in Retrofits in Medium Temp Reach-in Display Cases LED | SCE17LG098_00_M011 | MT - T8 | 127.27 | 152.724 | 1.84 | 74.91 | GE Lighting GELT6060 60 Inch Immersion RV60 Vertical LED Refrigerator Cooler Case Display Light | http://www.shineretrofits.com/ge-lighting-gelt6060-60-inch-immersion-rv60-vertical-led-refrigerator-cooler-case-display-light.html?gclid=CMbk9efJ6MgCFYZgfgod8jIKVA
|  |  |  | 100 | 120 | 1.84 | 74.91 | GE Lighting GELT4E60 60 Inch Immersion RV45 Vertical LED Refrigerator Cooler Case Display Light | http://www.shineretrofits.com/ge-lighting-gelt4e60-60-inch-immersion-rv45-vertical-led-refrigerator-cooler-case-display-light.html?gclid=CMbb-oTK6MgCFYhcfgodOMwOAA
|  |  | Average | 113.635 | 136.362
LT-84544 | (1) 60in Retrofits in Medium Temp Reach-in Display Cases LED | SCE17LG098_00_M012 | MT - T12 | 127.27 | 152.724 | 1.84 | 74.91 | GE Lighting GELT6060 60 Inch Immersion RV60 Vertical LED Refrigerator Cooler Case Display Light | http://www.shineretrofits.com/ge-lighting-gelt6060-60-inch-immersion-rv60-vertical-led-refrigerator-cooler-case-display-light.html?gclid=CMbk9efJ6MgCFYZgfgod8jIKVA
|  |  |  | 100 | 120 | 1.84 | 74.91 | GE Lighting GELT4E60 60 Inch Immersion RV45 Vertical LED Refrigerator Cooler Case Display Light | http://www.shineretrofits.com/ge-lighting-gelt4e60-60-inch-immersion-rv45-vertical-led-refrigerator-cooler-case-display-light.html?gclid=CMbb-oTK6MgCFYhcfgodOMwOAA
|  |  | Average | 113.635 | 136.362
LT-89513 | (1) 48in Medium Temp Reach-in Display Cases Canopy LED | SCE17LG098_00_M013 | MT - T12 | 127.29 | N/A | 1.84 | 74.91 | GE Lighting 69680 GEMT314840USL-SY 48 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 4000K | http://www.shineretrofits.com/ge-lighting-69680-gemt314840usl-sy-48-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-4000k.html?gclid=CJ_M8v_D6MgCFYVqfgodm0MM7A
|  |  |  | 109.09 | N/A | 1.84 | 74.91 | GE Lighting 69668 GEMT304840USL-SY 48 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 4000K | http://www.shineretrofits.com/ge-lighting-69668-gemt304840usl-sy-48-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-4000k.html?gclid=CO2v3-PE6MgCFROSfgodpqsKFA
|  |  | Average | 118.19
LT-93848 | (1) 72in Retrofits in Low Temp Reach-in Display Cases LED | SCE17LG098_00_M014 | MT - T12 | 127.33 | 152.796 | 1.84 | 74.91 | LED REFRIGERATED CASE LIGHTING 72 INCH LONG 18 WATT (LEFT & RIGHT SYSTEM) | http://www.warehouse-lighting.com/LED-Refrigerated-Case-Lighting-72-inch-long-18-Watt.aspx?gdftrk=gdfV25804_a_7c2259_a_7c8441_a_7c72_d_18W&gclid=CM6F9fjK6MgCFQqEfgod4dYCEg
|  |  |  | 199 | 238.8 | 1.84 | 74.91 | LED REFRIGERATED CASE LIGHTING 72 INCH LONG 36 WATT (CENTER LIGHT SYSTEM) | http://www.warehouse-lighting.com/LED-Refrigerated-Case-Lighting-36-Watt.aspx?gdftrk=gdfV25804_a_7c2259_a_7c8441_a_7c72_d_36W&gclid=CPGgqo7L6MgCFc5efgod1icEDQ
|  |  | Average | 163.165 | 195.798
LT-97154 | (1) 48in Medium Temp Reach-in Display Cases Canopy LED | SCE17LG098_00_M015 | MT - T12 | 127.29 | N/A | 1.84 | 74.91 | GE Lighting 69680 GEMT314840USL-SY 48 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 4000K | http://www.shineretrofits.com/ge-lighting-69680-gemt314840usl-sy-48-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-4000k.html?gclid=CJ_M8v_D6MgCFYVqfgodm0MM7A
|  |  |  | 109.09 | N/A | 1.84 | 74.91 | GE Lighting 69668 GEMT304840USL-SY 48 Inch Undershelf Horizontal RH30 LED Cooler Refrigerator Light for Open Deck Cases 4000K | http://www.shineretrofits.com/ge-lighting-69668-gemt304840usl-sy-48-inch-undershelf-horizontal-rh30-led-cooler-refrigerator-light-for-open-deck-cases-4000k.html?gclid=CO2v3-PE6MgCFROSfgodpqsKFA
|  |  | Average | 118.19