## WP Cost Summary (hidden)
Solution Code | Measure Name | Labor Cost | Base Equipment Cost | Measure Equipment Cost | GMC and IMC
LT-18824 | 10 Watt Dimming CFL | 5.4304 | 1.5117 | 8.6611 | 7.1494
LT-60597 | 11 Watt Dimming CFL | 5.4304 | 1.5117 | 8.7276 | 7.2159
LT-29056 | 13 Watt 3-Way CFL | 5.4304 | 1.9735 | 9.8062 | 7.8327
LT-10897 | 14 Watt Dimming CFL | 5.4304 | 1.5117 | 8.9271 | 7.4154
LT-69222 | 15 Watt 3-Way CFL | 5.4304 | 1.9735 | 9.9392 | 7.9657
LT-71877 | 15 Watt Dimming CFL | 5.4304 | 1.5117 | 8.9936 | 7.4819
LT-28745 | 15 Watt Dimming with Reflector CFL | 5.4304 | 6.1588 | 11.8813 | 5.7225
LT-36849 | 16 Watt Dimming CFL | 5.4304 | 1.5117 | 9.0601 | 7.5484
LT-32612 | 16 Watt Dimming with Reflector CFL | 5.4304 | 6.1588 | 12.0286 | 5.8698
LT-29102 | 18 Watt 3-Way CFL | 5.4304 | 2.1115 | 10.1387 | 8.0272
LT-36578 | 18 Watt Dimming CFL | 5.4304 | 1.6497 | 9.1931 | 7.5434
LT-48735 | 19 Watt Dimming CFL | 5.4304 | 1.6497 | 9.2596 | 7.6099
LT-68121 | 20 Watt Dimming CFL | 5.4304 | 1.6497 | 9.3261 | 7.6764
LT-59681 | 20 Watt Dimming with Reflector CFL | 5.4304 | 6.3148 | 12.6178 | 6.303
LT-46984 | 23 Watt 3-Way CFL | 5.4304 | 2.1215 | 10.4712 | 8.3497
LT-92345 | 23 Watt Dimming CFL | 5.4304 | 1.6597 | 9.5256 | 7.8659
LT-47544 | 25 Watt 3-Way CFL | 5.4304 | 2.1215 | 10.6042 | 8.4827
LT-50945 | 25 Watt Dimming CFL | 5.4304 | 1.6597 | 9.6586 | 7.9989
LT-67349 | 26 Watt 3-Way CFL | 5.4304 | 2.1215 | 10.7642 | 8.6427
LT-28456 | 26 Watt Dimming CFL | 5.4304 | 1.6597 | 9.8186 | 8.1589
LT-78932 | 26 Watt Dimming with Reflector CFL | 5.4304 | 6.5748 | 13.5016 | 6.9268
LT-67932 | 28 Watt 3-Way CFL | 5.4304 | 2.1215 | 11.0842 | 8.9627
LT-69524 | 29 Watt 3-Way CFL | 5.4304 | 2.1215 | 11.2442 | 9.1227
LT-72839 | 32 Watt 3-Way CFL | 5.4304 | 2.1215 | 11.7242 | 9.6027
LT-90414 | 33 Watt 3-Way CFL | 5.4304 | 2.1215 | 11.8842 | 9.7627
LT-89655 | 40 Watt 3-Way CFL | 5.4304 | 2.1215 | 13.0042 | 10.8827

## LED,CFL,Inc Lamp - Calculator
DIRECTIONS: Input columns C-H. Output is in I-L. Ignore M-AI
Solution Code | Measure Name | Lighting Type | Wattage | A-lamp | Three-Way | Dimmable | Rated Life (hours) | Equipment Cost | Labor Hours | Labor Hourly Rate with Markup | Total Labor Cost | Intercept | Channel | EISA | Package size: 2 or more | Package size: 3 or more | Package size: 4 or more | Three-way | Dimmable | National brand | Expected Life (1000s of hours) | Watts over 30 | Watts over 75 | Watts | Watts < 35 | A-lamp Indicator | National brand, no utility discount | Utility discount, A-Lamp | Utility discount, Twister | Watts over 25 | Utility discount | Energy Star and no utility discount | Energy Star
LT-18824 | 10 Watt Dimming CFL | CFL A-Lamps and Twisters | 10 | No | No | Yes | 10000 | 8.6611 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 10 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-60597 | 11 Watt Dimming CFL | CFL A-Lamps and Twisters | 11 | No | No | Yes | 10000 | 8.7276 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 11 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-29056 | 13 Watt 3-Way CFL | CFL A-Lamps and Twisters | 13 | No | Yes | No | 10000 | 9.8062 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 0 | 0 | 13 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-10897 | 14 Watt Dimming CFL | CFL A-Lamps and Twisters | 14 | No | No | Yes | 10000 | 8.9271 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 14 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-69222 | 15 Watt 3-Way CFL | CFL A-Lamps and Twisters | 15 | No | Yes | No | 10000 | 9.9392 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 0 | 0 | 15 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-71877 | 15 Watt Dimming CFL | CFL A-Lamps and Twisters | 15 | No | No | Yes | 10000 | 8.9936 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 15 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-28745 | 15 Watt Dimming with Reflector CFL | CFL Reflector | 15 | No | No | Yes | 10000 | 11.8813 | 0.062 | 72.2604 | 4.4801 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 15 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-36849 | 16 Watt Dimming CFL | CFL A-Lamps and Twisters | 16 | No | No | Yes | 10000 | 9.0601 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 16 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-32612 | 16 Watt Dimming with Reflector CFL | CFL Reflector | 16 | No | No | Yes | 10000 | 12.0286 | 0.062 | 72.2604 | 4.4801 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 16 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-29102 | 18 Watt 3-Way CFL | CFL A-Lamps and Twisters | 18 | No | Yes | No | 10000 | 10.1387 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 0 | 0 | 18 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-36578 | 18 Watt Dimming CFL | CFL A-Lamps and Twisters | 18 | No | No | Yes | 10000 | 9.1931 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 18 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-48735 | 19 Watt Dimming CFL | CFL A-Lamps and Twisters | 19 | No | No | Yes | 10000 | 9.2596 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 19 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-68121 | 20 Watt Dimming CFL | CFL A-Lamps and Twisters | 20 | No | No | Yes | 10000 | 9.3261 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 20 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-59681 | 20 Watt Dimming with Reflector CFL | CFL Reflector | 20 | No | No | Yes | 10000 | 12.6178 | 0.062 | 72.2604 | 4.4801 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 20 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-46984 | 23 Watt 3-Way CFL | CFL A-Lamps and Twisters | 23 | No | Yes | No | 10000 | 10.4712 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 0 | 0 | 23 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-92345 | 23 Watt Dimming CFL | CFL A-Lamps and Twisters | 23 | No | No | Yes | 10000 | 9.5256 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 23 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-47544 | 25 Watt 3-Way CFL | CFL A-Lamps and Twisters | 25 | No | Yes | No | 10000 | 10.6042 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 0 | 0 | 25 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-50945 | 25 Watt Dimming CFL | CFL A-Lamps and Twisters | 25 | No | No | Yes | 10000 | 9.6586 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 25 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
LT-67349 | 26 Watt 3-Way CFL | CFL A-Lamps and Twisters | 26 | No | Yes | No | 10000 | 10.7642 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 0 | 0 | 26 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1
LT-28456 | 26 Watt Dimming CFL | CFL A-Lamps and Twisters | 26 | No | No | Yes | 10000 | 9.8186 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 26 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1
LT-78932 | 26 Watt Dimming with Reflector CFL | CFL Reflector | 26 | No | No | Yes | 10000 | 13.5016 | 0.062 | 72.2604 | 4.4801 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 10 | 0 | 0 | 26 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1
LT-67932 | 28 Watt 3-Way CFL | CFL A-Lamps and Twisters | 28 | No | Yes | No | 10000 | 11.0842 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 0 | 0 | 28 | 1 | 0 | 1 | 0 | 0 | 3 | 0 | 1 | 1
LT-69524 | 29 Watt 3-Way CFL | CFL A-Lamps and Twisters | 29 | No | Yes | No | 10000 | 11.2442 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 0 | 0 | 29 | 1 | 0 | 1 | 0 | 0 | 4 | 0 | 1 | 1
LT-72839 | 32 Watt 3-Way CFL | CFL A-Lamps and Twisters | 32 | No | Yes | No | 10000 | 11.7242 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 2 | 0 | 32 | 1 | 0 | 1 | 0 | 0 | 7 | 0 | 1 | 1
LT-90414 | 33 Watt 3-Way CFL | CFL A-Lamps and Twisters | 33 | No | Yes | No | 10000 | 11.8842 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 3 | 0 | 33 | 1 | 0 | 1 | 0 | 0 | 8 | 0 | 1 | 1
LT-89655 | 40 Watt 3-Way CFL | CFL A-Lamps and Twisters | 40 | No | Yes | No | 10000 | 13.0042 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 10 | 10 | 0 | 40 | 0 | 0 | 1 | 0 | 0 | 15 | 0 | 1 | 1
LT-18824 | 10 Watt Dimming CFL | Incandescent A-Lamp | 60 | Yes | No | Yes | 2000 | 1.5117 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 30 | 0 | 60 | 0 | 1 | 1 | 0 | 0 | 35 | 0 | 1 | 1
LT-60597 | 11 Watt Dimming CFL | Incandescent A-Lamp | 60 | Yes | No | Yes | 2000 | 1.5117 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 30 | 0 | 60 | 0 | 1 | 1 | 0 | 0 | 35 | 0 | 1 | 1
LT-29056 | 13 Watt 3-Way CFL | Incandescent A-Lamp | 60 | Yes | Yes | No | 2000 | 1.9735 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 30 | 0 | 60 | 0 | 1 | 1 | 0 | 0 | 35 | 0 | 1 | 1
LT-10897 | 14 Watt Dimming CFL | Incandescent A-Lamp | 60 | Yes | No | Yes | 2000 | 1.5117 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 30 | 0 | 60 | 0 | 1 | 1 | 0 | 0 | 35 | 0 | 1 | 1
LT-69222 | 15 Watt 3-Way CFL | Incandescent A-Lamp | 60 | Yes | Yes | No | 2000 | 1.9735 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 30 | 0 | 60 | 0 | 1 | 1 | 0 | 0 | 35 | 0 | 1 | 1
LT-71877 | 15 Watt Dimming CFL | Incandescent A-Lamp | 60 | Yes | No | Yes | 2000 | 1.5117 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 30 | 0 | 60 | 0 | 1 | 1 | 0 | 0 | 35 | 0 | 1 | 1
LT-28745 | 15 Watt Dimming with Reflector CFL | Incandescent Reflector | 60 | Yes | No | Yes | 2000 | 6.1588 | 0.062 | 72.2604 | 4.4801 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 30 | 0 | 60 | 0 | 1 | 1 | 0 | 0 | 35 | 0 | 1 | 1
LT-36849 | 16 Watt Dimming CFL | Incandescent A-Lamp | 60 | Yes | No | Yes | 2000 | 1.5117 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 30 | 0 | 60 | 0 | 1 | 1 | 0 | 0 | 35 | 0 | 1 | 1
LT-32612 | 16 Watt Dimming with Reflector CFL | Incandescent Reflector | 60 | Yes | No | Yes | 2000 | 6.1588 | 0.062 | 72.2604 | 4.4801 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 30 | 0 | 60 | 0 | 1 | 1 | 0 | 0 | 35 | 0 | 1 | 1
LT-29102 | 18 Watt 3-Way CFL | Incandescent A-Lamp | 75 | Yes | Yes | No | 2000 | 2.1115 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 45 | 0 | 75 | 0 | 1 | 1 | 0 | 0 | 50 | 0 | 1 | 1
LT-36578 | 18 Watt Dimming CFL | Incandescent A-Lamp | 75 | Yes | No | Yes | 2000 | 1.6497 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 45 | 0 | 75 | 0 | 1 | 1 | 0 | 0 | 50 | 0 | 1 | 1
LT-48735 | 19 Watt Dimming CFL | Incandescent A-Lamp | 75 | Yes | No | Yes | 2000 | 1.6497 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 45 | 0 | 75 | 0 | 1 | 1 | 0 | 0 | 50 | 0 | 1 | 1
LT-68121 | 20 Watt Dimming CFL | Incandescent A-Lamp | 75 | Yes | No | Yes | 2000 | 1.6497 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 45 | 0 | 75 | 0 | 1 | 1 | 0 | 0 | 50 | 0 | 1 | 1
LT-59681 | 20 Watt Dimming with Reflector CFL | Incandescent Reflector | 75 | Yes | No | Yes | 2000 | 6.3148 | 0.062 | 72.2604 | 4.4801 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 45 | 0 | 75 | 0 | 1 | 1 | 0 | 0 | 50 | 0 | 1 | 1
LT-46984 | 23 Watt 3-Way CFL | Incandescent A-Lamp | 100 | Yes | Yes | No | 2000 | 2.1215 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-92345 | 23 Watt Dimming CFL | Incandescent A-Lamp | 100 | Yes | No | Yes | 2000 | 1.6597 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-47544 | 25 Watt 3-Way CFL | Incandescent A-Lamp | 100 | Yes | Yes | No | 2000 | 2.1215 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-50945 | 25 Watt Dimming CFL | Incandescent A-Lamp | 100 | Yes | No | Yes | 2000 | 1.6597 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-67349 | 26 Watt 3-Way CFL | Incandescent A-Lamp | 100 | Yes | Yes | No | 2000 | 2.1215 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-28456 | 26 Watt Dimming CFL | Incandescent A-Lamp | 100 | Yes | No | Yes | 2000 | 1.6597 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-78932 | 26 Watt Dimming with Reflector CFL | Incandescent Reflector | 100 | Yes | No | Yes | 2000 | 6.5748 | 0.062 | 72.2604 | 4.4801 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-67932 | 28 Watt 3-Way CFL | Incandescent A-Lamp | 100 | Yes | Yes | No | 2000 | 2.1215 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-69524 | 29 Watt 3-Way CFL | Incandescent A-Lamp | 100 | Yes | Yes | No | 2000 | 2.1215 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-72839 | 32 Watt 3-Way CFL | Incandescent A-Lamp | 100 | Yes | Yes | No | 2000 | 2.1215 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-90414 | 33 Watt 3-Way CFL | Incandescent A-Lamp | 100 | Yes | Yes | No | 2000 | 2.1215 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1
LT-89655 | 40 Watt 3-Way CFL | Incandescent A-Lamp | 100 | Yes | Yes | No | 2000 | 2.1215 | 0.07963 | 72.2604 | 5.7541 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 70 | 25 | 100 | 0 | 1 | 1 | 0 | 0 | 75 | 0 | 1 | 1

## LED,CFL,Inc Lamp - WO017
Lamp Type | Intercept | Channel | EISA | Package size: 2 or more | Package size: 3 or more | Package size: 4 or more | Three-way | Dimmable | National brand | Expected Life (1000s of hours) | Watts over 30 | Watts over 75 | Watts | Watts < 35 | A-lamp Indicator | National brand, no utility discount | Utility discount, A-Lamp | Utility discount, Twister | Watts over 25 | Utility discount | Energy Star and no utility discount | Energy Star | Labor Hours per unit | Labor Hourly Rate | Markup | Labor Hourly Rate with Markup
Incandescent A-Lamp | 2.132 | 0.23661 | 0.3339 | -1.551 | -0.91183 |  | 0.4618 |  | 0.5986 | 0.1987 | 0.0092 | -0.0088 | [10 empty] | 0.07963 | 58.2745 | 0.24 | 72.2604
Incandescent Reflector | 3.984 | 0.38771 |  | -0.78678 | -0.21974 |  |  |  | 0.9882 | 0.5907 |  |  | 0.0104 | [9 empty] | 0.062 | 58.2745 | 0.24 | 72.2604
Incandescent Globe | 2.465 | 0.30083 |  | -0.72266 | -0.01819 |  |  |  | 0.42404 | 0.9665 |  |  | 0.0093 | -1.2747 | [8 empty] | 0.05 | 58.2745 | 0.24 | 72.2604
Incandescent Torpedo | 3.743 | 0.25027 |  | -2.4541 | [5 empty] | 0.25744 |  |  | -0.0004991 | [9 empty] | 0.07963 | 58.2745 | 0.24 | 72.2604
CFL A-Lamps and Twisters | 3.043 | -0.14966 |  | -1.3651 |  | -0.48019 | 6.7507 | 5.8051 |  | 0.0616 |  |  | 0.0665 |  | 1.8411 | 0.52692 | -3.5153 | -1.8039 | 0.0935 |  |  |  | 0.07963 | 58.2745 | 0.24 | 72.2604
CFL Reflector | 5.028 | 0.2267 |  | -0.57616 |  |  |  | 4.0461 | 0.94714 |  |  |  | 0.1473 | [6 empty] | -3.0401 |  |  | 0.062 | 58.2745 | 0.24 | 72.2604
CFL Globe | 7.3154 | -0.65479 |  | -0.29886 | -0.0008966 |  |  |  | 1.2576 |  |  |  | -0.0262 | [6 empty] | -1.2484 |  |  | 0.05 | 58.2745 | 0.24 | 72.2604
CFL Torpedo | 4.92 | 0.40973 |  | -0.11936 | 0 |  |  |  |  | 0.0768 |  |  | 0.206 | [9 empty] | 0.07963 | 58.2745 | 0.24 | 72.2604
LED A-Lamp | 1.981 | 1.2615 | [6 empty] | 4.3042 | N/A |  |  | 2.0418 | [6 empty] | -5.5591 | 2.3717 |  | 0.07963 | 58.2745 | 0.24 | 72.2604
LED Reflector | 16.594 | 1.4853 | [6 empty] | 1.3258 | N/A |  |  | 1.4059 | [6 empty] | -6.3374 | 7.608 |  | 0.062 | 58.2745 | 0.24 | 72.2604
LED Globe | 2.337 | 2.5365 | [6 empty] | 1.7257 | 0.0742 |  |  | 2.3015 | [8 empty] | 3.9699 | 0.05 | 58.2745 | 0.24 | 72.2604
LED Torpedo | 1.863 | 1.6314 | [6 empty] | 0.689 | N/A |  |  | 2.9723 | [9 empty] | 0.07963 | 58.2745 | 0.24 | 72.2604
Lighting - Lamps | [9 empty] | Dropdowns
Incandescent A-Lamp | Channel | Categorical | Home Improvement | 0.23661 | Data Type | Incandescent A-LampChannel |  |  |  | Yes
|  |  | Drug Store |  | Shelf Survey | Incandescent A-Lamp |  |  |  | No
|  |  | Grocery |  | % CA market | Incandescent A-Lamp
|  |  | Hardware |  | Unknown | Incandescent A-Lamp
|  |  | Mass Merchandise |  | N unit sales | Incandescent A-Lamp
|  |  | Membership Club |  | Unknown | Incandescent A-Lamp
| EISA | Binary | Yes | 0.3339 | Intercept | Incandescent A-LampEISA
|  |  | No | 0 | 2.132 | Incandescent A-Lamp
| Package size: 2 or more | Binary | Yes | -1.551 | Contr. Markup | Incandescent A-LampPackage size: 2 or more
|  |  | No |  | N/A | Incandescent A-Lamp
| Package size: 3 or more | Binary | Yes | -0.91183 |  | Incandescent A-LampPackage size: 3 or more
|  |  | No |  |  | Incandescent A-Lamp
| Three-way | Binary | Yes | 0.4618 |  | Incandescent A-LampThree-way
|  |  | No | 0 |  | Incandescent A-Lamp
| National brand | Binary | Yes | 0.5986 |  | Incandescent A-LampNational brand
|  |  | No |  |  | Incandescent A-Lamp
| Expected Life (1000s of hours) | Continuous | .6-15 | 0.1987 |  | Incandescent A-LampExpected Life (1000s of hours)
| Watts over 30 | Continuous | 0 - 120 | 0.0092 |  | Incandescent A-LampWatts over 30
| Watts over 75 | Binary | 0 - 75 | -0.0088 |  | Incandescent A-LampWatts over 75
Incandescent Reflector | Channel | Categorical | Home Improvement | 0.38771 | Data Type | Incandescent ReflectorChannel
|  |  | Drug Store |  | Shelf Survey | Incandescent Reflector
|  |  | Grocery |  | % CA market | Incandescent Reflector
|  |  | Hardware |  | Unknown | Incandescent Reflector
|  |  | Mass Merchandise |  | N unit sales | Incandescent Reflector
|  |  | Membership Club |  | Unknown | Incandescent Reflector
| Package size: 2 or more | Binary | Yes | -0.78678 | Intercept | Incandescent ReflectorPackage size: 2 or more
|  |  | No |  | 3.984 | Incandescent Reflector
| Package size: 3 or more | Binary | Yes | -0.21974 | Contr. Markup | Incandescent ReflectorPackage size: 3 or more
|  |  | No |  | N/A | Incandescent Reflector
| National brand | Binary | Yes | 0.9882 |  | Incandescent ReflectorNational brand
|  |  | No |  |  | Incandescent Reflector
| Expected Life (1000s of hours) | Continuous | .75-8 | 0.5907 |  | Incandescent ReflectorExpected Life (1000s of hours)
| Watts | Continuous | 12-150 | 0.0104 |  | Incandescent ReflectorWatts
Incandescent Globe | Channel | Categorical | Home Improvement | 0.30083 | Data Type | Incandescent GlobeChannel
|  |  | Drug Store |  | Shelf Survey | Incandescent Globe
|  |  | Grocery |  | % CA market | Incandescent Globe
|  |  | Hardware |  | Unknown | Incandescent Globe
|  |  | Mass Merchandise |  | N unit sales | Incandescent Globe
| Package size: 2 or more | Binary | Yes | -0.72266 | Unknown | Incandescent GlobePackage size: 2 or more
|  |  | No |  | Intercept | Incandescent Globe
| Package size: 3 or more | Binary | Yes | -0.01819 | 2.465 | Incandescent GlobePackage size: 3 or more
|  |  | No |  | Contr. Markup | Incandescent Globe
| National brand | Binary | Yes | 0.42404 | N/A | Incandescent GlobeNational brand
|  |  | No |  |  | Incandescent Globe
| Expected Life (1000s of hours) | Continuous | 0.75-15 | 0.9665 |  | Incandescent GlobeExpected Life (1000s of hours)
| Watts | Continuous | 3-150 | 0.0093 |  | Incandescent GlobeWatts
| Watts < 35 | Binary | Yes | -1.2747 |  | Incandescent GlobeWatts < 35
|  |  | No | 0 |  | Incandescent Globe
Incandescent Torpedo | Channel | Categorical | Home Improvement | 0.25027 | Data Type | Incandescent TorpedoChannel
|  |  | Hardware |  | Shelf Survey | Incandescent Torpedo
| Package size: 2 or more | Binary | Yes | -2.4541 | % CA market | Incandescent TorpedoPackage size: 2 or more
|  |  | No |  | Unknown | Incandescent Torpedo
| Expected Life (1000s of hours) | Continuous | 1.095-5 | 0.25744 | N unit sales | Incandescent TorpedoExpected Life (1000s of hours)
| Watts | Continuous | 3-150 | -0.0004991 | Unknown | Incandescent TorpedoWatts
| (Do not delete these rows; see cells at right) |  |  |  | Intercept | Incandescent Torpedo(Do not delete these rows; see cells at right)
[5 empty] | 3.743 | Incandescent Torpedo
[5 empty] | Contr. Markup | Incandescent Torpedo
[5 empty] | N/A | Incandescent Torpedo
CFL A-Lamps and Twisters | Channel | Categorical | Home Improvement | -0.14966 | Data Type | CFL A-Lamps and TwistersChannel
|  |  | Drug Store |  | Shelf Survey | CFL A-Lamps and Twisters
|  |  | Grocery |  | % CA market | CFL A-Lamps and Twisters
|  |  | Hardware |  | Unknown | CFL A-Lamps and Twisters
|  |  | Mass Merchandise |  | N unit sales | CFL A-Lamps and Twisters
|  |  | Membership Club |  | Unknown | CFL A-Lamps and Twisters
| A-lamp Indicator | Binary | Yes | 1.8411 | Intercept | CFL A-Lamps and TwistersA-lamp Indicator
|  |  | No | 0 | 3.043 | CFL A-Lamps and Twisters
| Package size: 2 or more | Binary | Yes | -1.3651 | Contr. Markup | CFL A-Lamps and TwistersPackage size: 2 or more
|  |  | No |  | N/A | CFL A-Lamps and Twisters
| Package size: 4 or more | Binary | Yes | -0.48019 |  | CFL A-Lamps and TwistersPackage size: 4 or more
|  |  | No |  |  | CFL A-Lamps and Twisters
| Three-way | Binary | Yes | 6.7507 |  | CFL A-Lamps and TwistersThree-way
|  |  | No | 0 |  | CFL A-Lamps and Twisters
| Dimmable | Binary | Yes | 5.8051 |  | CFL A-Lamps and TwistersDimmable
|  |  | No | 0 |  | CFL A-Lamps and Twisters
| National brand, no utility discount | Binary | Yes | 0.52692 |  | CFL A-Lamps and TwistersNational brand, no utility discount
|  |  | No |  |  | CFL A-Lamps and Twisters
| Utility discount, A-Lamp | Binary | Yes | -3.5153 |  | CFL A-Lamps and TwistersUtility discount, A-Lamp
|  |  | No | 0 |  | CFL A-Lamps and Twisters
| Utility discount, Twister | Binary | Yes | -1.8039 |  | CFL A-Lamps and TwistersUtility discount, Twister
|  |  | No | 0 |  | CFL A-Lamps and Twisters
| Expected Life (1000s of hours) | Continuous | 1-15 | 0.0616 |  | CFL A-Lamps and TwistersExpected Life (1000s of hours)
| Watts | Continuous | 4-55 | 0.0665 |  | CFL A-Lamps and TwistersWatts
| Watts over 25 | Continuous | 0-30 | 0.0935 |  | CFL A-Lamps and TwistersWatts over 25
CFL Reflector | Channel | Categorical | Home Improvement | 0.2267 | Data Type | CFL ReflectorChannel
|  |  | Drug Store |  | Shelf Survey | CFL Reflector
|  |  | Grocery |  | % CA market | CFL Reflector
|  |  | Hardware |  | Unknown | CFL Reflector
|  |  | Mass Merchandise |  | N unit sales | CFL Reflector
|  |  | Membership Club |  | Unknown | CFL Reflector
| Package size: 2 or more | Binary | Yes | -0.57616 | Intercept | CFL ReflectorPackage size: 2 or more
|  |  | No |  | 5.028 | CFL Reflector
| Dimmable | Binary | Yes | 4.0461 | Contr. Markup | CFL ReflectorDimmable
|  |  | No | 0 | N/A | CFL Reflector
| National brand | Binary | Yes | 0.94714 |  | CFL ReflectorNational brand
|  |  | No |  |  | CFL Reflector
| Utility discount | Binary | Yes | -3.0401 |  | CFL ReflectorUtility discount
|  |  | No | 0 |  | CFL Reflector
| Watts | Continuous | 5-26 | 0.1473 |  | CFL ReflectorWatts
CFL Globe | Channel | Categorical | Home Improvement | -0.65479 | Data Type | CFL GlobeChannel
|  |  | Drug Store |  | Shelf Survey | CFL Globe
|  |  | Grocery |  | % CA market | CFL Globe
|  |  | Hardware |  | Unknown | CFL Globe
|  |  | Mass Merchandise |  | N unit sales | CFL Globe
|  |  | Membership Club |  | Unknown | CFL Globe
| Package size: 2 or more | Binary | Yes | -0.29886 | Intercept | CFL GlobePackage size: 2 or more
|  |  | No |  | 7.3154 | CFL Globe
| Package size: 3 or more | Binary | Yes | -0.0008966 | Contr. Markup | CFL GlobePackage size: 3 or more
|  |  | No |  | N/A | CFL Globe
| National brand | Binary | Yes | 1.2576 |  | CFL GlobeNational brand
|  |  | No |  |  | CFL Globe
| Utility discount | Binary | Yes | -1.2484 |  | CFL GlobeUtility discount
|  |  | No | 0 |  | CFL Globe
| Watts | Continuous | 9-23 | -0.0262 |  | CFL GlobeWatts
CFL Torpedo | Channel | Categorical | Home Improvement | 0.40973 | Data Type | CFL TorpedoChannel
|  |  | Drug Store |  | Shelf Survey | CFL Torpedo
|  |  | Grocery |  | % CA market | CFL Torpedo
|  |  | Hardware |  | Unknown | CFL Torpedo
|  |  | Mass Merchandise |  | N unit sales | CFL Torpedo
| Package size: 2 or more | Binary | Yes | -0.11936 | Unknown | CFL TorpedoPackage size: 2 or more
|  |  | No |  | Intercept | CFL Torpedo
| Package size: 3 or more | Binary | Yes | 0 | 4.92 | CFL TorpedoPackage size: 3 or more
|  |  | No |  | Contr. Markup | CFL Torpedo
| Expected Life (1000s of hours) | Continuous | 2-25 | 0.0768 | N/A | CFL TorpedoExpected Life (1000s of hours)
| Watts | Continuous | 5-15 | 0.206 |  | CFL TorpedoWatts
LED A-Lamp | Channel | Categorical | Home Improvement | 1.2615 | Data Type | LED A-LampChannel
|  |  | Grocery |  | Shelf Survey | LED A-Lamp
|  |  | Hardware |  | % CA market | LED A-Lamp
|  |  | Mass Merchandise |  | Unknown | LED A-Lamp
|  |  | Membership Club |  | N unit sales | LED A-Lamp
| National Brand | Binary | Yes | 4.3042 | Unknown | LED A-LampNational Brand
|  |  | No |  | Intercept | LED A-Lamp
| Utility discount | Binary | Yes | -5.5591 | 1.981 | LED A-LampUtility discount
|  |  | No | 0 | Contr. Markup | LED A-Lamp
| Energy Star and no utility discount | Binary | Yes | 2.3717 | N/A | LED A-LampEnergy Star and no utility discount
|  |  | No | 0 |  | LED A-Lamp
| Watts | Continuous | 1.1-13 | 2.0418 |  | LED A-LampWatts
| Expected Life (1000s of hours) | N/A | N/A | N/A |  | LED A-LampExpected Life (1000s of hours)
LED Reflector | Channel | Categorical | Home Improvement | 1.4853 | Data Type | LED ReflectorChannel
|  |  | Hardware |  | Shelf Survey | LED Reflector
|  |  | Mass Merchandise |  | % CA market | LED Reflector
|  |  | Membership Club |  | Unknown | LED Reflector
| National Brand | Binary | Yes | 1.3258 | N unit sales | LED ReflectorNational Brand
|  |  | No |  | Unknown | LED Reflector
| Utility discount | Binary | Yes | -6.3374 | Intercept | LED ReflectorUtility discount
|  |  | No | 0 | 16.594 | LED Reflector
| Energy Star and no utility discount | Binary | Yes | 7.608 | Contr. Markup | LED ReflectorEnergy Star and no utility discount
|  |  | No | 0 | N/A | LED Reflector
| Watts | Continuous | 0.9-24 | 1.4059 |  | LED ReflectorWatts
| Expected Life (1000s of hours) | N/A | N/A | N/A |  | LED ReflectorExpected Life (1000s of hours)
LED Globe | Channel | Categorical | Home Improvement | 2.5365 | Data Type | LED GlobeChannel
|  |  | Hardware |  | Shelf Survey | LED Globe
|  |  | Mass Merchandise |  | % CA market | LED Globe
|  |  | Membership Club |  | Unknown | LED Globe
| National Brand | Binary | Yes | 1.7257 | N unit sales | LED GlobeNational Brand
|  |  | No |  | Unknown | LED Globe
| Energy Star | Binary | Yes | 3.9699 | Intercept | LED GlobeEnergy Star
|  |  | No | 0 | 2.337 | LED Globe
| Expected Life (1000s of hours) | Continuous | 0.012-0.05 | 0.0742 | Contr. Markup | LED GlobeExpected Life (1000s of hours)
| Watts | Continuous | 1-10 | 2.3015 | N/A | LED GlobeWatts
LED Torpedo | Channel | Categorical | Home Improvement | 1.6314 | Data Type | LED TorpedoChannel
|  |  | Drug Store |  | Shelf Survey | LED Torpedo
|  |  | Grocery |  | % CA market | LED Torpedo
|  |  | Hardware |  | Unknown | LED Torpedo
|  |  | Mass Merchandise |  | N unit sales | LED Torpedo
| National Brand | Binary | Yes | 0.689 | Unknown | LED TorpedoNational Brand
|  |  | No |  | Intercept | LED Torpedo
| Watts | Continuous | 1.2-4 | 2.9723 | 1.863 | LED TorpedoWatts
| Expected Life (1000s of hours) | N/A | N/A | N/A | Contr. Markup | LED TorpedoExpected Life (1000s of hours)
| (Do not delete this row; see cells at right) |  |  |  | N/A | LED Torpedo(Do not delete this row; see cells at right)

## HID Lamp - Calculator
DIRECTIONS: Input columns C-L. Output is in M-Q. Ignore R-AK. | [16 empty] | HID Lamps | [12 empty] | HID Fixtures
Solution Code | Measure Name | Lighting Type | Watts | Lumens per watt | Color Temp (K) | CRI | Start Type | Integrated Ballast? | Include fixture in cost? | Fixture size (inches) | High bay? (affects labor cost only) | Equipment Cost | Labor Hours | Labor Hourly Rate with Markup | Misc Costs | Total Labor Cost (Labor + Misc) | Intercept | Watts | Lumens per watt | Color Temp (K) | CRI | Start TypeProbe | Start TypePulse | Start TypeBoth | Shape | Rating | High Output | Integrated BallastYes | Integrated BallastNo | Intercept | Size | Watts | Manufacturer - Warehouse | Manufacturer - Howard | Acrylic Lens | 480V only
LT-10001 | HID lamp and ballast: 208 Watt Pulse Start Metal Halide lamp (1); CWA Ballast (1), Total fixture Watts = 208 assumed 18 in fixture, 120 lm/watt, 3500k, 90 CRI measure same as standard | HID Lamp, Fixture optional | 208 | 120 | 3500 | 90 | Probe | FALSE | TRUE | 18 | FALSE | 251.7642 | 1.5792 | 72.0057 | 35.1807 | 148.8899 | 1 | 208 | 120 | 3500 | 90 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 18 | 208 | 1 | 1 | 1 | 1
LT-10002 | HID lamp and ballast: 288 Watt Pulse Start Metal Halide lamp (1); CWA Ballast (1), Total fixture Watts = 288 assumed 18 in fixture, 120 lm/watt, 3500k, 90 CRI, measure same as standard | HID Lamp, Fixture optional | 288 | 120 | 3500 | 90 | Probe | FALSE | TRUE | 18 | FALSE | 258.0748 | 1.5792 | 72.0057 | 35.1807 | 148.8899 | 1 | 288 | 120 | 3500 | 90 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 18 | 288 | 1 | 1 | 1 | 1
LT-10003 | HID lamp and ballast: 400 Watt Pulse Start Metal Halide lamp (1); CWA Ballast (1), Total fixture Watts = 400 assumed 18 in fixture, 120 lm/watt, 3500k, 90 CRI, measure same as standard | HID Lamp, Fixture optional | 400 | 120 | 3500 | 90 | Probe | FALSE | TRUE | 18 | FALSE | 266.9096 | 1.5792 | 72.0057 | 35.1807 | 148.8899 | 1 | 400 | 120 | 3500 | 90 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 18 | 400 | 1 | 1 | 1 | 1

## HID Lamp - WO017
HID Lamps | [12 empty] | HID Fixtures | [6 empty] | Labor |  |  | Labor - High bay
Intercept | Watts | Lumens per watt | Color Temp (K) | CRI | Start TypeProbe | Start TypePulse | Start TypeBoth | Shape | Rating | High Output | Integrated BallastYes | Integrated BallastNo | Intercept | Size | Watts | Manufacturer - Warehouse | Manufacturer - Howard | Acrylic Lens | 480V only | Labor Hours per unit | Labor Hourly Rate | Misc. Costs | Labor Hours per unit - High bay | Labor Hourly Rate - High bay | Misc. Costs - High bay
141.2403 | 0.018882 | 0.32453 | -0.011293 | 0.12577 | 0 | 1.887 | 35.2823 | -0.12801 | -104.737 | 1.5694 | 22.1566 | 0 | 86 | 7.1 | 0.06 | -34.8109 | -4.5117 | 7.4683 | 4.7293 | 1.5792 | 72.0057 | 35.1807 | 2.1325 | 67.2617 | 43.7053
Lighting - HID | [9 empty] | Dropdowns | Start Type
HID Lamps | Watts | Continuous | 25-1500 | 0.018882 | Data Source | Data Type | Watts | HID LampsWatts |  | TRUE | Probe
| Lumens per watt | Continuous | 11-120 | 0.32453 | DEG | Distributor Prices | Lumens per watt | HID LampsLumens per watt |  | FALSE | Pulse
| Color Temp (K) | Continuous | 3000-4300 | -0.011293 | Weighting | % CA market | Color Temp (K) | HID LampsColor Temp (K) |  |  | Both
| CRI | Continuous | 60-93 | 0.12577 | None | Unknown | CRI | HID LampsCRI
| Start Type | Categorical | Probe | 0 | N observations | N unit sales | Start TypeProbe | HID LampsStart TypeProbe
|  |  | Pulse | 1.887 | 178 | Unknown | Start TypePulse | HID LampsStart TypePulse
|  |  | Both | 35.2823 | R2 | Intercept | Start TypeBoth | HID LampsStart TypeBoth
| Shape | Categorical | Elliptical | -0.12801 | 0.53 | 141.2403 | Shape | HID LampsShape
|  |  | PAR |  | MAE | Contr. Markup |  | HID Lamps
|  |  | Tubular |  | 11.031 | N/A |  | HID Lamps
| Rating | Categorical | E | -104.737 |  |  | Rating | HID LampsRating
|  |  | O |  |  |  |  | HID Lamps
|  |  | S |  |  |  |  | HID Lamps
| High Output | Binary | Yes | 1.5694 |  |  | High Output | HID LampsHigh Output
|  |  | No |  |  |  |  | HID Lamps
| Integrated Ballast | Binary | Yes | 22.1566 |  |  | Integrated BallastYes | HID LampsIntegrated BallastYes
|  |  | No | 0 |  |  | Integrated BallastNo | HID LampsIntegrated BallastNo
HID Lamps
HID Fixtures | Size | Continuous | 14-22 | 7.1 | Data Source | Data Type | Size | HID FixturesSize
| Watts | Continuous | 150-1000 | 0.06 | DEG, Itron | Distributor Prices | Watts | HID FixturesWatts
| Manufacturer - Warehouse | Binary | Yes | -34.8109 | Weighting | % CA market | Manufacturer - Warehouse | HID FixturesManufacturer - Warehouse
|  |  | No |  | None | Unknown |  | HID Fixtures
| Manufacturer - Howard | Binary | Yes | -4.5117 | N observations | N unit sales | Manufacturer - Howard | HID FixturesManufacturer - Howard
|  |  | No |  | 58 |  |  | HID Fixtures
| Acrylic Lens | Binary | Yes | 7.4683 | R2 | Intercept | Acrylic Lens | HID FixturesAcrylic Lens
|  |  | No |  | 0.681 | 86 |  | HID Fixtures
| 480V only | Binary | Yes | 4.7293 | MAE | Contr. Markup | 480V only | HID Fixtures480V only
|  |  | No |  | 21.03 |  |  | HID Fixtures

## LF Lamp - Calculator
DIRECTIONS: Input columns C-I. For Lamp + Ballast, input J and K. For Lamp + Fixture, input L-O and the corresponding color-coded fields in P-X. Output is in Y-AG. Ignore AH-CP. | [8 empty] | Ballast |  | Fixture |  |  |  | Recessed w/ cover |  | Recessed no cover OR surface mounted |  | Suspended |  | High bay | [10 empty] | Lamp | [11 empty] | Ballast | [6 empty] | Fixture
Solution Code | Measure Name | Lighting Type | Watts | CRI | Rated Life (hours) | Efficacy (lumens/watt) | Number of lamps | Do you want cost for Lamp + Ballast OR Lamp + Fixture? | Ballast Factor | High bay? | Fixture type | Fixture length (inches) | Ballast start type | Dimmable ballast? | Luminaire type - direct/indirect | Luminaire type - trough | Luminaire type - parabolic troffer | Luminaire type - troffer | Luminaire type - direct pendant | Luminaire type - direct/indirect pendant | Lens | Occupancy sensor | Lamp Cost | Ballast Cost | Fixture Cost | Total Equipment Cost | Labor Hours | Labor Hourly Rate with Markup | Misc Costs | Total Labor Cost (Labor + Misc) | Full Measure Cost | Intercept | Watts | CRI | Rated Life (hours) | Efficacy (lumens/watt) | Manufacturer Earthtronics | Safety Coating | Low Mercury | Extra Long Life | Manufacturer GE | Manufacturer Satco | Manufacturer Sylvania | Intercept | Ballast Input Watts | Ballast Factor | Dimmable | Programmed Start | Electronic Instant Start | Magnetic Rapid Start | Intercept | Fixture length (inches) | Maximum Ballast Input Watts | Luminaire type - direct/indirectYes | Luminaire type - direct/indirectNo | Luminaire type - troughYes | Luminaire type - troughNo | Lamp typeT5 | Lamp typeT8 | Dimmable ballastYes | Dimmable ballastNo | Manufacturer - Lamar | Manufacturer - Litolier | Manufacturer - Mercury | Luminaire type - parabolic trofferYes | Luminaire type - parabolic trofferNo | Luminaire type - trofferYes | Luminaire type - trofferNo | Ballast start typeProgrammed rapid start | Ballast start typeInstant start | Louvered cover | Size 96 inchesYes | Size 96 inchesNo | Manufacturer - Metalux | Manfacturer - Simkar | Luminaire type - direct pendantYes | Luminaire type - direct pendantNo | Luminaire type - direct/indirect pendantYes | Luminaire type - direct/indirect pendantNo | Instant start ballastYes | Instant start ballastNo | Programmed rapid start ballastYes | Programmed rapid start ballastNo | Parabolic louvers | Wire guard | Manfacturer - Alera | Number of lamps | Lamp watts | LensYes | LensNo | Occupancy sensorYes | Occupancy sensorNo
LT-11950 | 4 foot LED T8 Lamp UL Type A Replacing Linear Fluorescent T8 Lamp | Linear Fluorescent T8 (48") | 32 | 85 | 25000 | 129.6875 | 1 | Lamp + Ballast | 0.98 | FALSE | General Service Linear Fluorescent Fixtures (recessed w/cover) | 48 | Instant start | FALSE | [8 empty] | 3.6079 | 42.8699 | 162.8209 | 209.2987 | 2.3858 | 72.5518 | 0 | 173.0952 | 382.3939 | 1 | 32 | 85 | 25000 | 129.6875 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 32 | 0.98 | 1 | 1 | 1 | 1 | 1 | 48 | 32 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 32 | 0 | 1 | 0 | 1
[23 empty] | #N/A | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1
[23 empty] | #N/A | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1
[23 empty] | #N/A | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1
[23 empty] | #N/A | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1
[23 empty] | #N/A | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1
[23 empty] | #N/A | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1

## LF Lamp - WO017
Lamp Type | Intercept | Watts | CRI | Rated Life (hours) | Efficacy (lumens/watt) | Manufacturer Earthtronics | Safety Coating | Low Mercury | Extra Long Life | Manufacturer GE | Manufacturer Satco | Manufacturer Sylvania | Markup
Linear Fluorescent T8 (48") | 6.99 | -0.381 | 0.15 | 4e-05 | -0.05 | -0.15273 | 0.3853 | 0.59012 |  |  |  |  | 25%
Linear Fluorescent T8 (24" & 36") | -5.46 | -0.122 | 0.02 |  | 0.13 | 0 |  |  | 0.5341 |  |  |  | 25%
Linear Fluorescent T8 (96") | -222.56 | 0.59 | -0.3 | -0.0002 | 2.36 |  | 5.3606 | [5 empty] | 25%
Linear Fluorescent T5 (all lengths) | -54.09 | 0.013 | 0.651 |  | 0.067 | -0.061182 | 0.18837 | 1.9507 | 0.17261 | -0.3627 | -0.0418 | -0.3465 | 25%
| Intercept | Ballast Input Watts | Ballast Factor | Dimmable | Programmed Start | Electronic Instant Start | Magnetic Rapid Start | Labor Hours per unit | Labor Hourly Rate | Misc. Costs | Labor Hours per unit - High bay | Labor Hourly Rate - High bay | Misc. Costs - High bay
Linear Fluorescent Ballasts (CEE/NEMA certified) | 21.92 | 0.161 | -11.27 | 9.6525 | 17.19 |  |  | 2.3858 | 72.5518 | 0 | 2.1325 | 67.2617 | 43.7053
Linear Fluorescent Ballasts (non-CEE/NEMA certified) | 14.69 | 0.4 | N/A | 1.6031 |  | -6.6601 | 7.9277
| Intercept | Fixture length (inches) | Maximum Ballast Input Watts | Luminaire type - direct/indirectYes | Luminaire type - direct/indirectNo | Luminaire type - troughYes | Luminaire type - troughNo | Lamp typeT5 | Lamp typeT8 | Dimmable ballastYes | Dimmable ballastNo | Manufacturer - Lamar | Manufacturer - Litolier | Manufacturer - Mercury | Luminaire type - parabolic trofferYes | Luminaire type - parabolic trofferNo | Luminaire type - trofferYes | Luminaire type - trofferNo | Ballast start typeProgrammed rapid start | Ballast start typeInstant start | Louvered cover | Size 96 inchesYes | Size 96 inchesNo | Manufacturer - Metalux | Manfacturer - Simkar | Luminaire type - direct pendantYes | Luminaire type - direct pendantNo | Luminaire type - direct/indirect pendantYes | Luminaire type - direct/indirect pendantNo | Instant start ballastYes | Instant start ballastNo | Programmed rapid start ballastYes | Programmed rapid start ballastNo | Parabolic louvers | Wire guard | Manfacturer - Alera | Number of lamps | Lamp watts | LensYes | LensNo | Occupancy sensorYes | Occupancy sensorNo | Markup | Labor Hours per unit | Labor Hourly Rate | Misc. Costs
General Service Linear Fluorescent Fixtures (recessed w/cover) | 25.315 | 1.62 | -0.171 | 33.168 | 0 | 117.697 | 0 | 38.317 | 0 | 123.247 | 0 | 9.1979 | 17.8284 | 5.6274 | [28 empty] | 25% | 1.9462 | 74.9147 | 16.0174
General Service Linear Fluorescent Fixtures (recessed no cover) | 160.3 |  | 0.374 | [6 empty] | 120.989 | 0 | 5.4131 | 11.1112 |  | -81.233 | 0 | -37.993 | 0 | 62.217 | 0 | 1.8494 | 151.693 | 0 | [19 empty] | 25% | 1.9462 | 74.9147 | 16.0174
General Service Linear Fluorescent Fixtures (surface mounted) | 19.72 | 0.558 | 0.162 | 219.56 | 0 | [8 empty] | 2.7782 | 101.06 | 0 | 60.46 | 0 | 54.49 | 0 |  |  |  | 3.848 | 1.4569 | [17 empty] | 25% | 1.8394 | 74.9147 | 24.3025
General Service Linear Fluorescent Fixtures (suspended) | 4.9 | 1.786 | 0.525 | [6 empty] | 66.69 | 0 | -11.1136 | -6.5207 | -5.1745 | [11 empty] | 225.48 | 0 | 207.52 | 0 | -37.1 | 0 | 86.08 | 0 | 8.2759 | 3.878 | -10.5382 | [6 empty] | 25% | 1.8394 | 74.9147 | 24.3025
High Bay Linear Fluorescent Fixtures | 14.2 | 3.277 | [11 empty] | 5.1915 | [17 empty] | -1.925 | 0 |  |  |  | 16.608 | -1.358 | 46.456 | 0 | 100.635 | 0 | 25% | 2.1325 | 67.2617 | 43.7053
Lighting - Lamps
Linear Fluorescent T8 (48") | Watts | Continuous | 25-32 | -0.381 | Data Source | Data Type | Watts | Linear Fluorescent T8 (48")Watts |  |  |  |  | Dropdowns | Lamp type | Ballast start type | Lighting Product
| CRI | Continuous | 73-90 | 0.15 | DEG, Itron | Distributor Prices | CRI | Linear Fluorescent T8 (48")CRI |  |  |  |  | TRUE | T5 | Programmed rapid start | Lamp + Ballast
| Rated Life (hours) | Continuous | 15000-40000 | 4e-05 | Weighting | % CA market | Rated Life (hours) | Linear Fluorescent T8 (48")Rated Life (hours) |  |  |  |  | FALSE | T8 | Instant start | Lamp + Fixture
| Efficacy (lumens/watt) | Continuous | 56-105 | -0.05 | None | Unknown | Efficacy (lumens/watt) | Linear Fluorescent T8 (48")Efficacy (lumens/watt)
| Manufacturer Earthtronics | Binary | Yes | -0.15273 | N observations | N unit sales | Manufacturer Earthtronics | Linear Fluorescent T8 (48")Manufacturer Earthtronics
|  |  | No |  | 165 | Unknown
| Safety Coating | Binary | Yes | 0.3853 | R2 | Intercept | Safety Coating | Linear Fluorescent T8 (48")Safety Coating
|  |  | No |  | 0.718 | 6.99
| Low Mercury | Binary | Yes | 0.59012 | MAE | Contr. Markup | Low Mercury | Linear Fluorescent T8 (48")Low Mercury
|  |  | No |  | 1.12 | 25%
Linear Fluorescent T8 (24" & 36") | Watts | Continuous | 15-28 | -0.122 | Data Source | Data Type | Watts | Linear Fluorescent T8 (24" & 36")Watts
| CRI | Continuous | 75-86 | 0.02 | DEG, Itron | Distributor Prices | CRI | Linear Fluorescent T8 (24" & 36")CRI
| Efficacy (lumens/watt) | Continuous | 75-95 | 0.13 | Weighting | % CA market | Efficacy (lumens/watt) | Linear Fluorescent T8 (24" & 36")Efficacy (lumens/watt)
| Manufacturer Earthtronics | Binary | Yes | 0 | None | Unknown | Manufacturer Earthtronics | Linear Fluorescent T8 (24" & 36")Manufacturer Earthtronics
|  |  | No |  | N observations | N unit sales
| Extra Long Life | Binary | Yes | 0.5341 | 83 | Unknown | Extra Long Life | Linear Fluorescent T8 (24" & 36")Extra Long Life
|  |  | No |  | R2 | Intercept
| (Do not delete these rows; see cells at right) |  |  |  | 0.62 | -5.46
[5 empty] | MAE | Contr. Markup
[5 empty] | 0.866 | 25%
Linear Fluorescent T8 (96") | Watts | Continuous | 51-86 | 0.59 | Data Source | Data Type | Watts | Linear Fluorescent T8 (96")Watts
| CRI | Continuous | 75-86 | -0.3 | DEG, Itron | Distributor Prices | CRI | Linear Fluorescent T8 (96")CRI
| Rated Life (hours) | Continuous | 20000-36000 | -0.0002 | Weighting | % CA market | Rated Life (hours) | Linear Fluorescent T8 (96")Rated Life (hours)
| Efficacy (lumens/watt) | Continuous | 92-107 | 2.36 | None | Unknown | Efficacy (lumens/watt) | Linear Fluorescent T8 (96")Efficacy (lumens/watt)
| Safety Coating | Binary | Yes | 5.3606 | N observations | N unit sales | Safety Coating | Linear Fluorescent T8 (96")Safety Coating
|  |  | No |  | 71 | Unknown
| (Do not delete these rows; see cells at right) |  |  |  | R2 | Intercept
[5 empty] | 0.762 | -222.56
[5 empty] | MAE | Contr. Markup
[5 empty] | 4.57 | 25%
Linear Fluorescent T5 (all lengths) | Watts | Continuous | 14-54 | 0.013 | Data Source | Data Type | Watts | Linear Fluorescent T5 (all lengths)Watts
| CRI | Continuous | 82-85 | 0.651 | DEG, Itron | Distributor Prices | CRI | Linear Fluorescent T5 (all lengths)CRI
| Efficacy (lumens/watt) | Continuous | 73-138 | 0.067 | Weighting | % CA market | Efficacy (lumens/watt) | Linear Fluorescent T5 (all lengths)Efficacy (lumens/watt)
| Low Mercury | Binary | Yes | 1.9507 | None | Unknown | Low Mercury | Linear Fluorescent T5 (all lengths)Low Mercury
|  |  | No |  | N observations | N unit sales
| Safety Coating | Binary | Yes | 0.18837 | 203 | N/A | Safety Coating | Linear Fluorescent T5 (all lengths)Safety Coating
|  |  | No |  | R2 | Intercept
| Extra Long Life | Binary | Yes | 0.17261 | 0.725 | -54.09 | Extra Long Life | Linear Fluorescent T5 (all lengths)Extra Long Life
|  |  | No |  | MAE | Contr. Markup
| Manufacturer Earthtronics | Binary | Yes | -0.061182 | 1.57 | 25% | Manufacturer Earthtronics | Linear Fluorescent T5 (all lengths)Manufacturer Earthtronics
No
| Manufacturer GE | Binary | Yes | -0.3627 |  |  | Manufacturer GE | Linear Fluorescent T5 (all lengths)Manufacturer GE
No
| Manufacturer Satco | Binary | Yes | -0.0418 |  |  | Manufacturer Satco | Linear Fluorescent T5 (all lengths)Manufacturer Satco
No
| Manufacturer Sylvania | Binary | Yes | -0.3465 |  |  | Manufacturer Sylvania | Linear Fluorescent T5 (all lengths)Manufacturer Sylvania
No
Lighting - Ballasts
Linear Fluorescent Ballasts (CEE/NEMA certified) | Ballast Input Watts | Continuous | 19 - 116 | 0.161 | Data Source | Data Type | Ballast Input Watts | Linear Fluorescent Ballasts (CEE/NEMA certified)Ballast Input Watts
| Ballast Factor | Continuous | .74 - 1.18 | -11.27 | DEG | Distributor Prices | Ballast Factor | Linear Fluorescent Ballasts (CEE/NEMA certified)Ballast Factor
| Dimmable | Binary | Yes | 9.6525 | Weighting | % CA market | Dimmable | Linear Fluorescent Ballasts (CEE/NEMA certified)Dimmable
|  |  | No |  | None | Unknown
| Programmed Start | Binary | Yes | 17.19 | N observations | N unit sales | Programmed Start | Linear Fluorescent Ballasts (CEE/NEMA certified)Programmed Start
|  |  | No |  | 31 | N/A
| (Do not delete these rows; see cells at right) |  |  |  | R2 | Intercept
[5 empty] | 0.848 | 21.92
[5 empty] | MAE | Contr. Markup
[5 empty] | 7.92 | 0%
Linear Fluorescent Ballasts (non-CEE/NEMA certified) | Ballast Input Watts | Continuous | 9 - 604 | 0.4 | Data Source | Data Type | Ballast Input Watts | Linear Fluorescent Ballasts (non-CEE/NEMA certified)Ballast Input Watts
| Ballast Factor | Continuous | .60 - 1.2 | N/A | DEG | Distributor Prices | Ballast Factor | Linear Fluorescent Ballasts (non-CEE/NEMA certified)Ballast Factor
| Dimmable | Binary | Yes | 1.6031 | Weighting | % CA market | Dimmable | Linear Fluorescent Ballasts (non-CEE/NEMA certified)Dimmable
|  |  | No |  | None | Unknown
| Electronic Instant Start | Binary | Yes | -6.6601 | N observations | N unit sales | Electronic Instant Start | Linear Fluorescent Ballasts (non-CEE/NEMA certified)Electronic Instant Start
|  |  | No |  | 63 | N/A
| Magnetic Rapid Start | Binary | Yes | 7.9277 | R2 | Intercept | Magnetic Rapid Start | Linear Fluorescent Ballasts (non-CEE/NEMA certified)Magnetic Rapid Start
|  |  | No |  | 0.823 | 14.69
| (Do not delete these rows; see cells at right) |  |  |  | MAE | Contr. Markup
[5 empty] | 20.73 | 0%
Lighting - Fixtures
General Service Linear Fluorescent Fixtures (recessed w/cover) | Fixture length (inches) | Continuous | 24-96 | 1.62 | Data Source | Data Type | Fixture length (inches) | General Service Linear Fluorescent Fixtures (recessed w/cover)Fixture length (inches)
| Maximum Ballast Input Watts | Continuous | 17-216 | -0.171 | DEG, Itron | Distributor Prices | Maximum Ballast Input Watts | General Service Linear Fluorescent Fixtures (recessed w/cover)Maximum Ballast Input Watts
| Luminaire type - direct/indirect | Binary | Yes | 33.168 | Weighting | % CA market | Luminaire type - direct/indirectYes | General Service Linear Fluorescent Fixtures (recessed w/cover)Luminaire type - direct/indirectYes
|  |  | No | 0 | None | Unknown | Luminaire type - direct/indirectNo | General Service Linear Fluorescent Fixtures (recessed w/cover)Luminaire type - direct/indirectNo
| Luminaire type - trough | Binary | Yes | 117.697 | N observations | N unit sales | Luminaire type - troughYes | General Service Linear Fluorescent Fixtures (recessed w/cover)Luminaire type - troughYes
|  |  | No | 0 | 139 | N/A | Luminaire type - troughNo | General Service Linear Fluorescent Fixtures (recessed w/cover)Luminaire type - troughNo
| Lamp type | Categorical | T5 | 38.317 | R2 | Intercept | Lamp typeT5 | General Service Linear Fluorescent Fixtures (recessed w/cover)Lamp typeT5
|  |  | T8 | 0 | 0.808 | 25.315 | Lamp typeT8 | General Service Linear Fluorescent Fixtures (recessed w/cover)Lamp typeT8
| Dimmable ballast | Binary | Yes | 123.247 | MAE | Contr. Markup | Dimmable ballastYes | General Service Linear Fluorescent Fixtures (recessed w/cover)Dimmable ballastYes
|  |  | No | 0 | 29.15 | 25% | Dimmable ballastNo | General Service Linear Fluorescent Fixtures (recessed w/cover)Dimmable ballastNo
| Manufacturer - Lamar | Binary | Yes | 9.1979 |  |  | Manufacturer - Lamar | General Service Linear Fluorescent Fixtures (recessed w/cover)Manufacturer - Lamar
No
| Manufacturer - Litolier | Binary | Yes | 17.8284 |  |  | Manufacturer - Litolier | General Service Linear Fluorescent Fixtures (recessed w/cover)Manufacturer - Litolier
No
| Manufacturer - Mercury | Binary | Yes | 5.6274 |  |  | Manufacturer - Mercury | General Service Linear Fluorescent Fixtures (recessed w/cover)Manufacturer - Mercury
No
General Service Linear Fluorescent Fixtures (recessed no cover) | Maximum Ballast Input Watts | Continuous | 21-216 | 0.374 | Data Source | Data Type | Maximum Ballast Input Watts | General Service Linear Fluorescent Fixtures (recessed no cover)Maximum Ballast Input Watts
| Luminaire type - parabolic troffer | Binary | Yes | -81.233 | DEG, Itron | Distributor Prices | Luminaire type - parabolic trofferYes | General Service Linear Fluorescent Fixtures (recessed no cover)Luminaire type - parabolic trofferYes
|  |  | No | 0 | Weighting | % CA market | Luminaire type - parabolic trofferNo | General Service Linear Fluorescent Fixtures (recessed no cover)Luminaire type - parabolic trofferNo
| Luminaire type - troffer | Binary | Yes | -37.993 | None | Unknown | Luminaire type - trofferYes | General Service Linear Fluorescent Fixtures (recessed no cover)Luminaire type - trofferYes
|  |  | No | 0 | N observations | N unit sales | Luminaire type - trofferNo | General Service Linear Fluorescent Fixtures (recessed no cover)Luminaire type - trofferNo
| Ballast start type | Categorical | Programmed rapid start | 62.217 | 176 | N/A | Ballast start typeProgrammed rapid start | General Service Linear Fluorescent Fixtures (recessed no cover)Ballast start typeProgrammed rapid start
|  |  | Instant start | 0 | R2 | Intercept | Ballast start typeInstant start | General Service Linear Fluorescent Fixtures (recessed no cover)Ballast start typeInstant start
| Dimmable ballast | Binary | Yes | 120.989 | 0.634 | 160.3 | Dimmable ballastYes | General Service Linear Fluorescent Fixtures (recessed no cover)Dimmable ballastYes
|  |  | No | 0 | MAE | Contr. Markup | Dimmable ballastNo | General Service Linear Fluorescent Fixtures (recessed no cover)Dimmable ballastNo
| Louvered cover | Binary | Yes | 1.8494 | 31.66 | 25% | Louvered cover | General Service Linear Fluorescent Fixtures (recessed no cover)Louvered cover
No
| Size 96 inches | Binary | Yes | 151.693 |  |  | Size 96 inchesYes | General Service Linear Fluorescent Fixtures (recessed no cover)Size 96 inchesYes
|  |  | No | 0 |  |  | Size 96 inchesNo | General Service Linear Fluorescent Fixtures (recessed no cover)Size 96 inchesNo
| Manufacturer - Lamar | Binary | Yes | 5.4131 |  |  | Manufacturer - Lamar | General Service Linear Fluorescent Fixtures (recessed no cover)Manufacturer - Lamar
No
| Manufacturer - Litolier | Continuous | Yes | 11.1112 |  |  | Manufacturer - Litolier | General Service Linear Fluorescent Fixtures (recessed no cover)Manufacturer - Litolier
No
General Service Linear Fluorescent Fixtures (surface mounted) | Maximum Ballast Input Watts | Continuous | 17-236 | 0.162 | Data Source | Data Type | Maximum Ballast Input Watts | General Service Linear Fluorescent Fixtures (surface mounted)Maximum Ballast Input Watts
| Fixture length (inches) | Continuous | 24-96 | 0.558 | DEG, Itron | Distributor Prices | Fixture length (inches) | General Service Linear Fluorescent Fixtures (surface mounted)Fixture length (inches)
| Luminaire type - direct/indirect | Binary | Yes | 219.56 | Weighting | % CA market | Luminaire type - direct/indirectYes | General Service Linear Fluorescent Fixtures (surface mounted)Luminaire type - direct/indirectYes
|  |  | No | 0 | None | Unknown | Luminaire type - direct/indirectNo | General Service Linear Fluorescent Fixtures (surface mounted)Luminaire type - direct/indirectNo
| Luminaire type - parabolic troffer | Binary | Yes | 101.06 | N observations | N unit sales | Luminaire type - parabolic trofferYes | General Service Linear Fluorescent Fixtures (surface mounted)Luminaire type - parabolic trofferYes
|  |  | No | 0 | 124 | N/A | Luminaire type - parabolic trofferNo | General Service Linear Fluorescent Fixtures (surface mounted)Luminaire type - parabolic trofferNo
| Luminaire type - troffer | Binary | Yes | 60.46 | R2 | Intercept | Luminaire type - trofferYes | General Service Linear Fluorescent Fixtures (surface mounted)Luminaire type - trofferYes
|  |  | No | 0 | 0.884 | 19.72 | Luminaire type - trofferNo | General Service Linear Fluorescent Fixtures (surface mounted)Luminaire type - trofferNo
| Ballast start type | Categorical | Programmed rapid start | 54.49 | MAE | Contr. Markup | Ballast start typeProgrammed rapid start | General Service Linear Fluorescent Fixtures (surface mounted)Ballast start typeProgrammed rapid start
|  |  | Instant start | 0 | 19.15 | 25% | Ballast start typeInstant start | General Service Linear Fluorescent Fixtures (surface mounted)Ballast start typeInstant start
| Manufacturer - Mercury | Binary | Yes | 2.7782 |  |  | Manufacturer - Mercury | General Service Linear Fluorescent Fixtures (surface mounted)Manufacturer - Mercury
No
| Manufacturer - Metalux | Binary | Yes | 3.848 |  |  | Manufacturer - Metalux | General Service Linear Fluorescent Fixtures (surface mounted)Manufacturer - Metalux
No
| Manfacturer - Simkar | Binary | Yes | 1.4569 |  |  | Manfacturer - Simkar | General Service Linear Fluorescent Fixtures (surface mounted)Manfacturer - Simkar
No
(Do not delete these rows; see cells at right)
General Service Linear Fluorescent Fixtures (suspended) | Maximum Ballast Input Watts | Continuous | 26-648 | 0.525 | Data Source | Data Type | Maximum Ballast Input Watts | General Service Linear Fluorescent Fixtures (suspended)Maximum Ballast Input Watts
| Fixture length (inches) | Continuous | 24-96 | 1.786 | DEG, Itron | Distributor Prices | Fixture length (inches) | General Service Linear Fluorescent Fixtures (suspended)Fixture length (inches)
| Luminaire type - direct pendant | Binary | Yes | 225.48 | Weighting | % CA market | Luminaire type - direct pendantYes | General Service Linear Fluorescent Fixtures (suspended)Luminaire type - direct pendantYes
|  |  | No | 0 | None | Unknown | Luminaire type - direct pendantNo | General Service Linear Fluorescent Fixtures (suspended)Luminaire type - direct pendantNo
| Luminaire type - direct/indirect pendant | Binary | Yes | 207.52 | N observations | N unit sales | Luminaire type - direct/indirect pendantYes | General Service Linear Fluorescent Fixtures (suspended)Luminaire type - direct/indirect pendantYes
|  |  | No | 0 | 132 | N/A | Luminaire type - direct/indirect pendantNo | General Service Linear Fluorescent Fixtures (suspended)Luminaire type - direct/indirect pendantNo
| Instant start ballast | Binary | Yes | -37.1 | R2 | Intercept | Instant start ballastYes | General Service Linear Fluorescent Fixtures (suspended)Instant start ballastYes
|  |  | No | 0 | 0.751 | 4.9 | Instant start ballastNo | General Service Linear Fluorescent Fixtures (suspended)Instant start ballastNo
| Programmed rapid start ballast | Binary | Yes | 86.08 | MAE | Contr. Markup | Programmed rapid start ballastYes | General Service Linear Fluorescent Fixtures (suspended)Programmed rapid start ballastYes
|  |  | No | 0 | 41.31 | 25% | Programmed rapid start ballastNo | General Service Linear Fluorescent Fixtures (suspended)Programmed rapid start ballastNo
| Dimmable ballast | Binary | Yes | 66.69 |  |  | Dimmable ballastYes | General Service Linear Fluorescent Fixtures (suspended)Dimmable ballastYes
|  |  | No | 0 |  |  | Dimmable ballastNo | General Service Linear Fluorescent Fixtures (suspended)Dimmable ballastNo
| Parabolic louvers | Binary | Yes | 8.2759 |  |  | Parabolic louvers | General Service Linear Fluorescent Fixtures (suspended)Parabolic louvers
No
| Wire guard | Binary | Yes | 3.878 |  |  | Wire guard | General Service Linear Fluorescent Fixtures (suspended)Wire guard
No
| Manfacturer - Alera | Binary | Yes | -10.5382 |  |  | Manfacturer - Alera | General Service Linear Fluorescent Fixtures (suspended)Manfacturer - Alera
No
| Manufacturer - Lamar | Binary | Yes | -11.1136 |  |  | Manufacturer - Lamar | General Service Linear Fluorescent Fixtures (suspended)Manufacturer - Lamar
No
| Manufacturer - Litolier | Binary | Yes | -6.5207 |  |  | Manufacturer - Litolier | General Service Linear Fluorescent Fixtures (suspended)Manufacturer - Litolier
No
| Manufacturer - Mercury | Binary | Yes | -5.1745 |  |  | Manufacturer - Mercury | General Service Linear Fluorescent Fixtures (suspended)Manufacturer - Mercury
No
High Bay Linear Fluorescent Fixtures | Fixture length (inches) | Continuous | 24-96 | 3.277 | Data Source | Data Type | Fixture length (inches) | High Bay Linear Fluorescent FixturesFixture length (inches)
| Number of lamps | Continuous | 2 - 10 | 16.608 | DEG, Itron | Distributor Prices | Number of lamps | High Bay Linear Fluorescent FixturesNumber of lamps
| Lamp watts | Continuous | 24-54 | -1.358 | Weighting | % CA market | Lamp watts | High Bay Linear Fluorescent FixturesLamp watts
| Lens | Binary | Yes | 46.456 | None | Unknown | LensYes | High Bay Linear Fluorescent FixturesLensYes
|  |  | No | 0 | N observations | N unit sales | LensNo | High Bay Linear Fluorescent FixturesLensNo
| Occupancy sensor | Binary | Yes | 100.635 | 52 | N/A | Occupancy sensorYes | High Bay Linear Fluorescent FixturesOccupancy sensorYes
|  |  | No | 0 | R2 | Intercept | Occupancy sensorNo | High Bay Linear Fluorescent FixturesOccupancy sensorNo
| Programmed rapid start ballast | Binary | Yes | -1.925 | 0.658 | 14.2 | Programmed rapid start ballastYes | High Bay Linear Fluorescent FixturesProgrammed rapid start ballastYes
|  |  | No | 0 | MAE | Contr. Markup | Programmed rapid start ballastNo | High Bay Linear Fluorescent FixturesProgrammed rapid start ballastNo
| Manufacturer - Mercury | Binary | Yes | 5.1915 | 34.89 | 25% | Manufacturer - Mercury | High Bay Linear Fluorescent FixturesManufacturer - Mercury
No
(Do not delete these rows; see cells at right)
Bi-Level Linear Fluorescent Fixtures (garage/stairwell lighting) | Maximum Ballast Input Watts | Continuous | 17-64 (full output) | -0.14649 | Data Source | Data Type | Maximum Ballast Input Watts | Bi-Level Linear Fluorescent Fixtures (garage/stairwell lighting)Maximum Ballast Input Watts
| Emergency backup power | Binary | Yes | 117.1066 | DEG | Distributor Prices | Emergency backup powerYes | Bi-Level Linear Fluorescent Fixtures (garage/stairwell lighting)Emergency backup powerYes
|  |  | No | 0 | Weighting | % CA market | Emergency backup powerNo | Bi-Level Linear Fluorescent Fixtures (garage/stairwell lighting)Emergency backup powerNo
| Dimmable ballast | Binary | Yes | 45.6707 | None | Unknown | Dimmable ballastYes | Bi-Level Linear Fluorescent Fixtures (garage/stairwell lighting)Dimmable ballastYes
|  |  | No | 0 | N observations | N unit sales | Dimmable ballastNo | Bi-Level Linear Fluorescent Fixtures (garage/stairwell lighting)Dimmable ballastNo
| Brand | Categorical | Atlite | 15.323 | 23 | Unknown | Brand | Bi-Level Linear Fluorescent Fixtures (garage/stairwell lighting)Brand
|  |  | Lamar |  | R2 | Intercept
|  |  | Lutron |  | 0.97952 | 222.0876
|  |  | SureLites |  | MAE | Contr. Markup
| (Do not delete this row; see cells at right) |  |  |  | 8.765 | 20%
Note on B24: Mike Ting: various trade names for this, including Tuff Guard
Note on B26: Mike Ting: various trade names for this, including "ECO"
Note on B34: Mike Ting: defined as >=35,000 hours
Note on B44: Mike Ting: various trade names for this, including Tuff Guard
Note on B54: Mike Ting: various trade names for this, including "ECO"
Note on B56: Mike Ting: various trade names for this, including Tuff Guard
Note on B58: Mike Ting: defined as >=35,000 hours
Note on E69: Jason H Wang: WO017 uses its original model coefficients instead of its DEER/WP-equivalent Coefficients.
Note on E70: Jason H Wang: WO017 uses its original model coefficients instead of its DEER/WP-equivalent Coefficients.
Note on E73: Jason H Wang: WO017 uses its original model coefficients instead of its DEER/WP-equivalent Coefficients.