## Master List
Manufacturer | ModelNumber | SKU | SolutionCode | SolutionDescription | Quantity | NumFixtures | NumSampled | LampsPerFixture | BallastsPerFixture | TotalBallasts | BallastManufacturer | BallastModel | TotalLamps | LampWattages | DLCWattage | TotalLampW | TubeDisposition | CouponCode
GE | LED15ET8/G/4/840 | LED15ET8/G/4/840 | LT-11950 | LED Tube | 110 | 55 | 10 | 2 | 1 | 55 | Advance | VEL-2P32-RH-TP | 110 | 32 | 15 | 1650 | Recycled
GE | LED15ET8/G/4/840 | LED15ET8/G/4/840 | LT-11950 | LED Tube | 957 | 319 | 70 | 3 | 2 | 638 | Advance | VEL-2P32-RH-TP | 957 | 32 | 15 | 14355 | Recycled
GE | LED15ET8/G/4/840 | LED15ET8/G/4/840 | LT-11950 | LED Tube | 408 | 102 | 25 | 4 | 2 | 204 | Advance | (2) VEL-2P32-RH-TP | 408 | 32 | 15 | 6120 | Recycled
GE | LED15ET8/G/4/840 | LED15ET8/G/4/840 | LT-11950 | LED Tube | 202 | 101 | 15 | 2 | 1 | 101 | Advance | VEL-2P32-RH-TP | 202 | 32 | 15 | 3030 | Recycled
GE | LED15ET8/G/4/840 | LED15ET8/G/4/840 | LT-11950 | LED Tube | 76 | 38 | 4 | 2 | 1 | 38 | Advance | VEL-2P32-RH-TP | 76 | 32 | 15 | 1140 | Recycled
GE | LED15ET8/G/4/840 | LED15ET8/G/4/840 | LT-11950 | LED Tube | 16 | 4 | 2 | 4 | 2 | 8 | Advance | VEL-2P32-RH-TP | 16 | 32 | 15 | 240 | Recycled
Eco-star | LB18T8-PNP/840 | LB18T8-PNP/840 | LT-11950 | LED Tube | 380 | 190 | 50 | 2 | 2 | 380 | Advance | ICN-2P32-N | 380 | 32 | 18 | 6840 | recycled
Eco-Star | LB18T8-PNP/850 | LB18T8-PNP/850 | LT-11950 | LED Tube | 242 | 121 | 14 | 2 | 2 | 242 | General Electric | GE232MAX | 242 | 32 | 18 | 4356 | recycled
Espen Technology | L48T8/835/12G-EB | L48T8/835/12G-EB | LT-11950 | LED Tube | 4159 | 281 | 30 | 1 | 1 | 281 | Philips Advance | ICN-4P32-SC | 281 | 32 | 15 | 62385 | Recycled
Espen Technology | L48T8/835/12G-EB | L48T8/835/12G-EB | LT-11950 | LED Tube | 4159 | 1939 | 220 | 2 | 1 | 1939 | Universal | B232IUNVHE-A | 3878 | 32 | 15 | 62385 | Recycled
Sylvania | LED12T8/L48/F/841/SUB/G5 | LED12T8 | LT-11950 | LED Tube | 300 | 150 | 25 | 2 | 2 | 300 | Sylvania | QTP2X32T8UNVPSXTC | 300 | 30 | 14.5 | 4350 | recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 120 | 40 | 4 | 3 | 1 | 40 | GE | GE-232-MAX-L/Ultra | 120 | 32 | 18 | 2160 | recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 164 | 82 | 9 | 2 | 1 | 82 | GE | GE-232-MAX-L/Ultra | 164 | 32 | 18 | 2952 | recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 879 | 341 | 341 | 3 | 1 | 341 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 1023 | 28 | 18 | 15822 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 512 | 128 | 128 | 4 | 1 | 128 | Sylvania | QHE4X32T8/UNV ISN-SC | 512 | 28 | 18 | 9216 | Recycled
James Industry Group (China) Co., Ltd | ZY-T8-20W1200 BIXX (4000K FROSTED LENS) | ZY-T8-20W1200 BIXX (4000K FROSTED LENS) | LT-11950 | LED Tube | 75 | 25 | 5 | 6 | 1 | 25 | Sylvania | UltramaxGE132T8 | 75 | 25 | 20.08 | 1506 | recylcled
James Industry Group (China) Co., Ltd | ZY-T8-20W1200 BIXX (4000K FROSTED LENS) | ZY-T8-20W1200 BIXX (4000K FROSTED LENS) | LT-11950 | LED Tube | 75 | 25 | 5 | 6 | 1 | 25 | Philips | UltramaxGE232T8 | 75 | 25 | 20.08 | 1506 | recylcled
James Industry Group (China) Co., Ltd | BT814W4FT (Frosted Lens) (4000K) | BT814W4FT (Frosted Lens) (4000K) | LT-11950 | LED Tube | 13 | 13 | 3 | 1 | 1 | 13 | GE | UltramaxGE132T8 | 13 | 25 | 16.03 | 208.39 | recycled
James Industry Group (China) Co., Ltd | BT814W4FT (Frosted Lens) (4000K) | BT814W4FT (Frosted Lens) (4000K) | LT-11950 | LED Tube | 418 | 209 | 25 | 2 | 1 | 209 | GE | UltramaxGE232T8 | 418 | 25 | 16.03 | 6700.54 | recycled
James Industry Group (China) Co., Ltd | BT814W4FT (Frosted Lens) (4000K) | BT814W4FT (Frosted Lens) (4000K) | LT-11950 | LED Tube | 27 | 9 | 9 | 3 | 1 | 9 | GE | GE323Max-N | 27 | 25 | 16.03 | 432.81 | recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 966 | 324 | 324 | 3 | 1 | 322 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 966 | 28 | 18 | 17388 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 488 | 120 | 120 | 4 | 1 | 122 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 488 | 28 | 18 | 8784 | Recycled
James Industries | BT812W4FT(3500K) | BT812W4FT(3500K) | LT-11950 | LED Tube | 550 | 275 | 50 | 2 | 1 | 275 | Philips | ICN-2932-N | 550 | 32 | 16.03 | 8816.5 | Recycled
James Industries | ZY-T8-15W1200 BIXX(3500K) | ZY-T8-15W1200 BIXX(3500K) | LT-11950 | LED Tube | 21838 | 10919 | 3600 | 2 | 1 | 10919 | Osram | QTP-2x32T8/UNV-INS | 21838 | 28 | 16.13 | 352246.94 | recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 388 | 194 | 194 | 2 | 1 | 194 | Advance Centium | ICN-2P32-N | 388 | 32 | 18 | 6984 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 32 | 16 | 16 | 2 | 1 | 16 | Howard | EP3/32IS/MV/MC/HE | 32 | 32 | 18 | 576 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 200 | 100 | 100 | 2 | 1 | 100 | Osram Sylvania | QHE2x32T8/UNV ISL-SC | 200 | 32 | 18 | 3600 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 20 | 10 | 10 | 2 | 1 | 10 | Osram Sylvania | QTP3x32T8/UNV ISN-SC | 20 | 32 | 18 | 360 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 1530 | 510 | 510 | 3 | 1 | 510 | Osram Sylvania | QTP3x32T8/UNV ISN-SC | 1530 | 32 | 18 | 27540 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 102 | 34 | 4 | 3 | 1 | 34 | Sylvania | QHE3X32T8/UNVISN-SC | 102 | 32 | 18 | 1836 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 128 | 64 | 7 | 2 | 1 | 64 | Sylvania | QHE2X32T8/UNVISL-SC | 128 | 32 | 18 | 2304 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 344 | 86 | 25 | 4 | 1 | 86 | Sylvania | QHE4X32T8/UNVISL-SC | 344 | 32 | 18 | 6192 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 6 | 1 | 25 | 6 | 2 | 2 | Sylvania | QHE4X32T8/UNVISL-SC | 6 | 32 | 18 | 108 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 1716 | 858 | 86 | 2 | 1 | 858 | Sylvania | QHE2X32T8/UNVISL-SC | 1716 | 32 | 18 | 30888 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 52 | 52 | 6 | 1 | 1 | 52 | Sylvania | QHE2X32T8/UNVISL-SC | 52 | 32 | 18 | 936 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 510 | 170 | 17 | 3 | 1 | 170 | Sylvania | QHE3X32T8/UNVISN-SC | 510 | 32 | 18 | 9180 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 896 | 224 | 25 | 4 | 1 | 224 | Sylvania | QHE4X32T8/UNVISL-SC | 896 | 32 | 18 | 16128 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 432 | 108 | 11 | 4 | 1 | 40 | Sylvania | QHE4X32T8/UNVISL-SC | 432 | 32 | 18 | 7776 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 1242 | 621 | 63 | 2 | 1 | 621 | Sylvania | QHE2X32T8/UNVISL-SC | 1242 | 32 | 18 | 22356 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 1992 | 498 | 50 | 4 | 1 | 498 | Sylvania | QHE4X32T8/UNVISL-SC | 1992 | 32 | 18 | 35856 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 478 | 239 | 25 | 2 | 1 | 239 | Sylvania | QHE2X32T8/UNVISL-SC | 478 | 32 | 18 | 8604 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 165 | 55 | 6 | 3 | 1 | 55 | Sylvania | QHE3X32T8/UNVISN-SC | 165 | 32 | 18 | 2970 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 338 | 169 | 17 | 2 | 1 | 169 | Sylvania | QHE2X32T8/UNVISL-SC | 338 | 32 | 18 | 6084 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 1388 | 347 | 35 | 4 | 1 | 347 | Sylvania | QHE4X32T8/UNVISL-SC | 1388 | 32 | 18 | 24984 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 534 | 267 | 27 | 2 | 1 | 267 | Sylvania | QHE2X32T8/UNVISL-SC | 534 | 32 | 18 | 9612 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 47 | 47 | 5 | 1 | 1 | 47 | Sylvania | QHE2X32T8/UNVISL-SC | 47 | 32 | 18 | 846 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 456 | 114 | 46 | 4 | 1 | 114 | Sylvania | QHE4X32T8/UNVISL-SC | 456 | 32 | 18 | 8208 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 284 | 142 | 13 | 2 | 1 | 142 | Sylvania | QHE2X32T8UNVISNSC | 284 | 32 | 18 | 5112 | Recycled
Philips | 9290011241 | 9290011241 | LT-11950 | LED Tube | 144 | 72 | 8 | 2 | 1 | 73 | GE | GE-232-MAX-L-Ultra | 144 | 32 | 14.5 | 2088 | Recycled
Lunera | HN-T8-D-48-14W-850-G1 | HN-T8-D-48-14W-850-G1 | LT-11950 | LED Tube | 1972 | 986 | 102 | 2 | 1 | 986 | Sylvania | QTP2X32/T8/UNVISNSC [49943] | 1972 | 32 | 17 | 33524 | Recycled
Lunera | HN-T8-D-48-14W-850-G1 | HN-T8-D-48-14W-850-G1 | LT-11950 | LED Tube | 1 | 1 | 1 | 1 | 1 | 1 | Sylvania | QTP2X32/T8/UNVISNSC [49943] | 1 | 32 | 17 | 17 | Recycled
Lunera | HN-T8-D-48-14W-850-G1 | HN-T8-D-48-14W-850-G1 | LT-11950 | LED Tube | 1 | 1 | 1 | 1 | 1 | 1 | Sylvania | QTP2X32/T8/UNVISNSC [49943] | 1 | 32 | 17 | 17 | Recycled
Lunera | HN-T8-D-48-14W-850-G1 | HN-T8-D-48-14W-850-G1 | LT-11950 | LED Tube | 3378 | 1889 | 3 | 2 | 1 | 1889 | Sylvania | QTP2X32/T8/UNVISNSC [49943] | 3378 | 32 | 17 | 57426 | Recycled
Lunera | HN-T8-D-48-14W-850-G1 | HN-T8-D-48-14W-850-G1 | LT-11950 | LED Tube | 2014 | 1007 | 118 | 2 | 1 | 1007 | Sylvania | QTP2X32/T8/UNVISNSC [49943] | 2014 | 32 | 17 | 34238 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 8 | 4 | 4 | 2 | 1 | 4 | Sylvania | QHE2X32T8/UNV ISN-SC | 8 | 28 | 18 | 144 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 876 | 292 | 292 | 3 | 1 | 292 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 876 | 28 | 18 | 15768 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 444 | 111 | 111 | 4 | 1 | 111 | Sylvania | QHE4X32T8/UNV ISN-SC | 444 | 28 | 18 | 7992 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 6 | 3 | 3 | 2 | 1 | 3 | Sylvania | QHE2X32T8/UNV ISN-SC | 6 | 28 | 18 | 108 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 765 | 255 | 255 | 3 | 1 | 255 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 765 | 28 | 18 | 13770 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 380 | 95 | 95 | 4 | 1 | 95 | Sylvania | QHE4X32T8/UNV ISN-SC | 380 | 28 | 18 | 6840 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 8 | 4 | 4 | 2 | 1 | 4 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 8 | 28 | 18 | 144 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 717 | 239 | 239 | 3 | 1 | 239 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 717 | 28 | 18 | 12906 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 360 | 90 | 90 | 4 | 1 | 90 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 360 | 28 | 18 | 6480 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 12 | 6 | 6 | 2 | 1 | 6 | Sylvania | QHE2X32T8/UNV ISN-SC | 12 | 28 | 18 | 216 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1026 | 342 | 342 | 3 | 1 | 342 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 1026 | 28 | 18 | 18468 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 516 | 129 | 129 | 4 | 1 | 129 | Sylvania | QHE4X32T8/UNV ISN-SC | 516 | 28 | 18 | 9288 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1317 | 439 | 439 | 3 | 1 | 439 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1317 | 28 | 18 | 23706 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 660 | 165 | 165 | 4 | 1 | 165 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 660 | 28 | 18 | 11880 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1098 | 366 | 366 | 3 | 1 | 366 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1098 | 28 | 18 | 19764 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 556 | 139 | 139 | 4 | 1 | 139 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 556 | 28 | 18 | 10008 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 8 | 4 | 4 | 2 | 1 | 4 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 8 | 28 | 18 | 144 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 885 | 295 | 295 | 3 | 1 | 295 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 885 | 28 | 18 | 15930 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 440 | 110 | 110 | 4 | 1 | 110 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 440 | 28 | 18 | 7920 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 909 | 909 | 909 | 3 | 1 | 909 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 909 | 28 | 18 | 16362 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 456 | 114 | 114 | 4 | 1 | 114 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 456 | 28 | 18 | 8208 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 6 | 3 | 3 | 2 | 1 | 3 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 6 | 28 | 18 | 108 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 759 | 253 | 253 | 3 | 1 | 253 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 759 | 28 | 18 | 13662 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 384 | 96 | 96 | 4 | 1 | 96 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 384 | 28 | 18 | 6912 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 12 | 6 | 6 | 2 | 1 | 6 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 12 | 28 | 18 | 216 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1068 | 356 | 356 | 3 | 1 | 356 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1068 | 28 | 18 | 19224 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 532 | 134 | 134 | 4 | 1 | 134 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 532 | 28 | 18 | 9576 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 8 | 4 | 4 | 2 | 1 | 4 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 8 | 28 | 18 | 144 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 966 | 322 | 322 | 3 | 1 | 322 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 966 | 28 | 18 | 17388 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 484 | 121 | 121 | 4 | 1 | 121 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 484 | 28 | 18 | 8712 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1059 | 353 | 353 | 3 | 1 | 353 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1059 | 28 | 18 | 19062 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 532 | 133 | 133 | 4 | 1 | 133 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 532 | 28 | 18 | 9576 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1098 | 366 | 366 | 3 | 1 | 366 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1098 | 28 | 18 | 19764 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 548 | 137 | 137 | 4 | 1 | 137 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 548 | 28 | 18 | 9864 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 362 | 181 | 181 | 2 | 1 | 181 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 362 | 28 | 18 | 6516 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1233 | 411 | 411 | 3 | 1 | 411 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1233 | 28 | 18 | 22194 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 8 | 4 | 4 | 2 | 1 | 4 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 8 | 28 | 18 | 144 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 981 | 327 | 327 | 3 | 1 | 327 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 981 | 28 | 18 | 17658 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 488 | 122 | 122 | 4 | 1 | 122 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 488 | 28 | 18 | 8784 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1152 | 384 | 384 | 3 | 1 | 384 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1152 | 28 | 18 | 20736 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 576 | 144 | 144 | 4 | 1 | 144 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 576 | 28 | 18 | 10368 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1191 | 397 | 397 | 3 | 1 | 397 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1191 | 28 | 18 | 21438 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 596 | 149 | 149 | 4 | 1 | 149 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 596 | 28 | 18 | 10728 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 6 | 3 | 3 | 2 | 1 | 3 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 6 | 28 | 18 | 108 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 783 | 261 | 261 | 3 | 1 | 261 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 783 | 28 | 18 | 14094 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 392 | 98 | 98 | 4 | 1 | 98 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 392 | 28 | 18 | 7056 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 8 | 4 | 4 | 2 | 1 | 4 | Sylvania | QHE2X32T8/UNV ISN-SC | 8 | 28 | 18 | 144 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 879 | 293 | 293 | 3 | 1 | 293 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 879 | 28 | 18 | 15822 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 436 | 109 | 109 | 4 | 1 | 109 | Sylvania | QHE4X32T8/UNV ISN-SC | 436 | 28 | 18 | 7848 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 380 | 190 | 190 | 2 | 1 | 190 | Sylvania | QHE2X32T8/UNV ISN-SC | 380 | 28 | 18 | 6840 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1263 | 421 | 421 | 3 | 1 | 421 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 1263 | 28 | 18 | 22734 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 12 | 6 | 6 | 2 | 1 | 6 | Sylvania | QHE2X32T8/UNV ISN-SC | 12 | 28 | 18 | 216 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1095 | 365 | 365 | 3 | 1 | 365 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 1095 | 28 | 18 | 19710 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 548 | 137 | 137 | 4 | 1 | 137 | Sylvania | QHE4X32T8/UNV ISN-SC | 548 | 28 | 18 | 9864 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1046 | 523 | 523 | 2 | 1 | 523 | Sylvania | QHE2X32T8/UNV ISN-SC | 1046 | 28 | 18 | 18828 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 138 | 46 | 46 | 3 | 1 | 46 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 138 | 28 | 18 | 2484 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 536 | 268 | 268 | 2 | 1 | 268 | Sylvania | QHE2X32T8/UNV ISN-SC | 536 | 28 | 18 | 9648 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 63 | 21 | 21 | 3 | 1 | 21 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 63 | 28 | 18 | 1134 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 598 | 299 | 299 | 2 | 1 | 299 | Sylvania | QHE2X32T8/UNV ISN-SC | 598 | 28 | 18 | 10764 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 93 | 31 | 31 | 3 | 1 | 31 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 93 | 28 | 18 | 1674 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 990 | 495 | 495 | 2 | 1 | 495 | Sylvania | QHE2X32T8/UNV ISN-SC | 990 | 28 | 18 | 17820 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 135 | 45 | 45 | 3 | 1 | 45 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 135 | 28 | 18 | 2430 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 970 | 485 | 485 | 2 | 1 | 485 | Sylvania | QHE2X32T8/UNV ISN-SC | 970 | 28 | 18 | 17460 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 120 | 40 | 40 | 3 | 1 | 40 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 120 | 28 | 18 | 2160 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 3 | 3 | 1 | 1 | 1 | 3 | Sylvania QTP1X32 | 49941 | 3 | 32 | 18 | 54 | Recycled
Sylvania | LED15T8/L48/DIM/850/SUB/G6 | 75297 | LT-11950 | LED Tube | 268 | 268 | 27 | 1 | 1 | 268 | Sylvania QTP1X32 | 49941 | 268 | 32 | 18 | 4824 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 110 | 55 | 10 | 2 | 1 | 55 | Sylvania QTP2X32 | 49943 | 110 | 32 | 18 | 1980 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 120 | 60 | 15 | 2 | 1 | 60 | Sylvania QTP2X32 | 49943 | 120 | 32 | 18 | 2160 | Recycled
Sylvania | LED15T8/L48/DIM/830/SUB/G6 | 75286 | LT-11950 | LED Tube | 84 | 28 | 10 | 3 | 1 | 28 | Sylvania QTP3x32 | 49945 | 84 | 32 | 17.82 | 1496.88 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 210 | 70 | 10 | 3 | 1 | 70 | Sylvania QTP3x32 | 49945 | 210 | 32 | 18 | 3780 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 531 | 177 | 10 | 3 | 1 | 177 | Sylvania QTP3x32 | 49945 | 531 | 32 | 18 | 9558 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 874 | 437 | 437 | 2 | 1 | 437 | Sylvania | QHE2X32T8/UNV ISN-SC | 874 | 28 | 18 | 15732 | Recycled
SYLVANIA | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 111 | 37 | 37 | 3 | 1 | 37 | Sylvania | QHE2X32T8/UNV ISN-SC/QHE4X32T8/UNV ISN-SC in master satellite relationship | 111 | 28 | 18 | 1998 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 8 | 4 | 4 | 2 | 1 | 4 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 8 | 28 | 18 | 144 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1005 | 335 | 335 | 3 | 1 | 335 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1005 | 28 | 18 | 18090 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 500 | 125 | 125 | 4 | 1 | 125 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 500 | 28 | 18 | 9000 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 8 | 4 | 4 | 2 | 1 | 4 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 8 | 28 | 18 | 144 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 813 | 271 | 271 | 3 | 1 | 271 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 813 | 28 | 18 | 14634 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 408 | 102 | 102 | 4 | 1 | 102 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 408 | 28 | 18 | 7344 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1149 | 383 | 383 | 3 | 1 | 383 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1149 | 28 | 18 | 20682 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 572 | 143 | 143 | 4 | 1 | 143 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 572 | 28 | 18 | 10296 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1089 | 363 | 363 | 3 | 1 | 363 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1089 | 28 | 18 | 19602 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 548 | 137 | 137 | 4 | 1 | 137 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 548 | 28 | 18 | 9864 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 10 | 5 | 5 | 2 | 1 | 5 | Osram Sylvania | QHE2X32T8/UNV ISN-SC | 10 | 28 | 18 | 180 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 1044 | 348 | 348 | 3 | 1 | 348 | Osram Sylvania | QHE2X32T8/UNV ISN-SC/ QHE4X32T8/UNV ISN-SC in a master satellite relationship | 1044 | 28 | 18 | 18792 | Recycled
Sylvania | LED15T8/L48/DIM/835/SUB/G6 | 75287 | LT-11950 | LED Tube | 520 | 130 | 130 | 4 | 1 | 130 | Osram Sylvania | QHE4X32T8/UNV ISN-SC | 520 | 28 | 18 | 9360 | Recycled
GE | LED12ET8/G/4/840 | 25835370 | LT-11950 | LED Tube | 18835 | 5925 | 606 | 2,3 & 4 | 1 | 8291 | Advance | ICN-*P32-N | 18835 | 32 | 12 | 226020 | Recycled
Eiko Global, LLC | LED18T8F/48/850-GZDR | 25857520 | LT-11950 | LED Tube | 140 | 70 | 7 | 2 | 1 | 70 | GE | GE232MAXNULTRA | 140 | 32 | 15.5 | 2170 | Recycled
GE | LED15ET8/G/4/850 | 25807386 | LT-11950 | LED Tube | 72 | 18 | 3 | 4 | 1 | 18 | Universal lighting Co | B432iunvel-a | 72 | 32 | 15 | 1080 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 4 | 4 | 2 | 1 | 1 | 4 | Sylvania QTP1X32 | 49941 | 4 | 32 | 18 | 72 | Recycled
Sylvania | LED15T8/L48/DIM/850/SUB/G6 | 75297 | LT-11950 | LED Tube | 249 | 249 | 26 | 1 | 1 | 249 | Sylvania QTP1X32 | 49941 | 249 | 32 | 18 | 4482 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 742 | 371 | 38 | 2 | 1 | 371 | Sylvania QTP2X32 | 49943 | 742 | 32 | 18 | 13356 | Recycled
Sylvania | LED15T8/L48/DIM/841/SUB/G6 | 75288 | LT-11950 | LED Tube | 60 | 20 | 3 | 3 | 1 | 20 | Sylvania QTP3x32 | 49945 | 60 | 32 | 18 | 1080 | Recycled
Lunera | HN-T8-D-48-14W-840-G1 | HN-T8-D-48-14W-840-G1 | LT-11950 | LED Tube | 146 | 73 | 7 | 2 | 1 | 73 | Triad | B232IUNVHP-N | 146 | 32 | 17 | 2482 | Recycled
Lunera | HN-T8-D-48-14W-840-G1 | HN-T8-D-48-14W-840-G1 | LT-11950 | LED Tube | 279 | 93 | 10 | 3 | 1 | 93 | Triad | B332IUNVHP-N | 279 | 32 | 17 | 4743 | Recycled
Lunera | HN-T8-D-48-14W-840-G1 | HN-T8-D-48-14W-840-G1 | LT-11950 | LED Tube | 236 | 118 | 13 | 2 | 1 | 118 | Sylvania | QTP2X32/T8UNVISNSC [49943] | 236 | 32 | 17 | 4012 | Recycled
Lunera | HN-T8-D-48-14W-840-G1 | HN-T8-D-48-14W-840-G1 | LT-11950 | LED Tube | 438 | 219 | 23 | 2 | 1 | 219 | Sylvania | QHE2X32T8UNVISLSC [49863] | 438 | 32 | 17 | 7446 | Recycled
Lunera | HN-T8-D-48-14W-840-G1 | HN-T8-D-48-14W-840-G1 | LT-11950 | LED Tube | 162 | 81 | 9 | 2 | 1 | 81 | Sylvania | QHE2X32T8UNVISNSC [49853] | 162 | 32 | 17 | 2754 | Recycled
Lunera | HN-T8-D-48-14W-840-G1 | HN-T8-D-48-14W-840-G1 | LT-11950 | LED Tube | 392 | 196 | 20 | 2 | 1 | 196 | Sylvania | QHE4X32T8UNVISLSC [49867] | 392 | 32 | 17 | 6664 | Recycled
Lunera | HN-T8-D-48-14W-840-G1 | HN-T8-D-48-14W-840-G1 | LT-11950 | LED Tube | 324 | 108 | 12 | 3 | 1 | 108 | Sylvania | QTP3X32/T8UNVISLSC [49835] | 324 | 32 | 17 | 5508 | Recycled
Lunera | HN-T8-D-48-14W-840-G1 | HN-T8-D-48-14W-840-G1 | LT-11950 | LED Tube | 141 | 47 | 5 | 3 | 1 | 47 | Sylvania | QHE3X32T8UNVISNSC [49855] | 141 | 32 | 17 | 2397 | Recycled
Lunera | HN-T8-D-48-14W-840-G1 | HN-T8-D-48-14W-840-G1 | LT-11950 | LED Tube | 200 | 50 | 5 | 4 | 1 | 50 | Sylvania | QHE4X32T8UNVISLSC [49867] | 200 | 32 | 17 | 3400 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 8 | 4 | 1 | 2 | 1 | 4 | Universal Tech | B232IUNVHE-A | 8 | 28 | 14.5 | 116 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 48 | 12 | 2 | 4 | 2 | 24 | Universal Tech | B232IUNVHE-A | 48 | 28 | 14.5 | 696 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 96 | 32 | 4 | 3 | 2 | 64 | Universal Tech | B232IUNVHE-A | 96 | 28 | 14.5 | 1392 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 1384 | 692 | 70 | 2 | 1 | 692 | Advance Centium | VCN-4P32 | 1384 | 32 | 14.5 | 20068 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 12 | 12 | 2 | 1 | 1 | 12 | Universal Tech | B232IUNVHE-A | 12 | 28 | 14.5 | 174 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 24 | 12 | 2 | 2 | 1 | 12 | Universal Tech | B232IUNVHE-A | 24 | 28 | 14.5 | 348 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 30 | 10 | 1 | 3 | 2 | 20 | Universal Tech | B232IUNVHE-A | 30 | 28 | 14.5 | 435 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 80 | 20 | 2 | 4 | 2 | 40 | Sylvania | QTP2X32T8/UNVISN-CE | 80 | 32 | 14.5 | 1160 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 15 | 15 | 2 | 1 | 1 | 15 | Phillips Advance Standard | REL-2P32-SC | 15 | 32 | 14.5 | 217.5 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 10 | 5 | 1 | 2 | 1 | 5 | Phillips Advance Standard | REL-2S40-RH-TP | 10 | 32 | 14.5 | 145 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 42 | 14 | 2 | 3 | 2 | 28 | Phillips Advance Standard | RCN-2P32-SC | 42 | 32 | 14.5 | 609 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 400 | 100 | 10 | 4 | 2 | 200 | Sylvania Quicktronic | QT2X32/120 IS | 400 | 32 | 14.5 | 5800 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 29 | 29 | 3 | 1 | 1 | 29 | Quicktronic | QT1X32/277 | 29 | 32 | 14.5 | 420.5 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 498 | 249 | 25 | 2 | 1 | 249 | Phillips Advance | ICN-2P32-N | 498 | 32 | 14.5 | 7221 | Recycled
Philips | 9290011241 | 9290011241 12T8/48-4000 IF 10/1 | LT-11950 | LED Tube | 507 | 169 | 17 | 3 | 2 | 338 | Triad | B232IUNVHP-N | 507 | 32 | 14.5 | 7351.5 | Recycled
Espen Technology | L48T8/840/12G-EB-AC | L48T8/840/12G-EB-AC Product Code PNYDJNAJ | LT-11950 | LED Tube | 4806 | 2403 | 241 | 2 | 1 | 2403 | Advance (48) & Espen (193) | REL-2P32-RH-TP & VE2P32MVHIPE | 4806 | 32 | 16 | 76896 | recycle
Espen Technology | L48T8/840/12G-EB-AC | L48T8/840/12G-EB-AC Product Code PNYDJNAJ | LT-11950 | LED Tube | 10362 | 3454 | 316 | 3 | 1 | 3454 | Advance (64) & Espen (252) | ICN-3P32-SC & VE3P32MVHIPE | 10362 | 32 | 16 | 165792 | recycle
Espen Technology | L48T8/840/12G-EB-AC | L48T8/840/12G-EB-AC Product Code PNYDJNAJ | LT-11950 | LED Tube | 1144 | 572 | 58 | 2 | 1 | 572 | Espen | VE2P32MVHIPE | 1144 | 32 | 16 | 18304 | recycle
Espen Technology | L48T8/840/12G-EB-AC | L48T8/840/12G-EB-AC Product Code PNYDJNAJ | LT-11950 | LED Tube | 21160 | 5290 | 530 | 4 | 1 | 5290 | Advance (85) & Triad (26) & Espen (419) | ICN-4P32-SC & B432IUNVHP-A &VE4P32MVHIPE | 21160 | 32 | 16 | 338560 | recycle
[5 empty] | 167075 | [10 empty] | 2723664.56
[5 empty] | #ofLamps | [7 empty] | CHECK | RatedWBase | %RatedBase |  |  |  |  | NormalizedWBase | WeightedAvgMeasure | DELTA
[5 empty] | 608 | [7 empty] | 608 | 25 | 0.3639% |  |  |  | 0.090977 | 22 | 17.0292 | 4.9708
[5 empty] | 69651 | [7 empty] | 69651 | 28 | 41.69% |  |  |  | 11.6728 | 24.64 | 17.4027 | 7.2373
[5 empty] | 300 | [7 empty] | 300 | 30 | 0.1796% |  |  |  | 0.053868 | 26.4 | 14.5 | 11.9
[5 empty] | 96516 | [7 empty] | 96516 | 32 | 57.77% |  |  |  | 18.4858 | 28.16 | 15.5088 | 12.6512
[18 empty] | Total Weighted Average | 30.3034 | 26.667 | 16.302 | 10.3649