## Cost Summary
Base Case Mix |  |  | LED Average Cost/Watt vs Wattage |  |  |  | Notes
0% | LED |  | y = 1.1723x + 34.921 |  |  |  | (1) Cost is calculated from the linear fit of Average cost/Watt vs Watt from 2018 LED Fixtures.
40% | CFL |  | 1.1723 | 34.921 |  |  | (2) CFL cost is calculated from the linear fit of Average cost/Watt vs Watt from 2018 Base Fixtures.
60% | Halogen/Inc |  | CFL Average Cost/Watt vs Wattage |  |  |  | (3) Halogen cost is calculated from the linear fit of Average cost/Watt vs Watt from 2018 Base Fixtures.
|  |  | y = 0.2578x + 26.083 |  |  |  | (4) Uses the Base Case Mix table to the left
|  |  | 0.2578 | 26.083 |  |  | (5) Assumes 30min of labor, using DEER Labor Rate of R-OL-DP, $67.88
|  |  | Halogen Average Cost/Watt vs Wattage |  |  |  | (6) IMC = LED Cost - Base Case Cost
|  |  | y = 0.2944x - 4.0828 |  |  |  | (7) FMC = LED Cost + Labor
|  |  | 0.2944 | -4.0828 |  |  | (8) CFL and Halogen equivalent wattage obtained from previous workpaper.
|  |  | Labor Rate | $/Hr | Est. Hr/Unit | $/Unit
|  |  | R-OL-DP | 67.88 | 0.5 | 33.94 |  |  |  | CFL Equiv. Factor | Hal/Inc Equiv. Factor
[10 empty] | 2 | 6
Measure Code | Measure description | Measure Wattage | LED Cost (1) | CFL Cost (2) | Hal/Inc (3) | Base Case Cost (4) | Labor (5) | IMC (6) | FMC (7) | CFL Equiv. Wattage (8) | Hal/Inc Equiv. Wattage | Measure Cost ID | Base Cost ID
| 8-9 Watt Exterior Fixture LED | 8 | 44.2994 | 30.2078 | 10.0484 | 18.1122 | 33.94 | 26.1872 | 78.2394 | 16 | 48 | SCE17LG119_1_M001 | SCE17LG119_1_B001
| 9-10 Watt Exterior Fixture LED | 9 | 45.4717 | 30.7234 | 11.8148 | 19.3782 | 33.94 | 26.0935 | 79.4117 | 18 | 54 | SCE17LG119_1_M002 | SCE17LG119_1_B002
| 10-11 Watt Exterior Fixture LED | 10 | 46.644 | 31.239 | 13.5812 | 20.6443 | 33.94 | 25.9997 | 80.584 | 20 | 60 | SCE17LG119_1_M003 | SCE17LG119_1_B003
| 11-12 Watt Exterior Fixture LED | 11 | 47.8163 | 31.7546 | 15.3476 | 21.9104 | 33.94 | 25.9059 | 81.7563 | 22 | 66 | SCE17LG119_1_M004 | SCE17LG119_1_B004
| 12-13 Watt Exterior Fixture LED | 12 | 48.9886 | 32.2702 | 17.114 | 23.1765 | 33.94 | 25.8121 | 82.9286 | 24 | 72 | SCE17LG119_1_M005 | SCE17LG119_1_B005
| 13-14 Watt Exterior Fixture LED | 13 | 50.1609 | 32.7858 | 18.8804 | 24.4426 | 33.94 | 25.7183 | 84.1009 | 26 | 78 | SCE17LG119_1_M006 | SCE17LG119_1_B006
| 14-15 Watt Exterior Fixture LED | 14 | 51.3332 | 33.3014 | 20.6468 | 25.7086 | 33.94 | 25.6246 | 85.2732 | 28 | 84 | SCE17LG119_1_M007 | SCE17LG119_1_B007
| 15-16 Watt Exterior Fixture LED | 15 | 52.5055 | 33.817 | 22.4132 | 26.9747 | 33.94 | 25.5308 | 86.4455 | 30 | 90 | SCE17LG119_1_M008 | SCE17LG119_1_B008
| 16-17 Watt Exterior Fixture LED | 16 | 53.6778 | 34.3326 | 24.1796 | 28.2408 | 33.94 | 25.437 | 87.6178 | 32 | 96 | SCE17LG119_1_M009 | SCE17LG119_1_B009
| 17-18 Watt Exterior Fixture LED | 17 | 54.8501 | 34.8482 | 25.946 | 29.5069 | 33.94 | 25.3432 | 88.7901 | 34 | 102 | SCE17LG119_1_M010 | SCE17LG119_1_B010
| 18-19 Watt Exterior Fixture LED | 18 | 56.0224 | 35.3638 | 27.7124 | 30.773 | 33.94 | 25.2494 | 89.9624 | 36 | 108 | SCE17LG119_1_M011 | SCE17LG119_1_B011
| 19-20 Watt Exterior Fixture LED | 19 | 57.1947 | 35.8794 | 29.4788 | 32.039 | 33.94 | 25.1557 | 91.1347 | 38 | 114 | SCE17LG119_1_M012 | SCE17LG119_1_B012
| 20-21 Watt Exterior Fixture LED | 20 | 58.367 | 36.395 | 31.2452 | 33.3051 | 33.94 | 25.0619 | 92.307 | 40 | 120 | SCE17LG119_1_M013 | SCE17LG119_1_B013
| 21-22 Watt Exterior Fixture LED | 21 | 59.5393 | 36.9106 | 33.0116 | 34.5712 | 33.94 | 24.9681 | 93.4793 | 42 | 126 | SCE17LG119_1_M014 | SCE17LG119_1_B014
| 22-23 Watt Exterior Fixture LED | 22 | 60.7116 | 37.4262 | 34.778 | 35.8373 | 33.94 | 24.8743 | 94.6516 | 44 | 132 | SCE17LG119_1_M015 | SCE17LG119_1_B015
| 23-24 Watt Exterior Fixture LED | 23 | 61.8839 | 37.9418 | 36.5444 | 37.1034 | 33.94 | 24.7805 | 95.8239 | 46 | 138 | SCE17LG119_1_M016 | SCE17LG119_1_B016
| 24-25 Watt Exterior Fixture LED | 24 | 63.0562 | 38.4574 | 38.3108 | 38.3694 | 33.94 | 24.6868 | 96.9962 | 48 | 144 | SCE17LG119_1_M017 | SCE17LG119_1_B017
| 25-26 Watt Exterior Fixture LED | 25 | 64.2285 | 38.973 | 40.0772 | 39.6355 | 33.94 | 24.593 | 98.1685 | 50 | 150 | SCE17LG119_1_M018 | SCE17LG119_1_B018
| 26-27 Watt Exterior Fixture LED | 26 | 65.4008 | 39.4886 | 41.8436 | 40.9016 | 33.94 | 24.4992 | 99.3408 | 52 | 156 | SCE17LG119_1_M019 | SCE17LG119_1_B019
| 27-28 Watt Exterior Fixture LED | 27 | 66.5731 | 40.0042 | 43.61 | 42.1677 | 33.94 | 24.4054 | 100.5131 | 54 | 162 | SCE17LG119_1_M020 | SCE17LG119_1_B020
| 28-29 Watt Exterior Fixture LED | 28 | 67.7454 | 40.5198 | 45.3764 | 43.4338 | 33.94 | 24.3116 | 101.6854 | 56 | 168 | SCE17LG119_1_M021 | SCE17LG119_1_B021
| 29-30 Watt Exterior Fixture LED | 29 | 68.9177 | 41.0354 | 47.1428 | 44.6998 | 33.94 | 24.2179 | 102.8577 | 58 | 174 | SCE17LG119_1_M022 | SCE17LG119_1_B022
| 30-31 Watt Exterior Fixture LED | 30 | 70.09 | 41.551 | 48.9092 | 45.9659 | 33.94 | 24.1241 | 104.03 | 60 | 180 | SCE17LG119_1_M023 | SCE17LG119_1_B023
| 31-32 Watt Exterior Fixture LED | 31 | 71.2623 | 42.0666 | 50.6756 | 47.232 | 33.94 | 24.0303 | 105.2023 | 62 | 186 | SCE17LG119_1_M024 | SCE17LG119_1_B024
| 32-33 Watt Exterior Fixture LED | 32 | 72.4346 | 42.5822 | 52.442 | 48.4981 | 33.94 | 23.9365 | 106.3746 | 64 | 192 | SCE17LG119_1_M025 | SCE17LG119_1_B025
| 33-34 Watt Exterior Fixture LED | 33 | 73.6069 | 43.0978 | 54.2084 | 49.7642 | 33.94 | 23.8427 | 107.5469 | 66 | 198 | SCE17LG119_1_M026 | SCE17LG119_1_B026
| 34-35 Watt Exterior Fixture LED | 34 | 74.7792 | 43.6134 | 55.9748 | 51.0302 | 33.94 | 23.749 | 108.7192 | 68 | 204 | SCE17LG119_1_M027 | SCE17LG119_1_B027
| 35-36 Watt Exterior Fixture LED | 35 | 75.9515 | 44.129 | 57.7412 | 52.2963 | 33.94 | 23.6552 | 109.8915 | 70 | 210 | SCE17LG119_1_M028 | SCE17LG119_1_B028
| 36-37 Watt Exterior Fixture LED | 36 | 77.1238 | 44.6446 | 59.5076 | 53.5624 | 33.94 | 23.5614 | 111.0638 | 72 | 216 | SCE17LG119_1_M029 | SCE17LG119_1_B029
| 37-38 Watt Exterior Fixture LED | 37 | 78.2961 | 45.1602 | 61.274 | 54.8285 | 33.94 | 23.4676 | 112.2361 | 74 | 222 | SCE17LG119_1_M030 | SCE17LG119_1_B030
| 38-39 Watt Exterior Fixture LED | 38 | 79.4684 | 45.6758 | 63.0404 | 56.0946 | 33.94 | 23.3738 | 113.4084 | 76 | 228 | SCE17LG119_1_M031 | SCE17LG119_1_B031
| 39-40 Watt Exterior Fixture LED | 39 | 80.6407 | 46.1914 | 64.8068 | 57.3606 | 33.94 | 23.2801 | 114.5807 | 78 | 234 | SCE17LG119_1_M032 | SCE17LG119_1_B032
| 40-41 Watt Exterior Fixture LED | 40 | 81.813 | 46.707 | 66.5732 | 58.6267 | 33.94 | 23.1863 | 115.753 | 80 | 240 | SCE17LG119_1_M033 | SCE17LG119_1_B033
NTG
All-Ltg-LED-WRR | DEER2019 | 2019-01-01 |  | 0.91 | 0.91 | All LED lamps, fixtures and retrofits with savings calculated using WRR savings methods | Deemed using wattage reduction ratio (WRR) savings calculations | All | All

## 2018 LED Fixtures
Type | Watts | Lumens | LPW | Equivalent | Listing | Price | Address | Description | Watt | Count | Avge $/W | Lumen
Ceiling | 33 | 3000 | 90.9091 | 100 | ES | 64.65 | https://www.amazon.com/Designers-Fountain-AS3019D40-27-single-head-Outdoor/dp/B01LXZZGU6/ref=asc_df_B01LXZZGU6/?tag=hyprod-20&linkCode=df0&hvadid=193227207088&hvpos=1o1&hvnetw=g&hvrand=12671138662699280259&hvpone=&hvptwo=&hvqmt=&hvdev=c&hvdvcmdl=&hvlocint=&hvlocphy=9031529&hvtargid=pla-307167438662&psc=1 | Designers Fountain AS3019D40-27 Modern Led Dusk To Dawn single-head Grey Outdoor Flood Light | 8 | 2 | 54.97 | 490.5 | Wall | 33
Wall | 21 | 1450 | 69.0476 |  | ES | 28.47 | https://www.homedepot.com/p/Feit-Electric-20-7-Watt-6-in-Bronze-Outdoor-Integrated-LED-Wall-Pack-Light-with-Dusk-to-Dawn-Feature-4-Pack-S10WPK-850-DD-BZ-4/306259178 | 20.7-Watt 6 in. Bronze Outdoor Integrated LED Wall Pack Light with Dusk to Dawn Feature (4-Pack) | 9 | 6 | 38.495 | 561.8333 | Ceiling | 26
Wall | 25 | 1500 | 60 |  |  | 59.83 | https://megadepot.com/product/honeywell-ma0021-17-ds-ma0021-series-led-security-light-1500-lumen?format=v&p=ms&source=ads&gclid=CjwKCAjwjIHeBRAnEiwAhYT2hx393xtXvnMDGsEYcwbiMDtnUdoUIX3ndNnX7IIaqFHPY8PKZvaKthoCyYsQAvD_BwE | Honeywell, MA0021-17-DS MA0021-Series LED Security Light, 1500 Lumen | 10 | 3 | 59.99 | 700
Wall | 12 | 1300 | 108.3333 |  | ES | 86.45 | https://www.bulbs.com/product/SEC12U50BPC12 | MaxLite 70 Watt Equivalent, 12 Watt LED Wallpack Fixture, 5000K With Photocell | 11 | 3 | 52.2233 | 810.6667
Wall | 14 | 980 | 70 |  | ES | 33.25 | https://www.ledlightingwholesaleinc.com/ML4LASMSB14827-p/ML4LASMSB14827.htm | MaxLite LED Mission Lantern, 14 Watt | 12 | 7 | 62.7214 | 1017.7143
Wall | 11 | 1000 | 90.9091 |  | ES | 54.63 | https://www.lightingsupply.com/sunlite-49000-su.aspx | Sunlite LFX/DOD/EBL/BK/FR/40K 4000K 120V 11.3 Watts 1000 Lumens Non-Dimmable (49000-SU) | 13 | 2 | 28.49 | 900
Wall | 15 | 1030 | 68.6667 |  | ES | 89.5 | https://www.build.com/wac-lighting-wp-led415-50/s1200011 | WAC Lighting WP-LED415-50-ABK | 14 | 2 | 34.62 | 1015
Wall | 30 | 1930 | 64.3333 |  |  | 159.3 | https://www.build.com/wac-lighting-wp-led430-30/s1200012?uid=2871807 | WAC Lighting WP-LED430-30-ABZ | 15 | 4 | 44.59 | 1207.5
Wall | 10 | 700 | 70 |  |  | 59.99 | https://www.bulbs.com/product/LED-FXDWS10-830-BK | NaturaLED 100 Watt Equivalent, 10 Watt LED Wall Sconce Fixture, 3000K | 16 | 2 | 85.27 | 1180
Wall | 20 | 1400 | 70 |  |  | 72.49 | https://www.bulbs.com/product/LED-FXDWS20-830-BK | NaturaLED 200 Watt Equivalent, 20 Watt LED Wall Sconce Fixture, 3000K | 17 | 2 | 39.99 | 1150
Ceiling | 13 | 800 | 61.5385 |  | ES | 27 | https://www.lbclighting.com/evl-evled502d.html | Envirolite EVLED502D LED Dimmable Flushmount | 18 | 1 | 39.99 | 1380
Ceiling | 14 | 1050 | 75 |  | ES | 35.99 | https://www.acehardware.com/departments/lighting-and-electrical/light-fixtures/ceiling-light-fixtures/3769908 | Metalux 4.4 in. W x 12.7 in. H x 12.3 in. L Ceiling Light |  | 0
Ceiling | 21 | 1600 | 76.1905 |  | ES | 44.99 | https://www.acehardware.com/departments/lighting-and-electrical/light-fixtures/ceiling-light-fixtures/3769916 | Metalux 4.9 in. W x 16.3 in. L x 16.5 in. H Ceiling Light | 20 | 3 | 77.49 | 1400
Ceiling | 30 | 2350 | 78.3333 |  | ES | 59.99 | https://www.acehardware.com/departments/lighting-and-electrical/light-fixtures/ceiling-light-fixtures/3769882 | Metalux 20.3 in. L x 20.3 in. H x 5.2 in. W Ceiling Light | 21 | 2 | 36.73 | 1525
Ceiling | 13 | 1000 | 76.9231 |  | ES | 29.98 | https://www.lowes.com/pd/Project-Source-13-in-W-Brushed-Nickel-LED-Flush-Mount-Light-ENERGY-STAR/1000273665 | Project Source 13-in W Brushed Nickel LED Flush Mount Light ENERGY STAR | 22 | 1 | 54.99 | 1540
Wall | 11 | 912 | 82.9091 |  | ES | 52.07 | https://www.commercialbulbs.com/item/0210845/sunlite-49000-su-113w-led-fixture-decorative-outdoor-eurostyle-oblong | Sunlite 49000-SU 11.3W LED Fixture Decorative Outdoor Eurostyle Oblong | 23 | 2 | 34.99 | 1425
Ceiling | 15 | 1050 | 70 |  | ES | 31.38 | https://www.lightingsupply.com/sunlite-88335-su.aspx | Sunlite LFX/DCO12/BN/15W/E/D/30K 3000K 120V 15 Watts 1050 Lumens Dimmable (88335-SU) | 24 | 2 | 99.48 | 1745
Ceiling | 12 | 840 | 70 |  | ES | 14.1 | https://www.homedepot.com/p/Westinghouse-12-Watt-Chrome-Indoor-Outdoor-Integrated-LED-Flushmount-6321800/301390694 | 12-Watt Chrome Indoor/Outdoor Integrated LED Flushmount | 25 | 1 | 59.83 | 1500
Ceiling | 9 | 680 | 75.5556 |  | ES | 15.74 | https://www.lighting-spot.com/4-led-disc-downlight-3000k-2.html | 4' LED Disc Downlight 3000K | 26 | 1 | 76.15 | 1960
Wall | 9 | 500 | 55.5556 |  |  | 49.99 | https://www.tractorsupply.com/tsc/product/luminance-f9930-31-1-4k-led-wall-mount-fixture-1272760 | Luminance F9930-31-1-4K LED Wall Mount Fixture
Wall | 9 | 500 | 55.5556 |  |  | 38.99 | https://www.staples.com/Luminance-LED-Integrated-Wall-Lantern-Black-F9937-31/product_2430938 | Luminance LED Integrated Wall Lantern, Black (F9937-31) | 28 | 1 | 55.95 | 1900
Wall | 16 | 1260 | 78.75 |  | ES | 78 | https://www.build.com/access-lighting-20397leddlp-opl/s1325947 | Access Lighting 20397LEDDLP-SAT/OPL |  | 0
Ceiling | 28 | 1900 | 67.8571 |  |  | 55.95 | https://www.homedepot.com/p/Lithonia-Lighting-Versi-Lite-28-Watt-Textured-White-Integrated-LED-Flushmount-FMML-13-830/206514154 | Versi Lite 28-Watt Textured White Integrated LED Flushmount | 30 | 3 | 107.4967 | 2760
Ceiling | 17 | 1100 | 64.7059 |  |  | 39.99 | https://www.amazon.com/Ceiling-Thinnest-Dimmable-Lighting-Required/dp/B01MSPJJY4/ref=asc_df_B01MSPJJY4 | NEW Round Flush Mount Thin Ceiling Light ¦ LED Disc Shaped Thinnest Round Dimmable Lighting Fixture ¦ Direct Wire Lights ¦ No Drywall Work Required ¦ 3000K Bright White ¦ 12" White |  | 0
Ceiling | 23 | 1650 | 71.7391 |  |  | 34.99 | https://www.maxximastyle.com/ceiling-led-fixtures/14-inch-satin-nickel-led-ceiling-mount-fixture-warm-white-1650-lumens | 4 in. Satin Nickel LED Ceiling Mount Fixture - Warm White, 1650 Lumens | 32 | 1 | 59.98 | 2250
Wall | 15 | 1050 | 70 |  |  | 29.99 | https://www.maxximastyle.com/outdoor-led-lights/rectangular-outdoor-led-wall-pack-light-with-dusk-to-dawn-sensor | Rectangular Outdoor LED Wall Pack Light with Dusk to Dawn Sensor 1050 Lumens | 33 | 2 | 64.65 | 3000
Wall | 23 | 1200 | 52.1739 |  |  | 34.99 | https://www.maxximastyle.com/outdoor-led-lights/decorative-outdoor-led-wall-pack-light-with-dusk-to-dawn-sensor | Decorative Outdoor LED Wall Light Sconce with Dusk to Dawn Sensor 1200 Lumens | 34 | 1 | 65.92 | 2700
Ceiling | 17 | 1200 | 70.5882 |  |  | 39.99 | https://bulbsnlighting.com/nuvo-lighting-62547-14-flush-mounted-led-light-fixture-white-finish-2 | NUVO Lighting 62/547 14" Flush Mounted LED Light Fixture - White Finish | 35 | 1 | 84.19 | 3000
Ceiling | 18 | 1380 | 76.6667 |  |  | 39.99 | https://www.bulbs.com/product/LED12FMM-138L830-NI | NaturaLED Dimmable 18W 12in 3000K Flush Mount LED Ceiling Fixture | 36 | 2 | 77.485 | 3000
Ceiling | 22 | 1540 | 70 |  |  | 54.99 | https://www.homelectrical.com/22w-flush-mount-streamlined-15-bronze-nickel-3000k.nal-led15fms154l830ni.1.html | NaturaLED 3000K 22W 15" Nickel Flush Mount Streamlined |  | 0
Ceiling | 26 | 1960 | 75.3846 |  |  | 76.15 | https://www.homelectrical.com/26w-16-modern-flush-mount-ceiling-light-4000k-nickel-dimmable.nat-7598.1.html | NaturaLED 26W 16 in Modern Flush Mount Ceiling Light, 4000K, Nickel, Dimmable |  | 0
Wall | 24 | 1890 | 78.75 |  |  | 81 | https://www.build.com/progress-lighting-p563001-30k/s1426771 | Progress Lighting P563001-020-30K |  | 0
Ceiling | 15 | 1700 | 113.3333 |  |  | 27.49 | https://www.lightbulbsurplus.com/ih-lfmdr-12d1540-nk.html | IN HOME LIGHTING IH-LFMDR-12D1540-NK | 40 | 2 | 99.385 | 3250
Ceiling | 32 | 2250 | 70.3125 |  |  | 59.98 | https://www.lowes.com/pd/Utilitech-19-in-W-White-LED-Flush-Mount-Light-ENERGY-STAR/1000153357 | Utilitech 19-in W White LED Flush Mount Light ENERGY STAR
Ceiling | 36 | 3000 | 83.3333 |  |  | 69.98 | https://www.lowes.com/pd/Utilitech-27-95-in-W-Matte-White-Modern-Contemporary-Standard-Flush-Mount-Light/1000117019 | Utilitech 27.95-in W Matte White Modern/Contemporary Standard Flush Mount Light
Ceiling | 40 | 3600 | 90 |  |  | 99 | https://www.morrisproducts.com/pc_product_detail.asp?p_key=1BE408631BCB4807982CDD4E7CDE4E8A | LED Round Vandal Resistant Canopy Light 40 Watt
Wall | 33 | 3000 | 90.9091 |  |  | 64.65 | https://www.homedepot.com/p/EnviroLite-LED-Dusk-to-Dawn-Single-Head-Gray-Outdoor-Flood-Light-AS3019D40-27/206994482 | LED Dusk to Dawn Single-Head Gray Outdoor Flood Light
Ceiling | 40 | 2900 | 72.5 |  |  | 99.77 | https://www.homelectrical.com/40w-32-led-decorative-ceiling-fixture-dimmable-3000k.gbx-dcro34mv930ns.1.html | GlobaLux 40W 32" LED Decorative Ceiling Fixture, Dimmable, 3000K
Ceiling | 34 | 2700 | 79.4118 |  |  | 65.92 | https://www.homelectrical.com/34w-19-led-ceiling-cloud-wacrylic-lens-dimmable-4000k.gbx-gcc1934mv940.1.html | GlobaLux 34W 19" LED Ceiling Cloud w/Acrylic lens, Dimmable, 4000K
Wall | 36 | 3000 | 83.3333 |  |  | 84.99 | https://megadepot.com/product/honeywell-ma0121-3000-lumen-led-security-light | Honeywell, MA0121 3000-Lumen LED Security Light
Wall | 35 | 3000 | 85.7143 |  |  | 84.19 | https://www.jgisupply.com/enviroliter-led-dusk-to-dawn-single-head-outdoor-wall-flood-light-gray-integrated-led-included.html | ENVIROLITE® LED DUSK TO DAWN SINGLE-HEAD OUTDOOR WALL FLOOD LIGHT, GRAY, INTEGRATED LED INCLUDED
Wall | 10 | 700 | 70 |  | ES | 59.99 | https://www.beeslighting.com/nuvo-led-wall-sconce/p/62-1142 | Nuvo Lighting - LED Wall Sconce - Up light/Down light - 700 Lumens - 10 Watts - 3000K - Black - 62-1142
Wall | 10 | 700 | 70 |  | ES | 59.99 | https://www.beeslighting.com/nuvo-led-wall-sconce/p/62-1145 | Nuvo Lighting - LED Wall Sconce - Up light/Down light - 700 Lumens - 10 Watts - 3000K - Bronze - 62-1145
Wall | 12 | 919 | 76.5833 |  | ES | 63 | https://www.beeslighting.com/progress-lighting-led-cylinder/p/P563000-143-30K | 12 Watts - 919 Lumens - LED - 3 inches - Cylinder - Wall Mount - Graphite Finish - Wet Location - 3000K - Progress Lighting P563000-143-30K
Wall | 12 | 917 | 76.4167 |  | ES | 63 | https://www.beeslighting.com/progress-lighting-led-cylinder/p/P563000-147-30K | 12 Watts - 917 Lumens - LED - 3 inches - Cylinder - Wall Mount - Satin Nickel Finish - Wet Location - 3000K - Progress Lighting P563000-147-30K
Wall | 20 | 1400 | 70 |  | ES | 79.99 | https://www.beeslighting.com/nuvo-led-wall-sconce/p/62-1146 | Nuvo Lighting - LED Wall Sconce - Up light/Down light - 1400 Lumens - 20 Watts - 3000K - Bronze - 62-1146
Wall | 20 | 1400 | 70 |  | ES | 79.99 | https://www.beeslighting.com/nuvo-led-wall-sconce/p/62-1144 | Nuvo Lighting - LED Wall Sconce - Up light/Down light - 1400 Lumens - 20 Watts - 3000K - Black - 62-1144
Wall | 12 | 936 | 78 |  | ES | 63 | https://www.beeslighting.com/progress-led-wall-lantern/p/P560090-082-30K | LED Wall Lantern - 12 Watt - 936 Lumens - 3000K - Metallic Gray - Progress Lighting P560090-082-30K
Wall | 12 | 912 | 76 |  | ES | 63 | https://www.beeslighting.com/progress-led-wall-lantern/p/P560090-031-30K | LED Wall Lantern - 12 Watt - 912 Lumens - 3000K - Black Finish - Progress Lighting P560090-031-30K
Ceiling | 24 | 1600 | 66.6667 |  | ES | 117.96 | https://www.1000bulbs.com/product/171484/LITH-0074.html | Lithonia FMSATL 16 20830 BZA M4 - LED Fixture
Ceiling | 16 | 1100 | 68.75 | 100 | ES | 92.54 | https://www.1000bulbs.com/product/171479/LITH-0072.html | Lithonia FMSATL 13 14830 BZA M4 - LED Fixture
Ceiling | 9 | 642 | 71.3333 |  | ES | 37.47 | https://www.1000bulbs.com/product/171475/LITH-0081.html | Lithonia FMML 7 840 WL DDBT M6 - LED Flush Fixture
Ceiling | 9 | 642 | 71.3333 |  | ES | 38.81 | https://www.1000bulbs.com/product/171476/LITH-0086.html | Lithonia FMML 7 830 WL DDBT M6 - LED Flush Fixture
Wall | 12 | 1300 | 108.3333 |  | ES | 86.5 | https://www.beeslighting.com/maxlite-led-security-light/p/SEC12U50BPC12 | MaxLite SEC12U50BPC12 - 12 Watts - LED Wall Pack - 1300 Lumens - 70W MH Equal - Dusk to Dawn - 5000K - Photocell - 7658
Wall | 30 | 4000 | 133.3333 |  | ES | 103.2 | https://www.beeslighting.com/lithonia-led-dusk-to-dawn/p/TDD-LED-P1-40K-120-PE-DNA-M4 | Lithonia TDD LED P1 40K 120 PE DNA M4 - 30 Watts - LED Area Light - 4000 Lumens - 100W MH Equal - Dusk-to-Dawn - 4000K - Photocell
Wall | 8 | 600 | 75 | 60 | ES | 49.97 | https://www.homedepot.com/p/Hampton-Bay-Black-Motion-Sensor-Outdoor-Integrated-LED-Small-Wall-Mount-Lantern-IZD1691LS-3/300088815 | Black Motion Sensor Outdoor Integrated LED Small Wall Mount Lantern
Wall | 9 | 407 | 45.2222 | 60 | ES | 49.97 | https://www.homedepot.com/p/Home-Decorators-Collection-Summit-Ridge-Collection-Zinc-Outdoor-Integrated-LED-Small-Wall-Mount-Lantern-CQH1691LS/300088816 | Summit Ridge Collection Zinc Outdoor Integrated LED Small Wall Mount Lantern
Wall | 11 | 520 | 47.2727 | 60 | ES | 49.97 | https://www.homedepot.com/p/Hampton-Bay-Outdoor-Oil-Rubbed-Bronze-LED-Wall-Lantern-IMS1691L/205399900 | Outdoor Oil-Rubbed Bronze LED Wall Lantern
Wall | 8 | 381 | 47.625 |  | ES | 59.97 | https://www.homedepot.com/p/Home-Decorators-Collection-Summit-Ridge-Collection-Zinc-Motion-Sensor-Outdoor-Integrated-LED-Small-Wall-Mount-Lantern-CQH1691LS-2/300088951 | Summit Ridge Collection Zinc Motion Sensor Outdoor Integrated LED Small Wall Mount Lantern

## 2018 Base Fixtures
Lamp | Type | Watts | Lumens | LPW | Equivalent | LED Est Wattage | Price | Address | Description
Fluorescent | Wall | 13 |  | 0 | 6.5 |  | 13.72 | https://www.homedepot.com/p/Lithonia-Lighting-White-Outdoor-Fluorescent-Wall-Mount-Contemporary-Light-OSWC-13F-120-P-LP-WH-M4/202193122 | White Outdoor Fluorescent Wall-Mount Contemporary Light
Fluorescent | Wall | 13 |  | 0 | 6.5 |  | 15.99 | https://www.homedepot.com/p/Halo-13-Watt-Bronze-Outdoor-Fluorescent-Entry-Light-Sconce-with-Dusk-to-Dawn-Photocell-Sensor-FE13PC/205338565 | 13-Watt Bronze Outdoor Fluorescent Entry Light Sconce with Dusk to Dawn Photocell Sensor
Fluorescent | Wall | 26 |  | 0 | 13 |  | 28.33 | https://www.homedepot.com/p/All-Pro-26-Watt-White-Outdoor-Fluorescent-Wall-Pack-Light-with-Dusk-to-Dawn-Photocell-Sensor-FW26PCIW/206862632 | 26-Watt White Outdoor Fluorescent Wall Pack Light with Dusk to Dawn Photocell Sensor
Fluorescent | Wall | 42 |  | 0 | 21 |  | 44.97 | https://www.homedepot.com/p/Lithonia-Lighting-Wall-Mount-Outdoor-White-Fluorescent-Light-Mini-Pack-OWP3-42F-120-P-LP-WH-M4/202193123 | Wall-Mount Outdoor White Fluorescent Light Mini Pack
Fluorescent | Wall | 100 |  | 0 | 50 |  | 37.82 | https://www.homedepot.com/p/Y-Decor-Lora-1-Light-Galvanized-Finish-Outdoor-Wall-Mount-Sconce-EL0523S9/301904170 | Lora 1-Light Galvanized Finish Outdoor Wall Mount Sconce
Fluorescent | Wall | 100 |  | 0 | 50 |  | 57.6 | https://www.homedepot.com/p/Sea-Gull-Lighting-Prairie-Statement-1-Light-Antique-Bronze-Outdoor-Wall-Fixture-8408-71/203832604 | Prairie Statement 1-Light Antique Bronze Outdoor Wall Fixture
Fluorescent | Ceiling | 42 |  | 0 | 21 |  | 39 | https://www.homedepot.com/p/Designers-Edge-42-Watt-Bronze-Outdoor-Dusk-to-Dawn-Wall-Mount-Area-Light-with-Fluorescent-Bulb-L1795BZ/204667673 | 42-Watt Bronze Outdoor Dusk to Dawn Wall Mount Area Light with Fluorescent Bulb
Fluorescent | Ceiling | 13 |  | 0 | 6.5 |  | 41.99 | https://www.homedepot.com/p/Sunset-Lacovelli-1-Light-Black-Outdoor-Flush-Mount-F4343-31/205522189 | Lacovelli 1-Light Black Outdoor Flush Mount
Fluorescent | Ceiling | 65 |  | 0 | 32.5 |  | 39.97 | https://www.homedepot.com/p/Halo-65-Watt-Aluminum-Fluorescent-Outdoor-Security-Area-Light-with-Dusk-to-Dawn-Photocell-Sensor-AL6501FLH/300975478 | 65-Watt Aluminum Fluorescent Outdoor Security Area Light with Dusk to Dawn Photocell Sensor
Fluorescent | Ceiling | 13 |  | 0 | 6.5 |  | 48.4 | https://www.homedepot.com/p/Aspects-Multi-Use-1-Light-Outdoor-White-Utility-Fluorescent-Flushmount-Fixture-TPFW113WHPLT/203499288 | Multi-Use 1-Light Outdoor White Utility Fluorescent Flushmount Fixture
Fluorescent | Wall | 26 |  | 0 | 13 |  | 28.32 | https://www.lowes.com/pd/All-Pro-1-Head-White-Fluorescent-Wall-Pack-Light/1000042385 | All-Pro 1-Head White Fluorescent Wall Pack Light
Fluorescent | Wall | 60 |  | 0 | 30 |  | 37.14 | https://www.amazon.com/Artcraft-Lighting-Small-Round-Sconce/dp/B004AYE1CU/ref=sr_1_8 | Artcraft Lighting Small Round Wall Sconce Light, Black
Fluorescent | Wall | 80 |  | 0 | 40 |  | 50.9 | https://www.amazon.com/Industrial-Gooseneck-Vintage-Farmhouse-Waterproof/dp/B07FNS78DM/ref=sr_1_17 | Industrial Wind Wall Light Gooseneck Barn Lights Industrial Vintage Farmhouse Wall Lamp Waterproof Outdoor Light E27 Lamp Head
Fluorescent | Wall | 72 |  | 0 | 36 |  | 49.99 | https://www.amazon.com/Urban-Barn-Bronze-Indoor-Outdoor-Light/dp/B009NS7HHO/ref=pd_sbs_60_2 | Urban Barn 11 1/4" High Bronze Indoor-Outdoor Wall Light
Fluorescent | Ceiling | 60 |  | 0 | 30 |  | 38.55 | https://www.amazon.com/Industrial-Ceiling-Mounted-Lighting-Bathroom/dp/B074QMQSX3/ref=pd_sim_60_2 | KingSo Industrial Metal Cage Ceiling Light, E26 Rustic Mini Semi Flush Mounted Pendant Lighting Dome/Bowl Shaped Lamp Fixture for Country Hallway Kitchen Garage Porch Bathroom
Halogen | Wall | 100 |  | 0 | 16.6667 |  | 4.97 | https://www.homedepot.com/p/Hampton-Bay-1-Light-Matte-Black-Outdoor-Jelly-Jar-Wall-Light-WB0317/202021766 | 1-Light Matte Black Outdoor Jelly-Jar Wall Light
Halogen | Wall | 100 |  | 0 | 16.6667 |  | 6.05 | https://www.homedepot.com/p/Westinghouse-1-Light-White-Steel-Exterior-Jelly-Jar-Wall-Lantern-with-Clear-Glass-6687800/204705296 | 1-Light White Steel Exterior Jelly Jar Wall Lantern with Clear Glass
Halogen | Wall | 60 |  | 0 | 10 |  | 7.91 | https://www.homedepot.com/p/Design-House-Black-Outdoor-Wall-Mount-Jelly-Jar-Wall-Light-502195/202636903 | Black Outdoor Wall-Mount Jelly Jar Wall Light
Halogen | Wall | 75 |  | 0 | 12.5 |  | 9.69 | https://www.homedepot.com/p/Thomas-Lighting-Park-Avenue-1-Light-Black-Outdoor-Wall-Mount-Lantern-SL7157/204397993 | Park Avenue 1-Light Black Outdoor Wall-Mount Lantern
Halogen | Wall | 75 |  | 0 | 12.5 |  | 10.8 | https://www.homedepot.com/p/Progress-Lighting-1-Light-Outdoor-White-Wall-Lantern-P5602-30/202599688 | 1-Light Outdoor White Wall Lantern
Halogen | Ceiling | 200 |  | 0 | 33.3333 |  | 34.07 | https://www.amazon.com/Sunlite-VT200-5-5-Inch-Outdoor-Metallic/dp/B004WSNUJE/ref=sr_1_40 | Sunlite VT200 5.5-Inch 200 Watt Vapor Proof Vandal Proof Outdoor Fixture, Metallic Finish Clear Glass
Halogen | Ceiling | 150 |  | 0 | 25 |  | 26.79 | https://www.amazon.com/Woods-L1706CH-Resistant-Incandescent-Security/dp/B010PTLICO/ref=sr_1_1 | Woods L1706CH Vandal Resistant 150W Incandescent Security Light, Ceiling Mount, Chrome
Halogen | Ceiling | 100 |  | 0 | 16.6667 |  | 18.35 | https://www.amazon.com/All-Pro-VT100G-Vapor-Incandescent-Floodlight/dp/B000HJBE4U/ref=sr_1_6 | All-Pro VT100G 100W Vapor Tight Incandescent Floodlight ,Gray
Halogen | Wall | 200 |  | 0 | 33.3333 |  | 70.4 | https://www.amazon.com/Minka-Lavery-Lighting-5942-126-Reversible/dp/B019ZDLLP0/ref=sr_1_11
Halogen | Wall | 100 |  | 0 | 16.6667 |  | 34.91 | https://www.amazon.com/Decor-EL0523ORB-1-Light-Outdoor-Wall-Light/dp/B01N8SLVNH/ref=pd_sbs_60_7 | Y Decor EL0523ORB Lora 1-Light Oil Rubbed Bronze Outdoor Wall-Light
Halogen | Ceiling | 60 |  | 0 | 10 |  | 18.07 | https://www.amazon.com/dp/B00W98NTSG/ref=psdc_3736681_t1_B074QMQSX3 | Design House 519694 Ajax 1 Light Ceiling Light, Bronze
Halogen | Ceiling | 150 |  | 0 | 25 |  | 31.01 | https://www.amazon.com/Woods-L1706BLK-Resistant-Incandescent-Security/dp/B010PTLG9Y/ref=sr_1_31 | Woods L1706BLK Vandal Resistant 150W Incandescent Security Light, Ceiling Mount, Hammered Black
Halogen | Ceiling | 180 |  | 0 | 30 |  | 52 | https://www.amazon.com/Craftmade-Z433-07-Outdoor-Beveled-Shades/dp/B00ECU02PW/ref=sr_1_23 | Craftmade Z433-07 Outdoor Flush Mount Light with Beveled Glass Shades, Rust Finish
Halogen | Wall | 60 |  | 0 | 10 |  | 23.74 | https://www.amazon.com/Outdoor-Security-Lighting-Mounted-Activated/dp/B01HVBQ3V0/ref=sr_1_30 | Outdoor Security Lighting Wall Mounted Brinks Jelly Jar Dusk To Dawn Activated, Matte Black
Halogen | Ceiling | 120 |  | 0 | 20 |  | 55.95 | https://www.amazon.com/Minka-Lavery-Outdoor-Lighting-71174-91/dp/B01I9D0EEG/ref=sr_1_69 | Minka Lavery Outdoor Ceiling Lighting 71174-91, Flush Mount, 120 Watts, Bronze
Halogen | Ceiling | 180 |  | 0 | 30 |  | 52 | https://www.amazon.com/Craftmade-Z433-07-Outdoor-Beveled-Shades/dp/B00ECU02PW/ref=pd_sbs_60_1 | Craftmade Z433-07 Outdoor Flush Mount Light with Beveled Glass Shades, Rust Finish
Row Labels | Average of Price
Fluorescent | 38.1793 |  | Fluorescent | 38.1793
13 | 30.025 |  | 13 | 30.025
26 | 28.325 |  | 26 | 28.325
42 | 41.985 |  | 42 | 41.985
60 | 37.845 |  | 60 | 37.845
65 | 39.97 |  | 65 | 39.97
72 | 49.99 |  | 72 | 49.99
80 | 50.9 |  | 80 | 50.9
100 | 47.71 |  | 100 | 47.71
Halogen | 28.5444 |  | Halogen | 28.5444
60 | 16.5733 |  | 60 | 16.5733
75 | 10.245 |  | 75 | 10.245
100 | 16.07 |  | 100 | 16.07
120 | 55.95 |  | 120 | 55.95
150 | 28.9 |  | 150 | 28.9
180 | 52 |  | 180 | 52
200 | 52.235 |  | 200 | 52.235
Grand Total | 33.2065

## Sheet2
Type | Watts | Lumens | LPW | Equivalent | Listing | Price | Address | Description
Post | 13 | 1040 |  |  |  | 41.43 | https://www.lightingsupply.com/rab-les13.aspx?gclid=CjwKCAjwjIHeBRAnEiwAhYT2h2LuJ1Gc8eWnTc7wUxBwMsAiukzEf7wsWq8teDibZjtYrgpVtxn2CxoCP6kQAvD_BwE | RAB LESLIE BULLET FLOOD 13W LED 120V 5000K 80 CRI BRONZE (LES13)
Post | 10 | 800 |  |  | ES | 128.7 | https://www.kichlerlightingexperts.com/lighting/4-11-160-0-732873/Kichler-Lighting_Barrie---18--10W-1-LED-Outdoor-Post-Lantern-49187BKL18.htm?CAWELAID=230004010006615458&CAGPSPN=pla&CAAGID=22815308166&CATCI=pla-284313672955&utm_source=google&campaignid=344356566&adgroupid=22815308166&adposition=1o1&keyword=&network=g&matchtype=&device=c&devicemodel=&source=googleshopping&kw=KichlerDedicated-PLA_147;Kichler-allItems&ac=&gclid=CjwKCAjwjIHeBRAnEiwAhYT2h4i31rgFSszU2MAmj3lASyn6v3iPQb2OEkw0TlMpTgOkq8uRrSMUlRoC0TYQAvD_BwE | Kichler Lighting - 4918718 - Barrie - 18" 10W 1 LED Outdoor Post Lantern
Post | 9 | 750 |  |  | ES | 195.5 | https://www.affordablelamps.com/sgl-8211701en-746.html?gclid=CjwKCAjwjIHeBRAnEiwAhYT2h2WKZBeftKBp1_41wPL_MZVioKQH8zkQARMrEnLa_r8rC6jwmU0xBhoCcJkQAvD_BwE | Seagull 8211701EN-746 Hamilton Heights Oxford Bronze LED Exterior Post Lighting
Post | 17 | 1070 |  |  |  | 207 | https://www.progresslightingexperts.com/lighting/4-11-108-0-462590/Progress_Arrive---15.88--17W-1-LED-1-Outdoor-Post-Lantern-P6427-3130K9.htm | Progress Lighting - P6427-3130K9 - Arrive - 15.88" 17W 1 LED 1 Outdoor Post Lantern
Post | 10 | 800 |  |  |  | 128.7 | https://www.build.com/kichler-49187led/s1514199 | Kichler 49187BKL18
Ceiling | 27 | 2250 |  |  | ES | 176.8 | https://www.affordablelamps.com/sgl-7811703en-746.html | Seagull 7811703EN-746 Hamilton Heights Oxford Bronze LED Exterior Overhead Lighting