## Material Cost (Screen Shots) (hidden)
Average Material Cost | 87.3283
Est Shipping Cost | 25
Est Tax | 7.4229
Total Material Cost | 119.7512
Total Measure Cost | 174.7512
Equipment Type/ Description | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
38 Watt - 4600 Lumens - 2x4 - LED Recessed Troffer | Lithonia 2BLT4 46L ADP LP835 | 123.97 | http://www.beeslighting.com/product-p/2blt4-46l-adp-lp835.htm
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
60
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
70
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
80
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
90
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
100
Add Screen Shot
Equipment Type | Manufacturer/Model | Cost | Source (URL, Resource, Etc)
Add Screen Shot

## Material Cost (many links)
Solution Code | Measure-Baseline Capacitiy / UEF | Equipment Type/Description | Manufacturer | Cost | Labor cost | Total Cost | Link
WH-19955, WH-19957, WH-19959 | 50 Gal 3.09 UEF | 5925050 GAL 3.24 EF Heat Pump Water Heater | Kenmore | 1559.99 | 330.76 | 1890.75 | http://www.sears.com/kenmore-elite-50-gallon-hybrid-electric-water-heater/p-04259250000P?intcmp=ken-pdp-buy-cta
WH-19955, WH-19957, WH-19959 | 50 Gal 3.09 UEF | HP10-50H45DV50 GAL 3.24 EF Heat Pump Water Heater | A. O. Smith | 1199 | 330.76 | 1529.76 | https://www.lowes.com/pd/A-O-Smith-Signature-Premier-50-Gallon-10-Year-Limited-Tall-Electric-Water-Heater-with-Hybrid-Heat-Pump/1000213655
WH-19955, WH-19957, WH-19959 | 50 Gal 3.09 UEF | GEH50DFEJSR50 GAL 3.25 EF Heat Pump Water Heater | GE | 1399 | 330.76 | 1729.76 | http://products.geappliances.com/appliance/gea-specs/GEH50DFEJSR
WH-19955, WH-19957, WH-19959 | 50 Gal 3.09 UEF | 10 50 DHPHT NE50 GAL 3.24 EF Heat Pump Water Heater | Reliance | 1199 | 330.76 | 1529.76 | http://www.abt.com/product/108969/Reliance-50-Gallon-Tall-Hybrid-Electric-Heat-Pump-Water-Heater-1050DHPHTNE.html
WH-19956, WH-19958, WH-19960 | 50 Gal 3.31 UEF | PROPH50 T2 RH350 D50 GAL 3.5 EF Heat Pump Water Heater | Rheem | 1199 | 330.76 | 1529.76 | http://www.homedepot.com/p/Rheem-Performance-Platinum-50-Gal-10-Year-Hybrid-High-Efficiency-Electric-Tank-Water-Heater-XE50T10HD50U0/300620237
WH-19961 | 65 Gal 3.31 UEF | PROPH65 T2 RH350 D65 GAL 3.5 EF Heat Pump Water Heater | Rheem | 1699 | 348.41 | 2047.41 | http://www.homedepot.com/p/Rheem-Performance-Platinum-65-Gal-10-Year-Hybrid-High-Efficiency-Electric-Tank-Water-Heater-XE65T10HD50U0/300620285
WH-19962 | 80 Gal 3.31 UEF | PROPH80 T2 RH350 D80 GAL 3.5 EF Heat Pump Water Heater | Rheem | 1899 | 374.87 | 2273.87 | http://www.homedepot.com/p/Rheem-Performance-Platinum-80-Gal-10-Year-Hybrid-High-Efficiency-Electric-Tank-Water-Heater-XE80T10HD50U0/300620269
WH-19961 Baseline | 65 Gal 2.91 UEF | HPTU-66N66 GAL 3.17 EF Heat Pump Water Heater | A. O. Smith | 1599 | 348.41 | 1947.41 | https://www.ecomfort.com/A.O.-Smith-HPTU-66N/p72556.html
WH-19962 Baseline | 80 Gal 3.00 UEF | 6 80 DHPHT80 GAL 3.07 EF Heat Pump Water Heater | Reliance | 1799.99 | 374.87 | 2174.86 | http://www.acehardware.com/product/index.jsp?productId=67659356&KPID=21767400&cid=CAPLA:G:Shopping_-_Water_Heaters_-_New&pla=pla_21767400&k_clickid=9863339f-ec71-4e16-9cc1-4567c509e1a5
WH-19962 Baseline | 80 Gal 3.00 UEF | R2H80R10B80 GAL 3.1 EF Heat Pump Water Heater | Bradford White | 1721.25 | 374.87 | 2096.12 | https://www.plumbersstock.com/bradford-white-re2h80r10b-1ncwt-80-gallon-electric-water-heater-240v.html?utm_source=google&utm_medium=cpc&adpos=1o3&scid=scplp517134&sc_intid=517134&gclid=Cj0KCQjw8vnMBRDgARIsACm_BhJBoBBS4eEBdjiDTLPRBzFCSaAL54njL7DSkHrG127Tzxh2gB6PpakaAjX9EALw_wcB
WH-19955, WH-19956 baselines | 30 Gal, .92 UEF | Small Electric Storage Water Heater 30 Gal, EF = 0.95, Recov Eff = 0.98 lte 12kw | NA | 566.57 | 295.47 | 862.04 | W017, Appendix F.1 Page 12
WH-19957, WH-19958 baselines | 40 Gal, .92 UEF | High Efficiency Small Electric Storage Water Heater ‐ 40 Gal , 0.94 EF lte 12kW | NA | 626.01 | 313.12 | 939.13 | W017, Appendix F.1 Page 12
WH-19959, WH-19960 baselines | 50 Gal, .92 UEF | High Efficiency Small Electric Storage Water Heater ‐ 50 Gal , 0.93 EF lte 12kW | NA | 685.46 | 330.76 | 1016.22 | W017, Appendix F.1 Page 12

## Cost Tables
Solution Code | BASE MeasureCostID | Material | Labor | Total
WH-19955 | Stor_EF-Elec-030gal-0.95EF | 566.57 | 295.47 | 862.04
WH-19956 | Stor_EF-Elec-030gal-0.95EF | 566.57 | 295.47 | 862.04
WH-19957 | Stor_EF-Elec-040gal-0.94EF | 626.01 | 313.12 | 939.13
WH-19958 | Stor_EF-Elec-040gal-0.94EF | 626.01 | 313.12 | 939.13
WH-19959 | Stor_EF-Elec-040gal-0.94EF | 685.46 | 330.76 | 1016.22
WH-19960 | Stor_EF-Elec-040gal-0.94EF | 685.46 | 330.76 | 1016.22
WH-19961 | SCE17WH001_00_B001 | 1599 | 348.41 | 1947.41
WH-19962 | SCE17WH001_00_B002 | 1760.62 | 374.87 | 2135.49
Solution Code | Measure CostID | Material | Labor | Total
WH-19955 | SCE17WH001_00_M001 | 1339.2475 | 330.76 | 1670.0075
WH-19956 | SCE17WH001_00_M002 | 1199 | 330.76 | 1529.76
WH-19957 | SCE17WH001_00_M001 | 1339.2475 | 330.76 | 1670.0075
WH-19958 | SCE17WH001_00_M002 | 1199 | 330.76 | 1529.76
WH-19959 | SCE17WH001_00_M001 | 1339.2475 | 330.76 | 1670.0075
WH-19960 | SCE17WH001_00_M002 | 1199 | 330.76 | 1529.76
WH-19961 | SCE17WH001_00_M003 | 1699 | 348.41 | 2047.41
WH-19962 | SCE17WH001_00_M004 | 1899 | 374.87 | 2273.87
[5 empty] | Measure | Installation Type | Incremental Measure Cost | Full Measure Cost
[8 empty] | 1st Baseline | 2nd Baseline
[5 empty] | WH-19955 | ROB | 807.9675 | 807.9675 | N/A
[5 empty] | WH-19956 | ROB | 667.72 | 667.72 | N/A
[5 empty] | WH-19957 | ROB | 730.8775 | 730.8775 | N/A
[5 empty] | WH-19958 | ROB | 590.63 | 590.63 | N/A
[5 empty] | WH-19959 | ROB | 653.7875 | 653.7875 | N/A
[5 empty] | WH-19960 | ROB | 513.54 | 513.54 | N/A
[5 empty] | WH-19961 | ROB | 100 | 100 | N/A
[5 empty] | WH-19962 | ROB | 138.38 | 138.38 | N/A

## Labor Costs (hidden)
Total Labor Cost | 55
Misc. Labor Factor | 100%
*Note No RS Means Labor Factor is Included
Labor Desciption | Source | Cost
Install Recessed Troffer | RS Means Electrical 2015 - xx.xxx.xx | 55
Screen Shot/Scan