## Pumps w VFD
Date | Equipment | HP | Cost | Labor | Misc | Permit | Total | Source | Note
2016-09-16 | Pentair Intelliflo Variable Speed & SVRS | 3 | 1250 | 250 |  |  | 1600 | Installed Project | Please see the "Installed Project" tab for more details.
| Hayward HCP3400VSP EcoStar C Variable Speed Commercial Pool Pump | 3 | 1299 | 250 |  |  | 1652.92 | Online Retailer | See screenshot and source link below
| Pentair 022005 IntelliFloXF Variable Speed Pool Pump | 3 | 1169.99 | 250 |  |  | 1513.5892 | Online Retailer | See screenshot and source link below
| Sta-Rite IntelliPro 3HP Ultra Energy Efficient VS+SVRS Pool Pump | 3 | 1094.07 | 250 |  |  | 1431.5956 | Online Retailer | See screenshot and source link below
[5 empty] | Average |  | 1549.5262
[6 empty] | Material Price | 1299.5262
Online retailers
http://www.yourpoolhq.com/hayward-hcp3400vsp-ecostar-c-pump.html
http://www.yourpoolhq.com/pentair-022005-intellifloxf-pump.html
https://www.poolsupplyunlimited.com/sta-rite-intellipro-p6e6xs4h-209l-pool-pump/96186p1

## Base Cost
Single Speed Pool Pump Base Case Cost
Number | Name | Cost | Reference
1 | Pentair Challenger 3HP High Pressure Energy Efficient Pool Pump Full Rated 208V 230V ¦ 345209 | 820.3 | https://www.poolsupplyunlimited.com/pentair-345209-pool-pump/69411p1
2 | Pentair WhisperFloXF 3HP Standard Efficiency Pool Pump 208-230V ¦ XF-12 ¦ 022013 | 837.21 | https://www.poolsupplyunlimited.com/Pentair022013WhisperFloXF3HPPoolPump208230VXF12/136091p1?gclid=CJbby7uJ38wCFZNgfgod_9cKBQ
3 | Sta-Rite Max-E-Pro 3HP Energy Efficient Full Rated Pool Pump 230V ¦ P6E6H-209L | 781.8 | https://www.poolsupplyunlimited.com/StaRiteP6E6H209LPoolPump/96610p1?gclid=CPiHudOJ38wCFYqPfgodcEYHLA
4 | Pentair WhisperFloXF 3 HP Pump 022013 | 819.95 | http://www.sunplay.com/pentair-whisperfloxf-pump-022013?gclid=CKnc8vmJ38wCFYqPfgodNVEHKQ
5 | Jandy Stealth 3 HP Pump SHPF3.0 | 839.95 | http://www.sunplay.com/jandy-stealth-pump-shpf30
6 | Sta-Rite Max-E-Pro 3HP Energy Efficient Full Rated Pool Pump 230V ¦ P6E6H-209L | 787 | https://www.activepoolsupply.com/product/sta-rite-max-e-pro-3hp-energy-efficient-full-rated-pool-pump-230v--p6e6h-209l/39908
7 | Pentair Whisperflo 3HP Energy Efficient Pool Pump 208V 230V ¦ WFE-12 011516 | 772.66 | https://www.activepoolsupply.com/product/pentair-whisperflo-3hp-energy-efficient-pool-pump-208v-230v--wfe-12-011516/33255
8 | Pentair WhisperfloXF High Performance 3HP Full Rated Energy Efficient Pool Pump 208V/230V ¦ XFE-12 022010 | 854.3 | https://www.activepoolsupply.com/product/pentair-whisperfloxf-high-performance-3hp-full-rated-energy-efficient-pool-pump-208vand230v--xfe-12-022010/48082
| Base Case Equipment Cost | 814.1463
| Tax (8%) | 8%
| Subtotal | 879.278
| Labor | 250
| Misc cost | 0
| Total | 1129.278
| Incremental Cost | 420.2483