## 2.5 GPM (Obsolete)
| Baseline Calculation | SF Code | Adjusted SF Code | MF Code | Adjusted MF Code |  | SF | SF
| Baseline Flow rate | 2.5 | 2.5 | 2.5 | 2.5 | gpm | gal per shower | 11.1549 | [5 empty] | SF |  | MF
| Average shower time | 7.4 | 7.4 | 7.4 | 7.4 | min | Shower per Shower head | 1.3881 | [5 empty] | CZ2010 Weather Files (weather files for 2013 Title-24) |  | CZ2010 Weather Files (weather files for 2013 Title-24)
| Number of showers taken per day per household | 2.79 | 2.79 | 2.22 | 2.22 | Showers/household/day | [8 empty] | Weighted Average |  | Weighted Average
| Throttling factor | 0.9 | 0.9 | 0.9 | 0.9 | - | MF | MF | [5 empty] | CZ01 | 51.3646 | CZ01 | 51.3646
| days/year | 365 | 365 | 365 | 365 | days/year | gal per shower | 11.6817 | [5 empty] | CZ02 | 57.2288 | CZ02 | 57.2403
| Number of showerheads per household | 2.01 | 2.01 | 1.5 | 1.5 | showerhead/household | Shower per Shower head | 1.48 | [5 empty] | CZ03 | 57.0186 | CZ03 | 57.0254
| Baseline Water consumption | 8435.5858 | 5651.5478 | 8994.33 | 6310.4444 | Gallons / showerhead / year | [7 empty] | CZ04 | 59.4336 | CZ04 | 59.447
| Mixed water daily use for shower | 46.4535 | 31.1222 | 36.963 | 25.9333 | Gallons / household / day | [7 empty] | CZ05 | 55.8092 | CZ05 | 55.811
| Hot water daily use for shower | 29.2657 | 19.607 | 23.2867 | 14.7042 | [8 empty] | CZ06 | 61.7076 | CZ06 | 61.6837
|  | SF | [5 empty] | MF | [5 empty] | CZ07 | 62.5178 | CZ07 | 62.5011
| Measure Calculation | SF 1.5 gpm | Adjusted SF 1.5 gpm | SF 1.6 gpm | Adjusted SF 1.6 gpm | SF 1.7 gpm | Adjusted SF 1.7 gpm | MF 1.5 gpm | Adjusted MF 1.5 gpm | MF 1.6 gpm | Adjusted MF 1.6 gpm | MF 1.7 gpm | Adjusted MF 1.7 gpm | CZ08 | 63.6817 | CZ08 | 63.6515
| Low Flow rate | 1.5 | 1.5 | 1.6 | 1.6 | 1.7 | 1.7 | 1.5 | 1.5 | 1.6 | 1.6 | 1.7 | 1.7 | CZ09 | 63.7364 | CZ09 | 63.6927
| Average shower time | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | CZ10 | 64.0343 | CZ10 | 63.9736
| Number of showers taken per day per household | 2.79 | 2.79 | 2.79 | 2.79 | 2.79 | 2.79 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22 | CZ11 | 62.8496 | CZ11 | 62.669
| Throttling factor | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | CZ12 | 60.7242 | CZ12 | 60.6423
| days/year | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | CZ13 | 63.7666 | CZ13 | 63.59
| Number of showerheads per household | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | CZ14 | 62.3237 | CZ14 | 62.1432
| Measure Water consumption | 5061.3515 | 3390.9287 | 5398.7749 | 3616.9906 | 5736.1984 | 3843.0525 | 5396.598 | 3786.2667 | 5756.3712 | 4038.6844 | 6116.1444 | 4291.1022 | CZ15 | 74.9412 | CZ15 | 74.6235
| Mixed water daily use for shower | 27.8721 | 18.6733 | 29.7302 | 19.9182 | 31.5884 | 21.1631 | 22.1778 | 15.56 | 23.6563 | 16.5973 | 25.1348 | 17.6347 | CZ16 | 51.5716 | CZ16 | 51.4844
|  | SF Water Savings |  |  | MF Water Savings |  |  | SF Water Savings |  | MF Water Savings
|  | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.25 | 1 | 1.25 | 1
| 2.5 gpm Baseline Avg | 2260.6191 | 2034.5572 | 1808.4953 | 2524.1778 | 2271.76 | 2019.3422 | 2825.7739 | 3390.9287 | 3155.2222 | 3786.2667
|  | Water volume conversion | Water density @ 60°F | Cp of water | Cold water temperature | water temp @ showerhead | Water heater min. efficiency
|  | 7.481 | 62.37 | 1 | - | 106 | 0.77
|  | gal / ft3 | lbm / ft3 | btu / lbm / °F | ° F | ° F | unitless
Annual Consumption and GPM adjustment
NEW | Therms Saved | SF |  |  | MF |  |  |  | flow rate (GPM) | SF (Gal/day) | MF (Gal/day) | Annual SF Volume(Gal) | Annual MF Volume(Gal)
| Baseline SCG - 2.5 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm |  | 2.5 | 31.1222 | 25.9333 | 5651.5478 | 6310.4444
| 1 | 13.3729 | 12.0357 | 10.6984 | 14.9321 | 13.4388 | 11.9456 |  | 2.25 | 28.01 | 23.34 | 5086.393 | 5679.4
| 2 | 11.9376 | 10.7438 | 9.5501 | 13.3262 | 11.9936 | 10.6609 |  | 2 | 24.8978 | 20.7467 | 4521.2383 | 5048.3556
| 3 | 11.989 | 10.7901 | 9.5912 | 13.3849 | 12.0464 | 10.7079 |  | 1.8 | 22.408 | 18.672 | 4069.1144 | 4543.52
| 4 | 11.3979 | 10.2581 | 9.1183 | 12.7231 | 11.4508 | 10.1785 |  | 1.7 | 21.1631 | 17.6347 | 3843.0525 | 4291.1022
| 5 | 12.285 | 11.0565 | 9.828 | 13.7168 | 12.3451 | 10.9735 |  | 1.6 | 19.9182 | 16.5973 | 3616.9906 | 4038.6844
| 6 | 10.8413 | 9.7572 | 8.673 | 12.1118 | 10.9006 | 9.6894 |  | 1.5 | 18.6733 | 15.56 | 3390.9287 | 3786.2667
| 7 | 10.643 | 9.5787 | 8.5144 | 11.8884 | 10.6996 | 9.5107 |  | 1.25 | 15.5611 | 12.9667 | 2825.7739 | 3155.2222
| 8 | 10.3581 | 9.3223 | 8.2865 | 11.574 | 10.4166 | 9.2592 |  | 1 | 12.4489 | 10.3733 | 2260.6191 | 2524.1778
| 9 | 10.3447 | 9.3103 | 8.2758 | 11.5627 | 10.4065 | 9.2502
| 10 | 10.2718 | 9.2446 | 8.2175 | 11.486 | 10.3374 | 9.1888
| 11 | 10.5618 | 9.5056 | 8.4494 | 11.8425 | 10.6583 | 9.474
| 12 | 11.082 | 9.9738 | 8.8656 | 12.3964 | 11.1568 | 9.9171
| 13 | 10.3374 | 9.3036 | 8.2699 | 11.5908 | 10.4317 | 9.2726
| 14 | 10.6905 | 9.6215 | 8.5524 | 11.9862 | 10.7876 | 9.589
| 15 | 7.6022 | 6.8419 | 6.0817 | 8.5753 | 7.7178 | 6.8602
| 16 | 13.3223 | 11.99 | 10.6578 | 14.8993 | 13.4094 | 11.9194
| Therms Saved | SF |  |  | MF
| Baseline SCG - 2.5 gpm | 1.25 gpm | 1.0 gpm |  | 1.25 gpm | 1.0 gpm
| 1 | 16.7162 | 20.0594 |  | 18.6651 | 22.3981
| 2 | 14.922 | 17.9064 |  | 16.6617 | 19.994
| 3 | 14.9863 | 17.9835 |  | 16.7335 | 20.0802
| 4 | 14.2474 | 17.0969 |  | 15.9085 | 19.0901
| 5 | 15.3563 | 18.4276 |  | 17.1466 | 20.576
| 6 | 13.5516 | 16.262 |  | 15.1316 | 18.1579
| 7 | 13.3038 | 15.9645 |  | 14.8548 | 17.8258
| 8 | 12.9477 | 15.5372 |  | 14.4572 | 17.3486
| 9 | 12.9309 | 15.5171 |  | 14.4385 | 17.3262
| 10 | 12.8398 | 15.4077 |  | 14.3367 | 17.2041
| 11 | 13.2022 | 15.8427 |  | 14.7414 | 17.6897
| 12 | 13.8525 | 16.623 |  | 15.4676 | 18.5611
| 13 | 12.9217 | 15.506 |  | 14.4282 | 17.3138
| 14 | 13.3631 | 16.0358 |  | 14.9211 | 17.9053
| 15 | 9.5027 | 11.4032 |  | 10.6106 | 12.7327
| 16 | 16.6528 | 19.9834 |  | 18.5943 | 22.3132

## RET therm saving
| Baseline Calculation | SF Code | SF Avg | Adjusted SF Avg | MF Code | MF Avg | Adjusted MF Avg |  |  |  | SF = Single Family
| Baseline Flow rate | 2.5 | 2.25 | 2.25 | 2.5 | 2.25 | 2.25 | gpm |  |  | MF = Multi Family |  |  |  | SF |  | MF
| Average shower time | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | min | [6 empty] | CZ2010 Weather Files (weather files for 2013 Title-24) |  | CZ2010 Weather Files (weather files for 2013 Title-24)
| Number of showers taken per day per household | 2.79 | 2.79 | 2.79 | 2.22 | 2.22 | 2.22 | Showers/household/day |  |  | Cold temp |  |  |  |  | Weighted Average |  | Weighted Average
| Throttling factor | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | - |  |  | Shower water temp | 105 |  |  | CZ01 | 51.3638 | CZ01 | 51.3638
| days/year | 365 | 365 | 365 | 365 | 365 | 365 | days/year |  |  | Hot temp | 130 |  |  | CZ02 | 57.2251 | CZ02 | 57.2375
| Number of showerheads per household | 2.01 | 2.01 | 2.01 | 1.5 | 1.5 | 1.5 | showerhead/household | [6 empty] | CZ03 | 57.0167 | CZ03 | 57.0239
| Baseline Water consumption | 8435.5858 | 7592.0272 | 5086.393 | 8994.33 | 8094.897 | 5679.4 | Gallons / showerhead / year | [6 empty] | CZ04 | 59.4291 | CZ04 | 59.4434
| Mixed water daily use for shower | 46.4535 | 41.8081 | 28.01 | 36.963 | 33.2667 | 23.34 | Gallons / household / day | [6 empty] | CZ05 | 55.8079 | CZ05 | 55.8098
| Hot water daily use for shower | 29.2657 | 26.3391 | 17.6463 | 23.2867 | 20.958 | 14.7042 | [7 empty] | CZ06 | 61.705 | CZ06 | 61.6791
|  | SF | [5 empty] | MF | [6 empty] | CZ07 | 62.5159 | CZ07 | 62.4979
RET | Measure Calculation | SF 1.5 gpm | Adjusted SF 1.5 gpm | SF 1.6 gpm | Adjusted SF 1.6 gpm | SF 1.7 gpm | Adjusted SF 1.7 gpm | MF 1.5 gpm | Adjusted MF 1.5 gpm | MF 1.6 gpm | Adjusted MF 1.6 gpm | MF 1.7 gpm | Adjusted MF 1.7 gpm |  | CZ08 | 63.6783 | CZ08 | 63.6456
2.25gpm | Low Flow rate | 1.5 | 1.5 | 1.6 | 1.6 | 1.7 | 1.7 | 1.5 | 1.5 | 1.6 | 1.6 | 1.7 | 1.7 |  | CZ09 | 63.7316 | CZ09 | 63.6842
| Average shower time | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 |  | CZ10 | 64.0275 | CZ10 | 63.9617
| Number of showers taken per day per household | 2.79 | 2.79 | 2.79 | 2.79 | 2.79 | 2.79 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22 |  | CZ11 | 62.8295 | CZ11 | 62.6337
| Throttling factor | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | CZ12 | 60.715 | CZ12 | 60.6264
| days/year | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 |  | CZ13 | 63.747 | CZ13 | 63.5555
| Number of showerheads per household | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 |  | CZ14 | 62.3036 | CZ14 | 62.108
| Measure Water consumption | 5061.3515 | 3390.9287 | 5398.7749 | 3616.9906 | 5736.1984 | 3843.0525 | 5396.598 | 3786.2667 | 5756.3712 | 4038.6844 | 6116.1444 | 4291.1022 |  | CZ15 | 74.9075 | CZ15 | 74.5576
| Mixed water daily use for shower | 27.8721 | 18.6733 | 29.7302 | 19.9182 | 31.5884 | 21.1631 | 22.1778 | 15.56 | 23.6563 | 16.5973 | 25.1348 | 17.6347 |  | CZ16 | 51.5617 | CZ16 | 51.4679
Hot water daily use for shower
|  | SF Water Savings |  |  | MF Water Savings |  |  | SF Water Savings |  | MF Water Savings
|  | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.25 | 1 | 1.25 | 1
| 2.25 gpm Baseline Avg | 1695.4643 | 1469.4024 | 1243.3405 | 1893.1333 | 1640.7156 | 1388.2978 | 2260.6191 | 2825.7739 | 2524.1778 | 3155.2222
Annual Consumption and GPM adjustment
RET | Therms Saved | SF |  |  | MF |  |  |  |  | flow rate (GPM) | SF (Gal/day) | MF (Gal/day) | Annual SF Volume(Gal) | Annual MF Volume(Gal)
| Baseline SCG - 2.25 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm |  |  | 2.5 | 31.1222 | 25.9333 | 5651.5478 | 6310.4444
| 1 | 10.0299 | 8.6925 | 7.3552 | 11.1992 | 9.706 | 8.2128 |  |  | 2.25 | 28.01 | 23.34 | 5086.393 | 5679.4
| 2 | 8.9539 | 7.76 | 6.5662 | 9.9952 | 8.6625 | 7.3298 |  |  | 2 | 24.8978 | 20.7467 | 4521.2383 | 5048.3556
| 3 | 8.9921 | 7.7932 | 6.5942 | 10.039 | 8.7005 | 7.3619 |  |  | 1.8 | 22.408 | 18.672 | 4069.1144 | 4543.52
| 4 | 8.5493 | 7.4094 | 6.2695 | 9.5431 | 8.2707 | 6.9983 |  |  | 1.7 | 21.1631 | 17.6347 | 3843.0525 | 4291.1022
| 5 | 9.214 | 7.9855 | 6.7569 | 10.2879 | 8.9161 | 7.5444 |  |  | 1.6 | 19.9182 | 16.5973 | 3616.9906 | 4038.6844
| 6 | 8.1315 | 7.0473 | 5.9631 | 9.0848 | 7.8735 | 6.6622 |  |  | 1.5 | 18.6733 | 15.56 | 3390.9287 | 3786.2667
| 7 | 7.9826 | 6.9182 | 5.8539 | 8.917 | 7.728 | 6.5391 |  |  | 1.25 | 15.5611 | 12.9667 | 2825.7739 | 3155.2222
| 8 | 7.7692 | 6.7333 | 5.6974 | 8.6817 | 7.5241 | 6.3666 |  |  | 1 | 12.4489 | 10.3733 | 2260.6191 | 2524.1778
| 9 | 7.7594 | 6.7248 | 5.6903 | 8.6738 | 7.5173 | 6.3608
| 10 | 7.7051 | 6.6778 | 5.6504 | 8.6169 | 7.468 | 6.3191
| 11 | 7.925 | 6.8684 | 5.8117 | 8.8891 | 7.7039 | 6.5187
| 12 | 8.3132 | 7.2048 | 6.0963 | 9.3006 | 8.0605 | 6.8204
| 13 | 7.7566 | 6.7224 | 5.6882 | 8.7002 | 7.5402 | 6.3801
| 14 | 8.0216 | 6.952 | 5.8825 | 8.9969 | 7.7973 | 6.5977
| 15 | 5.7078 | 4.9468 | 4.1857 | 6.445 | 5.5857 | 4.7263
| 16 | 9.9935 | 8.6611 | 7.3286 | 11.1779 | 9.6875 | 8.1971
|  | SF |  |  | MF
| Baseline SCG - 2.25 gpm | 1.25 gpm | 1.0 gpm |  | 1.25 gpm | 1.0 gpm
| 1 | 13.3731 | 16.7164 |  | 14.9323 | 18.6653
| 2 | 11.9385 | 14.9231 |  | 13.3303 | 16.6629
| 3 | 11.9895 | 14.9869 |  | 13.3873 | 16.7341
| 4 | 11.399 | 14.2488 |  | 12.728 | 15.91
| 5 | 12.2854 | 15.3567 |  | 13.7177 | 17.1471
| 6 | 10.842 | 13.5525 |  | 12.106 | 15.1325
| 7 | 10.6435 | 13.3043 |  | 11.8843 | 14.8554
| 8 | 10.359 | 12.9487 |  | 11.5667 | 14.4583
| 9 | 10.3459 | 12.9324 |  | 11.5521 | 14.4401
| 10 | 10.2735 | 12.8418 |  | 11.4712 | 14.339
| 11 | 10.5667 | 13.2084 |  | 11.7986 | 14.7483
| 12 | 11.0843 | 13.8553 |  | 12.3766 | 15.4707
| 13 | 10.3421 | 12.9277 |  | 11.5479 | 14.4349
| 14 | 10.6954 | 13.3693 |  | 11.9424 | 14.928
| 15 | 7.6104 | 9.513 |  | 8.4977 | 10.6221
| 16 | 13.3247 | 16.6559 |  | 14.8782 | 18.5977

## NEW ROB 2.0 GPM BL Therm Saving
| Baseline Calculation | SF Code | SF Avg | Adjusted SF Avg | MF Code | MF Avg | Adjusted MF Avg |  |  |  | SF = Single Family
| Baseline Flow rate | 2.5 | 2 | 2 | 2.5 | 2 | 2 | gpm | 4521.474 |  | MF = Multi Family |  |  |  | SF |  | MF
| Average shower time | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | min | 0.80004 | [5 empty] | CZ2010 Weather Files (weather files for 2013 Title-24) |  | CZ2010 Weather Files (weather files for 2013 Title-24)
| Number of showers taken per day per household | 2.79 | 2.79 | 2.79 | 2.22 | 2.22 | 2.22 | Showers/household/day |  |  | Cold temp |  |  |  |  | Weighted Average |  | Weighted Average
| Throttling factor | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | - |  |  | Shower water temp | 105 |  |  | CZ01 | 51.3638 | CZ01 | 51.3638
| days/year | 365 | 365 | 365 | 365 | 365 | 365 | days/year |  |  | Hot temp | 130 |  |  | CZ02 | 57.2251 | CZ02 | 57.2375
| Number of showerheads per household | 2.01 | 2.01 | 2.01 | 1.5 | 1.5 | 1.5 | showerhead/household | 3257.2362 | [5 empty] | CZ03 | 57.0167 | CZ03 | 57.0239
| Baseline Water consumption | 8435.5858 | 6748.4687 | 4521.2383 | 8994.33 | 7195.464 | 5048.3556 | Gallons / showerhead / year | [6 empty] | CZ04 | 59.4291 | CZ04 | 59.4434
0.7016 | Mixed water daily use for shower | 46.4535 | 37.1628 | 24.8978 | 36.963 | 33.2667 | 20.7467 | Gallons / household / day | 0.72039 | [5 empty] | CZ05 | 55.8079 | CZ05 | 55.8098
1.4926 | Hot water daily use for shower | 29.2657 | 23.4126 | 17.6463 | 23.2867 | 20.958 | 14.7042 | [7 empty] | CZ06 | 61.705 | CZ06 | 61.6791
0.66997 |  | SF | [5 empty] | MF | [6 empty] | CZ07 | 62.5159 | CZ07 | 62.4979
RET | Measure Calculation | SF 1.5 gpm | Adjusted SF 1.5 gpm | SF 1.6 gpm | Adjusted SF 1.6 gpm | SF 1.7 gpm | Adjusted SF 1.7 gpm | MF 1.5 gpm | Adjusted MF 1.5 gpm | MF 1.6 gpm | Adjusted MF 1.6 gpm | MF 1.7 gpm | Adjusted MF 1.7 gpm |  | CZ08 | 63.6783 | CZ08 | 63.6456
2.25gpm | Low Flow rate | 1.5 | 1.5 | 1.6 | 1.6 | 1.7 | 1.7 | 1.5 | 1.5 | 1.6 | 1.6 | 1.7 | 1.7 |  | CZ09 | 63.7316 | CZ09 | 63.6842
| Average shower time | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 |  | CZ10 | 64.0275 | CZ10 | 63.9617
| Number of showers taken per day per household | 2.79 | 2.79 | 2.79 | 2.79 | 2.79 | 2.79 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22 |  | CZ11 | 62.8295 | CZ11 | 62.6337
| Throttling factor | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | CZ12 | 60.715 | CZ12 | 60.6264
| days/year | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 |  | CZ13 | 63.747 | CZ13 | 63.5555
| Number of showerheads per household | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 |  | CZ14 | 62.3036 | CZ14 | 62.108
| Measure Water consumption | 5061.3515 | 3390.9287 | 5398.7749 | 3616.9906 | 5736.1984 | 3843.0525 | 5396.598 | 3786.2667 | 5756.3712 | 4038.6844 | 6116.1444 | 4291.1022 |  | CZ15 | 74.9075 | CZ15 | 74.5576
| Mixed water daily use for shower | 27.8721 | 18.6733 | 29.7302 | 19.9182 | 31.5884 | 21.1631 | 22.1778 | 13.8311 | 23.6563 | 16.5973 | 25.1348 | 15.6753 |  | CZ16 | 51.5617 | CZ16 | 51.4679
Hot water daily use for shower
|  | SF Water Savings |  |  | MF Water Savings |  |  | SF Water Savings |  | MF Water Savings
|  | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.25 | 1 | 1.25 | 1
| 2.00 gpm Baseline Avg | 1130.3096 | 904.2477 | 678.1857 | 1262.0889 | 1009.6711 | 757.2533 | 1695.4643 | 2260.6191 | 1893.1333 | 2524.1778
Annual Consumption and GPM adjustment
RET | Therms Saved | SF |  |  | MF |  |  |  |  | flow rate (GPM) | SF (Gal/day) | MF (Gal/day) | Annual SF Volume(Gal) | Annual MF Volume(Gal)
| Baseline SCG - 2.00 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm |  |  | 2.5 | 31.1222 | 25.9333 | 5651.5478 | 6310.4444
| 1 | 6.6866 | 5.3493 | 4.0119 | 7.4661 | 5.9729 | 4.4797 |  |  | 2.25 | 28.01 | 23.34 | 5086.393 | 5679.4
| 2 | 5.9692 | 4.7754 | 3.5815 | 6.6635 | 5.3308 | 3.9981 |  |  | 2 | 24.8978 | 20.7467 | 4521.2383 | 5048.3556
| 3 | 5.9947 | 4.7958 | 3.5968 | 6.6927 | 5.3541 | 4.0156 |  |  | 1.8 | 22.408 | 18.672 | 4069.1144 | 4543.52
| 4 | 5.6995 | 4.5596 | 3.4197 | 6.362 | 5.0896 | 3.8172 |  |  | 1.7 | 21.1631 | 17.6347 | 3843.0525 | 4291.1022
| 5 | 6.1427 | 4.9141 | 3.6856 | 6.8586 | 5.4869 | 4.1151 |  |  | 1.6 | 19.9182 | 16.5973 | 3616.9906 | 4038.6844
| 6 | 5.421 | 4.3368 | 3.2526 | 6.0565 | 4.8452 | 3.6339 |  |  | 1.5 | 18.6733 | 15.56 | 3390.9287 | 3786.2667
| 7 | 5.3217 | 4.2574 | 3.193 | 5.9446 | 4.7557 | 3.5668 |  |  | 1.25 | 15.5611 | 12.9667 | 2825.7739 | 3155.2222
| 8 | 5.1795 | 4.1436 | 3.1077 | 5.7878 | 4.6302 | 3.4727 |  |  | 1 | 12.4489 | 10.3733 | 2260.6191 | 2524.1778
| 9 | 5.173 | 4.1384 | 3.1038 | 5.7825 | 4.626 | 3.4695
| 10 | 5.1367 | 4.1094 | 3.082 | 5.7446 | 4.5957 | 3.4468
| 11 | 5.2834 | 4.2267 | 3.17 | 5.9261 | 4.7409 | 3.5556
| 12 | 5.5421 | 4.4337 | 3.3253 | 6.2004 | 4.9603 | 3.7202
| 13 | 5.1711 | 4.1369 | 3.1026 | 5.8001 | 4.6401 | 3.4801
| 14 | 5.3477 | 4.2782 | 3.2086 | 5.9979 | 4.7983 | 3.5987
| 15 | 3.8052 | 3.0442 | 2.2831 | 4.2967 | 3.4373 | 2.578
| 16 | 6.6623 | 5.3299 | 3.9974 | 7.4519 | 5.9615 | 4.4711
|  | SF |  |  | MF
| Baseline SCG - 2.00 gpm | 1.25 gpm | 1.0 gpm |  | 1.25 gpm | 1.0 gpm
| 1 | 10.0299 | 13.3731 |  | 11.1992 | 14.9323
| 2 | 8.9539 | 11.9385 |  | 9.9978 | 13.3303
| 3 | 8.9921 | 11.9895 |  | 10.0405 | 13.3873
| 4 | 8.5493 | 11.399 |  | 9.546 | 12.728
| 5 | 9.214 | 12.2854 |  | 10.2883 | 13.7177
| 6 | 8.1315 | 10.842 |  | 9.0795 | 12.106
| 7 | 7.9826 | 10.6435 |  | 8.9133 | 11.8843
| 8 | 7.7692 | 10.359 |  | 8.675 | 11.5667
| 9 | 7.7594 | 10.3459 |  | 8.6641 | 11.5521
| 10 | 7.7051 | 10.2735 |  | 8.6034 | 11.4712
| 11 | 7.925 | 10.5667 |  | 8.849 | 11.7986
| 12 | 8.3132 | 11.0843 |  | 9.2824 | 12.3766
| 13 | 7.7566 | 10.3421 |  | 8.6609 | 11.5479
| 14 | 8.0216 | 10.6954 |  | 8.9568 | 11.9424
| 15 | 5.7078 | 7.6104 |  | 6.3733 | 8.4977
| 16 | 9.9935 | 13.3247 |  | 11.1586 | 14.8782

## 1.8 GPM BL Therm Saving
| Baseline Calculation | SF Code | SF Avg | Adjusted SF Avg | MF Code | MF Avg | Adjusted MF Avg |  |  |  | SF = Single Family
| Baseline Flow rate | 2.5 | 2 | 1.8 | 2.5 | 2.25 | 2 | gpm |  |  | MF = Multi Family |  |  |  | SF |  | MF
| Average shower time | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | min | SF | MF |  |  |  |  | CZ2010 Weather Files (weather files for 2013 Title-24) |  | CZ2010 Weather Files (weather files for 2013 Title-24)
| Number of showers taken per day per household | 2.79 | 2.79 | 2.79 | 2.22 | 2.22 | 2.22 | Showers/household/day | 1 |  | Cold temp |  |  |  |  | Weighted Average |  | Weighted Average
| Throttling factor | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | - |  |  | Shower water temp | 105 |  |  | CZ01 | 51.3638 | CZ01 | 51.3638
| days/year | 365 | 365 | 365 | 365 | 365 | 365 | days/year |  |  | Hot temp | 130 |  |  | CZ02 | 57.2251 | CZ02 | 57.2375
| Number of showerheads per household | 2.01 | 2.01 | 2.01 | 1.5 | 1.5 | 1.5 | showerhead/household | [6 empty] | CZ03 | 57.0167 | CZ03 | 57.0239
| Baseline Water consumption | 8435.5858 | 6748.4687 | 4069.4776 | 8994.33 | 8094.897 | 4543.0333 | Gallons / showerhead / year | [6 empty] | CZ04 | 59.4291 | CZ04 | 59.4434
| Mixed water daily use for shower | 46.4535 | 37.1628 | 22.41 | 36.963 | 33.2667 | 18.67 | Gallons / household / day | [6 empty] | CZ05 | 55.8079 | CZ05 | 55.8098
| Hot water daily use for shower | 29.2657 | 23.4126 | 17.6463 | 23.2867 | 20.958 | 14.7042 | [7 empty] | CZ06 | 61.705 | CZ06 | 61.6791
|  | SF | [5 empty] | MF | [6 empty] | CZ07 | 62.5159 | CZ07 | 62.4979
RET | Measure Calculation | SF 1.5 gpm | Adjusted SF 1.5 gpm | SF 1.6 gpm | Adjusted SF 1.6 gpm | SF 1.7 gpm | Adjusted SF 1.7 gpm | MF 1.5 gpm | Adjusted MF 1.5 gpm | MF 1.6 gpm | Adjusted MF 1.6 gpm | MF 1.7 gpm | Adjusted MF 1.7 gpm |  | CZ08 | 63.6783 | CZ08 | 63.6456
2.25gpm | Low Flow rate | 1.5 | 1.5 | 1.6 | 1.6 | 1.7 | 1.7 | 1.5 | 1.5 | 1.6 | 1.6 | 1.7 | 1.7 |  | CZ09 | 63.7316 | CZ09 | 63.6842
| Average shower time | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 |  | CZ10 | 64.0275 | CZ10 | 63.9617
| Number of showers taken per day per household | 2.79 | 2.79 | 2.79 | 2.79 | 2.79 | 2.79 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22 |  | CZ11 | 62.8295 | CZ11 | 62.6337
| Throttling factor | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | CZ12 | 60.715 | CZ12 | 60.6264
| days/year | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 |  | CZ13 | 63.747 | CZ13 | 63.5555
| Number of showerheads per household | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 |  | CZ14 | 62.3036 | CZ14 | 62.108
| Measure Water consumption | 5061.3515 | 3390.9287 | 5398.7749 | 3616.9906 | 5736.1984 | 3843.0525 | 5396.598 | 3786.2667 | 5756.3712 | 4038.6844 | 6116.1444 | 4291.1022 |  | CZ15 | 74.9075 | CZ15 | 74.5576
| Mixed water daily use for shower | 27.8721 | 16.8075 | 29.7302 | 17.928 | 31.5884 | 19.0485 | 22.1778 | 12.4467 | 23.6563 | 16.5973 | 25.1348 | 14.1062 |  | CZ16 | 51.5617 | CZ16 | 51.4679
Hot water daily use for shower
|  | SF Water Savings |  |  | MF Water Savings |  |  | SF Water Savings |  | MF Water Savings
|  | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.25 | 1 | 1.25 | 1
| 1.8 gpm Baseline Avg | 678.5489 | 452.487 | 226.4251 | 756.7667 | 504.3489 | 251.9311 | 1243.7037 | 1808.8585 | 1387.8111 | 2018.8556
Annual Consumption and GPM adjustment
RET | Therms Saved | SF |  |  | MF |  |  |  |  | flow rate (GPM) | SF (Gal/day) | MF (Gal/day) | Annual SF Volume(Gal) | Annual MF Volume(Gal)
| Baseline SCG - 1.8 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm | 1.5 gpm | 1.6 gpm | 1.7 gpm |  |  | 2.5 | 31.1222 | 25.9333 | 5651.5478 | 6310.4444
| 1 | 4.0141 | 2.6768 | 1.3395 | 4.4768 | 2.9836 | 1.4903 |  |  | 2.25 | 28.01 | 23.34 | 5086.393 | 5679.4
| 2 | 3.5835 | 2.3896 | 1.1958 | 3.9955 | 2.6628 | 1.3301 |  |  | 2 | 24.8978 | 20.7467 | 4521.2383 | 5048.3556
| 3 | 3.5988 | 2.3998 | 1.2009 | 4.013 | 2.6745 | 1.336 |  |  | 1.8 | 22.408 | 18.672 | 4069.1144 | 4543.52
| 4 | 3.4215 | 2.2816 | 1.1417 | 3.8148 | 2.5424 | 1.27 |  |  | 1.7 | 21.1631 | 17.6347 | 3843.0525 | 4291.1022
| 5 | 3.6876 | 2.459 | 1.2305 | 4.1125 | 2.7408 | 1.3691 |  |  | 1.6 | 19.9182 | 16.5973 | 3616.9906 | 4038.6844
| 6 | 3.2543 | 2.1701 | 1.0859 | 3.6316 | 2.4203 | 1.209 |  |  | 1.5 | 18.6733 | 15.56 | 3390.9287 | 3786.2667
| 7 | 3.1947 | 2.1304 | 1.0661 | 3.5645 | 2.3756 | 1.1866 |  |  | 1.25 | 15.5611 | 12.9667 | 2825.7739 | 3155.2222
| 8 | 3.1093 | 2.0735 | 1.0376 | 3.4705 | 2.3129 | 1.1553 |  |  | 1 | 12.4489 | 10.3733 | 2260.6191 | 2524.1778
| 9 | 3.1054 | 2.0708 | 1.0363 | 3.4673 | 2.3108 | 1.1543
| 10 | 3.0837 | 2.0563 | 1.029 | 3.4446 | 2.2956 | 1.1467
| 11 | 3.1717 | 2.115 | 1.0584 | 3.5534 | 2.3681 | 1.1829
| 12 | 3.3271 | 2.2186 | 1.1102 | 3.7178 | 2.4778 | 1.2377
| 13 | 3.1043 | 2.0701 | 1.0359 | 3.4778 | 2.3178 | 1.1578
| 14 | 3.2103 | 2.1408 | 1.0713 | 3.5964 | 2.3969 | 1.1973
| 15 | 2.2843 | 1.5233 | 0.76226 | 2.5763 | 1.717 | 0.85768
| 16 | 3.9995 | 2.6671 | 1.3346 | 4.4683 | 2.9779 | 1.4875
|  | SF |  |  | MF
| Baseline SCG - 1.8 gpm | 1.25 gpm | 1.0 gpm |  | 1.25 gpm | 1.0 gpm
| 1 | 7.3574 | 10.7007 |  | 8.2099 | 11.9429
| 2 | 6.5681 | 9.5527 |  | 7.3291 | 10.6617
| 3 | 6.5961 | 9.5935 |  | 7.3604 | 10.7073
| 4 | 6.2713 | 9.121 |  | 6.9979 | 10.1799
| 5 | 6.7589 | 9.8303 |  | 7.5421 | 10.9715
| 6 | 5.9648 | 8.6753 |  | 6.656 | 9.6825
| 7 | 5.8556 | 8.5165 |  | 6.5341 | 9.5052
| 8 | 5.6991 | 8.2888 |  | 6.3594 | 9.2511
| 9 | 5.6919 | 8.2784 |  | 6.3514 | 9.2395
| 10 | 5.6521 | 8.2204 |  | 6.307 | 9.1748
| 11 | 5.8134 | 8.4551 |  | 6.487 | 9.4366
| 12 | 6.0981 | 8.8692 |  | 6.8047 | 9.8989
| 13 | 5.6898 | 8.2754 |  | 6.3491 | 9.2361
| 14 | 5.8842 | 8.5581 |  | 6.566 | 9.5516
| 15 | 4.187 | 6.0896 |  | 4.6721 | 6.7965
| 16 | 7.3307 | 10.6619 |  | 8.1801 | 11.8997

## SF Weather Data
CZ2010 Weather Files (weather files for 2013 Title-24)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Ave | Weighted Average
CZ01 | 49.53 | 48.73 | 48.63 | 49.03 | 50.53 | 52.03 | 53.23 | 54.03 | 54.13 | 53.43 | 52.23 | 50.83 | 51.3796 | 51.3646 | 0.015009
CZ02 | 53.73 | 52.33 | 52.13 | 52.83 | 55.63 | 58.43 | 60.83 | 62.33 | 62.53 | 61.23 | 58.93 | 56.23 | 57.2938 | 57.2288 | 0.065058
CZ03 | 54.53 | 53.43 | 53.33 | 53.83 | 55.83 | 57.83 | 59.63 | 60.73 | 60.83 | 59.93 | 58.23 | 56.23 | 57.0525 | 57.0186 | 0.03383
CZ04 | 55.73 | 54.13 | 54.03 | 54.83 | 57.73 | 60.73 | 63.33 | 64.93 | 65.03 | 63.73 | 61.23 | 58.33 | 59.5133 | 59.4336 | 0.079681
CZ05 | 53.63 | 52.73 | 52.73 | 53.13 | 54.83 | 56.53 | 58.03 | 58.93 | 59.03 | 58.23 | 56.83 | 55.13 | 55.8325 | 55.8092 | 0.023243
CZ06 | 58.93 | 57.83 | 57.73 | 58.23 | 60.43 | 62.63 | 64.53 | 65.73 | 65.83 | 64.93 | 63.03 | 60.93 | 61.7544 | 61.7076 | 0.046743
CZ07 | 60.23 | 59.33 | 59.23 | 59.73 | 61.53 | 63.23 | 64.83 | 65.83 | 65.93 | 65.13 | 63.53 | 61.83 | 62.55 | 62.5178 | 0.032199
CZ08 | 60.73 | 59.53 | 59.43 | 59.93 | 62.33 | 64.73 | 66.73 | 68.03 | 68.13 | 67.03 | 65.13 | 62.83 | 63.7393 | 63.6817 | 0.057652
CZ09 | 60.23 | 58.73 | 58.63 | 59.33 | 62.13 | 64.93 | 67.43 | 68.93 | 69.13 | 67.83 | 65.43 | 62.73 | 63.8199 | 63.7364 | 0.083437
CZ10 | 59.93 | 58.23 | 58.03 | 58.93 | 62.23 | 65.53 | 68.33 | 70.13 | 70.33 | 68.83 | 66.03 | 62.83 | 64.1497 | 64.0343 | 0.11545
CZ11 | 55.83 | 52.83 | 52.63 | 54.03 | 59.83 | 65.53 | 70.53 | 73.63 | 73.93 | 71.33 | 66.53 | 60.93 | 63.1941 | 62.8496 | 0.34451
CZ12 | 55.63 | 53.53 | 53.33 | 54.33 | 58.43 | 62.53 | 66.13 | 68.33 | 68.53 | 66.73 | 63.23 | 59.33 | 60.884 | 60.7242 | 0.15981
CZ13 | 57.03 | 54.03 | 53.83 | 55.23 | 60.83 | 66.33 | 71.13 | 74.23 | 74.53 | 72.03 | 67.33 | 61.93 | 64.1007 | 63.7666 | 0.33413
CZ14 | 55.23 | 52.23 | 51.93 | 53.43 | 59.23 | 65.03 | 70.03 | 73.23 | 73.53 | 70.93 | 66.03 | 60.43 | 62.6695 | 62.3237 | 0.34575
CZ15 | 68.43 | 65.53 | 65.33 | 66.63 | 72.23 | 77.73 | 82.43 | 85.53 | 85.73 | 83.33 | 78.63 | 73.33 | 75.4667 | 74.9412 | 0.5255
CZ16 | 45.33 | 42.73 | 42.43 | 43.73 | 48.73 | 53.83 | 58.13 | 60.93 | 61.13 | 58.93 | 54.63 | 49.83 | 51.7525 | 51.5716 | 0.18082

## MF Weather Data
CZ2010 Weather Files (weather files for 2013 Title-24)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Ave | Weighted Average
CZ01 | 49.53 | 48.73 | 48.63 | 49.03 | 50.53 | 52.03 | 53.23 | 54.03 | 54.13 | 53.43 | 52.23 | 50.83 | 51.3796 | 51.3646
CZ02 | 53.73 | 52.33 | 52.13 | 52.83 | 55.63 | 58.43 | 60.83 | 62.33 | 62.53 | 61.23 | 58.93 | 56.23 | 57.2938 | 57.2403
CZ03 | 54.53 | 53.43 | 53.33 | 53.83 | 55.83 | 57.83 | 59.63 | 60.73 | 60.83 | 59.93 | 58.23 | 56.23 | 57.0525 | 57.0254
CZ04 | 55.73 | 54.13 | 54.03 | 54.83 | 57.73 | 60.73 | 63.33 | 64.93 | 65.03 | 63.73 | 61.23 | 58.33 | 59.5133 | 59.447
CZ05 | 53.63 | 52.73 | 52.73 | 53.13 | 54.83 | 56.53 | 58.03 | 58.93 | 59.03 | 58.23 | 56.83 | 55.13 | 55.8325 | 55.811
CZ06 | 58.93 | 57.83 | 57.73 | 58.23 | 60.43 | 62.63 | 64.53 | 65.73 | 65.83 | 64.93 | 63.03 | 60.93 | 61.7544 | 61.6837
CZ07 | 60.23 | 59.33 | 59.23 | 59.73 | 61.53 | 63.23 | 64.83 | 65.83 | 65.93 | 65.13 | 63.53 | 61.83 | 62.55 | 62.5011
CZ08 | 60.73 | 59.53 | 59.43 | 59.93 | 62.33 | 64.73 | 66.73 | 68.03 | 68.13 | 67.03 | 65.13 | 62.83 | 63.7393 | 63.6515
CZ09 | 60.23 | 58.73 | 58.63 | 59.33 | 62.13 | 64.93 | 67.43 | 68.93 | 69.13 | 67.83 | 65.43 | 62.73 | 63.8199 | 63.6927
CZ10 | 59.93 | 58.23 | 58.03 | 58.93 | 62.23 | 65.53 | 68.33 | 70.13 | 70.33 | 68.83 | 66.03 | 62.83 | 64.1497 | 63.9736
CZ11 | 55.83 | 52.83 | 52.63 | 54.03 | 59.83 | 65.53 | 70.53 | 73.63 | 73.93 | 71.33 | 66.53 | 60.93 | 63.1941 | 62.669
CZ12 | 55.63 | 53.53 | 53.33 | 54.33 | 58.43 | 62.53 | 66.13 | 68.33 | 68.53 | 66.73 | 63.23 | 59.33 | 60.884 | 60.6423
CZ13 | 57.03 | 54.03 | 53.83 | 55.23 | 60.83 | 66.33 | 71.13 | 74.23 | 74.53 | 72.03 | 67.33 | 61.93 | 64.1007 | 63.59
CZ14 | 55.23 | 52.23 | 51.93 | 53.43 | 59.23 | 65.03 | 70.03 | 73.23 | 73.53 | 70.93 | 66.03 | 60.43 | 62.6695 | 62.1432
CZ15 | 68.43 | 65.53 | 65.33 | 66.63 | 72.23 | 77.73 | 82.43 | 85.53 | 85.73 | 83.33 | 78.63 | 73.33 | 75.4667 | 74.6235
CZ16 | 45.33 | 42.73 | 42.43 | 43.73 | 48.73 | 53.83 | 58.13 | 60.93 | 61.13 | 58.93 | 54.63 | 49.83 | 51.7525 | 51.4844

## Mixed Daily Water Calculator
*From Disposition | Baseline Calculation | SF Code | SF Avg | Adjusted SF Avg | MF Code | MF Avg | Adjusted MF Avg |  |  | SF = Single Family
| Baseline Flow rate | 2.5 | 2.25 | 2.25 | 2.5 | 2.25 | 2.25 | gpm |  | MF = Multi Family
| Average shower time | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | min
| Number of showers taken per day per household | 2.79 | 2.79 | 2.79 | 2.22 | 2.22 | 2.22 | Showers/household/day |  | Cold temp | 65
| Throttling factor | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | - |  | Shower water temp | 106
| days/year | 365 | 365 | 365 | 365 | 365 | 365 | days/year |  | Hot temp | 130
| Number of showerheads per household | 2.01 | 2.01 | 2.01 | 1.5 | 1.5 | 1.5 | showerhead/household
| Baseline Water consumption | 8435.5858 | 7592.0272 | 5086.393 | 8994.33 | 8094.897 | 5679.4 | Gallons / showerhead / year
| Mixed water daily use for shower | 46.4535 | 41.8082 | 28.01 | 36.963 | 33.2667 | 23.34 | Gallons / household / day
| Hot water daily use for shower | 29.2657 | 26.3391 | 17.6463 | 23.2867 | 20.958 | 14.7042
| Measure Calculation | SF 1.5 gpm | SF 1.6 gpm | Adjusted SF 1.6 gpm | SF 1.7 gpm | MF 1.5 gpm | MF 1.6 gpm | Adjusted MF 1.6 gpm | MF 1.7 gpm
| Low Flow rate | 1.5 | 1.6 | 1.6 | 1.7 | 1.5 | 1.6 | 1.6 | 1.7 | gpm
| Average shower time | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | min
| Number of showers taken per day per household | 2.79 | 2.79 | 2.79 | 2.79 | 2.22 | 2.22 | 2.22 | 2.22 | Showers/household/day
| Throttling factor | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | -
| days/year | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | days/year
| Number of showerheads per household | 2.01 | 2.01 | 2.01 | 2.01 | 1.5 | 1.5 | 1.5 | 1.5 | showerhead/household
| Measure Water consumption | 3390.9287 | 5398.7749 | 3616.9906 | 3843.0525 | 3786.2667 | 5756.3712 | 4038.6844 | 4291.1022 | Gallons / showerhead / year
| Mixed water daily use for shower | 18.6733 | 29.7302 | 19.9182 | 21.1631 | 15.56 | 23.6563 | 16.5973 | 17.6347 | Gallons / showerhead / day
| Hot water daily use for shower | 11.7642 | 18.7301 | 12.5485 | 13.3328 | 9.8028 | 14.9035 | 10.4563 | 11.1098
Annual Consumption and GPM adjustment
|  | flow rate (GPM) | SF (Gal/day) | MF (Gal/day) | Annual SF Volume(Gal) | Annual MF Volume(Gal)
|  | 2.5 | 31.1222 | 25.9333 | 5651.5478 | 6310.4444
|  | 2.25 | 28.01 | 23.34 | 5086.393 | 5679.4
|  | 2 | 24.8978 | 20.7467 | 4521.2383 | 5048.3556
|  | 1.8 | 22.408 | 18.672 | 4069.1144 | 4543.52
|  | 1.7 | 21.1631 | 17.6347 | 3843.0525 | 4291.1022
|  | 1.6 | 19.9182 | 16.5973 | 3616.9906 | 4038.6844
|  | 1.5 | 18.6733 | 15.56 | 3390.9287 | 3786.2667
|  | 1.25 | 15.5611 | 12.9667 | 2825.7739 | 3155.2222
|  | 1 | 12.4489 | 10.3733 | 2260.6191 | 2524.1778
Note on D2: CPaek: 2.25 gpm is the average of existing showerhead's flow rate, according to SCG/SDG&E survey study. PG&E used only Fedral guidline 2.5 gpm as a baseline.
Note on E2: CPaek: 2.25 gpm is the average of existing showerhead's flow rate, according to SCG/SDG&E survey study. PG&E used only Fedral guidline 2.5 gpm as a baseline.
Note on C3: CPaek: Shower duration in minute. PG&E asseumed this to be 8.2 min/shower. Sempra Utility survey by ASW shows that to be 11.2 minutes/shower.
Note on C4: CPaek: PG&E used 2.52 showers per day in a household for single family. 2.79 showers/day/household is the average result from reduced SCG/SDG&E survey data.
Note on C7: CPaek: 2.5 showerheads per single-family household was used by PG&E. SCG survey resulted in 1.9 showerheads per household.