## Sheet1
Medium Temperature System Condenser Capacity (Tons) | 65
Low Temperature System Condenser Capacity (Tons) | 39
Total Regrigeration System Capacity (Tons) | 104
Measure:
Variable Condensing Setpoint Control on Adiabatic Condenser
2020 Measure Material Cost/Condenser | 0
2020 Measure Labor Cost/Condenser | 867
Total Refrigeration Condensers/Model | 2
Total Regrigeration System Capacity (Tons) | 104
Incremental Cost per Ton installed | 16.6731
|  | Source: | https://efiling.energy.ca.gov/GetDocument.aspx?tn=222182&DocumentContentId=27352
Measure:
Efficient Adiabatic Condenser (≥65 BTU/Watt)
2020 Measure Incremental Material Cost/Condenser | 10000
2020 Measure Incremental Labor Cost/Condenser | 0
Total Refrigeration Condensers/Model | 2
Total Regrigeration System Capacity (Tons) | 104
Incremental Cost per Ton installed | 192.3077
Baseline:
Standard Title 24 Adiabatic Condenser (45 BTU/Watt)
2020 Measure Incremental Material Cost/Condenser | 22500
2020 Measure Incremental Labor Cost/Condenser | 0
Total Refrigeration Condensers/Model | 2
Total Regrigeration System Capacity (Tons) | 104
Cost per Ton installed | 432.6923