## Cost Summary
Standard V-Belt Cost |  |  | Cogged V-Belt Cost |  |  | Incremental Measure Cost ($/Ton)
Material Cost ($/Ton) | Labor Cost ($/Ton) | Base Case Cost ($/Ton) | Material Cost ($/Ton) | Labor Cost ($/Ton) | Gross Measure Cost ($/Ton)
1.88 | 3.01 | 4.89 | 2.35 | 3.01 | 5.36 | 0.47
Note:
Cost calculation considers average costs of HVAC units of sizes 7.5 tons and 10 tons only based on 2010 - 2017 program participation.

## Belt Cost
Belt Type | Belt Length (inch) | Standard V-Belt Price ($/Belt) | Cogged V-Belt Price ($/Belt) | Standard V-Belt Cost Source: Granger.com
A | 20 | 6.1 | 8.15
A | 40 | 12.4 | 16.5
A | 60 | 16.65 | 16.6
A | 80 | 21.7 | 29.2
Total | 200 | 56.85 | 70.45
Price ($/inch) |  | 0.28425 | 0.35225
Belt Type | Belt Length (inch) | Standard V-Belt Price ($/Belt) | Cogged V-Belt Price ($/Belt)
B | 40 | 17 | 19.9
B | 60 | 24.1 | 31.3
B | 80 | 31 | 39.9
Total | 180 | 72.1 | 91.1
Price ($/inch) |  | 0.40056 | 0.50611
Cogged V-Belt Cost Source: Granger.com

## Belt + RTU Data
[15 empty] | Standard Labor Rate for HVAC Package Unit from Table 4-3 WO 017 Study Report |  | 70.69
The belt sizes and quantities in this worksheet are from manufacturer unit data for 2 manufacturers, 5 models, and 15 different nominal capacities ranging from 2-50 tons. | [14 empty] | Labor Cost per Belt @ 20 Mins belt installation time and scaling factor |  | 26.6157
[7 empty] | 0.46672 |  |  | 1.8822 |  |  |  | 2.3489 |  | 3.0135 |  |  |  | CA Average
[7 empty] | Standard Belt Cost |  |  |  | Cogged Belt Cost |  |  |  | Incremental Cost | Labor Cost |  |  | 2018 | 235.26
Make | Model | Low/Mid/High Static | Nom. Tons | Belt X-Section | Belt Length | Quantity Supply | $/inch. | $/Belt | $/RTU | $/Ton | $/inch. | $/Belt | $/RTU | $/Ton | $/Ton | $/ton |  | WO017 year | 2013 | 208.28
Carrier | 50TFQ | Mid | 7.5 | A | 53 | 1 | 0.28425 | 15.0652 | 15.0652 | 2.0087 | 0.35225 | 18.6693 | 18.6693 | 2.4892 | 0.48053 | 3.5488 |  |  | Scaling Factor |  | 1.1295
Carrier | 50TFQ | High | 7.5 | A | 66 | 1 | 0.28425 | 18.7605 | 18.7605 | 2.5014 | 0.35225 | 23.2485 | 23.2485 | 3.0998 | 0.5984 | 3.5488
Carrier | 50LJQ | Mid | 7.5 | A | 48 | 1 | 0.28425 | 13.644 | 13.644 | 1.8192 | 0.35225 | 16.908 | 16.908 | 2.2544 | 0.4352 | 3.5488
Carrier | 48PG | Mid | 7.5 | A | 63 | 1 | 0.28425 | 17.9077 | 17.9077 | 2.3877 | 0.35225 | 22.1917 | 22.1917 | 2.9589 | 0.5712 | 3.5488
Carrier | 50TFQ | Mid | 10 | A | 49 | 1 | 0.28425 | 13.9282 | 13.9282 | 1.3928 | 0.35225 | 17.2602 | 17.2602 | 1.726 | 0.3332 | 2.6616
Carrier | 50TFQ | High | 10 | B | 48 | 1 | 0.40056 | 19.2267 | 19.2267 | 1.9227 | 0.50611 | 24.2933 | 24.2933 | 2.4293 | 0.50667 | 2.6616
Carrier | 50LJQ | Mid | 10 | A | 48 | 1 | 0.28425 | 13.644 | 13.644 | 1.3644 | 0.35225 | 16.908 | 16.908 | 1.6908 | 0.3264 | 2.6616
Carrier | 48PG | Mid | 10 | A | 63 | 1 | 0.28425 | 17.9077 | 17.9077 | 1.7908 | 0.35225 | 22.1917 | 22.1917 | 2.2192 | 0.4284 | 2.6616
Carrier | 50TFQ | Mid | 3 | A | 34 | 1 | 0.28425 | 9.6645 | 9.6645 | 3.2215 | 0.35225 | 11.9765 | 11.9765 | 3.9922 | 0.77067 | 8.8719
Carrier | 50TFQ | High | 3 | A | 39 | 1 | 0.28425 | 11.0857 | 11.0857 | 3.6952 | 0.35225 | 13.7378 | 13.7378 | 4.5793 | 0.884 | 8.8719
Carrier | 48PG | Mid | 3 | A | 49 | 1 | 0.28425 | 13.9282 | 13.9282 | 4.6427 | 0.35225 | 17.2602 | 17.2602 | 5.7534 | 1.1107 | 8.8719
Carrier | 50TFQ | Mid | 4 | A | 34 | 1 | 0.28425 | 9.6645 | 9.6645 | 2.4161 | 0.35225 | 11.9765 | 11.9765 | 2.9941 | 0.578 | 6.6539
Carrier | 50TFQ | High | 4 | A | 39 | 1 | 0.28425 | 11.0857 | 11.0857 | 2.7714 | 0.35225 | 13.7378 | 13.7378 | 3.4344 | 0.663 | 6.6539
Carrier | 50LJQ | High | 4 | A | 34 | 1 | 0.28425 | 9.6645 | 9.6645 | 2.4161 | 0.35225 | 11.9765 | 11.9765 | 2.9941 | 0.578 | 6.6539
Carrier | 48PG | Mid | 4 | A | 49 | 1 | 0.28425 | 13.9282 | 13.9282 | 3.4821 | 0.35225 | 17.2602 | 17.2602 | 4.3151 | 0.833 | 6.6539
Carrier | 50TFQ | Mid | 5 | A | 39 | 1 | 0.28425 | 11.0857 | 11.0857 | 2.2171 | 0.35225 | 13.7378 | 13.7378 | 2.7475 | 0.5304 | 5.3231
Carrier | 50TFQ | High | 5 | A | 40 | 1 | 0.28425 | 11.37 | 11.37 | 2.274 | 0.35225 | 14.09 | 14.09 | 2.818 | 0.544 | 5.3231
Carrier | 50LJQ | Mid | 5 | A | 40 | 1 | 0.28425 | 11.37 | 11.37 | 2.274 | 0.35225 | 14.09 | 14.09 | 2.818 | 0.544 | 5.3231
Carrier | 48PG | Mid | 5 | A | 49 | 1 | 0.28425 | 13.9282 | 13.9282 | 2.7856 | 0.35225 | 17.2602 | 17.2602 | 3.452 | 0.6664 | 5.3231
Carrier | 50TFQ | Mid | 6 | A | 40 | 1 | 0.28425 | 11.37 | 11.37 | 1.895 | 0.35225 | 14.09 | 14.09 | 2.3483 | 0.45333 | 4.4359
Carrier | 50TFQ | High | 6 | A | 40 | 1 | 0.28425 | 11.37 | 11.37 | 1.895 | 0.35225 | 14.09 | 14.09 | 2.3483 | 0.45333 | 4.4359
Carrier | 48PG | Mid | 6 | A | 49 | 1 | 0.28425 | 13.9282 | 13.9282 | 2.3214 | 0.35225 | 17.2602 | 17.2602 | 2.8767 | 0.55533 | 4.4359
Carrier | 48PG | High | 6 | A | 52 | 1 | 0.28425 | 14.781 | 14.781 | 2.4635 | 0.35225 | 18.317 | 18.317 | 3.0528 | 0.58933 | 4.4359
Carrier | 48PG | Mid | 8.5 | A | 63 | 1 | 0.28425 | 17.9077 | 17.9077 | 2.1068 | 0.35225 | 22.1917 | 22.1917 | 2.6108 | 0.504 | 3.1313
Carrier | 50PQ | Mid | 12.5 | A | 41 | 1 | 0.28425 | 11.6542 | 11.6542 | 0.93234 | 0.35225 | 14.4422 | 14.4422 | 1.1554 | 0.22304 | 2.1293
Carrier | 50PQ | High | 12.5 | A | 41 | 1 | 0.28425 | 11.6542 | 11.6542 | 0.93234 | 0.35225 | 14.4422 | 14.4422 | 1.1554 | 0.22304 | 2.1293
Carrier | 48PG | Mid | 12.5 | A | 63 | 1 | 0.28425 | 17.9077 | 17.9077 | 1.4326 | 0.35225 | 22.1917 | 22.1917 | 1.7753 | 0.34272 | 2.1293
Carrier | 50PQ | Mid | 15 | A | 44 | 1 | 0.28425 | 12.507 | 12.507 | 0.8338 | 0.35225 | 15.499 | 15.499 | 1.0333 | 0.19947 | 1.7744
Carrier | 50PQ | High | 15 | B | 47 | 1 | 0.40056 | 18.8261 | 18.8261 | 1.2551 | 0.50611 | 23.7872 | 23.7872 | 1.5858 | 0.33074 | 1.7744
Trane | Voyager | Mid | 27.5 | B | 100 | 1 | 0.40056 | 40.0556 | 40.0556 | 1.4566 | 0.50611 | 50.6111 | 50.6111 | 1.8404 | 0.38384 | 0.96784
Trane | Voyager | High | 27.5 | B | 103 | 1 | 0.40056 | 41.2572 | 41.2572 | 1.5003 | 0.50611 | 52.1294 | 52.1294 | 1.8956 | 0.39535 | 0.96784
Trane | Voyager | Mid | 30 | B | 100 | 1 | 0.40056 | 40.0556 | 40.0556 | 1.3352 | 0.50611 | 50.6111 | 50.6111 | 1.687 | 0.35185 | 0.88719
Trane | Voyager | High | 30 | B | 103 | 1 | 0.40056 | 41.2572 | 41.2572 | 1.3752 | 0.50611 | 52.1294 | 52.1294 | 1.7376 | 0.36241 | 0.88719
Trane | Voyager | Low | 35 | B | 100 | 1 | 0.40056 | 40.0556 | 40.0556 | 1.1444 | 0.50611 | 50.6111 | 50.6111 | 1.446 | 0.30159 | 0.76045
Trane | Voyager | Mid | 35 | B | 103 | 1 | 0.40056 | 41.2572 | 41.2572 | 1.1788 | 0.50611 | 52.1294 | 52.1294 | 1.4894 | 0.31063 | 0.76045
Trane | Voyager | High | 35 | B | 103 | 1 | 0.40056 | 41.2572 | 41.2572 | 1.1788 | 0.50611 | 52.1294 | 52.1294 | 1.4894 | 0.31063 | 0.76045
Trane | Voyager | Mid | 40 | B | 95 | 2 | 0.40056 | 38.0528 | 76.1056 | 1.9026 | 0.50611 | 48.0806 | 96.1611 | 2.404 | 0.50139 | 1.3308
Trane | Voyager | High | 40 | B | 97 | 2 | 0.40056 | 38.8539 | 77.7078 | 1.9427 | 0.50611 | 49.0928 | 98.1856 | 2.4546 | 0.51194 | 1.3308
Trane | Voyager | Low | 50 | B | 95 | 2 | 0.40056 | 38.0528 | 76.1056 | 1.5221 | 0.50611 | 48.0806 | 96.1611 | 1.9232 | 0.40111 | 1.0646
Trane | Voyager | Mid | 50 | B | 97 | 2 | 0.40056 | 38.8539 | 77.7078 | 1.5542 | 0.50611 | 49.0928 | 98.1856 | 1.9637 | 0.40956 | 1.0646
Trane | Voyager | High | 50 | B | 97 | 2 | 0.40056 | 38.8539 | 77.7078 | 1.5542 | 0.50611 | 49.0928 | 98.1856 | 1.9637 | 0.40956 | 1.0646
Trane | Voyager | Mid | 27.5 | B | 100 | 1 | 0.40056 | 40.0556 | 40.0556 | 1.4566 | 0.50611 | 50.6111 | 50.6111 | 1.8404 | 0.38384 | 0.96784
Trane | Voyager | High | 27.5 | B | 103 | 1 | 0.40056 | 41.2572 | 41.2572 | 1.5003 | 0.50611 | 52.1294 | 52.1294 | 1.8956 | 0.39535 | 0.96784
Trane | Voyager | Mid | 30 | B | 100 | 1 | 0.40056 | 40.0556 | 40.0556 | 1.3352 | 0.50611 | 50.6111 | 50.6111 | 1.687 | 0.35185 | 0.88719
Trane | Voyager | High | 30 | B | 103 | 1 | 0.40056 | 41.2572 | 41.2572 | 1.3752 | 0.50611 | 52.1294 | 52.1294 | 1.7376 | 0.36241 | 0.88719
Trane | Voyager | Low | 35 | B | 100 | 1 | 0.40056 | 40.0556 | 40.0556 | 1.1444 | 0.50611 | 50.6111 | 50.6111 | 1.446 | 0.30159 | 0.76045
Trane | Voyager | Mid | 35 | B | 103 | 1 | 0.40056 | 41.2572 | 41.2572 | 1.1788 | 0.50611 | 52.1294 | 52.1294 | 1.4894 | 0.31063 | 0.76045
Trane | Voyager | High | 35 | B | 103 | 1 | 0.40056 | 41.2572 | 41.2572 | 1.1788 | 0.50611 | 52.1294 | 52.1294 | 1.4894 | 0.31063 | 0.76045
Trane | Voyager | Mid | 40 | B | 95 | 2 | 0.40056 | 38.0528 | 76.1056 | 1.9026 | 0.50611 | 48.0806 | 96.1611 | 2.404 | 0.50139 | 1.3308
Trane | Voyager | High | 40 | B | 97 | 2 | 0.40056 | 38.8539 | 77.7078 | 1.9427 | 0.50611 | 49.0928 | 98.1856 | 2.4546 | 0.51194 | 1.3308
[6 empty] | Average Costs |  |  |  | 2.2922 |  |  |  | 2.8405 | 0.54835 | 4.7165