CPUC Comments on SWWH027-02 Package Terminal Air Conditioner or Heat Pump, Under 24kBtuh

Lead PA: SCE

Workpaper Submittal Date: 12/21/2020

CPUC Review Date: 3/25/2021

|  |  |
| --- | --- |
| CPUC Comment | PA Response |
| The Replace on Burnout MAT has been replaced by Normal Replacement (NR). There are still a few cases where Replace on Burnout is listed in the workpaper, for example in the Measure Case Specification table, and the last paragraph in the Base Case Material Cost section. | This has been updated. Some other old MATs were found during QC (EUL Section) and corrected. |
| Why is some data in one of the tables labeled “proprietary”? An example of this is in the “Installation of PTAC & PTHP Units in the Lodging Sector, by Capacity Range” table, from the Electric Savings section. | Our understanding is that this is survey data from program participants. As a result, the source data is proprietary and only the results are available. |
| Thank you for updating the text to reflect the actual data used to update the cost values.  Our question is why was only one data point used to estimate the PTAC base case costs and only one data point for the PTHP base case costs? | Costs are originally taken from previous DEER data with online spot checks as a supplemental verification. Point is well taken however, that as costs tend to deviate more overtime in future revisions, more exhaustive cost research should be performed. |

Please note responses to comments in the table below, revise workpaper, and upload the entire package to the WPA. If needed, please reach out to Workpaper Review Team to set up a call to discuss.