## Analysis
Workbook Summary
This workbook assesses HVAC baseline energy variation given adjustment to the system capacity (ton) as informed by program data.
| DEER basecase model | DEER adjusted
Bldg Type | MFM | MFM
Weather, Climate Zone | CTZ2010\CZ09.BIN | CTZ2010\CZ09.BIN
System Capacity (Dwelling) | 12,019 Btuh (defaulted) | 24,000 Btuh (increased per program data)
File | MFm-wCZ09-v2003-rDXGF-lt45-CapParamFinal.pd2 | Parametric Run
ResTStatCool_Day | 76 F (24 hrs) | 76 F (24 hrs)
Cooling Energy | (see below)
Fan Energy | (see below)
HVAC Energy | (see below)
Percent variation given increased capacity |  | 4.672%

## MFM_GeneralInputs
Increased system capacity based on program data.