|  |  |  |  |
| --- | --- | --- | --- |
| **REQUESTOR’S NAME** | Will Baker, Google and Nest | **TODAY’S DATE:** | **6/2/2020** |

**WORKPAPER INFORMATION:**

|  |  |  |
| --- | --- | --- |
| **Workpaper Name:** | Residential Smart Thermostat |  |
| **Workpaper ID:** | **SWHC039-03** |  |
| **Revision Number:** | Revision 3 |  |
| **Revision Section in Workpaper:** |  |  |

**STEP(S) TAKEN TO RESOLVE THIS ISSUE WITH THE PROGRAM ADMINISTRATOR (PA):**

|  |  |  |  |
| --- | --- | --- | --- |
| EFFORTS | DATE(S) | COMMUNICATION METHOD(S) | DESCRIBE STEPS TAKEN TO RESOLVE ISSUE WITH PA: |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
| ADDITIONAL COMMENTS:  This inquiry form is intended to document latest communications with NEST with the intent to provide overall update on workpaper update process in 2020 for supporting measures savings for 2021. | | | |

**WORKPAPER QUESTION OR CONCERN:**

|  |
| --- |
| Click here to enter your question(s) or concern(s).  **General Update provided to NEST on Workpaper update process**  The following topics/documentation was related to Will Baker (NEST) via conference call on 06.02.2020. This communication excluded any other form of documentation such as email, memo, or report.   1. CPUC to facilitate to IOUs revised measures savings including population-weighted savings for overlapping climate zones. 2. Final electric savings can be applied to both central DX and HP systems. 3. IOUs should use program implementation tracking data for improving evaluation of measure cost opposed to 2018 PY Impact Evaluation surveyed data.  Given the timing, this will not be addressed as part of this workpaper update.  However, measure cost will be updated/revised using latest approved methodology and online cost. 4. NTG updates: DI 0.89 and Downstream 0.55 5. Commission staff is in the process of further evaluating measure savings estimates including “self-selection bias” impacting savings estimates.  Results from this work is expected sometime next year. 6. SCE to document within “Inquiry Form” all communications and engagement with 3rd Party Vendors (NEST/ecobee). 7. There may be challenges on the reporting and/or risk from the review/approval process when having a single workpaper addressing two offerings (DI vs. Downstream); however, IOUs are opting for supporting a single workpaper update (as done with some of the lighting workpapers) for consolidation of offerings and easy maintenance. |

**PROPOSED WORKPAPER CHANGES:** *(as needed)*

|  |
| --- |
| N/A |

**SUPPORTING DATA, DOCUMENTATION, and/or ENGINEERING TOOLS:** *(as needed)*

|  |
| --- |
| N/A |

*Instructions for attaching documents in Microsoft Word 2010:*

First, click **Insert > Text > Object > Object…**

**REVISION HISTORY AND COMMENTS:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| REV | REQUEST DATE: | REQUESTOR: | REVIEWER: | REVIEW DATE: | Reviewers  Affiliation | REVIEWER COMMENTS: |
|  | **\* Requestor completes upon each submission** | |  | | | |