CPUC Comments on SWCH049 – Residential SEER AC and HP

Lead PA: SCE

Workpaper Submittal Date: 04/06/2020

CPUC Review Date: 04/20/2020

|  |  |
| --- | --- |
| CPUC Comment | PA Response |
| General Eligibility Requirements Section:  Gas baseline for new construction for an energy efficiency measure is not valid. Please remove from workpaper and analysis. | Guidance acknowledged. NC referenced language removed. |
| EAD Tables:  Item Fieldname Worksheet(s) Comment  1 Sector MeasureExAnte Sector does not match with PEAR: Any is not valid  2 Bldgloc CostExAnte Bldgloc does not match with PEAR: Any is not valid  3 Sector CostExAnte Sector does not match with PEAR: Any is not valid  4 Normunit CostExAnte Normalizing unit does not match with PEAR: Cap-Ton is not valid | For Items 1 and 3, the Sector field is being revised from “Any” to “Res” per READi’s tables.  For Item 2, Any for BldgLoc is a valid identifier per Readi tables. Bldg Type revised to Res.  For Item 4, “Cap-Tons” is a valid identifier for based on READi’s NormUnit database table. |

Please note responses to comments in the table below, revise workpaper, and upload the entire package to the WPA. If needed, please reach out to ExAnte team to set up a call to discuss.