## Online search
Copy/paste this to CostExAnte and MeasureDataSpec
SEER |  | PA | MeasCostID | CostQualifier | BldgType | BldgVint | BldgLoc | DeliveryType | SourceDesc | Version | VersionSource | LastMod | NormUnit | CostType | GenCost | LaborCost | MatlCost | Description | Sector | UseCategory | UseSubCategory | TechGroup | TechType | TechID | MeasAppType | InstallHours | LaborRate | LocCostAdj | Status | Comment | MeasLaborID | StdLaborRateID
14 |  | Any | SWHC049_01_B001 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 500 | 1116.6667 | Res. Split AC, < 45 kBtuh, 14 SEER | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
14 |  | Any | SWHC049_01_B002 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 500 | 1116.6667 | Res. Split AC, 45 to 55 kBtuh, 14 SEER | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
14 |  | Any | SWHC049_01_B003 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 500 | 1116.6667 | Res. Split HP, 14 SEER | Any | HVAC | HeatCool | dxHP_equip | spltSEER |  |  | 0 | 0 | None | Proposed
15 |  | Any | SWHC049_01_M001 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 483.3333 | 1166.6667 | RE-HV-ResAC-45to65kBtuh-15S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
16 |  | Any | SWHC049_01_M002 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 503.1532 | 1259.9099 | RE-HV-ResAC-45to65kBtuh-16S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
17 |  | Any | SWHC049_01_M003 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 507.6577 | 1345.4955 | RE-HV-ResAC-45to65kBtuh-17S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
18 |  | Any | SWHC049_01_M004 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 512.1622 | 1431.0811 | RE-HV-ResAC-45to65kBtuh-18S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
19 |  | Any | SWHC049_01_M005 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 516.6667 | 1516.6667 | RE-HV-ResAC-45to65kBtuh-19S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
20 |  | Any | SWHC049_01_M006 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 521.1712 | 1602.2523 | RE-HV-ResAC-45to65kBtuh-20S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
21 |  | Any | SWHC049_01_M007 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 525.6757 | 1687.8378 | RE-HV-ResAC-45to65kBtuh-21S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
15 |  | Any | SWHC049_01_M008 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 483.3333 | 1166.6667 | RE-HV-ResAC-lt45kBtuh-15S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
16 |  | Any | SWHC049_01_M009 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 503.1532 | 1259.9099 | RE-HV-ResAC-lt45kBtuh-16S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
17 |  | Any | SWHC049_01_M010 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 507.6577 | 1345.4955 | RE-HV-ResAC-lt45kBtuh-17S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
18 |  | Any | SWHC049_01_M011 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 512.1622 | 1431.0811 | RE-HV-ResAC-lt45kBtuh-18S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
19 |  | Any | SWHC049_01_M012 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 516.6667 | 1516.6667 | RE-HV-ResAC-lt45kBtuh-19S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
20 |  | Any | SWHC049_01_M013 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 521.1712 | 1602.2523 | RE-HV-ResAC-lt45kBtuh-20S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
21 |  | Any | SWHC049_01_M014 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 525.6757 | 1687.8378 | RE-HV-ResAC-lt45kBtuh-21S | Any | HVAC | SpaceCool | dxAC_equip | spltSEER |  |  | 0 | 0 | None | Proposed
15 |  | Any | SWHC049_01_M015 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 483.3333 | 1166.6667 | RE-HV-ResHP-15p0S-8p7H | Any | HVAC | HeatCool | dxHP_equip | spltSEER |  |  | 0 | 0 | None | Proposed
16 |  | Any | SWHC049_01_M016 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 503.1532 | 1259.9099 | RE-HV-ResHP-16p0S-9p0H | Any | HVAC | HeatCool | dxHP_equip | spltSEER |  |  | 0 | 0 | None | Proposed
17 |  | Any | SWHC049_01_M017 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 507.6577 | 1345.4955 | RE-HV-ResHP-17p0S-9p4H | Any | HVAC | HeatCool | dxHP_equip | spltSEER |  |  | 0 | 0 | None | Proposed
18 |  | Any | SWHC049_01_M018 | Any | Any | Any | Any | Any | SWHC049-01 | ExAnte2020 | IOU workpaper | 2020-04-06 | Cap-Ton | Full |  | 512.1622 | 1431.0811 | RE-HV-ResHP-18p0S-9p7H | Any | HVAC | HeatCool | dxHP_equip | spltSEER |  |  | 0 | 0 | None | Proposed
Source: EIA - Technology Forecast Updates – Residential and Commercial Building Technologies, April 2018
The following cost data is labeled with year 2017 and attributed to EERE. 2020 projections are attributed to Navigant.
Residential central air conditioners, coil-only, 3-ton size class
[6 empty] | Per piece of equipment |  |  | Calculated: per unit cooling capacity (tons)
| Year | Item # | Size (tons) | SEER | HSPF | Retail equipment cost ($) | Total installed cost ($) | Inferred labor cost ($) | Retail equipment cost ($/ton) | Total installed cost ($/ton) | Inferred labor cost ($/ton)
| 2017* | North #1 | 3 | 13.9 | N/A | 2250 | 3650 | 1400 | 750 | 1216.6667 | 466.6667
| 2017 | North #2 | 3 | 15 | N/A | 2650 | 4000 | 1350 | 883.3333 | 1333.3333 | 450
| 2017* | North #3 | 3 | 16.5 | N/A | 3200 | 4650 | 1450 | 1066.6667 | 1550 | 483.3333
| 2017* | South #1 | 3 | 14.4 | N/A | 2350 | 3700 | 1350 | 783.3333 | 1233.3333 | 450
| 2017 | South #2 | 3 | 15 | N/A | 2650 | 4000 | 1350 | 883.3333 | 1333.3333 | 450
| 2017* | South #3 | 3 | 16.5 | N/A | 3200 | 4650 | 1450 | 1066.6667 | 1550 | 483.3333
* According to source, 2020 projections are same as 2017 data
Residential air source heat pumps, split-system, 3-ton size class
| Year | Item # | Size (tons) | SEER | HSPF | Retail equipment cost ($) | Total installed cost ($) | Inferred labor cost ($) | Retail equipment cost ($/ton) | Total installed cost ($/ton) | Inferred labor cost ($/ton)
| 2017 | #1 | 3 | 14 | 8.2 | 3350 | 4850 | 1500 | 1116.6667 | 1616.6667 | 500
| 2017 | #2 | 3 | 15 | 8.5 | 3500 | 4950 | 1450 | 1166.6667 | 1650 | 483.3333
| 2017* | #3 | 3 | 15.3 | 8.6 | 3600 | 5100 | 1500 | 1200 | 1700 | 500
| 2017* | #4 | 3 | 19 | 9 | 4550 | 6100 | 1550 | 1516.6667 | 2033.3333 | 516.6667
* According to source, 2020 projections are same as 2017 data
Analysis for workpaper
Since prices for central AC are limited to coil-only products, we will use split-system HP prices as representative of both AC and HP for this workpaper.
For SEER between 14 and 19 (data range), we use linear interpolation between nearest neighbors.
For SEER above 19 (outside data range), we use extrapolation based on linear fit of SEER 15 and SEER 19 data.
| Adjusted for Year | SEER | Low neighbor | High neighbor | x | Material low | Material high | Labor low | Labor high | Material Cost ($/ton) | Labor Cost ($/ton) | Total
| 2020 | 14 | 14 | 15 | 0 | 1116.6667 | 1166.6667 | 500 | 483.3333 | 1116.6667 | 500 | 1616.6667
| 2020 | 15 | 14 | 15 | 1 | 1116.6667 | 1166.6667 | 500 | 483.3333 | 1166.6667 | 483.3333 | 1650
| 2020 | 16 | 15.3 | 19 | 0.18919 | 1200 | 1516.6667 | 500 | 516.6667 | 1259.9099 | 503.1532 | 1763.0631
| 2020 | 17 | 15.3 | 19 | 0.45946 | 1200 | 1516.6667 | 500 | 516.6667 | 1345.4955 | 507.6577 | 1853.1532
| 2020 | 18 | 15.3 | 19 | 0.72973 | 1200 | 1516.6667 | 500 | 516.6667 | 1431.0811 | 512.1622 | 1943.2432
| 2020 | 19 | 15.3 | 19 | 1 | 1200 | 1516.6667 | 500 | 516.6667 | 1516.6667 | 516.6667 | 2033.3333
| 2020 | 20 | 15.3 | 19 | 1.2703 | 1200 | 1516.6667 | 500 | 516.6667 | 1602.2523 | 521.1712 | 2123.4234
| 2020 | 21 | 15.3 | 19 | 1.5405 | 1200 | 1516.6667 | 500 | 516.6667 | 1687.8378 | 525.6757 | 2213.5135

## CostIndexLookup
OfferingIDSuffix | WorkpaperMeasureID | DEER_Measure_MAT_Combo | BaselineCostIndex | MeasureCostIndex
A | SWHC049A | RE-HV-ResAC-45to65kBtuh-15S (AR only) | SWHC049_01_B002 | SWHC049_01_M001
B | SWHC049B | RE-HV-ResAC-45to65kBtuh-16S (AR only) | SWHC049_01_B002 | SWHC049_01_M002
C | SWHC049C | RE-HV-ResAC-45to65kBtuh-17S (AR only) | SWHC049_01_B002 | SWHC049_01_M003
D | SWHC049D | RE-HV-ResAC-45to65kBtuh-18S (AR only) | SWHC049_01_B002 | SWHC049_01_M004
E | SWHC049E | RE-HV-ResAC-45to65kBtuh-19S (AR only) | SWHC049_01_B002 | SWHC049_01_M005
F | SWHC049F | RE-HV-ResAC-45to65kBtuh-20S (AR only) | SWHC049_01_B002 | SWHC049_01_M006
G | SWHC049G | RE-HV-ResAC-45to65kBtuh-21S (AR only) | SWHC049_01_B002 | SWHC049_01_M007
H | SWHC049H | RE-HV-ResAC-lt45kBtuh-15S (AR only) | SWHC049_01_B001 | SWHC049_01_M008
I | SWHC049I | RE-HV-ResAC-lt45kBtuh-16S (AR only) | SWHC049_01_B001 | SWHC049_01_M009
J | SWHC049J | RE-HV-ResAC-lt45kBtuh-17S (AR only) | SWHC049_01_B001 | SWHC049_01_M010
K | SWHC049K | RE-HV-ResAC-lt45kBtuh-18S (AR only) | SWHC049_01_B001 | SWHC049_01_M011
L | SWHC049L | RE-HV-ResAC-lt45kBtuh-19S (AR only) | SWHC049_01_B001 | SWHC049_01_M012
M | SWHC049M | RE-HV-ResAC-lt45kBtuh-20S (AR only) | SWHC049_01_B001 | SWHC049_01_M013
N | SWHC049N | RE-HV-ResAC-lt45kBtuh-21S (AR only) | SWHC049_01_B001 | SWHC049_01_M014
O | SWHC049O | RE-HV-ResHP-15p0S-8p7H (AR only) | SWHC049_01_B003 | SWHC049_01_M015
P | SWHC049P | RE-HV-ResHP-16p0S-9p0H (AR only) | SWHC049_01_B003 | SWHC049_01_M016
Q | SWHC049Q | RE-HV-ResHP-17p0S-9p4H (AR only) | SWHC049_01_B003 | SWHC049_01_M017
R | SWHC049R | RE-HV-ResHP-18p0S-9p7H (AR only) | SWHC049_01_B003 | SWHC049_01_M018
S | SWHC049S | RE-HV-ResAC-45to65kBtuh-15S (NR only) | SWHC049_01_B002 | SWHC049_01_M001
T | SWHC049T | RE-HV-ResAC-45to65kBtuh-16S (NR only) | SWHC049_01_B002 | SWHC049_01_M002
U | SWHC049U | RE-HV-ResAC-45to65kBtuh-17S (NR only) | SWHC049_01_B002 | SWHC049_01_M003
V | SWHC049V | RE-HV-ResAC-45to65kBtuh-18S (NR only) | SWHC049_01_B002 | SWHC049_01_M004
W | SWHC049W | RE-HV-ResAC-45to65kBtuh-19S (NR only) | SWHC049_01_B002 | SWHC049_01_M005
X | SWHC049X | RE-HV-ResAC-45to65kBtuh-20S (NR only) | SWHC049_01_B002 | SWHC049_01_M006
Y | SWHC049Y | RE-HV-ResAC-45to65kBtuh-21S (NR only) | SWHC049_01_B002 | SWHC049_01_M007
Z | SWHC049Z | RE-HV-ResAC-lt45kBtuh-15S (NR only) | SWHC049_01_B001 | SWHC049_01_M008
AA | SWHC049AA | RE-HV-ResAC-lt45kBtuh-16S (NR only) | SWHC049_01_B001 | SWHC049_01_M009
AB | SWHC049AB | RE-HV-ResAC-lt45kBtuh-17S (NR only) | SWHC049_01_B001 | SWHC049_01_M010
AC | SWHC049AC | RE-HV-ResAC-lt45kBtuh-18S (NR only) | SWHC049_01_B001 | SWHC049_01_M011
AD | SWHC049AD | RE-HV-ResAC-lt45kBtuh-19S (NR only) | SWHC049_01_B001 | SWHC049_01_M012
AE | SWHC049AE | RE-HV-ResAC-lt45kBtuh-20S (NR only) | SWHC049_01_B001 | SWHC049_01_M013
AF | SWHC049AF | RE-HV-ResAC-lt45kBtuh-21S (NR only) | SWHC049_01_B001 | SWHC049_01_M014
AG | SWHC049AG | RE-HV-ResHP-15p0S-8p7H (NR only) | SWHC049_01_B003 | SWHC049_01_M015
AH | SWHC049AH | RE-HV-ResHP-16p0S-9p0H (NR only) | SWHC049_01_B003 | SWHC049_01_M016
AI | SWHC049AI | RE-HV-ResHP-17p0S-9p4H (NR only) | SWHC049_01_B003 | SWHC049_01_M017
AJ | SWHC049AJ | RE-HV-ResHP-18p0S-9p7H (NR only) | SWHC049_01_B003 | SWHC049_01_M018
AK | SWHC049AK | RE-HV-ResAC-45to65kBtuh-15S (NC only) | SWHC049_01_B002 | SWHC049_01_M001
AL | SWHC049AL | RE-HV-ResAC-45to65kBtuh-16S (NC only) | SWHC049_01_B002 | SWHC049_01_M002
AM | SWHC049AM | RE-HV-ResAC-45to65kBtuh-17S (NC only) | SWHC049_01_B002 | SWHC049_01_M003
AN | SWHC049AN | RE-HV-ResAC-45to65kBtuh-18S (NC only) | SWHC049_01_B002 | SWHC049_01_M004
AO | SWHC049AO | RE-HV-ResAC-45to65kBtuh-19S (NC only) | SWHC049_01_B002 | SWHC049_01_M005
AP | SWHC049AP | RE-HV-ResAC-45to65kBtuh-20S (NC only) | SWHC049_01_B002 | SWHC049_01_M006
AQ | SWHC049AQ | RE-HV-ResAC-45to65kBtuh-21S (NC only) | SWHC049_01_B002 | SWHC049_01_M007
AR | SWHC049AR | RE-HV-ResAC-lt45kBtuh-15S (NC only) | SWHC049_01_B001 | SWHC049_01_M008
AS | SWHC049AS | RE-HV-ResAC-lt45kBtuh-16S (NC only) | SWHC049_01_B001 | SWHC049_01_M009
AT | SWHC049AT | RE-HV-ResAC-lt45kBtuh-17S (NC only) | SWHC049_01_B001 | SWHC049_01_M010
AU | SWHC049AU | RE-HV-ResAC-lt45kBtuh-18S (NC only) | SWHC049_01_B001 | SWHC049_01_M011
AV | SWHC049AV | RE-HV-ResAC-lt45kBtuh-19S (NC only) | SWHC049_01_B001 | SWHC049_01_M012
AW | SWHC049AW | RE-HV-ResAC-lt45kBtuh-20S (NC only) | SWHC049_01_B001 | SWHC049_01_M013
AX | SWHC049AX | RE-HV-ResAC-lt45kBtuh-21S (NC only) | SWHC049_01_B001 | SWHC049_01_M014
AY | SWHC049AY | RE-HV-ResHP-15p0S-8p7H (NC only) | SWHC049_01_B003 | SWHC049_01_M015
AZ | SWHC049AZ | RE-HV-ResHP-16p0S-9p0H (NC only) | SWHC049_01_B003 | SWHC049_01_M016
BA | SWHC049BA | RE-HV-ResHP-17p0S-9p4H (NC only) | SWHC049_01_B003 | SWHC049_01_M017
BB | SWHC049BB | RE-HV-ResHP-18p0S-9p7H (NC only) | SWHC049_01_B003 | SWHC049_01_M018