## Summary
|  |  |  | Conveyance | Dust Collection | Drying/ Dehumid | Cooking | Cooling | Exhaust
Quantity of Customer Responses | 15 |  | 1 to 3 Fans | 2 | 4 | 0 | 0 | 2 | 2
Quantity of Seasonal Customers | 3 |  | 4 to 6 Fans | 1 | 1 | 2 | 1 | 0 | 1
|  |  | 7 to 10 Fans | 0 | 1 | 0 | 0 | 2 | 2
Average Facility Prod. Capacity | 72.33% |  | >10 Fans | 3 | 2 | 4 | 0 | 4 | 4
Average Number of Prod. Months | 10.5333 |  | Sum | 6 | 8 | 6 | 1 | 8 | 9
Average Number of High Prod. Months | 6.6667
Average Daily Operating Hours | 22.1333 | Hrs/day | Ave. Horsepower Size | 14.375 | 75.3125 | 62.75 | 75 | 22.6667 | 8.5556
Ave. Number of Down Days Per year | 37.3333 | Days/Year | Ave. Operating Hrs | 3543 | 4806.3333 | 5744 | 4000 | 4588.75 | 4089.75
Ave. EE Simple Paybavk Criteria | 4.6 | Years
Percent Participation in PG&E Programs | 73.33% |  | Interlocked with other systems | 4 | 4 | 2 | 0 | 3 | 0
|  |  | Manual On & Off | 1 | 3 | 0 | 0 | 1 | 4
Percent of Respondants for the following: |  |  | Automatic On & Off by timer | 1 | 0 | 4 | 0 | 1 | 3
When purchasing new fans/equipment, VSDs are purchased as standard practice | 66.67% |  | Senor controlled operation | 0 | 1 | 0 | 1 | 3 | 2
Installed VSDs at the facility are used as soft starts | 40% |  |  | 6 | 8 | 6 | 1 | 8 | 9
The facility has interest in VSD applications for non-fan technologies | 66.67%
The facility has a centralized SCADA/Control system | 46.67% |  | None | 3 | 4 | 2 | 0 | 5 | 5
There is an onsite programming and control personnel | 33.33% |  | Dampers | 1 | 1 | 0 | 0 | 0 | 1
|  |  | Guide Vanes | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Variable Speed Drive (VSD) | 2 | 3 | 3 | 1 | 3 | 3
|  |  |  | 6 | 8 | 5 | 1 | 8 | 9

## All Responses
Please select your Industry (Select the Best Option) |  | NAICS Code (Optional) | What are the main products that your facility produce? | Relative to your production capacity, what is your monthly average production load? | Select the months when your facility is in production: | [12 empty] | Which months do you experience the highest production load | [12 empty] | What is the average hours per day the facility is operating? | How many days per year does the facility shut down? (Holidays, Maintenance, downtime) | When green lighting capital projects, what is the maximum simple payback? | Have you received a PG&E incentive or rebate in the past five years at the facility? | Does the facility utilize fans for product conveyance? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | How many machines or lines does a single conveyance fan serve. | These fans are used for dust collection for baghouses or dust management | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What is the Quantity of equipment served by a single baghouse or dust management system? | Does the facility use lockout dampers to reduced flow when equipment is not in operation? | What is the average differential pressure across a baghouse? (inches of water) | Does the facility utilizes fans for Drying & Dehumidification? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What temperature of air is needed for the drying process? | Do you recirculate any warm/hot air during dehumidification? | How does the system monitor or control the moisture content of the product? | Does the facility monitor the relative humidity of the air leaving the system? | Does the facility utilizes fans for Cooking? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | Do you exhaust air to a Thermal Oxidizer? | Does the facility utilizes fans for Cooling? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | Does the product cooling fans direct air into a closed (ducted) or open (conveyor) system? |  | What is the minimum allowable temperature of the product to be considered cooled? | What is the temperature of the product entering the cooling area? | Does the facility utilizes fans for Exhaust and Air Circulation? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What parameters are measured and monitored in the served area? | For the areas being served by the fans, what is the typical operating capacity of the system? | Please select all the following that apply to the facility:
Response | Other (please specify) | Open-Ended Response | Open-Ended Response | Open-Ended Response | January | February | March | April | May | June | July | August | September | October | November | December | # of Production Months | January | February | March | April | May | June | July | August | September | October | November | December | # of high Production Months | Open-Ended Response | Open-Ended Response | Open-Ended Response | Response | Response | Response | Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Response | Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Delta T | Open-Ended Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Open-Ended Response | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
Dried and Dehydrated Food Manufacturing and/or Packaging | N/A | 311212 | Brown and milled rice | 8 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | [9 empty] | October | November | December | 3 | 24 | 25 | 7 | Yes | Yes | 4 to 6 Fans | 8.75 | Interlocked with other systems | None | 8160 | 1 | YES | 4 to 6 Fans | 140 | Interlocked with other systems | None | 8160 | 3 | No | 2" | No | [9 empty] | No | [6 empty] | No | [6 empty] | 0 |  |  | No | [7 empty] | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
Other (please specify) | Mushroom growing and processing | N/A | Mushrooms | 95 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | [10 empty] | November | December | 2 | 24 | 0 | 3 | Yes | No | [6 empty] | NO | [8 empty] | Yes | >10 Fans | 30 | Interlocked with other systems | Variable Speed Drive | 8760 | Varies | Yes | Realtime Sensor Control of Air | No | Yes | 4 to 6 Fans | 75 | Senor controlled operation | Variable Speed Drive | 4000 | Not Applicable | Yes | >10 Fans | 30 | Interlocked with other systems | Variable Speed Drive | 8760 | Closed | 20 | 40 | 60 | No | [7 empty] | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
Tortilla Manufacturing | N/A | N/A | Tortilla | 51 | January | February | March | April | May | June | July | August | September | October | November | December | 12 |  |  |  |  | May | June | July | August |  |  |  |  | 4 | 24 | 5 | 2 | Yes | [40 empty] | 0
Other (please specify) | Tomato Processing | 311421 | Bulk tomato paste and diced tomatoes | 100 | [6 empty] | July | August | September | October |  |  | 4 | [6 empty] | July | August | September |  |  |  | 3 | 24 | 20 | 2 | Yes | No | [6 empty] | NO | [8 empty] | No | [9 empty] | No | [6 empty] | No | [6 empty] | 0 |  |  | Yes | 7 to 10 Fans | 30 | Manual On & Off | None | 2250 | Temperature and humidity | 100 |  |  | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
Grain and Oilseed Milling, Processing, and/or Packaging | N/A | 311212 | Rice & rice products | 80 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | January | [7 empty] | September | October | November | December | 5 | 24 | 5 | 10 | Yes | No | [6 empty] | YES | >10 Fans | 20 | Senor controlled operation | None | 4,000 |  | Yes | No idea | Yes | >10 Fans | 30 | Automatic On & Off by timer | None | 4000 | 160 | Yes | Realtime Sensor Control of Air | Yes | No | [6 empty] | No | [6 empty] | 0 |  |  | Yes | >10 Fans | 10 | Senor controlled operation | Variable Speed Drive | 8000 | No idea | 80 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
Other (please specify) | Walnut Shell Milling & Packaging | N/A | Ground Walnut Shell | 95 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | 24 | 9 | 5 | No | No | [6 empty] | YES | 7 to 10 Fans | 177.5 | Interlocked with other systems | Variable Speed Drive | 6,800 | 3 | No | Varies | No | [9 empty] | No | [6 empty] | Yes | 1 to 3 Fans | 50 | Interlocked with other systems | Variable Speed Drive | 4050 | Closed | 90 | 90 | 180 | Yes | 1 to 3 Fans | 1 | Automatic On & Off by timer | None | 1600 | Temperature | 30 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies
Nuts Drying, Processing, and/or Packaging | N/A | N/A | Walnuts | 100 | [7 empty] | August | September | October | November |  | 4 | [7 empty] | August | September | October | November |  | 4 | 24 | 150 | 5 | No | No | [6 empty] | YES | 1 to 3 Fans | 150 | Manual On & Off | Variable Speed Drive | 1920 |  | No |  | Yes | 4 to 6 Fans | 200 | Automatic On & Off by timer | Variable Speed Drive | 4000 | 105 | Yes | Realtime Sensor Control of Product | Yes | No | [6 empty] | Yes | 1 to 3 Fans | 25 | Manual On & Off | None | 1800 | Open | 0 |  |  | No | [7 empty] | When purchasing new fans/equipment, VSDs are purchased as standard practice |  | The facility has interest in VSD applications for non-fan technologies
Beverage / Bottled Water Manufacturing and/or Packaging | N/A | 312120 | Beer | 60 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | 24 | 6 | 10 | Yes | Yes | 1 to 3 Fans | 8.75 | Interlocked with other systems | Variable Speed Drive (VSD) | 1800 | 1 | NO | [8 empty] | No | [9 empty] | No | [6 empty] | No | >10 Fans | 10 | Senor controlled operation | None | 2000 |  | 0 |  |  | Yes | >10 Fans | 10 | Senor controlled operation | Variable Speed Drive | 2500 | Temperature |  | When purchasing new fans/equipment, VSDs are purchased as standard practice |  | The facility has interest in VSD applications for non-fan technologies |  | There is an onsite programming and control personnel
Mayonnaise, Dressing, and Other Sauce Manufacturing and/or Packaging | N/A | N/A | Culinary Sauces | 85 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | 24 | 50 | 4 | Yes | No | [6 empty] | NO | [5 empty] | 0 |  | N\A | No | [8 empty] | Not Applicable | No | [5 empty] | Not Applicable | [7 empty] | 0
Other (please specify) | Cold Storage Warehousing | 493120 | Cold Storage of Food Products | 50 |  |  |  | April | May | June | July | August | September | October |  |  | 7 |  |  |  |  | May | June | July | [5 empty] | 3 | 16 | 6 | 5 | Yes | Yes | >10 Fans | 8.75 | Interlocked with other systems | None | 18 | 1 | NO | 1 to 3 Fans | 10 | Manual On & Off | None | 2520 | 1 | No |  | No | [9 empty] | No | [6 empty] | Yes | >10 Fans | 10 | Interlocked with other systems | None | 3780 | Open | 0 | 0 | 0 | Yes | 1 to 3 Fans | 10 | Automatic On & Off by timer | Dampers | 8 | PPM | 25
Other (please specify) | Dairy Manufacturing | 311513 | Cheddar cheese, whey byproducts | 75 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | 24 | 104 | 5 | Yes | No | [15 empty] | Yes | >10 Fans | 22.5 | Automatic On & Off by timer |  | 8760 | Above condensation point | Yes | Realtime Sensor Control of Air | No | [7 empty] | Yes | >10 Fans | 25 | Automatic On & Off by timer | None | 8760 |  | 0 |  |  | Yes | >10 Fans | 2.5 | Manual On & Off | None | 8760 | Temperature and pressure | 90 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
Other (please specify) | Olive canning | N/A | Olives | 76 | January | February | March | April | May | June |  | August | September | October | November | December | 11 |  | February | March | April |  |  |  | August | September | October |  |  | 6 | 22 | 40 | 4 | Yes | Yes | 1 to 3 Fans | 5 | Automatic On & Off by timer | None | 22 | 2 | YES | 1 to 3 Fans | 10 | Manual On & Off | None | 5280 | 2 | No | 4 | No | [9 empty] | No | [6 empty] | Yes | 7 to 10 Fans | 2 | Senor controlled operation | None | 3960 | Open | 0 |  |  | Yes | 4 to 6 Fans | 1 | Manual On & Off | None |  |  |  | When purchasing new fans/equipment, VSDs are purchased as standard practice |  |  | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
Other (please specify) | Seafood processing | N/A | Seafood | 70 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | January |  |  | April | May | June | July | August | September |  |  | December | 8 | 12 | 0 | 2 | No | [40 empty] | 0
Confectionery Manufacturing and/or Packaging | N/A | N/A | Jelly Beans, gummy, | 100 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | January | February | [5 empty] | August | September | October | November | December | 7 | 18 | 70 | 0 | No | Yes | >10 Fans | 5 | Manual On & Off | Variable Speed Drive (VSD) | 4500 | 1 | YES | 1 to 3 Fans | 5 | Interlocked with other systems | Variable Speed Drive | 4200 | 1 | No | 2 to 6 | Yes | >10 Fans | 4 | Automatic On & Off by timer | Variable Speed Drive | 3200 | 110 - 130 F | Yes | Realtime Sensor Control of Air | Yes | No | [6 empty] | Yes | 7 to 10 Fans | 2 | Senor controlled operation | Variable Speed Drive | 3600 | Closed | 12.5 | 70 | 82.5 | Yes | 7 to 10 Fans | 2.5 | Automatic On & Off by timer | Variable Speed Drive | 3600 | temperature and humidity | 65 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies |  | There is an onsite programming and control personnel
Grain and Oilseed Milling, Processing, and/or Packaging | N/A | N/A | Rice | 40 | January | February | March | April | May | June | July | August | September | October | November | December | 12 | January | February | March | April | May | [5 empty] | November | December | 7 | 24 | 70 | 5 | Yes | Yes | >10 Fans | 50 | Interlocked with other systems | Dampers | 6758 | 3 | YES | >10 Fans | 90 | Interlocked with other systems | Dampers | 6758 | 3 | No | 3 | Yes | 4 to 6 Fans | 90 | Interlocked with other systems | None | varies | 95 | No | Realtime Sensor Control of Product | No | No | [5 empty] | Not Applicable | No |  | 50 |  |  |  |  | 0 |  |  | Yes | >10 Fans | 10 | Manual On & Off | None | 6000 | none | 41 | When purchasing new fans/equipment, VSDs are purchased as standard practice |  | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
[17 empty] | 0 | [12 empty] | 0
[17 empty] | 0 | [12 empty] | 0
[17 empty] | 0 | [12 empty] | 0 | [37 empty] | # of Responses | Ave HP
[17 empty] | 0 | [12 empty] | 0 | [36 empty] | 1 to 3 Fans | 2
[17 empty] | 0 | [12 empty] | 0 | [11 empty] | # of Responses | [24 empty] | 4 to 6 Fans | 0 | 73.75
[17 empty] | 0 | [12 empty] | 0 | [10 empty] | 1 to 3 Fans | 4 | [24 empty] | 7 to 10 Fans | 2 | 2
[17 empty] | 0 | [12 empty] | 0 |  |  |  |  | >10 Fans | [5 empty] | 4 to 6 Fans | 1 | [24 empty] | >10 Fans | 4 | 17.5
[17 empty] | 0 | [12 empty] | 0 | [10 empty] | 7 to 10 Fans | 1 | [25 empty] | 8
[41 empty] | >10 Fans | 2
[42 empty] | 8 | [24 empty] | Manual On & Off | 1
[67 empty] | Interlocked with other systems | 3
[41 empty] | Manual On & Off | 3 | [24 empty] | Senor controlled operation | 3
[41 empty] | Interlocked with other systems | 4 | [24 empty] | Automatic On & Off by timer | 1
[41 empty] | Senor controlled operation | 1 | [25 empty] | 8
8
[67 empty] | None | 5
[41 empty] | None | 4 | [24 empty] | Dampers | 0
[41 empty] | Dampers | 1 | [24 empty] | Variable Speed Drive | 3
[41 empty] | Variable Speed Drive | 3 | [25 empty] | 8
8
[67 empty] | Average Operating Hours | 4588.75
[41 empty] | Average Operating Hours | 4806.3333 | [24 empty] | Product Delta T | 40.8333
[41 empty] | Average Pressure Delta | 3.25 | [24 empty] | Closed Duct Sys | 3
[41 empty] | Lock out Dampers Yes | 1 | [24 empty] | Open Duct Sys | 3
[41 empty] | Lock out Dampers No | 7
Note on AV9: Ethan Clifford: Entered as 16, Assumed 16 hrs per day over 4 months of their opp.
Note on BV9: Ethan Clifford: Entered as 15, assumed 15 hrs per day. Applied to 4 months of Opp
Note on AV12: Ethan Clifford: Entered 12, assumed they put hrs/day and applied to 7 months of opp.
Note on BV12: Ethan Clifford: Entered 18, assumed per day and applied to 7 months of opp.
Note on AV14: Ethan Clifford: Entered 11, assumed hrs/day. Applied to 11 months of operation.
Note on BV14: Ethan Clifford: Put 11, assumed 11 hrs per day, applied to 11 months of opp.

## Seasonal Operation
Please select your Industry (Select the Best Option) |  | NAICS Code (Optional) | What are the main products that your facility produce? | Relative to your production capacity, what is your monthly average production load? | Select the months when your facility is in production: | [11 empty] | Which months do you experience the highest production load | [11 empty] | What is the average hours per day the facility is operating? | How many days per year does the facility shut down? (Holidays, Maintenance, downtime) | When green lighting capital projects, what is the maximum simple payback? | Have you received a PG&E incentive or rebate in the past five years at the facility? | Does the facility utilize fans for product conveyance? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | How many machines or lines does a single conveyance fan serve. | These fans are used for dust collection for baghouses or dust management | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What is the Quantity of equipment served by a single baghouse or dust management system? | Does the facility use lockout dampers to reduced flow when equipment is not in operation? | What is the average differential pressure across a baghouse? (inches of water) | Does the facility utilizes fans for Drying & Dehumidification? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What temperature of air is needed for the drying process? | Do you recirculate any warm/hot air during dehumidification? | How does the system monitor or control the moisture content of the product? | Does the facility monitor the relative humidity of the air leaving the system? | Does the facility utilizes fans for Cooking? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | Do you exhaust air to a Thermal Oxidizer? | Does the facility utilizes fans for Cooling? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | Does the product cooling fans direct air into a closed (ducted) or open (conveyor) system? |  | What is the minimum allowable temperature of the product to be considered cooled? | What is the temperature of the product entering the cooling area? | Does the facility utilizes fans for Exhaust and Air Circulation? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What parameters are measured and monitored in the served area? | For the areas being served by the fans, what is the typical operating capacity of the system? | Please select all the following that apply to the facility:
Response | Other (please specify) | Open-Ended Response | Open-Ended Response | Open-Ended Response | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | Open-Ended Response | Open-Ended Response | Open-Ended Response | Response | Response | Response | Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Response | Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Other (please specify) | Open-Ended Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Open-Ended Response | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
Other (please specify) | Tomato Processing | 311421 | Bulk tomato paste and diced tomatoes | 100 | [6 empty] | July | August | September | October | [8 empty] | July | August | September |  |  |  | 24 | 20 | 2 | Yes | No | [6 empty] | NO | [8 empty] | No | [9 empty] | No | [6 empty] | No | [9 empty] | Yes | 7 to 10 Fans | 5 - 40 | Manual On & Off | None | 2250 | Temperature and humidity | 100 |  |  | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
Nuts Drying, Processing, and/or Packaging |  |  | Walnuts | 100 | [7 empty] | August | September | October | November | [8 empty] | August | September | October | November |  | 24 | 150 | 5 | No | No | [6 empty] | YES | 1 to 3 Fans | 150 | Manual On & Off | Variable Speed Drive | 16 |  | No |  | Yes | 4 to 6 Fans | 200 | Automatic On & Off by timer | Variable Speed Drive | 24 | 105 | Yes | Realtime Sensor Control of Product | Yes | No | [6 empty] | Yes | 1 to 3 Fans | 25 | Manual On & Off | None | 15 | Open |  |  |  | No | [7 empty] | When purchasing new fans/equipment, VSDs are purchased as standard practice |  | The facility has interest in VSD applications for non-fan technologies
Other (please specify) | Cold Storage Warehousing | 493120 | Cold Storage of Food Products | 50 |  |  |  | April | May | June | July | August | September | October | [6 empty] | May | June | July | [5 empty] | 16 | 6 | 5 | Yes | Yes | >10 Fans | 7.5 to 10 | Interlocked with other systems | None | 18 | 1 | NO | 1 to 3 Fans | 10 | Manual On & Off | None | 12 | 1 Room | No |  | No | [9 empty] | No | [6 empty] | Yes | >10 Fans | 10 hp | Interlocked with other systems | None | 18 | Open |  | -0 F | -0 F | Yes | 1 to 3 Fans | 10 hp | Automatic On & Off by timer | Dampers | 8 | PPM | 25
|  |  |  | 53 | [6 empty] | July | August | September | October | [10 empty] | September |  |  |  | 17 | 120 | 3 | Yes | Yes | 7 to 10 Fans | 15 to 25 | Manual On & Off | Dampers | 1500 | 5 | YES | 4 to 6 Fans | 15 - 20 | Manual On & Off | None | 400 | 2 | No |  | No | 7 to 10 Fans |  |  | Variable Speed Drive |  |  |  | Realtime Sensor Control of Air | Not Applicable
Operation

## Annual Operation
Please select your Industry (Select the Best Option) |  | NAICS Code (Optional) | What are the main products that your facility produce? | Relative to your production capacity, what is your monthly average production load? | Select the months when your facility is in production: | [11 empty] | Which months do you experience the highest production load | [11 empty] | What is the average hours per day the facility is operating? | How many days per year does the facility shut down? (Holidays, Maintenance, downtime) | When green lighting capital projects, what is the maximum simple payback? | Have you received a PG&E incentive or rebate in the past five years at the facility? | Does the facility utilize fans for product conveyance? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | How many machines or lines does a single conveyance fan serve. | These fans are used for dust collection for baghouses or dust management | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What is the Quantity of equipment served by a single baghouse or dust management system? | Does the facility use lockout dampers to reduced flow when equipment is not in operation? | What is the average differential pressure across a baghouse? (inches of water) | Does the facility utilizes fans for Drying & Dehumidification? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What temperature of air is needed for the drying process? | Do you recirculate any warm/hot air during dehumidification? | How does the system monitor or control the moisture content of the product? | Does the facility monitor the relative humidity of the air leaving the system? | Does the facility utilizes fans for Cooking? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | Do you exhaust air to a Thermal Oxidizer? | Does the facility utilizes fans for Cooling? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | Does the product cooling fans direct air into a closed (ducted) or open (conveyor) system? |  | What is the minimum allowable temperature of the product to be considered cooled? | What is the temperature of the product entering the cooling area? | Does the facility utilizes fans for Exhaust and Air Circulation? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What parameters are measured and monitored in the served area? | For the areas being served by the fans, what is the typical operating capacity of the system? | Please select all the following that apply to the facility:
Response | Other (please specify) | Open-Ended Response | Open-Ended Response | Open-Ended Response | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | Open-Ended Response | Open-Ended Response | Open-Ended Response | Response | Response | Response | Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Response | Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Other (please specify) | Open-Ended Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Open-Ended Response | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
Dried and Dehydrated Food Manufacturing and/or Packaging |  | 311212 | Brown and milled rice | 8 | January | February | March | April | May | June | July | August | September | October | November | December | [9 empty] | October | November | December | 24 | 25 | 7 | Yes | Yes | 4 to 6 Fans | 7.5 to 10 | Interlocked with other systems | None | 8160 | 1 | YES | 4 to 6 Fans | 60-200 | Interlocked with other systems | None | 8160 | combination of all equipment | No | 2" | No | [9 empty] | No | [6 empty] | No | [9 empty] | No | [7 empty] | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
Other (please specify) | Mushroom growing and processing |  | Mushrooms | 95 | January | February | March | April | May | June | July | August | September | October | November | December | [10 empty] | November | December | 24 | 0 | 3 | Yes | No | [6 empty] | NO | [8 empty] | Yes | >10 Fans | 10-50 | Interlocked with other systems | Variable Speed Drive | 8760 | Varies | Yes | Realtime Sensor Control of Air | No | Yes | 4 to 6 Fans | 50-100 | Senor controlled operation | Variable Speed Drive | 4000 | Not Applicable | Yes | >10 Fans | 10-50 | Interlocked with other systems | Variable Speed Drive | 8760 | Closed |  | 40 | 60 | No | [7 empty] | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
[33 empty] | Yes | 1 to 3 Fans | <=5 | Manual On & Off | Variable Speed Drive (VSD) | 2080 | 2 | YES
Tortilla Manufacturing |  |  | Tortilla | 51 | January | February | March | April | May | June | July | August | September | October | November | December |  |  |  |  | May | June | July | August |  |  |  |  | 24 | 5 | 2 | Yes
Grain and Oilseed Milling, Processing, and/or Packaging |  | 311212 | Rice & rice products | 80 | January | February | March | April | May | June | July | August | September | October | November | December | January | [7 empty] | September | October | November | December | 24 | At least 5 | 10 | Yes | No | [6 empty] | YES | >10 Fans | 20 | Senor controlled operation | None | 4,000 |  | Yes | No idea | Yes | >10 Fans | 30 | Automatic On & Off by timer | None | 4000 | 160 | Yes | Realtime Sensor Control of Air | Yes | No | [6 empty] | No | [9 empty] | Yes | >10 Fans | 10 | Senor controlled operation | Variable Speed Drive | 8000 | No idea | 80 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
Other (please specify) | Walnut Shell Milling & Packaging |  | Ground Walnut Shell | 95 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | 24 | 9 | 5 | No | No | [6 empty] | YES | 7 to 10 Fans | 30-325 | Interlocked with other systems | Variable Speed Drive | 6,800 | Varies | No | Varies | No | [9 empty] | No | [6 empty] | Yes | 1 to 3 Fans | 50 | Interlocked with other systems | Variable Speed Drive | 4050 | Closed |  | 90 | 180 | Yes | 1 to 3 Fans | 1 | Automatic On & Off by timer | None | 1600 | Temperature | 30 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies
Beverage / Bottled Water Manufacturing and/or Packaging |  | 312120 | Beer | 60 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | 24 | 6 | 10 | Yes | Yes | 1 to 3 Fans | 7.5 to 10 | Interlocked with other systems | Variable Speed Drive (VSD) | 1800 | 1 | NO | [8 empty] | No | [9 empty] | No | [6 empty] | No | >10 Fans | 2-20 | Senor controlled operation | None | 2000 |  |  |  |  | Yes | >10 Fans | 2-25 | Senor controlled operation | Variable Speed Drive | 2500 | Temperature |  | When purchasing new fans/equipment, VSDs are purchased as standard practice |  | The facility has interest in VSD applications for non-fan technologies |  | There is an onsite programming and control personnel
Mayonnaise, Dressing, and Other Sauce Manufacturing and/or Packaging |  |  | Culinary Sauces | 85 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | 24 | 45-50 days | 4 | Yes | No |  |  |  |  | 0 | 0 | NO |  | 0 |  |  | 0 | 0 |  | N\A | No |  | N\A |  |  | N\A | N\A | Not Applicable |  | Not Applicable | No |  | N\A |  |  | N\A | Not Applicable
Other (please specify) | Dairy Manufacturing | 311513 | Cheddar cheese, whey byproducts | 75 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | 24 | 104 | 5 | Yes | No |  |  | Manual On & Off | None | 7800 | 0 | [9 empty] | Yes | >10 Fans | 5 to 40 | Automatic On & Off by timer |  | 8760 | Above condensation point | Yes | Realtime Sensor Control of Air | No | [7 empty] | Yes | >10 Fans | 5 to 40 | Automatic On & Off by timer | None | 8760 |  |  |  |  | Yes | >10 Fans | 1 to 5 | Manual On & Off | None | 8760 | Temperature and pressure | 90 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
Other (please specify) | Olive canning |  | Olives | 76 | January | February | March | April | May | June |  | August | September | October | November | December |  | February | March | April |  |  |  | August | September | October |  |  | 22 | 40 | 4 | Yes | No | 1 to 3 Fans | <=5 | Automatic On & Off by timer | None | 22 | 2 | YES | 1 to 3 Fans | 10 | Manual On & Off | None | 16 | 2 | No | 4 | No | [9 empty] | No | [6 empty] | Yes | 7 to 10 Fans | 0.5-3 | Senor controlled operation | None | 12 | Open |  |  |  | Yes | 4 to 6 Fans | 1 | Manual On & Off | None |  |  |  | When purchasing new fans/equipment, VSDs are purchased as standard practice |  |  | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
Other (please specify) | Seafood processing |  | Seafood | 70 | January | February | March | April | May | June | July | August | September | October | November | December | January |  |  | April | May | June | July | August | September |  |  | December | 12 | 0 | 2 | No
Confectionery Manufacturing and/or Packaging |  |  | Jelly Beans, gummy, | 100 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | [5 empty] | August | September | October | November | December | 18 | 65 - 70 | 0 | No | Yes | >10 Fans | <=5 | Manual On & Off | Variable Speed Drive (VSD) | aproximately 4500 hours | 1 | YES | 1 to 3 Fans | 5 HP | Interlocked with other systems | Variable Speed Drive | Aproximately 4200 hours | 1 | No | 2 to 6 | Yes | >10 Fans | 3 to 5 HP | Automatic On & Off by timer | Variable Speed Drive | 3200 hours | 110 - 130 F | Yes | Realtime Sensor Control of Air | Yes | No | [6 empty] | Yes | 7 to 10 Fans | 2 HP | Senor controlled operation | Variable Speed Drive | 3600 | Closed |  | 70 F | 80 - 85 | Yes | 7 to 10 Fans | 2 - 3 HP | Automatic On & Off by timer | Variable Speed Drive | 3600 | temperature and humidity | 65 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies |  | There is an onsite programming and control personnel
Grain and Oilseed Milling, Processing, and/or Packaging |  |  | Rice | 40 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | [5 empty] | November | December | 24 | 70 | 5 | Yes | Yes | >10 Fans | >50 | Interlocked with other systems | Dampers | 6758 | varies | YES | >10 Fans | 30-150hp | Interlocked with other systems | Dampers | 6758 | varies | No | 3 | Yes | 4 to 6 Fans | 30-150 | Interlocked with other systems | None | varies | 95 | No | Realtime Sensor Control of Product | No | No | [5 empty] | Not Applicable | No |  | 50 | [7 empty] | Yes | >10 Fans | 10 | Manual On & Off | None | 6000 | none | 41 | When purchasing new fans/equipment, VSDs are purchased as standard practice |  | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system

## Raw (not touched)
Respondent ID | Collector ID | Start Date | End Date | IP Address | Email Address | First Name | Last Name | Custom Data 1 | Please select your Industry (Select the Best Option) |  | NAICS Code (Optional) | What are the main products that your facility produce? | Relative to your production capacity, what is your monthly average production load? | Select the months when your facility is in production: | [11 empty] | Which months do you experience the highest production load | [11 empty] | What is the average hours per day the facility is operating? | How many days per year does the facility shut down? (Holidays, Maintenance, downtime) | When green lighting capital projects, what is the maximum simple payback? | Have you received a PG&E incentive or rebate in the past five years at the facility? | Does the facility utilize fans for product conveyance? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | How many machines or lines does a single conveyance fan serve. | These fans are used for dust collection for baghouses or dust management | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What is the Quantity of equipment served by a single baghouse or dust management system? | Does the facility use lockout dampers to reduced flow when equipment is not in operation? | What is the average differential pressure across a baghouse? (inches of water) | Does the facility utilizes fans for Drying & Dehumidification? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What temperature of air is needed for the drying process? | Do you recirculate any warm/hot air during dehumidification? | How does the system monitor or control the moisture content of the product? | Does the facility monitor the relative humidity of the air leaving the system? | Does the facility utilizes fans for Cooking? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | Do you exhaust air to a Thermal Oxidizer? | Does the facility utilizes fans for Cooling? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | Does the product cooling fans direct air into a closed (ducted) or open (conveyor) system? |  | What is the minimum allowable temperature of the product to be considered cooled? | What is the temperature of the product entering the cooling area? | Does the facility utilizes fans for Exhaust and Air Circulation? | What is the quantity of fans used for this application? | Approx hp range of fan motors: | How are the motor(s) operated? | What flow/pressure controls are used on the blowers ? | How many hours per year do the fan(s) operate? | What parameters are measured and monitored in the served area? | For the areas being served by the fans, what is the typical operating capacity of the system? | Please select all the following that apply to the facility:
[9 empty] | Response | Other (please specify) | Open-Ended Response | Open-Ended Response | Open-Ended Response | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | Open-Ended Response | Open-Ended Response | Open-Ended Response | Response | Response | Response | Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Response | Response | Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Other (please specify) | Open-Ended Response | Open-Ended Response | Response | Response | Open-Ended Response | Response | Response | Open-Ended Response | Open-Ended Response | Open-Ended Response | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
10591026389 | 224804819 | 2019-03-13 13:00 | 2019-03-13 15:08 | 74.116.203.6 |  |  |  |  | Dried and Dehydrated Food Manufacturing and/or Packaging |  | 311212 | Brown and milled rice | 8 | January | February | March | April | May | June | July | August | September | October | November | December | [9 empty] | October | November | December | 24 | 25 | 7 | Yes | Yes | 4 to 6 Fans | 7.5 to 10 | Interlocked with other systems | None | 8160 | 1 | YES | 4 to 6 Fans | 60-200 | Interlocked with other systems | None | 8160 | combination of all equipment | No | 2" | No | [9 empty] | No | [6 empty] | No | [9 empty] | No | [7 empty] | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
10586014095 | 224804819 | 2019-03-11 18:48 | 2019-03-11 18:55 | 73.2.119.172 |  |  |  |  | Other (please specify) | Mushroom growing and processing |  | Mushrooms | 95 | January | February | March | April | May | June | July | August | September | October | November | December | [10 empty] | November | December | 24 | 0 | 3 | Yes | No | [6 empty] | NO | [8 empty] | Yes | >10 Fans | 10-50 | Interlocked with other systems | Variable Speed Drive | 8760 | Varies | Yes | Realtime Sensor Control of Air | No | Yes | 4 to 6 Fans | 50-100 | Senor controlled operation | Variable Speed Drive | 4000 | Not Applicable | Yes | >10 Fans | 10-50 | Interlocked with other systems | Variable Speed Drive | 8760 | Closed |  | 40 | 60 | No | [7 empty] | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
10574823062 | 224804819 | 2019-03-06 10:13 | 2019-03-06 10:17 | 12.195.128.30 | [37 empty] | Yes | 1 to 3 Fans | <=5 | Manual On & Off | Variable Speed Drive (VSD) | 2080 | 2 | YES
10574760969 | 224804819 | 2019-03-06 09:49 | 2019-03-06 09:51 | 131.89.194.85 |  |  |  |  | Tortilla Manufacturing |  |  | Tortilla | 51 | January | February | March | April | May | June | July | August | September | October | November | December |  |  |  |  | May | June | July | August |  |  |  |  | 24 | 5 | 2 | Yes
10574756012 | 224804819 | 2019-03-06 09:47 | 2019-03-06 09:54 | 104.129.204.56 |  |  |  |  | Other (please specify) | Tomato Processing | 311421 | Bulk tomato paste and diced tomatoes | 100 | [6 empty] | July | August | September | October | [8 empty] | July | August | September |  |  |  | 24 | 20 | 2 | Yes | No | [6 empty] | NO | [8 empty] | No | [9 empty] | No | [6 empty] | No | [9 empty] | Yes | 7 to 10 Fans | 5 - 40 | Manual On & Off | None | 2250 | Temperature and humidity | 100 |  |  | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
10574479130 | 224804819 | 2019-03-06 08:14 | 2019-03-06 10:26 | 12.195.128.30 |  |  |  |  | Grain and Oilseed Milling, Processing, and/or Packaging |  | 311212 | Rice & rice products | 80 | January | February | March | April | May | June | July | August | September | October | November | December | January | [7 empty] | September | October | November | December | 24 | At least 5 | 10 | Yes | No | [6 empty] | YES | >10 Fans | 20 | Senor controlled operation | None | 4,000 |  | Yes | No idea | Yes | >10 Fans | 30 | Automatic On & Off by timer | None | 4000 | 160 | Yes | Realtime Sensor Control of Air | Yes | No | [6 empty] | No | [9 empty] | Yes | >10 Fans | 10 | Senor controlled operation | Variable Speed Drive | 8000 | No idea | 80 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
10571586997 | 224804819 | 2019-03-05 08:25 | 2019-03-05 08:53 | 64.21.219.242 |  |  |  |  | Other (please specify) | Walnut Shell Milling & Packaging |  | Ground Walnut Shell | 95 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | 24 | 9 | 5 | No | No | [6 empty] | YES | 7 to 10 Fans | 30-325 | Interlocked with other systems | Variable Speed Drive | 6,800 | Varies | No | Varies | No | [9 empty] | No | [6 empty] | Yes | 1 to 3 Fans | 50 | Interlocked with other systems | Variable Speed Drive | 4050 | Closed |  | 90 | 180 | Yes | 1 to 3 Fans | 1 | Automatic On & Off by timer | None | 1600 | Temperature | 30 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies
10570031747 | 224804819 | 2019-03-04 16:47 | 2019-03-04 16:57 | 208.91.7.4 |  |  |  |  | Nuts Drying, Processing, and/or Packaging |  |  | Walnuts | 100 | [7 empty] | August | September | October | November | [8 empty] | August | September | October | November |  | 24 | 150 | 5 | No | No | [6 empty] | YES | 1 to 3 Fans | 150 | Manual On & Off | Variable Speed Drive | 16 |  | No |  | Yes | 4 to 6 Fans | 200 | Automatic On & Off by timer | Variable Speed Drive | 24 | 105 | Yes | Realtime Sensor Control of Product | Yes | No | [6 empty] | Yes | 1 to 3 Fans | 25 | Manual On & Off | None | 15 | Open |  |  |  | No | [7 empty] | When purchasing new fans/equipment, VSDs are purchased as standard practice |  | The facility has interest in VSD applications for non-fan technologies
10569656539 | 224804819 | 2019-03-04 13:35 | 2019-03-04 13:43 | 50.202.81.2 |  |  |  |  | Beverage / Bottled Water Manufacturing and/or Packaging |  | 312120 | Beer | 60 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | 24 | 6 | 10 | Yes | Yes | 1 to 3 Fans | 7.5 to 10 | Interlocked with other systems | Variable Speed Drive (VSD) | 1800 | 1 | NO | [8 empty] | No | [9 empty] | No | [6 empty] | No | >10 Fans | 2-20 | Senor controlled operation | None | 2000 |  |  |  |  | Yes | >10 Fans | 2-25 | Senor controlled operation | Variable Speed Drive | 2500 | Temperature |  | When purchasing new fans/equipment, VSDs are purchased as standard practice |  | The facility has interest in VSD applications for non-fan technologies |  | There is an onsite programming and control personnel
10516599911 | 224804819 | 2019-02-07 13:49 | 2019-02-07 13:55 | 207.140.102.50 |  |  |  |  | Mayonnaise, Dressing, and Other Sauce Manufacturing and/or Packaging |  |  | Culinary Sauces | 85 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | 24 | 45-50 days | 4 | Yes | No |  |  |  |  | 0 | 0 | NO |  | 0 |  |  | 0 | 0 |  | N\A | No |  | N\A |  |  | N\A | N\A | Not Applicable |  | Not Applicable | No |  | N\A |  |  | N\A | Not Applicable
10511374124 | 224804819 | 2019-02-05 13:34 | 2019-02-05 13:49 | 50.206.53.50 |  |  |  |  | Other (please specify) | Cold Storage Warehousing | 493120 | Cold Storage of Food Products | 50 |  |  |  | April | May | June | July | August | September | October | [6 empty] | May | June | July | [5 empty] | 16 | 6 | 5 | Yes | Yes | >10 Fans | 7.5 to 10 | Interlocked with other systems | None | 18 | 1 | NO | 1 to 3 Fans | 10 | Manual On & Off | None | 12 | 1 Room | No |  | No | [9 empty] | No | [6 empty] | Yes | >10 Fans | 10 hp | Interlocked with other systems | None | 18 | Open |  | -0 F | -0 F | Yes | 1 to 3 Fans | 10 hp | Automatic On & Off by timer | Dampers | 8 | PPM | 25
10504226468 | 224804819 | 2019-02-01 10:47 | 2019-02-01 12:39 | 104.129.196.125 |  |  |  |  | Other (please specify) | Dairy Manufacturing | 311513 | Cheddar cheese, whey byproducts | 75 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | 24 | 104 | 5 | Yes | No |  |  | Manual On & Off | None | 7800 | 0 | [9 empty] | Yes | >10 Fans | 5 to 40 | Automatic On & Off by timer |  | 8760 | Above condensation point | Yes | Realtime Sensor Control of Air | No | [7 empty] | Yes | >10 Fans | 5 to 40 | Automatic On & Off by timer | None | 8760 |  |  |  |  | Yes | >10 Fans | 1 to 5 | Manual On & Off | None | 8760 | Temperature and pressure | 90 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
10502327677 | 224804819 | 2019-01-31 15:14 | 2019-01-31 15:20 | 50.201.59.1 |  |  |  |  | Other (please specify) | Olive canning |  | Olives | 76 | January | February | March | April | May | June |  | August | September | October | November | December |  | February | March | April |  |  |  | August | September | October |  |  | 22 | 40 | 4 | Yes | No | 1 to 3 Fans | <=5 | Automatic On & Off by timer | None | 22 | 2 | YES | 1 to 3 Fans | 10 | Manual On & Off | None | 16 | 2 | No | 4 | No | [9 empty] | No | [6 empty] | Yes | 7 to 10 Fans | 0.5-3 | Senor controlled operation | None | 12 | Open |  |  |  | Yes | 4 to 6 Fans | 1 | Manual On & Off | None |  |  |  | When purchasing new fans/equipment, VSDs are purchased as standard practice |  |  | The facility has a centralized SCADA/Control system | There is an onsite programming and control personnel
10501723727 | 224804819 | 2019-01-31 10:42 | 2019-01-31 10:44 | 67.90.248.101 |  |  |  |  | Other (please specify) | Seafood processing |  | Seafood | 70 | January | February | March | April | May | June | July | August | September | October | November | December | January |  |  | April | May | June | July | August | September |  |  | December | 12 | 0 | 2 | No
10499192811 | 224804819 | 2019-01-30 10:30 | 2019-01-30 10:35 | 172.77.162.106 | [8 empty] | 53 | [6 empty] | July | August | September | October | [10 empty] | September |  |  |  | 17 | 120 | 3 | Yes | Yes | 7 to 10 Fans | 15 to 25 | Manual On & Off | Dampers | 1500 | 5 | YES | 4 to 6 Fans | 15 - 20 | Manual On & Off | None | 400 | 2 | No |  | No | 7 to 10 Fans |  |  | Variable Speed Drive |  |  |  | Realtime Sensor Control of Air | Not Applicable
10497110087 | 224804819 | 2019-01-29 13:38 | 2019-01-29 14:18 | 71.6.98.77 |  |  |  |  | Confectionery Manufacturing and/or Packaging |  |  | Jelly Beans, gummy, | 100 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | [5 empty] | August | September | October | November | December | 18 | 65 - 70 | 0 | No | Yes | >10 Fans | <=5 | Manual On & Off | Variable Speed Drive (VSD) | aproximately 4500 hours | 1 | YES | 1 to 3 Fans | 5 HP | Interlocked with other systems | Variable Speed Drive | Aproximately 4200 hours | 1 | No | 2 to 6 | Yes | >10 Fans | 3 to 5 HP | Automatic On & Off by timer | Variable Speed Drive | 3200 hours | 110 - 130 F | Yes | Realtime Sensor Control of Air | Yes | No | [6 empty] | Yes | 7 to 10 Fans | 2 HP | Senor controlled operation | Variable Speed Drive | 3600 | Closed |  | 70 F | 80 - 85 | Yes | 7 to 10 Fans | 2 - 3 HP | Automatic On & Off by timer | Variable Speed Drive | 3600 | temperature and humidity | 65 | When purchasing new fans/equipment, VSDs are purchased as standard practice | Installed VSDs at the facility are used as soft starts | The facility has interest in VSD applications for non-fan technologies |  | There is an onsite programming and control personnel
10497079818 | 224804819 | 2019-01-29 13:31 | 2019-01-29 13:49 | 68.65.66.66 |  |  |  |  | Grain and Oilseed Milling, Processing, and/or Packaging |  |  | Rice | 40 | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | [5 empty] | November | December | 24 | 70 | 5 | Yes | Yes | >10 Fans | >50 | Interlocked with other systems | Dampers | 6758 | varies | YES | >10 Fans | 30-150hp | Interlocked with other systems | Dampers | 6758 | varies | No | 3 | Yes | 4 to 6 Fans | 30-150 | Interlocked with other systems | None | varies | 95 | No | Realtime Sensor Control of Product | No | No | [5 empty] | Not Applicable | No |  | 50 | [7 empty] | Yes | >10 Fans | 10 | Manual On & Off | None | 6000 | none | 41 | When purchasing new fans/equipment, VSDs are purchased as standard practice |  | The facility has interest in VSD applications for non-fan technologies | The facility has a centralized SCADA/Control system
10496802884 | 224804819 | 2019-01-29 11:25 | 2019-01-29 11:36 | 192.35.35.35 |  |  |  |  | Other (please specify) | other |  | dirt | 1 |  |  |  |  | May | [11 empty] | May | [7 empty] | 0 | 365 | 0 | No | No | 1 to 3 Fans | [5 empty] | YES | >10 Fans | 5000 | Manual On & Off | None | 6 | lots | No | 365 | No | [9 empty] | No | [6 empty] | No
10490682989 | 224697643 | 2019-01-25 17:31 | 2019-01-25 17:33 | 131.89.194.82 | txv0@pge.com