CPUC Comments on SWWH020-03 – Low-Flow Showerhead, Commercial

Lead PA: SCG

Workpaper Submittal Date: 11/2/2020

CPUC Review Date: 11/20/2020

|  |  |
| --- | --- |
| CPUC Comment | PA Response |
| Energy Impact table from EAD tables lists Electric Use Profile as “HVAC-Chillers”. This code was not found in PEAR, and is not applicable for this measure for because only buildings with gas-fired water heaters are eligible, and a chiller end-use would not be appropriate for water heater application. Please revise. | We can switch the end shape. This was a left the same as the old workpaper. The workpaper does not claim electric savings so this is just a placeholder. DEER:HVAC\_Chillers is an end shape that is available for use in CET and is in READI as seen in the screenshots below. As there are only 7 options to choose from for Non Res, we have switched to DEER:Indoor\_CFL\_Ltg |
| E-4952 adjusted NTG (below snapshot from your workpaper). was suspended in E-5009. As such there should be only one NTG value for workpapersbased on the Itron 2011 update. Please revise. | Ok we have revised the workpaper to exclude the AR Adjustment factor |

Please note responses to comments in the table below, revise workpaper, and upload the entire package to the WPA. If needed, please reach out to Workpaper Review Team to set up a call to discuss.