## MeasureExAnte
PA | MeasureID | Qualifier | SourceDesc | Sector | EnergyImpactID | MeasCostID | StdCostID | EUL_ID | RUL_ID | Version | VersionSource | LastMod | Description | MeasDesc | MeasTechID | MeasImpactType | MeasImpactCalcType | UseCategory | UseSubCategory | TechGroup | TechType | Status | Comment | PreDesc | PreMultiTech | PreTechID | PreTechGroup | PreTechType | StdDesc | StdMultiTech | StdTechID | StdTechGroup | StdTechType | ScaleBasis | TechBased | ApplyIE | IETableName | ImpWeighting | WeightGroupID | LegacyID | StdScaleVal | PreScaleVal | DEER MeasureID | DEER Scale
Any | SWWH033A | None | SWWH033-01 | Res | SWWH033A | SWWH033_01_M001 | SWWH033_01_B001 | WtrHt-MF-Gas |  | ExAnte2021 | IOU Workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup |  | Deem-WP | Standard | SHW | Heating | WaterHtg_eq | Boiler_Et | Proposed |  | Hot Water Boiler ≥ 300 kBtuh, with 0.80 TE | FALSE |  | WaterHtg_eq | Boiler_Et | Hot Water Boiler ≥ 300 kBtuh, with 0.80 TE | FALSE |  | WaterHtg_eq | Boiler_Et | None | FALSE | FALSE | None

## ImplementationExAnte
PA | ImplementationID | StartDate | ExpiryDate | SourceDesc | MeasAppType | DeliveryType | MeasureID | MeasQualifier | Sector | GSIA_ID | NTG_ID | CostQualifier | MeasCostID | StdCostID | Version | VersionSource | LastMod | Description | ImplementerID | MeasImpactType | Status | Comment
SCG |  | 2021-10-01 |  | SWWH033-01 | NR | DnDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SCG |  | 2021-10-01 |  | SWWH033-01 | NC | DnDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SCG |  | 2021-10-01 |  | SWWH033-01 | NR | UpDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SCG |  | 2021-10-01 |  | SWWH033-01 | NC | UpDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SCG |  | 2021-10-01 |  | SWWH033-01 | NR | DnDeemDI | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SCG |  | 2021-10-01 |  | SWWH033-01 | NC | DnDeemDI | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SDG |  | 2021-10-01 |  | SWWH033-01 | NR | DnDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SDG |  | 2021-10-01 |  | SWWH033-01 | NC | DnDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SDG |  | 2021-10-01 |  | SWWH033-01 | NR | UpDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SDG |  | 2021-10-01 |  | SWWH033-01 | NC | UpDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SDG |  | 2021-10-01 |  | SWWH033-01 | NR | DnDeemDI | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
SDG |  | 2021-10-01 |  | SWWH033-01 | NC | DnDeemDI | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
PGE |  | 2021-10-01 |  | SWWH033-01 | NR | DnDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
PGE |  | 2021-10-01 |  | SWWH033-01 | NC | DnDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
PGE |  | 2021-10-01 |  | SWWH033-01 | NR | UpDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
PGE |  | 2021-10-01 |  | SWWH033-01 | NC | UpDeemed | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
PGE |  | 2021-10-01 |  | SWWH033-01 | NR | DnDeemDI | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed
PGE |  | 2021-10-01 |  | SWWH033-01 | NC | DnDeemDI | SWWH033A | None | Res | Def-GSIA | All-Default<=2 | None | SWWH033_01_M001 | SWWH033_01_B001 | ExAnte2021 | IOU workpaper | 2021-08-27 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup, replacing Gas Boiler Water Heater |  | Deem-WP | Proposed

## EnergyImpactExAnte
PA | EnergyImpactID | BldgType | BldgVint | BldgLoc | BldgHVAC | SourceDesc | Version | VersionSource | LastMod | NormUnit | NumUnit | MeasArea | ScaleBasis | APreWBkWh | APreWBkW | APreWBtherm | AStdWBkWh | AStdWBkW | AStdWBtherm | APreEUkWh | APreEUkW | APreEUtherm | AStdEUkWh | AStdEUkW | AStdEUtherm | ElecImpactProfile | GasImpactProfile | Flag
Any | SWWH033A | MFm | Ex | CZ01 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 47.5167 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ02 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 46.0053 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ03 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 46.7962 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ04 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 45.7662 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ05 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 46.7225 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ06 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 45.8377 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ07 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 45.2858 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ08 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 44.8755 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ09 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 44.7975 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ10 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 44.3454 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ11 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 44.2333 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ12 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 45.0505 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ13 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 43.7709 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ14 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 44.3852 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ15 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 38.8925 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | Ex | CZ16 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 46.2046 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ01 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 47.5167 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ02 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 46.0053 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ03 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 46.7962 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ04 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 45.7662 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ05 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 46.7225 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ06 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 45.8377 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ07 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 45.2858 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ08 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 44.8755 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ09 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 44.7975 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ10 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 44.3454 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ11 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 44.2333 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ12 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 45.0505 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ13 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 43.7709 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ14 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 44.3852 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ15 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 38.8925 | [9 empty] | DEER:Res_ClothesDishWasher | Annual
Any | SWWH033A | MFm | New | CZ16 | rWtd | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | 1 |  |  | 0 | 0 | 46.2046 | [9 empty] | DEER:Res_ClothesDishWasher | Annual

## CostExAnte
PA | MeasCostID | CostQualifier | BldgType | BldgVint | BldgLoc | DeliveryType | SourceDesc | Version | VersionSource | LastMod | NormUnit | CostType | GenCost | LaborCost | MatlCost | Description | Sector | UseCategory | UseSubCategory | TechGroup | TechType | TechID | MeasAppType | InstallHours | LaborRate | LocCostAdj | Status | Comment | MeasLaborID | StdLaborRateID
Any | SWWH033_01_B001 | Any | Any | Any | Any | Any | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | Full |  | 17.9 | 22.9 | Hot Water Boiler => 300 kBtuh, with 0.80 TE | Res | SHW | Heating | WaterHtg_eq | Boiler_Et |  | NR |  |  | None | Proposed
Any | SWWH033_01_M001 | Any | Any | Any | Any | Any | SWWH033-01 | ExAnte2021 | IOU Workpaper | 2021-08-27 | Cap-kBtuh | Full |  | 60 | 120.64 | Gas Absorption Heat Pump Water Heating System with Gas Boiler Backup | Res | SHW | Heating | WaterHtg_eq | Boiler_Et |  | NR |  |  | None | Proposed
40.8
180.64
[14 empty] | 139.84 | IMC