## baseline
Baseline: RTU gas htg 81% AFUE / elec clg 14 SEER
Unit size
|  | Ton | MBH | RSMeans Mech. book | $/MBH | MBH | Vendor-1 (Carrier) | $/MBH | MBH | Vendor-2 (Goodman) | $/MBH | MBH | Vendor-3 (Daikin) | $/MBH
| Equipment cost | 4 | 95 | 4525 | 47.6316 | 93 | 4639 | 49.8817 | 100 | 3418 | 34.18 | 115 | 3710 | 32.2609
| Labor cost |  |  | 1400 | 14.7368 |  | 1400 | 15.0538 |  | 1400 | 14 |  | 1400 | 12.1739
| Total |  |  | 5925 | 62.3684 |  | 6039 | 64.9355 |  | 4818 | 48.18 |  | 5110 | 44.4348
| Equipment cost | 5 | 112 | 5275 | 47.0982 | 103 | 5129 | 49.7961 | 120 | 3677 | 30.6417 | 140 | 3846 | 27.4714
| Labor cost |  |  | 1500 | 13.3929 |  | 1500 | 14.5631 |  | 1500 | 12.5 |  | 1500 | 10.7143
| Total |  |  | 6775 | 60.4911 |  | 6629 | 64.3592 |  | 5177 | 43.1417 |  | 5346 | 38.1857
| Equipment cost | 7.5 | 170 | 8125 | 47.7941 | [6 empty] | 210 | 6230 | 29.6667
| Labor cost |  |  | 1700 | 10 | [7 empty] | 1700 | 8.0952
| Total |  |  | 9825 | 57.7941 | [7 empty] | 7930 | 37.7619
| Equipment cost | 10 | 200 | 11600 | 58 | [6 empty] | 210 | 7154 | 34.0667
| Labor cost |  |  | 1975 | 9.875 | [7 empty] | 1975 | 9.4048
| Total |  |  | 13575 | 67.875 | [7 empty] | 9129 | 43.4714
| Average cost ($/MBH) |  |  |  | 62.1322 |  |  | 64.6474 |  |  | 45.6608 |  |  | 40.9635
| Ave. mat. Cost |  |  |  | 50.131 |  |  | 49.8389 |  |  | 32.4108 |  |  | 30.8664 | 40.8118
| Ave. labor cost |  |  |  | 12.0012 |  |  | 14.8084 |  |  | 13.25 |  |  | 10.097 | 12.5392
| Total | [13 empty] | 53.3509
| Overall average ($/MBH) |  |  | 53.3509
Note on J7: Bashar, Raad: from RSMeans Mechanical book 2014
Note on N7: Bashar, Raad: from RSMeans Mechanical book 2014
Note on R7: Bashar, Raad: from RSMeans Mechanical book 2014
Note on J11: Bashar, Raad: from RSMeans Mechanical book 2014
Note on N11: Bashar, Raad: from RSMeans Mechanical book 2014
Note on R11: Bashar, Raad: from RSMeans Mechanical book 2014
Note on R15: Bashar, Raad: from RSMeans Mechanical book 2014
Note on R19: Bashar, Raad: from RSMeans Mechanical book 2014

## measure
Measure: RTU Condensing gas htg 95% AFUE / elec clg 14 SEER
Unit size
|  | Ton | MBH | MBH | Vendor-1 (Carrier) | $/MBH | MBH | Vendor-1 (Reznor) | $/MBH
| Equipment cost | 4 | 95 | 100 | 6250 | 62.5 | 96 | 6161 | 64.1771
| Material/parts cost * |  |  |  | 116 | 1.16 |  | 116 | 1.2083 | * PVC Vertical Vent/Condensate Neutralizer Kit
| Labor cost |  |  |  | 2600 | 26 |  | 2600 | 27.0833
| Total |  |  |  | 8966 | 89.66 |  | 8877 | 92.4688
| Equipment cost | 5 | 112 | 110 | 6920 | 62.9091 | 96 | 6702 | 69.8125
| Material/parts cost * |  |  |  | 153 | 1.3909 |  | 153 | 1.5938
| Labor cost |  |  |  | 3000 | 27.2727 |  | 3000 | 31.25 | * PVC Vertical Vent/Condensate Neutralizer Kit
| Total |  |  |  | 10073 | 91.5727 |  | 9855 | 102.6562
| Average cost ($/MBH) |  |  |  |  | 90.6164 |  |  | 97.5625
| Ave. mat. Cost |  |  |  |  | 62.7045 |  |  | 66.9948 |  | 64.8497
| Ave. mat. Construction cost |  |  |  |  | 1.2755 |  |  | 1.401 |  | 1.3382
| Ave. labor cost |  |  |  |  | 26.6364 |  |  | 29.1667 |  | 27.9015
94.0894
| Overall average ($/MBH) |  |  |  | 94.0894
IMC cost data
| IMC mat. Cost |  |  |  | 24.0379
| IMC mat. Construction cost |  |  |  | 1.3382
| IMC labor cost |  |  |  | 15.3624
| Total IMC ($/MBH) |  |  |  | 40.7385
Note on G8: Bashar, Raad: from Vendor estimate
Note on K8: Bashar, Raad: from Vendor estimate
Note on G13: Bashar, Raad: from Vendor's estimate
Note on K13: Bashar, Raad: from Vendor's estimate