## Pool heater
Measure Name | Applied To | Target Sector | Measure Type | Delivery Method | Climate Zone | Building Type | Vintage | Units | Dual Baseline | RUL | EUL | NTG Savings | NTG IMC | GRR | 1st Baseline - PDR | 1st Baseline - Kwh Savings | 1st Baseline - Gas Savings | 1st Baseline - BCC | 1st Baseline - MC | 1st Baseline - IMC | 2nd Baseline - PDR | 2nd Baseline - Kwh Savings | 2nd Baseline - Gas Savings | 2nd Baseline - BCC | 2nd Baseline - MC | 2nd Baseline - IMC
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 1 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 2 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 3 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 4 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 5 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 6 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 7 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 8 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 9 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 10 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 11 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 12 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 13 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 14 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 15 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 2889 | 3509 | 620
Pool Heater 84% TE | Pool Heater | Res | RobNc | PreReb | 16 | SFm | Any | Therm | FALSE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 2889 | 3509 | 620
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 1 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 146 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 2 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 3 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 4 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 5 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 6 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 7 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 8 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 9 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 10 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 11 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 12 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 13 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 14 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 15 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 2889 | 5838 | 2949
Pool Heater 90% TE | Pool Heater | Res | RobNc | PreReb | 16 | SFm | Any | Therm | TRUE | 0 | 10 | 0.7 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 114 | 2889 | 5838 | 2949