## Pipe Insulation Cost Analysis
Job ID | Pipe | [5 empty] | Notes
| Length | Fluid | Insullation Cost | Labor Cost | Ln Foot Insullation Cost | Ln Foot Labor Cost
10802702 | 42 | HW | 84 | 49.88 | 2 | 1.1876
| 183 | HW | 292.8 | 265.35 | 1.6 | 1.45
| 315 | HW | 724.5 | 507.25 | 2.3 | 1.6103
| 72 | HW | 187.2 | 129.6 | 2.6 | 1.8
| 9 | HW | 28.8 | 14.31 | 3.2 | 1.59
| 3 | HW | 10.5 | 6.45 | 3.5 | 2.15
| 21 | HW | 130.62 | 47.88 | 6.22 | 2.28
| 9 | HW | 81.45 | 24.75 | 9.05 | 2.75
10974868 | 251 | HW | 2251.47 | 29822.68 | 8.97 | 15.2079 | *This job was omitted from estimates as it is believed from the other quotes in which labor and matarial rates were adequately listed, that this quote is uniqe to the site and does not represent the market's labor and material rates.
| 60 | HW | 467.4 |  | 7.79 | 15.2079
| 144 | HW | 968.83 |  | 6.728 | 15.2079
| 47 | HW | 246.29 |  | 5.2402 | 15.2079
| 233 | HW | 904.04 |  | 3.88 | 15.2079
| 48 | HW | 169.3 |  | 3.5271 | 15.2079
| 48 | HW | 524.16 |  | 10.92 | 15.2079
| 105 | Steam | 1357.82 |  | 12.9316 | 15.2079
| 130 | Steam | 1206.61 |  | 9.2816 | 15.2079
| 244 | Steam | 1920.28 |  | 7.87 | 15.2079
| 245 | Steam | 1700.3 |  | 6.94 | 15.2079
| 85 | Steam | 761.6 |  | 8.96 | 15.2079
| 261 | Steam | 1988.82 |  | 7.62 | 15.2079
| 60 | Steam | 395.4 |  | 6.59 | 15.2079
10957412 | 180 | HW | 315 | 400 | 1.75 | 0.70547
| 387 | HW | 793.35 |  | 2.05 | 0.70547
10941242 | 102 |  | 599.76 | 2456.16 | 5.88 | 24.08 | *Labor costs were omitted from the estimate as costs labeled as "Other" were listed and there is no indication as to what is achieved by paying such cost.
| 135 |  | 521.1 | 3250.8 | 3.86 | 24.08
| 12 |  | 39 | 290.38 | 3.25 | 24.1983
10802346 | 440 | HW | 5000 |  | 11.3636 | 0
10796670 | 15 | HW | 221.7 | 145 | 14.78 | 6.9048 | *The cost is not reprensetative of the market as the following links show the insulation used is not sold as unit of a single linear foot, but instead as budles of multiple linear feet. -https://www.grainger.com/product/JOHNS-MANVILLE-1-Thick-45NE13?cm_sp=Product_Details-_-Products_Based_on_Your_Search-_-IDPPLARECS&cm_vc=IDPPLARECS -https://www.gamut.com/p/high-temperature-fiberglass-pipe-insulation-NTg3NzI5?gpid=563702&utm_source=google&utm_medium=cpc&adpos=1o2&scid=scplp742R354&sc_intid=742R354&gclid=EAIaIQobChMIqv3f3bCU2AIVil9-Ch0yawGVEAYYAiABEgISHvD_BwE
| 6 | HW | 71.58 |  | 11.93 | 6.9048
10840735 | 213 |  | 436.65 | 270 | 2.05 | 0.73171
| 156 |  | 273 |  | 1.75 | 0.73
10819352 | 24 |  | 100.8 | 368.2427 | 4.2 | 5.1145
| 27 |  | 53.73 |  | 1.99 | 5.1145
| 21 |  | 38.01 |  | 1.81 | 5.1145
10930954 | 75 | Steam | 1223.25 | 819.33 | 16.31 | 5.9372 | *Johns Mansville Fiberglass was used, as explained above, the insulation from different sources is not sold per linear foot, but instead as a bundle of multiple linear feet, therefore this quote does not represent the market and is as well omitted from cost estimates. -https://www.zoro.com/johns-manville-pipe-insulation-wall-th-1-12in-for34in-693656/i/G1994581/#specifications
| 21 | Steam | 358.47 |  | 17.07 | 5.9372
| 9 | Steam | 143.28 |  | 15.92 | 5.9372
| 3 | HW | 42.75 |  | 14.25 | 5.9372
| 24 | HW | 331.68 |  | 13.82 | 5.9372
| 6 | HW | 81.24 |  | 13.54 | 5.9372
*RSMeans 39th Annual Edition, 2016*
|  |  |  | Size(in) | Labor ($) | Material ($)
|  |  |  | 0.5 | 3.34 | 1.65
|  |  |  | 0.75 | 3.49 | 1.72
|  |  |  | 1 | 3.66 | 1.77
|  |  |  | 1.25 | 3.75 | 1.82
|  |  |  | 1.5 | 3.75 | 1.9
|  |  |  | 2 | 3.84 | 2.32
|  |  |  | 1.5 | 4.05 | 2.46
|  |  |  | 3 | 4.27 | 2.55
|  |  |  | 4 | 5.15 | 3.14
|  | Mat($) | Labor($) | Total Cost($)
|  | 2.9033 | 3.6802 | 6.5835
Note on F28: Paek, Chan U: 1/2 in pipe
Note on F29: Paek, Chan U: 1 inch pipe
Note on E38: Pineda, Carlos A: Contains cost for a PVC JACKET Chan: Removed the cost of jacket.

## Fitting Insul. Cost Analysis
Elbow | [6 empty] | Tee
Pipe Size (in) | [6 empty] | Pipe Size (in)
| Insulation Thickness (in) | Fiberglass (0 to 450deg) | NBR/PVC (-297 to 220 deg) |  |  |  |  | Insulation Thickness (in) | Fiberglass (0 to 450deg) | NBR/PVC (-297 to 220 deg)
1 | 1 | 13.5 | 7.7 |  |  |  | 1 | 1 | 19.6 | 9.25
| 1.5 | 19.6 | - |  |  |  |  | 1.5 | 27 | -
2 | 1 | 17.85 | 11.55 |  |  |  | 2 | 1 | 27 | 13.15
| 1.5 | 29.8 | - |  |  |  |  | 1.5 | 38.6 | -
3 | 1 | 29.8 | - |  |  |  | 3 | 1 | 38.6 | -
| 1.5 | 45.4 | - |  |  |  |  | 1.5 | 56.5 | -
4 | 1 | 52.75 | 22.75 |  |  |  | 4 | 1 | 70.75 | 24.5
| 1.5 | 60.75 | - |  |  |  |  | 1.5 | 68.75 | -
5 | 1 | 82.25 | - |  |  |  | 5 | 1 | 98.75 | -
| 1.5 | 87.5 | - |  |  |  |  | 1.5 | 105 | -
Avg Price |  | 43.92 | 14 |  |  |  | Avg Price |  | 55.055 | 15.6333
Source: Grainger
https://www.grainger.com/category/pipe-fitting-insulation/insulation/plumbing/ecatalog/N-r6a#nav=%2Fcategory%2Fpipe-fitting-insulation%2Finsulation%2Fplumbing%2Fecatalog%2FN-r6aZ1yz8hv2Z1yz8husZ1yz8hunZ1yz8huoZ1yz8huwZ1yz871hZ1yz8o5tZ1yz8jknZ1yz8inc
Elbow | [6 empty] | Tee
Pipe Size (in) | [6 empty] | Pipe Size (in)
| Insulation Thickness (in) | Fiberglass (0 to 450deg) | NBR/PVC (-297 to 220 deg) | Polyurethane (-295 to 300deg) |  |  |  | Insulation Thickness (in) | Fiberglass (0 to 1000deg) | NBR/PVC (-297 to 220 deg) | Polyurethane (-295 to 300deg)
1 | 1 | 6.34 | 5.78 | 10.31 |  |  | 1 | 1 | 7.61 | 6.9 | 10.31
| 1.5 | 10.45 | - | - |  |  |  | 1.5 | 12.34 | - | -
2 | 1 | 7.63 | 10.02 | 11.98 |  |  | 2 | 1 | 8.76 | 16.48 | 11.91
| 1.5 | 13.34 | - | - |  |  |  | 1.5 | 17.84 | - | -
3 | 1 | - | 21.02 | - |  |  | 3 | 1 | - | 25.21 | -
| 1.5 | - | - | - |  |  |  | 1.5 | - | - | -
4 | 1 | 14.89 | - | 17.65 |  |  | 4 | 1 | - | - | 17.65
| 1.5 | 23.35 | - | - |  |  |  | 1.5 | 27.2 | - | -
6 | 1 | 25.57 | - | - |  |  | 6 | 1 | - | - | -
| 1.5 | 40.27 | - | - |  |  |  | 1.5 | 46.5 | - | -
Avg Price |  | 17.73 | 12.2733 | 13.3133 |  |  | Avg Price |  | 20.0417 | 16.1967 | 13.29
Source: McMasterr
https://www.mcmaster.com/thermal-insulation
Labor Cost
90deg LR elbow
Size (OD diameter) | Cost |  |  | Fitting Average Cost (including labor)
1.5 | 6.1 |  |  | Fitting Size (fitting inner diameter) | Hot water | Steam
2.75 | 6.25 |  |  | less than or equal to 1" | 15.375 | 24.3475
3 | 6.4 |  |  | greater than 1", less than 4" | 22.165 | 40.58
3.25 | 6.55 |  |  | greater than or equal to 4" | 27.6375 | 64.415
3.5 | 6.7
3.75 | 6.8
4 | 7 |  |  | Parameter | Hot Water |  |  | Low-pressure Steam
4.5 | 7.1 | [6 empty] | (0-15 psig), High Pressure Steam ( > 15 psig)
4.25 | 7.25 |  |  | Pipe Size | OD <=1" | 1" <= OD < 4" | OD >= 4" | OD <=1" | 1" <= OD < 4" | OD >= 4"
5 | 7.55 |  |  | (inch)
5.5 | 7.95 |  |  | Insulation Thickness (inch) | 1 | 1 | 1 | 1.5 | 1.5 | 1.5
6 | 8.35 |  |  | Indoors ($/fitting) | 15.375 | 22.165 | 27.6375 | 24.3475 | 40.58 | 64.415
Average | 7 |  |  | Outdoors ($/fitting) | 15.375 | 22.165 | 27.6375 | 24.3475 | 40.58 | 64.415
Source: 2016 RSMeans- Plumbing Cost Data
|  |  |  | Measure | Installation Type | Measure | Incremental | Full Measure Cost
|  |  |  | Code |  |  | Measure Cost | 1st Baseline | 2nd Baseline
[5 empty] | AOE | HW, OD <= 1" | ($8.38 + $7.00) = $15.38 | ($8.38 + $7.00) = $15.38 | N/A
1” Insulation, Indoor
[5 empty] | AOE | HW, OD <= 1" | ($8.38 + $7.00) = $15.38 | ($8.38 + $7.00) = $15.38 | N/A
1” Insulation, Outdoor
[5 empty] | AOE | HW, 1" <= OD < 4" | ($15.17 + $7.00) = $22.17 | ($15.17 + $7.00) = $22.17 | N/A
1” Insulation, Indoor
[5 empty] | AOE | HW, 1" <= OD < 4" | ($15.17 + $7.00) = $22.17 | ($15.17 + $7.00) = $22.17 | N/A
1” Insulation, Outdoor
[5 empty] | AOE | HW, OD >= 4" | ($20.64 + $7.00) = $27.64 | ($20.64 + $7.00) = $27.64 | N/A
1” Insulation, Outdoor
[5 empty] | AOE | HW, OD >= 4" | ($20.64 + $7.00) = $27.64 | ($20.64 + $7.00) = $27.64 | N/A
1” Insulation, Indoor
[5 empty] | AOE | Steam, OD <= 1" | ($17.35 + $7.00) = $24.35 | ($17.35 + $7.00) = $24.35 | N/A
1.5” Insulation, Indoor
[5 empty] | AOE | Steam, OD <= 1" | ($17.35 + $7.00) = $24.35 | ($17.35 + $7.00) = $24.35 | N/A
1.5” Insulation, Outdoor
[5 empty] | AOE | Steam, 1" <= OD < 4" | ($33.58 + $7.00) = $40.58 | ($33.58 + $7.00) = $40.58 | N/A
1.5” Insulation, Indoor
[5 empty] | AOE | Steam, 1" <= OD < 4" | ($33.58 + $7.00) = $40.58 | ($33.58 + $7.00) = $40.58 | N/A
1.5” Insulation, Outdoor
[5 empty] | AOE | Steam, OD >= 4" | ($57.42 + $7.00) = $64.42 | ($57.42 + $7.00) = $64.42 | N/A
1.5” Insulation, Indoor
[5 empty] | AOE | Steam, OD >= 4" | ($57.42 + $7.00) = $64.42 | ($57.42 + $7.00) = $64.42 | N/A
1.5” Insulation, Outdoor