## Summary
Measure Range | DEER Technology Description | Base Case Cost ($/unit) | Measure Cost ($/lamp) | IMC
LED Recessed Downlight: Install <10 W LED | LED Lamp: CanRet, 8 Watts, non-dimmable | 4.2325 | 21.33 | 17.0975
LED Recessed Downlight: Install <10 W LED | LED Lamp: CanRet, 9 Watts, non-dimmable | 4.2325 | 21.33 | 17.0975
LED Downlight: Install ≥10 W to 12 W LED | LED Lamp: CanRet, 10 Watts, non-dimmable | 6.5653 | 26.0865 | 19.5212
LED Downlight: Install ≥10 W to 12 W LED | LED Lamp: CanRet, 11 Watts, non-dimmable | 7.7317 | 26.0865 | 18.3548
LED Downlight: Install ≥10 W to 12 W LED | LED Lamp: CanRet, 12 Watts, non-dimmable | 8.8981 | 26.0865 | 17.1883
LED Recessed Downlight: Install >12 W to 23 W LED | LED Lamp: CanRet, 13 Watts, non-dimmable | 10.0645 | 29.106 | 19.0415
LED Recessed Downlight: Install >12 W to 23 W LED | LED Lamp: CanRet, 14 Watts, non-dimmable | 11.2309 | 29.106 | 17.8751
LED Recessed Downlight: Install >12 W to 23 W LED | LED Lamp: CanRet, 15 Watts, non-dimmable | 12.3028 | 29.106 | 16.8032
LED Recessed Downlight: Install >12 W to 23 W LED | LED Lamp: CanRet, 20 Watts, non-dimmable | 18.1349 | 29.106 | 10.9711
LED Recessed Downlight: Install >12 W to 23 W LED | LED Lamp: CanRet, 21 Watts, non-dimmable | 18.1349 | 29.106 | 10.9711
LED Recessed Downlight: Install >12 W to 23 W LED | LED Lamp: CanRet, 23 Watts, non-dimmable | 18.1349 | 29.106 | 10.9711

## Base Costs
Can Retrofit DEER IDs have a code/standard description of "LED PAR30 Basecase" and reference the same delta watts. The base cost therefore will reference the revised baseline mix per the 2018 Screw-In Lighting Disposition for PAR30s
| Measure Description | Measure Cost/Exclude no ES | All LED Cost | All Halogen Cost | All CFL Cost | Base Cost | IMC ES
| LED PAR20: ≤11 Watts | 12.5153 | 13.2614 | 5.9659 | 7.4742 | 9.0349 | 3.4804
| LED PAR30: <10 Watts | 7.4332 | 4.0886 | 3.7701 | 7.12 | 4.2325 | 3.2007
| LED PAR30: 10 to <11 Watts | 11.1376 | 9.641 | 3.9938 | 7.12 | 6.5653 | 4.5723
| LED PAR30: 11 to <12 Watts | 12.9898 | 12.4172 | 4.1057 | 7.12 | 7.7317 | 5.2581
| LED PAR30: 12 to <13 Watts | 14.842 | 15.1934 | 4.2175 | 7.12 | 8.8981 | 5.9439
| LED PAR30: 13 to <14 Watts | 16.6942 | 17.9696 | 4.3294 | 7.12 | 10.0645 | 6.6297
| LED PAR30: 14 to <15 Watts | 18.5464 | 20.7458 | 4.4412 | 7.12 | 11.2309 | 7.3155
| LED PAR30: 15 to <16 Watts | 20.3986 | 23.522 | 4.5531 | 6.175 | 12.3028 | 8.0958
| LED PAR30: 16 to <17 Watts | 22.2508 | 26.2982 | 4.6649 | 6.175 | 13.4692 | 8.7816
| LED PAR30: 17 to <18 Watts | 24.103 | 29.0744 | 4.7768 | 6.175 | 14.6357 | 9.4673
| LED PAR30: 18 to <19 Watts | 25.9552 | 31.8506 | 4.8886 | 6.175 | 15.8021 | 10.1531
| LED PAR30: 19 to <20 Watts | 27.8074 | 34.6268 | 5.0005 | 6.175 | 16.9685 | 10.8389
| LED PAR30: ≥20 Watts | 29.6596 | 37.403 | 5.1123 | 6.175 | 18.1349 | 11.5247
| LED PAR38: < 12 Watts | 4.521 | 0 | 4.4354 | 7.3827 | 2.956 | 1.565
| LED PAR38: 12 to <13 Watts | 11.0186 | 8.9502 | 4.9929 | 7.3827 | 6.8148 | 4.2038
| LED PAR38: 13 to <14 Watts | 12.643 | 11.4093 | 5.1323 | 7.3827 | 7.8681 | 4.7749
| LED PAR38: 14 to <15 Watts | 14.2674 | 13.8684 | 5.2716 | 7.3827 | 8.9214 | 5.346
| LED PAR38: 15 to <16 Watts | 15.8918 | 16.3275 | 5.411 | 7.3827 | 9.9748 | 5.917
| LED PAR38: 16 to <17 Watts | 17.5162 | 18.7866 | 5.5504 | 7.3827 | 11.0281 | 6.4881
| LED PAR38: 17 to <18 Watts | 19.1406 | 21.2457 | 5.6898 | 7.3827 | 12.0814 | 7.0592
| LED PAR38: 18 to <19 Watts | 20.765 | 23.7048 | 5.8291 | 7.3827 | 13.1348 | 7.6302
| LED PAR38: 19 to <20 Watts | 22.3894 | 26.1639 | 5.9685 | 7.3827 | 14.1881 | 8.2013
| LED PAR38: 20 to <21 Watts | 24.0138 | 28.623 | 6.1079 | 7.3827 | 15.2414 | 8.7724
| LED PAR38: 21 to <22 Watts | 25.6382 | 31.0821 | 6.2473 | 7.3827 | 16.2947 | 9.3435
| LED PAR38: 22 to <23 Watts | 27.2626 | 33.5412 | 6.3866 | 7.3827 | 17.3481 | 9.9145
| LED PAR38: 23 to <24 Watts | 28.887 | 36.0003 | 6.526 | 7.3827 | 18.4014 | 10.4856
| LED PAR38: 24 to <25 Watts | 30.5114 | 38.4594 | 6.6654 | 7.3827 | 19.4547 | 11.0567
| LED PAR38: 25 to <26 Watts | 32.1358 | 40.9185 | 6.8047 | 7.3827 | 20.508 | 11.6278
| LED PAR38: 26 to <27 Watts | 33.7602 | 43.3776 | 6.9441 | 7.3827 | 21.5614 | 12.1988
| LED PAR38: ≥27 Watts | 35.3846 | 45.8367 | 7.0835 | 7.3827 | 22.6147 | 12.7699

## recesseddownlight-led-lowes (2)
web-scraper-order | web-scraper-start-url | product | product-href | Producttitle | productcost | productwattage |  | Power Source |  | Manufacturer Color/Finish |  | Color/Finish Family |  |  | Light Color Emitted |  |  |  | Color Temperature (Kelvins) |  |  | Wattage |  | Wattage Equivalent |  | Lumens |  | Dimmable |  | Bulb Base Type |  | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  |  | Diameter (Inches) | [5 empty] | Package Quantity |  | UL Safety Listing |  | CSA Safety Listing |  | ETL Safety Listing |  | Collection Name |  | Retrofit |  |  | Rated Life (Hours) |  | Title 24 Compliant |  | Mount Type |  | Trim Kit Included |  | Shape |  | Damp Rated |  | Adjustable Head |  | Fits Housing Diameter |  | Bulb Installation Type |  | ENERGY STAR Certified
1523993123-320 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Juno-White-LED-Remodel-And-New-Construction-Recessed-Light-Kit-Fits-Opening-4-in/1000330973 | Juno White LED Remodel And New Construction Recessed Light Kit (Fits Opening: 4-in) | 34.98 | 8.2 | Fits Opening | 4-in | Housing Type | construction | Recessed Trim Type | Gimbal |  | Airtight |  | No |  | Bulb Type | Required |  |  | ulb Wattage |  | #NAME? | No |  | 6 |  |  | Voltage Type |  | ity |  | Manufacturer Color/Finish |  | White | UL Safety Listing |  |  |  |  | Yes |  |  | Yes |  | Yes | [6 empty] | Collection Name | N/A Actual Housing Diameter (Inches) 4,Fits Opening,Housing Type,Recessed Trim Type,Airtight,Bulb Type Required,Maximum Bulb Wattage,Depth-Adjustable Socket,Minimum Depth Required (Inches),IC-Compatible,Voltage Type,Package Quantity,Manufacturer Color/Finish,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Light Bulb Base Type,Recommended Light Bulb Shape,Number of Bulbs Required,Collection Name,Actual Housing Diameter (Inches)] | Rated Life (Hours) | 36000 | Title 24 Compliant | Yes | Mount Type | Friction clips | Trim Kit Included | Yes | Shape | Round | Color Temperature (Kelvins) | 3000 | Damp Rated | Yes | Adjustable Head | No | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Fixture Finish | N/A | For Use in Bathrooms | No | Lowe's Exclusive | No | Fixture Color Family | White |  |  | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993075-302 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Utilitech-45-Watt-Equivalent-Bronze-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-3-in/1000266501 | Utilitech 45-Watt Equivalent Bronze Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 3-in) | 16.98 | 8.5 | Power Source | Hardwired | Manufacturer Color/Finish | Bronze | Color/Finish Family | Bronze |  | Light Color Emitted | Warm White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 8.5 | Wattage Equivalent | 45 | Lumens | 450 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | No |  | Minimum Depth Required (Inches) | 3.5 |  | Diameter (Inches) | 4.13 |  |  |  |  | Package Quantity | 1 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | No,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 35000 | Title 24 Compliant | No | Mount Type | Friction clips | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 3-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Lowe's Exclusive | Yes
1523993153-330 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Utilitech-45-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-3-in/1000266497 | Utilitech 45-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 3-in) | 14.98 | 8.5 | Power Source | Hardwired | Manufacturer Color/Finish | white | Color/Finish Family | White |  | Light Color Emitted | Warm White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 8.5 | Wattage Equivalent | 45 | Lumens | 450 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | No | n | Minimum Depth Required (Inches) | 3.5 |  | Diameter (Inches) | 4.13 |  |  |  |  | Package Quantity | 1 | Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | No,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 35000 | Title 24 Compliant | No | Mount Type | Friction clips | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 3-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Lowe's Exclusive | Yes
1523993112-317 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Utilitech-45-Watt-Equivalent-Bronze-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-3-in/1000266493 | Utilitech 45-Watt Equivalent Bronze Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 3-in) | 18.98 | 8.5 | Power Source | Hardwired | Manufacturer Color/Finish | Bronze | Color/Finish Family | Bronze |  | Light Color Emitted | Warm White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 8.5 | Wattage Equivalent | 45 | Lumens | 450 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | No |  | Minimum Depth Required (Inches) | 3.5 |  | Diameter (Inches) | 4.13 |  |  |  |  | Package Quantity | 1 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | No,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 35000 | Title 24 Compliant | No | Mount Type | Friction clips | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | Yes | Fits Housing Diameter | 3-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Lowe's Exclusive | Yes
1523993128-322 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-65-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/999988970 | Halo 65-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in or 6-in) | 24.98 | 9 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Bright White |  | Color Temperature (Kelvins) |  | 3500 |  | Wattage | 9 | Wattage Equivalent | 65 | Lumens | 647 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | No |  | Minimum Depth Required (Inches) | 3.43 |  | Diameter (Inches) | 7.25 |  |  |  |  | Package Quantity | 1 | Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993155-331 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/SYLVANIA-Ultra-50-Watt-Equivalent-White-Trim-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-4-in/1000115445 | SYLVANIA Ultra 50-Watt Equivalent White Trim Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 4-in) | 17.08 | 9 | Power Source | Screw-in | Manufacturer Color/Finish | White trim | Color/Finish Family | White |  | Light Color Emitted | Soft White |  | Color Temperature (Kelvins) |  | 2700 |  | Wattage | 9 | Wattage Equivalent | 50 | Lumens | 600 | Dimmable | Yes | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 3.2 | Diameter (Inches) |  |  |  | 5.04 |  | Package Quantity | 1 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | Yes | Collection Na | Ultra | Retrofi | t | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | No | Mount Type | Friction clips | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 4-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993144-326 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-65-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/999988966 | Halo 65-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in or 6-in) | 39.39 | 10 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Soft White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 10 | Wattage Equivalent | 65 | Lumens | 670 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | Yes |  | Minimum Depth Required (Inches) | 3.43 |  | Diameter (Inches) | 7.25 |  |  |  |  | Package Quantity | 1 | Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | Yes | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | For Use in Bathrooms | No | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993130-323 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-60-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-4-in/999988976 | Halo 60-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 4-in) | 39.98 | 10 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Soft White |  | Color Temperature (Kelvins) |  | 2700 |  | Wattage | 10 | Wattage Equivalent | 60 | Lumens | 600 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | No |  | Minimum Depth Required (Inches) | 3.6 |  | Diameter (Inches) | 5.13 |  |  |  |  | Package Quantity | 1 | afety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | Yes | Fits Housing Diameter | 4-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | For Use in Bathrooms | No | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993162-334 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/SYLVANIA-2-Pack-Ultra-65-Watt-Equivalent-White-Trim-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/1000266417 | SYLVANIA 2-Pack Ultra 65-Watt Equivalent White Trim Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in or 6-in) | 24.98 | 10 | Power Source | Screw-in | Manufacturer Color/Finish | White trim | Color/Finish Family | White |  | Light Color Emitted | Soft White |  | Color Temperature (Kelvins) |  | 2700 |  | Wattage | 10 | Wattage Equivalent | 65 | Lumens | 700 | Dimmable | Yes | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 4.5 | Diameter (Inches) |  |  |  | 7.37 |  | Package Quantity | 2 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | Yes | Collection N | Ultra | Retrof | it | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | No | Mount Type | Torsion springs | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993108-315 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-65-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/999988954 | Halo 65-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in or 6-in) | 28.18 | 10 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Cool White |  | Color Temperature (Kelvins) |  | 4000 |  | Wattage | 10 | Wattage Equivalent | 65 | Lumens | 650 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | Yes |  | Minimum Depth Required (Inches) | 3.43 |  | Diameter (Inches) | 7.25 |  |  |  |  | Package Quantity | 1 | Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993159-333 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-LT-White-LED-Remodel-Recessed-Light-Kit-Fits-Opening-6-in/1000344147 | Halo LT White LED Remodel Recessed Light Kit (Fits Opening: 6-in) | 27.98 | 10 | Fits Opening | 6-in | Housing Type |  | Recessed Trim Type |  | Airtight |  |  | Yes |  | Bulb Type Required |  | LED |  | 10 |  |  |  |  | 7.5 |  |  | Voltage Type |  |  |  | Manufacturer Color/Finish | White |  | UL Safety Listing |  |  |  |  | Yes |  | CSA | o |  | No |  |  |  | Number of |  |  | Collection Name | LT Actual Housing Diameter (Inches) 6.25,Fits Opening,Housing Type,Recessed Trim Type,Airtight,Bulb Type Required,Maximum Bulb Wattage,Depth-Adjustable Socket,Minimum Depth Required (Inches),IC-Compatible,Voltage Type,Package Quantity,Manufacturer Color/Finish,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Light Bulb Base Type,Recommended Light Bulb Shape,Number of Bulbs Required,Collection Name,Actual Housing Diameter (Inches)] | Rated Life (Hours) | 35000 | Title 24 Compliant | Yes | Mount Type | Friction clips | Trim Kit Included | Yes | Shape | Round | Color Temperature (Kelvins) | 3000 | Damp Rated | Yes | Adjustable Head | No | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Fixture Finish | Matte | Lowe's Exclusive | No | Fixture Color Family | White |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993084-306 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Utilitech-50W-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-4-in/1000262689 | Utilitech 50W Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 4-in) | 19.98 | 10 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Warm White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 10 | Wattage Equivalent | 50 | Lumens | 600 | Dimmable | Yes | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 3.25 | Diameter (Inches) |  |  | 4 | 0.75 |  | Package Quantity | 1 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 35000 | Title 24 Compliant | No | Mount Type | Friction clips | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 4-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | No | Works with Iris | No | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Junction Box Compatible | Yes | Lowe's Exclusive | Yes
1523993106-314 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-60-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-4-in/999988946 | Halo 60-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 4-in) | 28.18 | 10 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Cool White |  | Color Temperature (Kelvins) |  | 4000 |  | Wattage | 10 | Wattage Equivalent | 60 | Lumens | 600 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | Yes |  | Minimum Depth Required (Inches) | 3.26 |  | Diameter (Inches) | 5.13 |  |  |  |  | Package Quantity | 1 | Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 4-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993142-325 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-65-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/50342448 | Halo 65-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in or 6-in) | 24.98 | 10 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Warm White |  | Color Temperature (Kelvins) |  | 2700 |  | Wattage | 10 | Wattage Equivalent | 65 | Lumens | 600 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | Yes |  | Minimum Depth Required (Inches) | 5 |  | Diameter (Inches) | 7.5 |  |  |  |  | Package Quantity | 1 | ety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit | \ | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993121-319 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/GE-2-Pack-65-Watt-Equivalent-White-Dimmable-Led-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-6-In/1000238539 | GE 2-Pack 65-Watt Equivalent White Dimmable Led Recessed Retrofit Downlight (Fits Housing Diameter: 6-In) | 19.98 | 10 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Warm White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 10 | Wattage Equivalent | 65 | Lumens | 700 | Dimmable | Yes | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 5.5 | Diameter (Inches) |  |  | 7.5 |  |  | Package Quantity | 2 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 15000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | No | Junction Box Compatible | No | Works with Iris | No | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Lowe's Exclusive | Yes
1523993147-327 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Utilitech-1-Pack-65-Watt-Equivalent-white-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/1000403617 | Utilitech 1-Pack 65-Watt Equivalent white Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter:5-in or 6-in) | 14.98 | 10.5 | Power Source | Screw-in | Manufacturer Color/Finish | white | Color/Finish Family | White |  | Light Color Emitted | Warm White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 10.5 | Wattage Equivalent | 65 | Lumens | 650 | Dimmable | Yes | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 5 | Diameter (Inches) |  |  | 6 |  |  | Package Quantity | 1 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 35000 | Title 24 Compliant | No | Mount Type | Friction clips | Trim Kit Included | Yes | Shape | Square | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Lowe's Exclusive | Yes
1523993086-307 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Juno-65-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-Or-6-in/1000288701 | Juno 65-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in Or 6-in) | 17.98 | 10.5 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Bright White |  | Color Temperature (Kelvins) |  | 3500 |  | Wattage | 10.5 | Wattage Equivalent | 65 | Lumens | 650 | Dimmable | Yes | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 2.75 | Diameter (Inches) |  |  |  | 6 |  | Package Quantity | 1 | UL Safety Listing | Yes | CSA Safety Listing | Yes | ETL Safety Listing | Yes | Collection Name | Juno | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 35000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993093-310 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Juno-2-Pack-65-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-Or-6-in/1000338361 | Juno 2-Pack 65-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in Or 6-in) | 29.98 | 10.5 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Soft White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 10.5 | Wattage Equivalent | 65 | Lumens | 650 | Dimmable | Yes | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 2.75 | Diameter (Inches) |  |  |  | 6 |  | Package Quantity | 2 | UL Safety Listing | Yes | CSA Safety Listing | Yes | ETL Safety Listing | Yes | Collection Name | Juno | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 35000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993110-316 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-60-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-4-in/999988968 | Halo 60-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 4-in) | 29.98 | 10.5 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Bright White |  | Color Temperature (Kelvins) |  | 3500 |  | Wattage | 10.5 | Wattage Equivalent | 60 | Lumens | 550 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | No |  | Minimum Depth Required (Inches) | 3.26 |  | Diameter (Inches) | 5.1 | 3 |  |  |  | Package Quantity | 1 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 4-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993119-318 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Utilitech-65-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/1000064545 | Utilitech 65-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in or 6-in) | 16.98 | 10.5 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Soft White |  | Color Temperature (Kelvins) |  | 2700 |  | Wattage | 10.5 | Wattage Equivalent | 65 | Lumens | 650 | Dimmable | Yes | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 4 | Diameter (Inches) |  |  | 8 |  |  | Package Quantity | 1 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A,Power | Retrofit | Yes | Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name] | Rated Life (Hours) | 50000 | Title 24 Compliant | No | Mount Type | Friction clips | Trim Kit Included | Yes | Shape | Square | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993135-324 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Utilitech-65-Watt-Equivalent-White-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/1000266481 | Utilitech 65-Watt Equivalent White LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in or 6-in) | 19.98 | 10.5 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Warm White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 10.5 | Wattage Equivalent | 65 | Lumens | 700 | Dimmable | No | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 2.95 | Diameter (Inches) |  |  | 7 | 0.32 |  | Package Quantity | 1 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | NA | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 10000 | Title 24 Compliant | No | Mount Type | Friction clips | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | Yes | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated | ENERGY STAR Certified | No | Junction Box Compatible | No | Works with Iris | No | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Lowe's Exclusive | Yes
1523993095-311 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Juno-DOWNLIGHT-RETROFIT-65-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in/1000014278 | Juno DOWNLIGHT RETROFIT 65-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in) | 24.99 | 11 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Warm White |  | Color Temperature (Kelvins) |  | 2700 |  | Wattage | 11 | Wattage Equivalent | 65 | Lumens | 600 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | No |  | Minimum Depth Required (Inches) | 2.25 |  | Diameter (Inches) | 6.375 |  |  |  |  | Package Quantity | 1 | Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | DOWNLIGHT RETROFIT | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 36000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Works with Iris | Yes
1523993126-321 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-60-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-4-in/999988956 | Halo 60-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 4-in) | 34.97 | 12.2 | Power Source | Hardwired | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Soft White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 12.2 | Wattage Equivalent | 60 | Lumens | 750 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | Yes |  | Minimum Depth Required (Inches) | 2 |  | Diameter (Inches) | 6 |  |  |  |  | Package Quantity | 1 | fety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 4-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | No | Lowe's Exclusive | No | Works with Iris | No | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Junction Box Compatible | Yes
1523993151-329 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Utilitech-65-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/1000212343 | Utilitech 65-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in or 6-in) | 19.98 | 13 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Warm White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 13 | Wattage Equivalent | 65 | Lumens | 780 | Dimmable | Yes | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 5.2 | Diameter (Inches) |  |  | 7 | 5 |  | Package Quantity | 1 | UL Safety Listing | Yes |  | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 35000 | Title 24 Compliant | No | Mount Type | Friction clips | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | No | Works with Iris | No | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Junction Box Compatible | Yes | Lowe's Exclusive | Yes
1523993067-299 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-65-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/999988962 | Halo 65-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in or 6-in) | 40.63 | 13.2 | Power Source | Hardwired | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Soft White |  | Color Temperature (Kelvins) |  | 3000 |  | Wattage | 13.2 | Wattage Equivalent | 65 | Lumens | 735 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | Yes |  | Minimum Depth Required (Inches) | 2 |  | Diameter (Inches) | 7.79 |  |  |  |  | Package Quantity | 1 | Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | No | Lowe's Exclusive | No | Works with Iris | No | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Junction Box Compatible | Yes
1523993097-312 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Halo-75-Watt-Equivalent-White-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/999988952 | Halo 75-Watt Equivalent White Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter: 5-in or 6-in) | 29.97 | 13.5 | Power Source | Screw-in | Manufacturer Color/Finish | White | Color/Finish Family | White |  | Light Color Emitted | Bright White |  | Color Temperature (Kelvins) |  | 3500 |  | Wattage | 13.5 | Wattage Equivalent | 75 | Lumens | 910 | Dimmable | Yes | Bulb Base Type | LED | Depth-Adjustable Socket | Yes |  | Minimum Depth Required (Inches) | 3.43 |  | Diameter (Inches) | 7 | 25 |  |  |  | Package Quantity | 1 | UL Safety Listing | Yes\ | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 50000 | Title 24 Compliant | Yes | Mount Type | Torsion springs | Trim Kit Included | No | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Lowe's Exclusive | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes
1523993090-309 | https://www.lowes.com/search?searchTerm=led+recessed+downlight&Nao=240 |  | https://www.lowes.com/pd/Utilitech-1-Pack-100-Watt-Equivalent-white-Dimmable-LED-Recessed-Retrofit-Downlight-Fits-Housing-Diameter-5-in-or-6-in/1000402785 | Utilitech 1-Pack 100-Watt Equivalent white Dimmable LED Recessed Retrofit Downlight (Fits Housing Diameter:5-in or 6-in) | 19.98 | 15 | Power Source | Screw-in | Manufacturer Color/Finish | white | Color/Finish Family | White |  | Light Color Emitted | Soft White |  | Color Temperature (Kelvins) |  | 2700 |  | Wattage | 15 | Wattage Equivalent | 100 | Lumens | 1200 | Dimmable | Yes | Bulb Base Type | Medium base (E-26) | Depth-Adjustable Socket |  |  | Minimum Depth Required (Inches) |  | 5 | Diameter (Inches) |  |  | 6 |  |  | Package Quantity | 1 | UL Safety Listing | Yes | CSA Safety Listing | No | ETL Safety Listing | No | Collection Name | N/A | Retrofit |  | Yes,Power Source,Manufacturer Color/Finish,Color/Finish Family,Light Color Emitted,Color Temperature (Kelvins),Wattage,Wattage Equivalent,Lumens,Dimmable,Bulb Base Type,Depth-Adjustable Socket,Minimum Depth Required (Inches),Diameter (Inches),Package Quantity,UL Safety Listing,CSA Safety Listing,ETL Safety Listing,Collection Name,Retrofit] | Rated Life (Hours) | 35000 | Title 24 Compliant | No | Mount Type | Friction clips | Trim Kit Included | Yes | Shape | Round | Damp Rated | Yes | Adjustable Head | No | Fits Housing Diameter | 5-in or 6-in | Bulb Installation Type | Integrated LED | ENERGY STAR Certified | Yes | Junction Box Compatible | No | Works with Iris | No |  |  | For Use in Bathrooms | Yes | For Use in Bedrooms | Yes | For Use in Foyers | Yes | For Use in Kitchen/Dining Rooms | Yes | For Use in Living Rooms | Yes | Lowe's Exclusive | Yes