## A10
SCHEDULE B - ATTACHMENT 10 Figures (CMHP)
2017 | [13 empty] | 2017 Measure Subtotals | Total Energy Savings
Direct Install Measures | [5 empty] | CMHP | CMHP | [5 empty] | CMHP | CMHP | CMHP
Me. # | Measure | Unit Type | Energy Source Verification | Measure ID | EUL | Incentive/Rebate/Unit ($) | Gross Savings kWh per Unit | Gross Savings kW per Unit | Gross Savings Therms | $/kwh | $/kW | $/Thm | Quantities | Amount | Total Savings kWh | Total Savings kW | Total Savings Therms
| Duct Test and Seal HighLeakage CZ 07 | PER TON | DEER 2017 | Res-DuctSeal-HighToLow-wtd | 18 | 109.85 | 50.9 | 0.089 | 2.71 | 0.53954 | 1234.2697 | 30.4013 | 31.4919 | 3459.3882 | 1602.9391 | 2.8028 | 85.3431 | 6.2984e-06 | 0
| Duct Test and Seal HighLeakage CZ 10 | PER TON | DEER 2017 | Res-DuctSeal-HighToLow-wtd | 18 | 109.85 | 109.1 | 0.202 | 5.48 | 0.25172 | 543.8119 | 15.0342 | 4129.4522 | 453620.3239 | 450523.2347 | 834.1493 | 22629.398 | 0.00082589 | 0.00040862
| Duct Test and Seal HighLeakage CZ 14 | PER TON | DEER 2017 | Res-DuctSeal-HighToLow-wtd | 18 | 109.85 | 173.1 | 0.199 | 10.69 | 0.15865 | 552.0101 | 7.707 | 516.1815 | 56702.5405 | 89351.0219 | 102.7201 | 5517.9805 | 0.00010324 | 3.0647e-05
| Duct Test and Seal MedLeakage CZ 07 | PER TON | DEER 2017 | Res-DuctSeal-MedToLow-wtd | 18 | 109.85 | 23.7 | 0.042 | 1.24 | 1.1588 | 2615.4762 | 66.4415 | 31.4919 | 3459.3882 | 746.3587 | 1.3227 | 39.05 | 6.2984e-06 | 0
| Duct Test and Seal MedLeakage CZ 10 | PER TON | DEER 2017 | Res-DuctSeal-MedToLow-wtd | 18 | 109.85 | 50.7 | 0.095 | 2.5 | 0.54167 | 1156.3158 | 32.955 | 258.0908 | 28351.2702 | 13085.2017 | 24.5186 | 645.2269 | 5.1618e-05 | 0
| Duct Test and Seal MedLeakage CZ 14 | PER TON | DEER 2017 | Res-DuctSeal-MedToLow-wtd | 18 | 109.85 | 79.9 | 0.094 | 4.84 | 0.34371 | 1168.617 | 17.0222 | 289.7859 | 31832.9849 | 23153.8962 | 27.2399 | 1402.5639 | 5.7957e-05 | 0
| AC Diagnostic CZ 07 | PER TON | DEER 2017 | Res-RCA-wtd | 10 | 64.95 | 104.8 | 0.118 | 2.21 | 0.15494 | 550.4237 | 22.0419 | 1011.7158 | 65710.9405 | 106027.8146 | 119.3825 | 2235.8919 | 0.00020234 | 0.00037231
| AC Diagnostic CZ 10 | PER TON | DEER 2017 | Res-RCA-wtd | 10 | 64.95 | 195 | 0.199 | 5.09 | 0.083269 | 326.3819 | 9.5702 | 4886.126 | 317353.8849 | 952794.5735 | 972.3391 | 24870.3814 | 0.00097723 | 0.003821
| AC Diagnostic CZ 14 | PER TON | DEER 2017 | Res-RCA-wtd | 10 | 64.95 | 396.8 | 0.373 | 6.1 | 0.040921 | 174.1287 | 7.9857 | 498.2904 | 32363.9646 | 197721.6498 | 185.8623 | 3039.5717 | 9.9658e-05 | 0.00011757
| Faucet Aerator - 1.5GPM, Kitchen | Unit | DEER 2017 | Res-FaucetAerKit-Gas-1.5 | 10 | 8.85 | 0 | 0 | 4.67 | NA | NA | 1.8951 | 2580.9076 | 22841.0325 | 0 | 0 | 12052.8386 | 0.00051618 | 0.00058785
| Low Flow Showerheads-Gas | Unit | DEER 2017 | Res-ShowerHd-Gas-1.5 | 10 | 34.95 | 0 | 0 | 7.98 | NA | NA | 4.3797 | 2580.9076 | 90202.7214 | 0 | 0 | 20595.6428 | 0.00051618 | 0.0011757
| Vending Machine Controller (Cold Drink) | Per Machine | Workpaper |  | 10 | 319.42 | 1612 | 0 | 0 | 0.19815 | NA | NA | 49.5534 | 15828.3555 | 79880.1233 | 0 | 0 | 9.9107e-06 | 4.3047e-06
| Central AC Brushless Fan Motor replacing Permanent Split Capacitor (PSC) Motor CZ 10 | Per Ton | Disposition letter |  | 5 | 118.8 | 74.148 | 0.0988 | -0.682 | 1.6022 | 1202.4291 | NA | 3897.9742 | 463079.3366 | 289026.992 | 385.1199 | -2658.4184 | 0.00077959 | 0.00033915
| Central AC Brushless Fan Motor replacing Permanent Split Capacitor (PSC) Motor CZ 14 | Per Ton | Disposition letter |  | 5 | 118.8 | 102.532 | 0.085 | -0.988 | 1.1587 | 1397.6471 | NA | 459.4167 | 54578.7069 | 47104.9157 | 39.0504 | -453.9037 | 9.1883e-05 | 3.9972e-05
| HVAC Upgrade EFC CZ 10 | Per System | Workpaper | Robert Mowris | 5 | 143.55 | 224.013 | 0.2054 | 0 | 0.64081 | 698.8802 | NA | 2426.9572 | 348389.706 | 543669.9632 | 498.497 | 0 | 0.00048539 | 0.00021116
| HVAC Upgrade EFC CZ 14 | Per System | Workpaper | Robert Mowris | 5 | 143.55 | 228.228 | 0.1614 | 0 | 0.62898 | 889.4052 | NA | 286.252 | 41091.4688 | 65330.7122 | 46.2011 | 0 | 5.725e-05 | 2.4906e-05
| Tier-2 smartstrip power strip (2x product) | Unit | Disposition letter |  | 5 | 144 | 262.6 | 0.04464 | -3.822 | 0.54836 | 3225.8065 | NA | 2269.6953 | 326836.1262 | 596021.9912 | 101.3192 | -8674.7755 | 0.00045394 | 0.00019748
| Tier-2 smartstrip power strip (3x product) | Unit | Disposition letter |  | 5 | 207 | 393.9 | 0.06696 | -5.733 | 0.52551 | 3091.3978 | NA | 2269.6953 | 469826.9314 | 894032.9869 | 151.9788 | -13012.1633 | 0.00045394 | 9.7975e-05
| Exterior LED fixture (13 Watt) | Per Fixture | SDGE |  | 16 | 69.95 | 135 | 0 | 0 | 0.51815 | NA | NA | 3404.1012 | 238116.8813 | 459553.6666 | 0 | 0 | 0.00068082 | 0.0027972
| Exterior LED fixture (13 Watt) - Common Area | Per Fixture | SDGE |  | 16 | 69.95 | 135 | 0 | 0 | 0.51815 | NA | NA | 981.5615 | 68660.2271 | 132510.8029 | 0 | 0 | 0.00019631 | 8.5403e-05
| Interior LED fixture (18 Watt) - Common Area | Unit | DEER 2017 | R-InCmn-LED-PAR30(18w)-dWP43 | 16 | 59.95 | 283.6 | 0.051 | -3.85 | 0.21139 | 1175.4902 | NA | 3404.1012 | 204075.869 | 965403.1101 | 173.6092 | -13105.7898 | 0.00068082 | 0.00029618
| LED A-lamp 13 Watt - Dwelling Unit | Lamp | SDGE |  | 16 | 10.62 | 15.1 | 0.0016 | -0.22 | 0.70331 | 6637.5 | NA | 30668.4091 | 325698.5047 | 463092.9775 | 49.0695 | -6747.05 | 0.0061337 | 0.011489
| LED A-lamp 13 Watt - Indoor Common Area | Per Fixture | DEER 2017 |  | 16 | 10.62 | 165.9 | 0.03 | -2.25 | 0.064014 | 354 | NA | 5009.0153 | 53195.743 | 830995.646 | 150.2705 | -11270.2845 | 0.0010018 | 0.00089686
| LED A-lamp 13 Watt - Outdoor Common Area | Per Fixture | DEER 2017 |  | 16 | 10.62 | 66.4 | 0.002 | 0 | 0.15994 | 5310 | NA | 2732.1902 | 29015.8598 | 181417.4285 | 5.4644 | 0 | 0.00054644 | 0.00027902
| Variable speed pool pump | pump | Workpaper |  | 10 | 1845 | 8860 | 1.05 | 0 | 0.20824 | 1757.1429 | NA | 73.2919 | 135223.5375 | 649366.1478 | 76.9565 | 0 | 1.4658e-05 | 5.8785e-06
| LED pool and spa lighting | Lamp |  |  | 16 | 995 | TBD | TBD | TBD | NA | NA | NA | 33.7576 | 33588.8519 | NA | NA | NA | 6.7515e-06 | 2.7433e-06
| LED Screw-in PAR30 12 Watt - Common Area | Lamp | DEER 2017 | R-InCmn-LED-PAR30(12w)-dWP29 | 16 | 17.5 | 184 | 0.0245 | -2.18 | 0.095109 | 714.2857 | NA | 1821.4601 | 31875.5522 | 335148.6632 | 44.6258 | -3970.7831 | 0.00036429 | 0.00029895
| Evaporative coolers (CZ 14+) | Unit | DEER 2017 | D03-405 | 18 | 900 | 1590 | 3.33 | -82.9 | 0.56604 | 270.2703 | NA | 337.5605 | 303804.4646 | 536721.2207 | 1124.0765 | -27983.7668 | 6.7512e-05
| Ext LED 4W landscape lighting (26W basecase) | Unit | Workpaper |  | 16 | 99 | 386.4 | 0 | 0 | 0.25621 | NA | NA | 843.4406 | 83500.6205 | 325905.4522 | 0 | 0 | 0.00016869 | 0.00019497
Customer Co-pay Measures | [5 empty] | CMHP | CMHP | [5 empty] | CMHP | CMHP
Me. # | Measure | Unit Type | Energy Source Verification | Measure ID | EUL | Incentive/Rebate/Unit ($) | Gross Savings kWh per Unit | Gross Savings kW per Unit | Gross Savings Therms | $/kwh | $/kW | $/Thm | Quantities | Quantities
[18 empty] | 0 | 0
| Tankless water heaters (0.92EF, 40g replace) | unit | DEER 2017 | RG-WtrHt-SmlInst-Gas-150kBtuh-lt2G-0p92EF-40g | 20 | 1200 | -2.92 | -0.000296 | 65.7 | NA | NA | 18.2648 | 51.6182 | 61941.783 | -150.725 | -0.015279 | 3391.3126 | 1.0324e-05 | 0
| Tankless water heaters (0.92EF, >40g replace) | unit | DEER 2017 | RG-WtrHt-SmlInst-Gas-150kBtuh-lt2G-0p92EF | 20 | 1200 | -2.92 | -0.000296 | 118 | NA | NA | 10.1695 | 51.6182 | 61941.783 | -150.725 | -0.015279 | 6090.942 | 1.0324e-05 | 0
| R19-R38 attic insulation | Sq. Ft. | SDGE |  | 20 | NA | NA | NA | NA | NA | NA | NA | 0 | NA | NA | NA | NA | 0 | 0
| R-11-R38 attic insulation-sq ft | Sq. Ft. | SDGE |  | 20 | NA | NA | NA | NA | NA | NA | NA | 0 | NA | NA | NA | NA | 0 | 0
| R 0-R38 attic insulation | Sq. Ft. | SDGE |  | 20 | NA | NA | NA | NA | NA | NA | NA | 0 | NA | NA | NA | NA | 0 | 0
| Knee Wall Insulation R19 | Sq. Ft. | SDGE |  | 20 | NA | NA | NA | NA | NA | NA | NA | 0 | NA | NA | NA | NA | 0 | 0
| Duct replacement (HighReduction Duct Seal) | Per ton | DEER 2017 |  | 18 | 125 | 109.1 | 0.202 | 5.48 | 1.1457 | 618.8119 | 22.8102 | 276.4781 | 34559.7664 | 30163.7642 | 55.8486 | 1515.1002 | 5.5296e-05 | 2.4056e-05
| Single duct returns w/ duct seal (HighRed Duct Seal) | Per ton | DEER 2017 |  | 18 | 125 | 109.1 | 0.202 | 5.48 | 1.1457 | 618.8119 | 22.8102 | 1105.9125 | 138239.0658 | 120655.0566 | 223.3943 | 6060.4006 | 0.00022118
| Air seal - no AC | home | SDGE |  | 11 | 30 | 9.2 | 0 | 10 | 3.2609 | NA | 3 | 46.0797 | 1382.3907 | 423.9331 | 0 | 460.7969 | 9.2159e-06 | 4.0093e-06
| Air seal - with AC | home | SDGE |  | 11 | 60 | 17.3 | 0 | 19.8 | 3.4682 | NA | 3.0303 | 46.0797 | 2764.7813 | 797.1786 | 0 | 912.3778 | 9.2159e-06 | 4.0093e-06
| Window replacment - West (single pane to double pane) | Area-100Win | DEER 2017 |  | 16 | 3000 | 1132.3 | 0.85 | -0.13 | 2.6495 | 3529.4118 | NA | 0.91073 | 2732.1902 | 1031.2197 | 0.77412 | -0.11839 | 1.8215e-07
| Window replacment - South (single pane to double pane) | Area-100Win | DEER 2017 |  | 16 | 3000 | 1486.4 | 0.49 | 0 | 2.0183 | 6122.449 | NA | 0.91073 | 2732.1902 | 1353.7092 | 0.44626 | 0 | 1.8215e-07
| AC upgrade - 16 SEER | Per Ton | DEER 2017 | RE-HV-ResAC-16S | 15 | 750 | 571 | 0.579 | -0.597 | 1.3135 | 1295.3368 | NA | 282.8675 | 212150.6066 | 161517.3285 | 163.7803 | -168.8719 | 5.6573e-05 | 5.874e-05
| AC upgrade - 16 SEER (common area) | Per Ton | DEER 2017 | NE-HVAC-airAC-Split-45to55kBtuh-16p0seer | 15 | 600 | 689 | 0.424 | -1.14 | 0.87083 | 1415.0943 | NA | 46.0797 | 27647.8132 | 31748.9054 | 19.5378 | -52.5308 | 9.2159e-06 | 4.0093e-06
| Heat pump upgrade - 16 SEER | Per Ton | DEER 2017 | RE-HV-ResHP-16p0S-8p4H | 15 | 750 | 771 | 0.424 | 0.0244 | 0.97276 | 1768.8679 | 30737.7049 | 30.9709 | 23228.1686 | 23878.5573 | 13.1317 | 0.75569 | 6.1942e-06 | 5.874e-05
| Furnace upgrade (AFUE 92+) | Per kBTUh | DEER 2017 | Res-GasFurnace-AFUE92 | 20 | 2 | 0 | 0 | 0.362 | NA | NA | 5.5249 | 32.0033 | 64.0065 | 0 | 0 | 11.5852 | 6.4007e-06 | 0.00024056
| Furnace upgrade (AFUE 96+) | Per kBTUh | DEER 2017 | Res-GasFurnace-AFUE96 | 20 | 2.5 | 0 | 0 | 0.475 | NA | NA | 5.2632 | 29.9385 | 74.8463 | 0 | 0 | 14.2208 | 5.9877e-06 | 0.00024082
| LED 2x2 fixtures/retrofits (residence) | Unit | DEER 2017 |  | 16 | 20 | 26 | 0.003 | -0.37 | 0.76923 | 6666.6667 | NA | 15.4854 | 309.7089 | 402.6216 | 0.046456 | -5.7296 | 3.0971e-06 | 8.0185e-07
| LED 2x4 fixtures/retrofits (residence) | Unit | DEER 2017 |  | 16 | 20 | 26 | 0.003 | -0.37 | 0.76923 | 6666.6667 | NA | 184.3188 | 3686.3751 | 4792.2876 | 0.55296 | -68.1979 | 3.6864e-05 | 1.6037e-05
| 2x2 LED retrofit (40-60 watts) - Common Area | Per Fixture | SDGE |  | 16 | 20 | 26 | 0.003 | -0.37 | 0.76923 | 6666.6667 | NA | 92.1594 | 1843.1875 | 2396.1438 | 0.27648 | -34.099 | 1.8432e-05 | 8.0185e-06
| 2x4 LED retrofit (40-60 watts) - Common Area | Per Fixture | SDGE |  | 16 | 20 | 26 | 0.003 | -0.37 | 0.76923 | 6666.6667 | NA | 276.4781 | 5529.5626 | 7188.4314 | 0.82943 | -102.2969 | 5.5296e-05 | 2.4056e-05
| Exterior LED fixture (28 Watt) - Common Area | Unit | DEER 2017 | C-Out-LEDFixt-Ext(28w)-dwP52 | 16 | 100 | 213 | 0 | 0 | 0.46948 | NA | NA | 460.7969 | 46079.6886 | 98149.7367 | 0 | 0 | 9.2159e-05 | 4.0093e-05
| Exterior LED fixture (43 Watt) - Common Area | Unit | DEER 2017 | R-Out-LEDFixt-Ext-2(43w)-dWP162-dWC107 / C-Out-LEDFixt-Ext(43w)-dwP52 | 16 | 100 | 202.3 | 0 | 0 | 0.49432 | NA | NA | 88.7832 | 8878.3222 | 17960.8459 | 0 | 0 | 1.7757e-05 | 8.0185e-06
| Exterior LED fixture (52 Watt) - Common Area | Unit | DEER 2017 | R-Out-LEDFixt-Ext(52w)-dWP153-dWC98 / C-Out-LEDFixt-Ext(54w)-dwP84 | 16 | 100 | 191 | 0 | 0 | 0.52356 | NA | NA | 184.3188 | 18431.8754 | 35204.8821 | 0 | 0 | 3.6864e-05 | 1.6037e-05
| Refrigerator | Per System | DEER 2017 | RE-RefgFrz-BM-TTD_Large-Tier2 | 14 | 100 | 219 | 0.04 | -3.36 | 0.45662 | 2500 | NA | 46.0797 | 4607.9689 | 10091.4518 | 1.8432 | -154.8278 | 9.2159e-06
| Clothes washer (ES Tier 2 or higher) | Unit | DEER 2017 | RB-Appl-EffCW-med-Tier2-Front | 11 | 100 | 98.9 | 0.0155 | 9.54 | 1.0111 | 6451.6129 | 10.4822 | 46.0797 | 4607.9689 | 4557.2812 | 0.71424 | 439.6002 | 9.2159e-06
| Smart programmable thermostat | Unit | Workpaper |  | 11 | 200 | 207 | 0 | 10 | 0.96618 | NA | 20 | 10.3236 | 2064.7261 | 2136.9915 | 0 | 103.2363 | 2.0647e-06
| Commercial HE clothes washer-Common Area | Unit | 2015-16 MFEER |  | 11 | 150 | 645 | 0.076 | 51.8 | 0.23256 | 1973.6842 | 2.8958 | 0.92159 | 138.2391 | 594.428 | 0.070041 | 47.7386 | 1.8432e-07 | 9.7975e-07
| Central System natual Gas water heaters | Unit | 2015-16 MFEER |  | 20 | 150 | 0 | 0 | 30.68 | NA | NA | 4.8892 | 0.92159 | 138.2391 | 0 | 0 | 28.2745 | 1.8432e-07 | 9.3963e-07
| Cental System natural Gas boilers | Unit | 2015-16 MFEER |  | 20 | 1500 | 0 | 0 | 750 | NA | NA | 2 | 0.92159 | 1382.3907 | 0 | 0 | 691.1953 | 1.8432e-07 | 9.3963e-07
| Boiler controllers | Unit | 2015-16 MFEER |  | 12 | 325 | 1255.9 | 0.143 | 1014.545 | 0.25878 | 2272.7273 | 0.32034 | 0.92159 | 299.518 | 1157.4296 | 0.13179 | 934.9984 | 1.8432e-07 | 9.3963e-07
| Occupancy sensor | Unit | 2015-16 MFEER |  | 12 | 10 | 128.2 | 0.03 | -0.378 | 0.078003 | 333.3333 | NA | 2.0647 | 20.6473 | 264.6979 | 0.061942 | -0.78047 | 4.1295e-07 | 9.3963e-07
| Energy start Certified Led MR replacement lamps | Unit | 2015-16 MFEER |  | 12 | 20 | 15.3 | 0.002 | -0.217 | 1.3072 | 10000 | NA | 0.92159 | 18.4319 | 14.1004 | 0.0018432 | -0.19999 | 1.8432e-07 | 9.3963e-07
| LED Screw-in PAR30 12 Watt - Interior Dwelling Units | Lamp | DEER 2017 | R-In-LED-PAR30(12w)-dWP29 | 16 | 12 | 17.9 | 0.00184 | -0.255 | 0.67039 | 6521.7391 | NA | 18.2146 | 218.5752 | 326.0414 | 0.033515 | -4.6447 | 3.6429e-06 | 3.9861e-06
[18 empty] | 0 | 0
TOTAL | [12 empty] | 81214.0539 | 5000000 | 9786695.0636 | 5598.0202 | 25347.1915
$/kWh DTS / AC Service - Costs are allocated to kWh/Therms on a pro rata basis
for the DTS and AC services, as done by SCE/SCG when allocating costs for electric/therm savings
The allocation ratio is 25/75%
*Incentive levels and measures offerings are subject to change as they are tied to the Company's Energy Efficiency Residential Rebate Programs (i.e., measure quantities above are not binding to that quanitity and be exceeded or not exceeded; this is for forecast purposes with energy savings). Measure costs shall be renegotiated on an as-needed basis as determined by Company, to include measure costs, incentive levels, and measure offerings with a written authorization to include an email communication from a Program Supervisor or Manager at the Company.

## Inactive Measures
Inactive Measures | [5 empty] | CMHP | CMHP
Me. # | Measure | Unit Type | Energy Source Verification | Measure ID | EUL | Incentive/Rebate/Unit ($) | Gross Savings kWh per Unit | Gross Savings kW per Unit | Gross Savings Therms | $/kwh | $/kW | $/Thm
| Interior LED fixture (18 Watt) | Unit | DEER 2017 | R-In-LEDFixt-3(18w)-dWP35 | 16 | 59.95 | 22.2 | 0.003 | -0.33 | 2.7005 | 19983.3333 | NA
| Thermostatic Shower Start | Unit | DEER 2017 | Res-ShwrFlowRes-Gas | 10 | 29.65 | 0 | 0 | 2.07 | NA | NA | 14.3237
| HVAC Upgrade EFC CZ 07 | Per System | Workpaper | Robert Mowris | 5 | 143.55 | 34.567 | 0 | 0 | 4.1528 | NA | NA
| Central AC Brushless Fan Motor replacing Permanent Split Capacitor (PSC) Motor CZ 07 | Per Ton | Disposition letter |  | 5 | 118.8 | 60.453 | 0.0914 | -0.1799 | 1.9652 | 1299.7812 | NA
| Faucet Aerator - 0.5GPM, Bathroom | Unit | DEER 2017 | Res-FaucetAerLav-Gas-0.5 | 10 | 9.85 | 0 | 0 | 1.12 | NA | NA | 8.7946
| LED A-lamp 7 Watt - Dwelling Unit | Lamp | SDGE |  | 16 | 12.95 | 8.239 | 0.0009 | -0.1113 | 1.5718 | 14388.8889 | NA
| LED A-lamp 11 Watt - Dwelling Unit | Lamp | SDGE |  | 16 | 13.95 | 12.8 | 0.0014 | -0.186 | 1.0898 | 9964.2857 | NA
| LED A-lamp 11 Watt - Indoor Common Area | Lamp | DEER 2017 |  | 16 | 13.95 | 133 | 0.0183 | -2.07 | 0.10489 | 762.2951 | NA
| LED A-lamp 11 Watt - Outdoor Common Area | Lamp | DEER 2017 |  | 16 | 13.95 | 73.08 | 0 | 0 | 0.19089 | NA | NA