## Sheet1
Assumptions (LEED v4 Indoor Water Calculator)
Pre-existing
Fixture Type | Measure | Maximum Installed Flush/Flow Rate |  |  |  | Duration (sec) | Default Uses per Day
| Code | IP |  | SI |  |  | Employees (FTE) | Transients | Retail Customers | Students (K-12) | Residential | gal/day/unit | gal/year/unit
Toilet (male) |  | 1.6 | gpf | 6 | lpf | n/a | 1 | 0.1 | 0.1 | 1 | 5
Toilet (female) |  | 1.6 | gpf | 6 | lpf | n/a | 3 | 0.5 | 0.2 | 3 | 5
Urinal |  | 1 | gpf | 3.8 | lpf | n/a | 2 | 0.4 | 0.1 | 2 | 0
Public lavatory (restroom) faucet |  | 0.5 | gpm | 1.9 | lpm | 30 | 3 | 0.5 | 0.2 | 3 | 0
Public lavatory (restroom) faucet - metered |  | 0.25 | gpc | 0.95 | lpc | n/a | 3 | 0.5 | 0.2 | 3 | 0
Private (residential) lavatory faucet |  | 2.2 | gpm | 8.36 | lpm | 60 | 0 | 0 | 0 | 0 | 5 | 11 | 4015
Kitchen faucet |  | 2.2 | gpm | 8.3 | lpm | 15 | 1 | 0 | 0 | 0 | 0
Residential kitchen faucet |  | 2.41 | gpm | 9.158 | lpm | 60 | 0 | 0 | 0 | 0 | 4 | 9.64 | 3518.6
Showerhead |  | 2.5 | gpm | 9.5 | lpm | 300 | 0.1 | 0 | 0 | 0 | 0
Residential showerhead |  | 2.25 | gpm | 8.55 | lpm | 480 | 0 | 0 | 0 | 0 | 1 | 18 | 6570
Base Case - Code
Fixture Type |  | Maximum Installed Flush/Flow Rate |  |  |  | Duration (sec) | Default Uses per Day
|  | IP |  | SI |  |  | Employees (FTE) | Transients | Retail Customers | Students (K-12) | Residential | gal/day/unit | gal/year/unit
Toilet (male) |  | 1.6 | gpf | 6 | lpf | n/a | 1 | 0.1 | 0.1 | 1 | 5
Toilet (female) |  | 1.6 | gpf | 6 | lpf | n/a | 3 | 0.5 | 0.2 | 3 | 5
Urinal |  | 1 | gpf | 3.8 | lpf | n/a | 2 | 0.4 | 0.1 | 2 | 0
Public lavatory (restroom) faucet |  | 0.5 | gpm | 1.9 | lpm | 30 | 3 | 0.5 | 0.2 | 3 | 0
Public lavatory (restroom) faucet - metered |  | 0.25 | gpc | 0.95 | lpc | n/a | 3 | 0.5 | 0.2 | 3 | 0
Private (residential) lavatory faucet |  | 1.8 | gpm | 6.84 | lpm | 60 | 0 | 0 | 0 | 0 | 5 | 9 | 3285
Kitchen faucet |  | 2.2 | gpm | 8.3 | lpm | 15 | 1 | 0 | 0 | 0 | 0
Residential kitchen faucet |  | 2.2 | gpm | 8.36 | lpm | 60 | 0 | 0 | 0 | 0 | 4 | 8.8 | 3212
Showerhead |  | 2.5 | gpm | 9.5 | lpm | 300 | 0.1 | 0 | 0 | 0 | 0
Residential showerhead |  | 1.8 | gpm | 6.84 | lpm | 480 | 0 | 0 | 0 | 0 | 1 | 14.4 | 5256
Measure
Fixture Type |  | Maximum Installed Flush/Flow Rate |  |  |  | Duration (sec) | Default Uses per Day
|  | IP |  | SI |  |  | Employees (FTE) | Transients | Retail Customers | Students (K-12) | Residential | gal/day/unit | gal/year/unit
Toilet (male) |  | 1.6 | gpf | 6 | lpf | n/a | 1 | 0.1 | 0.1 | 1 | 5
Toilet (female) |  | 1.6 | gpf | 6 | lpf | n/a | 3 | 0.5 | 0.2 | 3 | 5
Urinal |  | 1 | gpf | 3.8 | lpf | n/a | 2 | 0.4 | 0.1 | 2 | 0
Public lavatory (restroom) faucet |  | 0.5 | gpm | 1.9 | lpm | 30 | 3 | 0.5 | 0.2 | 3 | 0
Public lavatory (restroom) faucet - metered |  | 0.25 | gpc | 0.95 | lpc | n/a | 3 | 0.5 | 0.2 | 3 | 0
Private (residential) lavatory faucet - S530, S531 |  | 0.5 | gpm | 1.9 | lpm | 60 | 0 | 0 | 0 | 0 | 5 | 2.5 | 912.5
Private (residential) lavatory faucet S235, S236 |  | 1 | gpm | 3.8 | lpm | 60 |  |  |  |  | 5 | 5 | 1825
Kitchen faucet |  | 2.2 | gpm | 8.3 | lpm | 15 | 1 | 0 | 0 | 0 | 0
Residential kitchen faucet |  | 1.5 | gpm | 5.7 | lpm | 60 | 0 | 0 | 0 | 0 | 4 | 6 | 2190
Showerhead |  | 2.5 | gpm | 9.5 | lpm | 300 | 0.1 | 0 | 0 | 0 | 0
Residential showerhead |  | 1.6 | gpm | 6.08 | lpm | 480 | 0 | 0 | 0 | 0 | 1 | 12.8 | 4672
Water Savings / Year / Unit - Measure vs Pre-existing
Fixture Type |  | Maximum Installed Flush/Flow Rate |  |  |  | Duration (sec) | Default Uses per Day
|  | IP |  | SI |  |  | Employees (FTE) | Transients | Retail Customers | Students (K-12) | Residential | gal/day/unit | gal/year/unit
Toilet (male) |  | 1.6 | gpf | 6 | lpf | n/a | 1 | 0.1 | 0.1 | 1 | 5
Toilet (female) |  | 1.6 | gpf | 6 | lpf | n/a | 3 | 0.5 | 0.2 | 3 | 5
Urinal |  | 1 | gpf | 3.8 | lpf | n/a | 2 | 0.4 | 0.1 | 2 | 0
Public lavatory (restroom) faucet |  | 0.5 | gpm | 1.9 | lpm | 30 | 3 | 0.5 | 0.2 | 3 | 0
Public lavatory (restroom) faucet - metered |  | 0.25 | gpc | 0.95 | lpc | n/a | 3 | 0.5 | 0.2 | 3 | 0
Private (residential) lavatory faucet - S530, S531 |  | 0.5 | gpm | 1.9 | lpm | 60 | 0 | 0 | 0 | 0 | 5 | 8.5 | 3102.5
Private (residential) lavatory faucet S235, S236 |  | 1 | gpm | 3.8 | lpm | 60 |  |  |  |  | 5 | 6 | 2190
Kitchen faucet |  | 2.2 | gpm | 8.3 | lpm | 15 | 1 | 0 | 0 | 0 | 0
Residential kitchen faucet |  | 1.5 | gpm | 5.7 | lpm | 60 | 0 | 0 | 0 | 0 | 4 | 3.64 | 1328.6
Showerhead |  | 2.5 | gpm | 9.5 | lpm | 300 | 0.1 | 0 | 0 | 0 | 0
Residential showerhead |  | 1.6 | gpm | 6.08 | lpm | 480 | 0 | 0 | 0 | 0 | 1 | 5.2 | 1898
Water Savings / Year /Unit - Measure vs Base Case / Code
Fixture Type |  | Maximum Installed Flush/Flow Rate |  |  |  | Duration (sec) | Default Uses per Day
|  | IP |  | SI |  |  | Employees (FTE) | Transients | Retail Customers | Students (K-12) | Residential | gal/day/unit | gal/year/unit
Toilet (male) |  | 1.6 | gpf | 6 | lpf | n/a | 1 | 0.1 | 0.1 | 1 | 5
Toilet (female) |  | 1.6 | gpf | 6 | lpf | n/a | 3 | 0.5 | 0.2 | 3 | 5
Urinal |  | 1 | gpf | 3.8 | lpf | n/a | 2 | 0.4 | 0.1 | 2 | 0
Public lavatory (restroom) faucet |  | 0.5 | gpm | 1.9 | lpm | 30 | 3 | 0.5 | 0.2 | 3 | 0
Public lavatory (restroom) faucet - metered |  | 0.25 | gpc | 0.95 | lpc | n/a | 3 | 0.5 | 0.2 | 3 | 0
Private (residential) lavatory faucet - S530, S531 |  | 0.5 | gpm | 1.9 | lpm | 60 | 0 | 0 | 0 | 0 | 5 | 6.5 | 2372.5
Private (residential) lavatory faucet S235, S236 |  | 1 | gpm | 3.8 | lpm | 60 |  |  |  |  | 5 | 4 | 1460
Kitchen faucet |  | 2.2 | gpm | 8.3 | lpm | 15 | 1 | 0 | 0 | 0 | 0
Residential kitchen faucet |  | 1.5 | gpm | 5.7 | lpm | 60 | 0 | 0 | 0 | 0 | 4 | 2.8 | 1022
Showerhead |  | 2.5 | gpm | 9.5 | lpm | 300 | 0.1 | 0 | 0 | 0 | 0
Residential showerhead |  | 1.6 | gpm | 6.08 | lpm | 480 | 0 | 0 | 0 | 0 | 1 | 1.6 | 584