## Rev 7-1-2014
SoCal WaterSmart Water Savings Table
Commercial Devices | Annual Savings | Est. Device | Lifetime Savings | Current MWD
| (Gallons / year) | Life (years) | (Gallons) | Incentive
High Efficiency Toilet (Melded Rate) | 8015.9346 | 20 | 160318.692 | 100
4 Liter Toilet (Melded Rate) | 12186.8274 | 20 | 243736.548 | 145
Zero/Ultra Low Water Urinal | 39981.9177 | 20 | 799638.354 | 200
Connectionless Food Steamer (/Compartment) | 81495.3351 | 10 | 814953.351 | 485
Air-cooled Ice Making Machine | 50181.054 | 10 | 501810.54 | 1000
Dry Vaccuum Pump (/1/2 hp) | 29978.292 | 7 | 209848.044 | 125
Cooling Tower Conductivity Controller | 209848.044 | 5 | 1049240.22 | 625
pH Cooling Tower Controller | 633454.344 | 5 | 3167271.72 | 1750
Weather Based Irrigation Controller (/Station) | 4203.4779 | 10 | 42034.779 | 35
Central Computer Irrigation Controller (/Station) | 4203.4779 | 10 | 42034.779 | 35
Rotary Multi-Stream Nozzle | 1433.7444 | 5 | 7168.722 | 3
Large Rotary Nozzle | 5865.318 | 10 | 58653.18 | 7
Turf Removal (/square foot) | 42.3606 | 10 | 423.6063 | 2
Laminar Flow Restrictor | 7494.573 | 5 | 37472.865 | 10
In-Stem Flow Regulator | 977.553 | 5 | 4887.765 | 1
Soil Moisture Sensor | 4203.4779 | 10 | 42034.779 | 35
Plumbing Flow Control (/pair) | 2737.5 | 10 | 27375 | 10
High Efficiency Toilet (Fitness; avg M&F) | 90977.25 | 20 | 1819545 | 300
Zero/Ultra Low Water Urinal (Fitness) | 268450 | 20 | 5369000 | 500
Residential Devices | Annual Savings | Est. Device | Lifetime Savings | Current MWD
| (Gallons/year) | Life (years) | (Gallons) | Incentive
High Efficiency Toilet (Melded Rate) | 8015.9346 | 20 | 160318.692 | 100
Weather Based Irrigation Controller (each; < 1 acre) | 13490.2314 | 10 | 134902.314 | 80
Weather Based Irrigation Controller (/Station; > 1 acre) | 4203.4779 | 10 | 42034.779 | 35
Rotary Multi-Stream Nozzle | 1433.7444 | 5 | 7168.722 | 3
Turf Removal (per square foot) | 42.3606 | 10 | 423.6063 | 2
Soil Moisture Sensor (each; < 1 acre) | 13490.2314 | 10 | 134902.314 | 80
Soil Moisture Sensor (/Station; > 1 acre) | 4203.4779 | 10 | 42034.779 | 35
Rain Barrel | 620.5067 | 5 | 3102.5335 | 75
High Efficiency Clothes Washer | 11241.8595 | 14 | 157386.033 | 85
Rev 7/1/14
36

## 7-12-19
SoCal WaterSmart Water Savings Table |  |  |  | 2018-02-15
Commercial Devices | Annual Savings | Est. Device | Lifetime Savings | Current MWD
| (Gallons / year) | Life (years) | (Gallons) | Incentive
High Efficiency Toilet (Melded Rate) | 8015.9346 | 20 | 160318.692 | 100
4 Liter Toilet (Melded Rate) | 12186.8274 | 20 | 243736.548 | 145
Zero/Ultra Low Water Urinal | 39981.9177 | 20 | 799638.354 | 200
Connectionless Food Steamer (/Compartment) | 81495.3351 | 10 | 814953.351 | 485
Air-cooled Ice Making Machine | 50181.054 | 10 | 501810.54 | 300
Dry Vaccuum Pump (/1/2 hp) | 29978.292 | 7 | 209848.044 | 125
Cooling Tower Conductivity Controller | 209848.044 | 5 | 1049240.22 | 625
pH Cooling Tower Controller | 633454.344 | 5 | 3167271.72 | 1750
Weather Based Irrigation Controller (/Station) | 5833 | 10 | 58330 | 35
Central Computer Irrigation Controller (/Station) | 5833 | 10 | 58330 | 35
Rotary Multi-Stream Nozzle** | 860 | 5 | 4300 | 2
Large Rotary Nozzle | 5865.318 | 10 | 58653.18 | 13
Turf Removal (/square foot) | 44 | 10 | 440 | 2
Laminar Flow Restrictor | 7494.573 | 5 | 37472.865 | 10
In-Stem Flow Regulator | 977.553 | 5 | 4887.765 | 1
Soil Moisture Sensor | 5833 | 10 | 58330 | 35
Plumbing Flow Control (/pair) | 2737.5 | 10 | 27375 | 10
High Efficiency Toilet (Fitness; avg M&F) | 37799 | 20 | 755980 | 120
Zero/Ultra Low Water Urinal (Fitness) | 268450 | 20 | 5369000 | 500
Premium HET (Multi-Family only, Melded rate)* | 12187 | 20 | 243740 | 145
Premium HET (Based on savings from 1.6 gpf toilet) | 3421 | 20 | 68420 | 40
Residential Devices | Annual Savings | Est. Device | Lifetime Savings | Current MWD
| (Gallons/year) | Life (years) | (Gallons) | Incentive
High Efficiency Toilet (Melded Rate) | 8015.9346 | 20 | 160318.692 | 100
Premium HET (Based on savings from 1.6 gpf toilet) | 3421 | 20 | 68420 | 40
Weather Based Irrigation Controller (each; < 1 acre) | 13490.2314 | 10 | 134902.314 | 80
Weather Based Irrigation Controller (/Station; > 1 acre) | 5833 | 10 | 58330 | 35
Rotary Multi-Stream Nozzle | 860 | 5 | 4300 | 2
Turf Removal (per square foot) | 44 | 10 | 440 | 2
Soil Moisture Sensor (each; < 1 acre) | 13490.2314 | 10 | 134902.314 | 80
Soil Moisture Sensor (/Station; > 1 acre) | 5833 | 10 | 58330 | 35
Rain Barrel | 620.5067 | 5 | 3102.5335 | 35
High Efficiency Clothes Washer | 10688 | 14 | 149632 | 85
Cistern - Small (200 - 500 gallons) | 2476 | 5 | 12380 | 250
Cistern - Medium (501 - 999 gallons) | 3063 | 5 | 15315 | 300
Cistern - Large (1,000+ gallons) | 3519 | 5 | 17595 | 350
* No longer in pgm
** Revised 11/11/15

## Sheet1
SoCal WaterSmart Water Savings Table
Commercial Devices |  |  | Annual Savings | Est. Device
|  |  | (acre-feet/year) | Life (years)
High Efficiency Toilet (Melded) | Com | Com-High Efficiency Toilet (Melded) | 8016 | 20 | C-High Efficiency Toilet (Melded)
4 Liter Toilet (Melded) | Com | Com-4 Liter Toilet (Melded) | 12187 | 20 | C-4 Liter Toilet (Melded) | 8016
Zero/Ultra Low Water Urinal | Com | Com-Zero/Ultra Low Water Urinal | 39982 | 20 | C-Zero/Ultra Low Water Urinal | 12187
Connectionless Food Steamer (/Comp) | Com | Com-Connectionless Food Steamer (/Comp) | 81495 | 10 | C-Connectionless Food Steamer | 39982
Air-cooled Ice Making Machine | Com | Com-Air-cooled Ice Making Machine | 50181 | 10 | C-Air-cooled Ice Making Machine | 81495
Dry Vaccuum Pump (/1/2 hp) | Com | Com-Dry Vaccuum Pump (/1/2 hp) | 29978 | 7 | C-Dry Vaccuum Pump (/1/2 hp) | 50181
Cooling Tower Conductivity Controller | Com | Com-Cooling Tower Conductivity Controller | 209848 | 5 | C-Cooling Tower Conductivity Con | 29978
pH Cooling Tower Controller | Com | Com-pH Cooling Tower Controller | 633454 | 5 | C-pH Cooling Tower Controller | 209848
Weather Based Irrigation Controller-Stat | Com | Com-Weather Based Irrigation Controller-Stat | 4203 | 10 | C-Weather Based Irrigation Con | 633454
Central Computer Irrigation Controller-Stat | Com | Com-Central Computer Irrigation Controller-Stat | 4203 | 10 | C-Central Computer Irrigation Con | 4203
Rotary Multi-Stream Nozzle | Com | Com-Rotary Multi-Stream Nozzle | 1434 | 5 | C-Rotary Multi-Stream Nozzle | 4203
Large Rotary Nozzle | Com | Com-Large Rotary Nozzle | 5865 | 10 | C-Large Rotary Nozzle | 1434
Turf Removal (/square foot) | Com | Com-Turf Removal (/square foot) | 42 | 10 | C-Turf Removal (/square foot) | 5865
Laminar Flow Restrictor | Com | Com-Laminar Flow Restrictor | 7495 | 5 | C-Laminar Flow Restrictor | 42
In-Stem Flow Regulator | Com | Com-In-Stem Flow Regulator | 978 | 5 | C-In-Stem Flow Regulator | 7495
Soil Moisture Sensor | Com | Com-Soil Moisture Sensor | 4203 | 10 | C-Soil Moisture Sensor | 978
Plumbing Flow Control (/pair) | Com | Com-Plumbing Flow Control (/pair) | 2738 | 10 | C-Plumbing Flow Control (/pair) | 4203
High Efficiency Toilet (Fitness; avg M&F) | Com | Com-High Efficiency Toilet (Fitness; avg M&F) | 90977 | 20 | C-High Efficiency Toilet (fit/M&F) | 2738
Zero/Ultra Low Water Urinal (Fitness) | Com | Com-Zero/Ultra Low Water Urinal (Fitness) | 268450 | 20 | C-Zero/Ultra Low Water Urinal (Fit) | 90977
High Efficiency Toilet (Melded Rate) | Res | Res-High Efficiency Toilet (Melded Rate) | 8016 | 20 | R-High Efficiency Toilet (Melded) | 268450
Weather Based Irrigation Controller (each; < 1 acre) | Res | Res-Weather Based Irrigation Controller (each; < 1 acre) | 13490 | 10 | R-Weather Based Irr Control < 1 acre | 8016
Weather Based Irrigation Controller (/Station; > 1 acre) | Res | Res-Weather Based Irrigation Controller (/Station; > 1 acre) | 4203 | 10 | R-Weather Based Irr Control > 1 acre | 13490
Rotary Multi-Stream Nozzle | Res | Res-Rotary Multi-Stream Nozzle | 1434 | 5 | R-Rotary Multi-Stream Nozzle | 4203
Turf Removal (per square foot) | Res | Res-Turf Removal (per square foot) | 42 | 10 | R-Turf Removal (per sq foot) | 1434
Soil Moisture Sensor (each; < 1 acre) | Res | Res-Soil Moisture Sensor (each; < 1 acre) | 13490 | 10 | R-Soil Moisture Sensor < 1 acre | 42
Soil Moisture Sensor (/Station; > 1 acre) | Res | Res-Soil Moisture Sensor (/Station; > 1 acre) | 4203 | 10 | R-Soil Moisture Sensor > 1 acre | 13490
Rain Barrel | Res | Res-Rain Barrel | 621 | 5 | R-Rain Barrel | 4203
High Efficiency Clothes Washer | Res | Res-High Efficiency Clothes Washer | 11242 | 14 | R-High Efficiency Clothes Washer | 621
36