## MeasureExAnte
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43
PA | MeasureID | Qualifier | SourceDesc | Sector | EnergyImpactID | MeasCostID | StdCostID | EUL_ID | RUL_ID | Version | VersionSource | LastMod | Description | MeasDesc | MeasTechID | MeasImpactType | MeasImpactCalcType | UseCategory | UseSubCategory | TechGroup | TechType | Status | Comment | PreDesc | PreMultiTech | PreTechID | PreTechGroup | PreTechType | StdDesc | StdMultiTech | StdTechID | StdTechGroup | StdTechType | ScaleBasis | TechBased | ApplyIE | IETableName | ImpWeighting | WeightGroupID | LegacyID | StdScaleVal | PreScaleVal
Any | SWHC018A | None | SWHC018-02 | Com | SWHC018A | SWHC018_02_M001 | SWHC018_02_B001 | HVAC-VSDSupFan | HVAC-VSDSupFan | ExAnte2020 | IOU Workpaper | 2019-10-07 | VSD on HVAC Fan Control | VSD on HVAC Fan Control |  | Deem-WP | Standard | HVAC | VentAirDist | HV_AirDist | VentFanMtr | Proposed |  | Damper controlled VAV |  |  | HV_AirDist | VentFanMtr | Damper controlled VAV |  |  | HV_AirDist | VentFanMtr | None |  | FALSE | None

## ImplementationExAnte
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
PA | ImplementationID | StartDate | ExpiryDate | SourceDesc | MeasAppType | DeliveryType | MeasureID | MeasQualifier | Sector | GSIA_ID | NTG_ID | CostQualifier | MeasCostID | StdCostID | Version | VersionSource | LastMod | Description | ImplementerID | MeasImpactType | Status | Comment
SCE | AC-21291ComAnyFiSDrI | 2020-01-01 |  | SWHC018-02 | AOE | DnDeemDI | SWHC018A | None | Com | Def-GSIA | Com-Default>2yrs | None | SWHC018_02_M001 | SWHC018_02_B001 | ExAnte2020 | IOU workpaper | 2019-06-01 | VSD on HVAC Fan Control |  | Deem-WP | Proposed
SCE | AC-21291ComAnyFiSDwSD | 2020-01-01 |  | SWHC018-02 | AOE | DnDeemed | SWHC018A | None | Com | Def-GSIA | Com-Default>2yrs | None | SWHC018_02_M001 | SWHC018_02_B001 | ExAnte2020 | IOU workpaper | 2019-06-01 | VSD on HVAC Fan Control |  | Deem-WP | Proposed
PGE | H148 | 2020-01-01 |  | SWHC018-02 | AOE | DnDeemDI | SWHC018A | None | Com | Def-GSIA | Com-Default>2yrs | None | SWHC018_02_M001 | SWHC018_02_B001 | ExAnte2020 | IOU workpaper | 2019-06-01 | VSD on HVAC Fan Control |  | Deem-WP | Proposed
PGE | H148 | 2020-01-01 |  | SWHC018-02 | AOE | DnDeemed | SWHC018A | None | Com | Def-GSIA | Com-Default>2yrs | None | SWHC018_02_M001 | SWHC018_02_B001 | ExAnte2020 | IOU workpaper | 2019-06-01 | VSD on HVAC Fan Control |  | Deem-WP | Proposed
SDG | 467837 | 2020-01-01 |  | SWHC018-02 | AOE | DnDeemDI | SWHC018A | None | Com | Def-GSIA | Com-Default>2yrs | None | SWHC018_02_M001 | SWHC018_02_B001 | ExAnte2020 | IOU workpaper | 2019-06-01 | VSD on HVAC Fan Control |  | Deem-WP | Proposed
SDG | 467838 | 2020-01-01 |  | SWHC018-02 | AOE | DnDeemed | SWHC018A | None | Com | Def-GSIA | Com-Default>2yrs | None | SWHC018_02_M001 | SWHC018_02_B001 | ExAnte2020 | IOU workpaper | 2019-06-01 | VSD on HVAC Fan Control |  | Deem-WP | Proposed

## EnergyImpactExAnte
PA | EnergyImpactID | BldgType | BldgVint | BldgLoc | BldgHVAC | SourceDesc | Version | VersionSource | LastMod | NormUnit | NumUnit | MeasArea | ScaleBasis | APreWBkWh | APreWBkW | APreWBtherm | AStdWBkWh | AStdWBkW | AStdWBtherm | APreEUkWh | APreEUkW | APreEUtherm | AStdEUkWh | AStdEUkW | AStdEUtherm | ElecImpactProfile | GasImpactProfile | Flag
Any | SWHC018A | ECC | Ex | CZ01 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1048.8713 | 0.30747 | -12.5517 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ01 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 835.6881 | 0.11063 | -11.5951 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ01 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1066.7027 | 0.30991 | -13.1355 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ01 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1544.5788 | 0.25976 | -21.1153 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ01 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1352.1417 | 0.21582 | -30.9244 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ01 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1649.0431 | 0.26673 | -18.3607 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ01 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 859.2453 | 0.15175 | -2.0235 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ01 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1156.2172 | 0.10273 | -10.6087 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ02 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1228.3317 | 0.18043 | -7.8464 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ02 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 946.3943 | 0.18334 | -7.3661 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ02 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1133.7844 | 0.22339 | -7.0931 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ02 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1682.7366 | 0.29402 | -15.9959 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ02 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1643.4094 | 0.1941 | -22.7871 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ02 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1828.5163 | 0.2587 | -13.8571 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ02 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 886.0913 | 0.12361 | -1.0267 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ02 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1224.2812 | 0.2406 | -6.2735 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ03 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1168.4673 | 0.18198 | -5.5661 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ03 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 940.7059 | 0.13781 | -5.7033 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ03 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1123.3648 | 0.25733 | -5.2722 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ03 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1682.2805 | 0.2737 | -9.171 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ03 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1571.7578 | 0.21645 | -19.4074 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ03 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1780.1589 | 0.2557 | -7.3419 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ03 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 894.8761 | 0.13836 | -0.48432 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ03 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1235.2922 | 0.18226 | -4.6373 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ04 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1274.5458 | 0.24827 | -4.485 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ04 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1045.1214 | 0.16038 | -4.7348 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ04 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1168.9603 | 0.27916 | -4.0603 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ04 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1758.4355 | 0.27689 | -10.1457 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ04 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1769.2943 | 0.22327 | -16.7984 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ04 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1927.547 | 0.25342 | -8.0641 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ04 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 929.5514 | 0.13564 | -0.52964 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ04 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1279.7732 | 0.14875 | -3.6476 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ05 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1142.2792 | 0.25723 | -6.3903 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ05 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 931.3236 | 0.097846 | -5.6903 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ05 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1127.3818 | 0.2693 | -5.884 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ05 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1667.952 | 0.23402 | -12.2056 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ05 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1530.6365 | 0.21856 | -20.6518 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ05 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1774.5227 | 0.22396 | -10.1612 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ05 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 894.0121 | 0.1278 | -0.73629 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ05 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1239.2101 | 0.082417 | -4.4122 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ06 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1326.1984 | 0.24795 | -2.1509 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ06 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1054.3977 | 0.14672 | -2.4032 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ06 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1233.527 | 0.2754 | -1.9011 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ06 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1944.8695 | 0.28712 | -5.2485 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ06 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1849.7667 | 0.23687 | -9.6726 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ06 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 2093.149 | 0.25265 | -3.8504 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ06 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 969.5139 | 0.13581 | -0.087183 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ06 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1384.1236 | 0.10937 | -1.4203 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ07 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1328.8656 | 0.28053 | -1.0857 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ07 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1104.2504 | 0.14887 | -1.4766 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ07 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1232.3974 | 0.33227 | -0.93688 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ07 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1947.009 | 0.26493 | -1.1874 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ07 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1822.7025 | 0.26521 | -5.0943 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ07 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 2139.1421 | 0.2551 | -0.2965 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ07 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 979.726 | 0.14477 | 0.019638 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ07 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1402.7051 | 0.083821 | -0.67048 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ08 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1367.8677 | 0.2974 | -1.8701 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ08 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1116.6358 | 0.14949 | -2.2383 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ08 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1224.4817 | 0.32042 | -1.7177 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ08 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1940.8691 | 0.2636 | -3.6264 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ08 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1856.8691 | 0.25496 | -8.4198 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ08 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 2033.1284 | 0.26988 | -2.751 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ08 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 975.5388 | 0.15327 | -0.10821 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ08 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1381.7588 | 0.086004 | -1.2536 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ09 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1366.7152 | 0.30167 | -2.6675 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ09 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1126.3882 | 0.20422 | -2.971 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ09 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1206.8422 | 0.28621 | -2.2972 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ09 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1901.5212 | 0.31469 | -5.484 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ09 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1923.7965 | 0.27696 | -11.0633 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ09 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 2015.6967 | 0.30134 | -4.0569 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ09 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 971.3688 | 0.14891 | -0.10851 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ09 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1362.9975 | 0.13307 | -1.6586 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ10 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1350.1738 | 0.25713 | -3.1502 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ10 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1056.9057 | 0.15147 | -3.5551 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ10 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1198.4127 | 0.29977 | -2.8429 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ10 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1850.9729 | 0.33244 | -7.5429 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ10 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1807.9025 | 0.23639 | -12.6508 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ10 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1962.7406 | 0.29118 | -6.9191 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ10 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 948.0604 | 0.14056 | -0.25199 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ10 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1323.0917 | 0.086685 | -2.0836 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ11 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1369.6894 | 0.21943 | -6.6499 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ11 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1114.3043 | 0.21503 | -6.554 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ11 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1210.2928 | 0.21448 | -6.1374 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ11 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1803.423 | 0.27457 | -14.3819 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ11 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1745.7132 | 0.1731 | -19.521 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ11 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1907.552 | 0.25931 | -12.9251 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ11 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 931.2109 | 0.14243 | -1.1581 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ11 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1226.5068 | 0.25604 | -5.7464 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ12 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1332.4831 | 0.21096 | -6.3761 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ12 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1063.2951 | 0.1946 | -6.5896 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ12 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1194.2041 | 0.21543 | -6.0019 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ12 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1755.425 | 0.28955 | -13.4502 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ12 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1714.0164 | 0.17638 | -19.8497 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ12 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1913.7342 | 0.28383 | -11.223 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ12 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 916.5474 | 0.14653 | -0.86954 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ12 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1245.0711 | 0.22851 | -5.8959 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ13 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1386.8119 | 0.20875 | -5.7661 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ13 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1137.7753 | 0.18725 | -5.923 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ13 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1221.1389 | 0.2416 | -5.6734 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ13 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1817.69 | 0.32294 | -13.0596 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ13 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1753.0266 | 0.21267 | -18.4656 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ13 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1939.5134 | 0.27797 | -10.9124 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ13 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 925.0948 | 0.16267 | -0.99209 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ13 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1246.4584 | 0.14689 | -5.4526 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ14 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1346.9578 | 0.22368 | -6.5235 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ14 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1109.9458 | 0.15987 | -6.1478 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ14 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1196.7749 | 0.25952 | -5.9195 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ14 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1766.033 | 0.27121 | -15.2209 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ14 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1705.1995 | 0.20142 | -19.2535 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ14 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1868.7744 | 0.24031 | -14.5028 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ14 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 914.3772 | 0.13883 | -1.2267 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ14 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1216.616 | 0.16997 | -5.586 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ15 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1531.9547 | 0.21597 | -1.1898 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ15 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1292.5821 | 0.22487 | -1.5791 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ15 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1283.6953 | 0.24517 | -0.98884 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ15 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1984.6328 | 0.27 | -2.8145 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ15 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1944.1133 | 0.2353 | -5.4367 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ15 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 2073.1399 | 0.29547 | -2.4842 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ15 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1036.7346 | 0.13052 | -0.042423 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ15 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1348.6926 | 0.16973 | -0.60056 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ECC | Ex | CZ16 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1283.3385 | 0.1725 | -15.4193 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | ESe | Ex | CZ16 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1082.268 | 0.18243 | -14.6017 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | EUn | Ex | CZ16 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1191.3507 | 0.20253 | -15.4823 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Hsp | Ex | CZ16 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1669.4085 | 0.25748 | -27.2283 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Htl | Ex | CZ16 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1443.8291 | 0.13715 | -28.5551 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Nrs | Ex | CZ16 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1735.2726 | 0.24351 | -26.7605 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | OfL | Ex | CZ16 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 854.2057 | 0.13329 | -5.9263 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | Rt3 | Ex | CZ16 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | 1 |  | None | 1123.5437 | 0.23816 | -15.2837 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ01 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 755.3044 | 0.090853 | -34.1508 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ02 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 837.031 | 0.11604 | -31.3494 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ03 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 782.839 | 0.10387 | -32.6231 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ04 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 839.7499 | 0.1117 | -30.4208 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ05 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 778.9504 | 0.09859 | -32.6991 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ06 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 825.2618 | 0.10506 | -28.8537 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ07 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 810.5309 | 0.10382 | -29.1085 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ08 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 856.704 | 0.11328 | -27.4134 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ09 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 865.2756 | 0.11527 | -27.5188 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ10 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 869.6565 | 0.11662 | -27.2546 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ11 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 877.3776 | 0.12332 | -27.0694 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ12 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 862.6618 | 0.12058 | -28.9241 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ13 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 882.7217 | 0.11947 | -26.1734 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ14 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 876.5527 | 0.11996 | -26.6431 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ15 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 930.4531 | 0.12382 | -19.6697 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual
Any | SWHC018A | GRO | Ex | CZ16 | cWtd | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-10-01 | Rated-HP | 1 |  | None | 782.7819 | 0.10872 | -29.7796 | 0 | 0 | 0 | [6 empty] | DEER:HVAC_Split-Package_AC | Annual

## CostExAnte
PA | MeasCostID | CostQualifier | BldgType | BldgVint | BldgLoc | DeliveryType | SourceDesc | Version | VersionSource | LastMod | NormUnit | CostType | GenCost | LaborCost | MatlCost | Description | Sector | UseCategory | UseSubCategory | TechGroup | TechType | TechID | MeasAppType | InstallHours | LaborRate | LocCostAdj | Status | Comment | MeasLaborID | StdLaborRateID
Any | SWHC018_02_B001 | Any | Any | Ex | Any | Any | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | Full |  | 0 | 0 | Damper controlled VAV | Com | HVAC | VentAirDist | HV_AirDist | VentFanMtr |  | AOE |  |  | None | Proposed
Any | SWHC018_02_M001 | Any | Any | Ex | Any | Any | SWHC018-02 | ExAnte2020 | IOU workpaper | 2019-06-01 | Rated-HP | Full |  | 97.25 | 104.5 | VSD on HVAC Fan Control | Com | HVAC | VentAirDist | HV_AirDist | VentFanMtr |  | AOE |  |  | None | Proposed