CPUC Comments on SWHC014-02 Unitary Air-Cooled AC or HP Under 65 kBtuh, Commercial

Lead PA: SDGE

Workpaper Submittal Date: 04/19/2021

CPUC Review Date: 04/26/2021

SDG&E Response Date: 04/27/2021

|  |  |
| --- | --- |
| CPUC Comment | PA Response |
| Workpaper update was triggered by DEER Resolution E5082 and DEER Net-to-Gross (NTG) update: READI Tool v2.5.1 NTG Ration support table for 2020. Reviewers verified the following NTG\_ID update.  “NonRes-sAll-mHVAC-RTU-SplitSys", Start Date =1/1/2022,  NTG electric =0.5; NTG Gas = 0.6 | Revision 2 submission included updates to NTG ID in the ex-ante data (EAD) tables and in the word document. Agree that the effective start date 1/1/2022 to align with DEER PEAR support table. |
| The EAD table reports electrical impact profiles as “SDGE:DEER:Com:HVAC\_Split-Package\_AC” and SDGE:DEER:Com:HVAC\_Split-Package\_HP”  Please revise to: “HVAC\_Split-Package\_AC” and “ HVAC\_Split-Package\_HP”? | SDG&E has updated the “ElecImpactProfile” in the ex-ante “EnergyImpact” table to align with CEDARS reporting and DEER PEAR for   * DEER:HVAC\_Split-Package\_AC * DEER:HVAC\_Split-Package\_HP   For additional information, please refer to attached files for:   * “EnergyImpacts\_dxAC\_HP\_equipment\_4-13-2021 db\_below65kBtuh.xlsx” DEER PEAR ex-ante data measure records. * CEDARS “avoided cost combo” table (sample provided below), column G: e3\_mea\_elec\_end\_use\_shape |

Please note responses to comments in the table below, revise workpaper, and upload the entire package to the WPA. If needed, please reach out to Workpaper Review Team to set up a call to discuss.