Workpaper Review Team

Monthly Workpaper Project Archive (WPA) Activity Status Report

DATE: 5/7/2021

FROM: WORKPAPER review Team

TO: SCE, SDGE, SCG, PGE

# Introduction:

The following report and attached excel workbook summarize WPA activity for the month of April 2021 which includes dispositions that were issued, dispositions in progress, and workpapers in development. This report will be posted on <https://deeresources.info/> and <http://www.deeresources.com/> within one week after the last day of the month.

# Legend:

|  |  |
| --- | --- |
| **Item** | **Description** |
| PA | Program Administrator |
| Rev | Revision Number |

# Dispositions Issued and Minor Workpaper Updates:

The following dispositions have been issued, see attached workbook:

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **PA** | **Workpaper ID** | **Rev** | **Workpaper Title** | **Disposition Date** | **Effective Date** | **CPUC Action** |
| SCG | SWAP006 | 2 | Dishwasher, Residential | 4/2/2021 | 4/2/2021 | Interim Approval |
| SCG | SWHC001 | 2 | Wall Furnace, Residential | 4/12/2021 | 7/12/2021 | Interim Approval |
| SCE | SWHC041 | 2 | Software-Controlled Switch Reluctance Motor | 4/13/2021 | 1/1/2022 | Interim Approval |
| SCE | SWAP011 | 2 | Vending and Beverage Merchandise Controller | 4/13/2021 | 1/1/2022 | Interim Approval |
| SCE | SWHC052 | 1 | Air-Cooled Chiller, Path B | 4/13/2021 | 1/1/2022 | Interim Approval |
| SCG | SWAP017 | 2 | Oven, Gas, Residential | 4/22/2021 | 4/22/2021 | Interim Approval |
| SCE | SWHC005 | 2 | Water-Cooled Chiller | 4/22/2021 | 1/1/2022 | Interim Approval |
| SCG | SWHC049 | 2 | HVAC, SEER-Rated AC and HP Equipment, Residential | 4/22/2021 | 1/1/2022 | Interim Approval |
| SCE | SWHC044 | 2 | Ductless HVAC, Residential, Fuel Substitution | 4/22/2021 | 7/21/2021 | Disposition |
| PGE | SWSV013 | 1 | Duct Optimization, DMo | 4/22/2021 | 4/23/2021 | Interim Approval |
| SCE | SWHC050 | 2 | Ductless Heat Pump, HVAC, Residential | 4/22/2021 | 7/21/2021 | Interim Approval |
| SCE | SWCR001 | 2 | Anti-Sweat Heater Controls | 4/30/2021 | 1/1/2022 | Interim Approval |
| SCE | SWCR002 | 2 | Low-Temperature Display Case Doors with No Anti-Sweat Heaters | 4/30/2021 | 1/1/2022 | Interim Approval |
| SCE | SWCR022 | 2 | Efficient Adiabatic Condenser | 4/30/2021 | 1/1/2022 | Interim Approval |
| SCE | SWHC027 | 2 | Packaged Terminal Air Conditioner or Heat Pump, Under 24kBtuh | 4/30/2021 | 1/1/2022 | Interim Approval |
| SCE | SWHC030 | 2 | Whole House Fan, Residential | 4/30/2021 | 1/1/2022 | Interim Approval |
| SCE | SWWB006 | 3 | High Performance Crawlspace | 4/30/2021 | 1/1/2022 | Interim Approval |
|  |  |  |  |  |  |  |

The following workpapers had updates to previously approved workpapers. Updates do not change savings or costs, do not initiate version change, and do not change effective date.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **PA** | **Workpaper ID** | **Rev** | **Workpaper Title** | **Switch out date on .net** | **Effective Date** | **CPUC Action** |
| SCG | SWWH015 | 2 | Demand Control For Centralized Water Heater Recirculation Pump, Multifamily & Commercial | 4/13/2021 | 3/5/2020 | Switch out on .net |
| SCG | SWHC002 | 1 | Intermittent Pilot Light, Residential | 4/13/2021 | 1/1/2020 | Switch out on .net |
| SCG | SWFS019 | 2 | Underfired Broiler, Commercial | 4/22/2021 | 7/21/2021 | NTG update |
| SCG | SWHC048 | 2 | Packaged Air Conditioner Heat Recovery, Commercial | 4/22/2021 | 7/21/2021 | NTG update |
| SCG | SWRE004 | 2 | Pool or Spa Heater, Residential | 4/22/2021 | 7/21/2021 | NTG update |
| SCG | SWFS017 | 2 | Automated Converyor Broiler, Commercial | 4/30/2021 | 7/29/2021 | NTG update |
| SCG | SWHC047 | 2 | Gas Fireplace, Residential | 4/30/2021 | 7/29/2021 | NTG update |
|  |  |  |  |  |  |  |

# Dispositions in Progress:

The following dispositions are in progress, see attached workbook:

| **PA** | **Workpaper ID** | **Rev** | **Workpaper Title** | **Original PA Submittal Date** | **Most Recent PA Resubmittal Date** |
| --- | --- | --- | --- | --- | --- |
| SDGE | SWHC013 | 2 | Unitary Air-Cooled AC Or Heat Pump, ≥ 65 Kbtuh, Commercial | 4/19/2021 | 4/19/2021 |
| SCG | SWWH025 | 3 | Residential Heat Pump Water Heater Fuel Substitution | 12/21/2020 | 4/22/2021 |
| SCG | SWHC014 | 2 | Unitary Air-Cooled AC Or Heat Pump, < 65 Kbtuh, Commercial | 4/19/2021 | 4/27/2021 |
| SCE | SWRE005 | 1 | Heat Pump Pool Heater, Residential, Fuel Substitution | 4/5/2021 | 4/28/2021 |
| SCE | SWHC043 | 2 | Multiple Capacity Unitary Air-Cooled Commercial Air Conditioners Between 65 and 240 KBTU/H | 3/1/2021 | 4/30/2021 |
| PGE | SWCR017 | 2 | Ultra-Low Temperature Freezer | 1/18/2021 | TBD |
| PGE | SWAP003 | 3 | Clothes Dryer, Residential | 12/21/2020 | TBD |
| SCE | SWAP019 | 1 | Infrared BBQ Grill, Residential | 8/17/2020 | TBD |
| SCE | SWHC031 | 2 | High-Efficiency Furnace, Residential | 12/7/2020 | TBD |
| SCE | SWPR002 | 2 | Vfd For Glycol Pump Motor | 12/21/2020 | TBD |
| SCG | SWSV001 | 2 | Duct Seal, Residential | 1/4/2021 | TBD |
| SCE | SWWH014 | 3 | Heat Pump Water Heater, Residential | 12/7/2020 | TBD |
| SCE | SWWH025 | 4 | Residential Heat Pump Water Heater Fuel Substitution | 12/21/2020 | TBD |
| SCE | SWWH027 | 2 | Heat Pump Water Heater, Commercial, Fuel Substitution | 12/7/2020 | TBD |
| PGE | SWWH028 | 2 | Multi-Family and Commercial Large Heat Pump Water Heater– Fuel Substitution | 9/30/2020 | TBD |
| PGE | SWWH031 | 1 | Heat Pump Water Heater, Commercial | 1/4/2021 | TBD |
| SCG | SWWP002 | 2 | VFD on Ag Pump | 12/21/2020 | TBD |
| SCE | SWWP004 | 2 | Water Pump Upgrade | 1/4/2021 | TBD |
| SCE | SWWP005 | 2 | Enhanced Vfd On Irrigation Pump | 12/21/2020 | TBD |
| PGE | SWHC004 | 2 | Space Heating Boiler, Commercial | 1/4/2021 | TBD |
| SCE | SWPR004 | 2 | Circulating Block Heater | 12/7/2020 | TBD |
|  |  |  |  |  |  |

TBD = Awaiting PA Response

# Workpapers in development:

The following workpapers have submitted workpaper plans and are in development **or have planned workpaper revisions**. See attached workbook.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **PA** | **Sourcedesc** | **Workpaper Title** | **WPP Submittal Date** | **Status** |
| SCG | TBD | Auto Ignition Patio Heater | 8/7/2020 | Workpaper plan submitted |
| SCG | TBD | Dry Well Steam Table, Gas, Commercial | 3/1/2021 | Workpaper plan submitted |
| SCG | TBD | Solar Thermal Water Heating System | 3/5/2021 | Workpaper plan submitted |
| SCG | TBD | Door Type Dishwasher | 3/19/2021 | Workpaper plan submitted |
| SCG | TBD | Undercounter Type Dishwasher, Commercial | 3/19/2021 | Workpaper plan submitted |
| SCG | TBD | Gas Heat Pump | 3/26/2021 | Workpaper plan submitted |
|  |  |  |  |  |

