## TO-UPDATE_EUL_basis
EUL_ID | Description | Version | VersionSource | LastMod | Sector | UseCategory | UseSubCategory | TechGroup | TechType | BldgType | BldgLoc | BasisType | BasisValue | BasisDegFactor | defEFLH | EUL_Max_Yrs | EUL_Yrs | RUL_Yrs | LastModComment | Status | StartDate | ExpiryDate | HOU_cat | FilingSpec | ClaimSpec | IsProposed | LastModBy | Created | CreatedComment | CreatedBy
HV-ResHP | Residential Heat Pump | DEER2026 | D26 v1 |  | Res | HVAC | HeatCool | dxHP_equip | pkgEER¦pkgHP-SEER-BA¦pkgSEER¦spltEER¦spltHP-SEER-BA¦spltSEER¦VarRefgHP | Any | Any | ratedevaluated years |  |  |  |  | 20 23.00 | 6.67 7.67 |  | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE | Deemed Ex Ante Team |  | DRAFT Residential HVAC and DHW Measure Effective Useful Life Study, 2024-Mar04-09, CALMAC ID: CPU0368.02, p. 27 | Deemed Ex Ante Team
WtrHt-HtPmp-Res | Heat Pump Water Heater | DEER2026 | D26 v1 |  | Res | SHW | Heating | WaterHtg_eq | HP_COP¦HP_COP_Central¦HP_EF¦HP_UEF | Any | Any | ratedevaluated years |  |  |  |  | 20 | 6.67 |  | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE | Deemed Ex Ante Team |  | DRAFT Residential HVAC and DHW Measure Effective Useful Life Study, 2024-Mar04-09, CALMAC ID: CPU0368.02, p. 27 | Deemed Ex Ante Team
WtrHt-Res-Gas | Residential Gas Water Heater | DEER2026 | D26 v1 |  | Res | SHW | Heating | WaterHtg_eq | Stor_EF¦Stor_UEF | Any | Any | ratedevaluated years |  |  |  |  | 20 25.00 | 6.67 8.33 |  | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE | Deemed Ex Ante Team |  | DRAFT Residential HVAC and DHW Measure Effective Useful Life Study, 2024-Mar04-09, CALMAC ID: CPU0368.02, p. 27 | Deemed Ex Ante Team
WtrHt-Instant-Res | Residential Instantaneous Water Heater | DEER2014 | D14 v1.0.0 |  | Res | SHW | Heating | WaterHtg_eq | Instant_EF¦Instant_UEF | Any | Any | ratedevaluated years |  |  |  |  | 20 | 6.67 | Revised BasisType from rated years to evaluated years based on Residential HVAC and DHW Measure Effective Useful Life Study, 2024-04-09, CALMAC ID: CPU0368.02, p. 27 | Standard | 2013-01-01 |  | None | 1 | 1 | 0 | Deemed Ex Ante Team |  |  | Deemed Ex Ante Team
HV-EffFurn | High Efficiency Furnace | DEER2014 | D08 v2.05 |  | Res | HVAC | SpaceHeat | SpaceHtg_eq | GasFurnace | Any | Any | rated years |  |  |  |  | 20 | 6.7 | Updated to indicate claim/filing status | Standard | 2013-01-01 | 2025-12-31 | None | 1 | 1 | 0 | Deemed Ex Ante Team |  |  | Deemed Ex Ante Team

## TO-ADD_EUL_basis
EUL_ID | Description | Version | VersionSource | LastMod | Sector | UseCategory | UseSubCategory | TechGroup | TechType | BldgType | BldgLoc | BasisType | BasisValue | BasisDegFactor | defEFLH | EUL_Max_Yrs | EUL_Yrs | RUL_Yrs | LastModComment | Status | StartDate | ExpiryDate | HOU_cat | FilingSpec | ClaimSpec | IsProposed | LastModBy | Created | CreatedComment | CreatedBy
HV-EffFurn | High Efficiency Furnace | DEER2026 | D26 v1 |  | Res | HVAC | SpaceHeat | SpaceHtg_eq | GasFurnace | Any | Any | evaluated years |  |  |  |  | 30 | 10 |  | Standard | 2026-01-01 |  | None | 1 | 1 | 0 | Deemed Ex Ante Team |  | Residential HVAC and DHW Measure Effective Useful Life Study, 2024-04-09, CALMAC ID: CPU0368.02, p. 27 | Deemed Ex Ante Team