## EUL_ID TO ADD
EUL_ID | Description | Version | VersionSource | LastMod | Sector | UseCategory | UseSubCategory | TechGroup | TechType | BldgType | BldgLoc | BasisType | BasisValue | BasisDegFactor | defEFLH | EUL_Max_Yrs | EUL_Yrs | RUL_Yrs | LastModComment | Status | StartDate | ExpiryDate | HOU_cat | FilingSpec | ClaimSpec | IsProposed | LastModBy | Created | CreatedComment | CreatedBy
HVAC-airHP-VarRefg | Heat Pumps (air-cooled, split and unitary) | DEER2026 | D26 v1 |  | Com | HVAC | HeatCool | dxHP_equip | VarRefgHP | Any | Any | rated years | 0 | 0 | 0 | 0 | 15 | 5 |  | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE |  |  | Commercial HVAC and Water Heating Effective Useful Life Study, 2024-05-30, CALMAC ID: PENDING, p. 4
HVAC-airHP-Com | Heat Pumps (air-cooled, split and unitary) | DEER2026 | D26 v1 |  | Com | HVAC | HeatCool | dxHP_equip | pkgEER¦pkgSEER¦spltEER¦spltSEER | Any | Any | rated years | 0 | 0 | 0 | 0 | 20 | 6.67 |  | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE |  |  | Commercial HVAC and Water Heating Effective Useful Life Study, 2024-05-30, CALMAC ID: PENDING, p. 4
WtrHt-HtPmp-Com | Heat Pump Water Heater | DEER2026 | D26 v1 |  | Com | SHW | Heating | WaterHtg_eq | HP_COP¦HP_COP_Central¦HP_EF¦HP_UEF | Any | Any | rated years | 0 | 0 | 0 | 0 | 13 | 4.33 |  | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE |  |  | Commercial HVAC and Water Heating Effective Useful Life Study, 2024-05-30, CALMAC ID: PENDING, p. 4
HVAC-airAC | Air Conditioners (air-cooled, split and unitary) | DEER2026 | D26 v1 |  | Com | HVAC | SpaceCool | dxAC_equip | pkgEER¦pkgSEER¦spltEER¦spltSEER¦vertEER | Any | Any | rated years | 0 | 0 | 0 | 0 | 20 | 6.67 |  | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE |  |  | Commercial HVAC and Water Heating Effective Useful Life Study, 2024-05-30, CALMAC ID: PENDING, p. 4
WtrHt-Com-Gas | Commercial water heater | DEER2026 | D26 v1 |  | Com | SHW | Heating | WaterHtg_eq | Boiler_AF¦Boiler_Ec¦Boiler_Et¦Boiler_Et_Central | Any | Any | rated years | 0 | 0 | 0 | 0 | 15 | 5 |  | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE |  |  | Commercial HVAC and Water Heating Effective Useful Life Study, 2024-05-30, CALMAC ID: PENDING, p. 5

## EUL_ID TO UPDATE
EUL_ID | Description | Version | VersionSource | LastMod | Sector | UseCategory | UseSubCategory | TechGroup | TechType | BldgType | BldgLoc | BasisType | BasisValue | BasisDegFactor | defEFLH | EUL_Max_Yrs | EUL_Yrs | RUL_Yrs | LastModComment | Status | StartDate | ExpiryDate | HOU_cat | FilingSpec | ClaimSpec | IsProposed | LastModBy | Created | CreatedComment | CreatedBy
HVAC-airHP | Heat Pumps (air-cooled, split and unitary) | DEER2014 | D08 v2.05 | 2023-10-18 09:57 | Com | HVAC | HeatCool | dxHP_equip | pkgEER¦pkgHP-SEER-BA¦pkgSEER¦spltEER¦spltHP-SEER-BA¦spltSEER¦VarRefgHP | Any | Any | rated years | 0 | 0 | 0 | 0 | 15 | 5 | Expired record | Standard | 2013-01-01 | 2025-12-31 | None | TRUE | TRUE | FALSE | Deemed Ex Ante Team |  |  | Deemed Ex Ante Team
HVAC-airAC | Air Conditioners (air-cooled, split and unitary) | DEER2014 | D08 v2.05 | 2023-10-18 09:57 | Com | HVAC | SpaceCool | dxAC_equip | pkgAC-SEER-BA¦pkgEER¦pkgSEER¦spltAC-SEER_BA¦spltEER¦spltSEER¦vertEER | Any | Any | rated years | 0 | 0 | 0 | 0 | 15 | 5 | Expired record | Standard | 2013-01-01 | 2025-12-31 | None | TRUE | TRUE | FALSE | Deemed Ex Ante Team | 0 |  | Deemed Ex Ante Team
WtrHt-Com | Commercial water heater | DEER2014 | D14 v1.0.0 | 45217.4146 | Com | SHW | Heating | WaterHtg_eq | Boiler_AF¦Boiler_Ec¦Boiler_Et¦Boiler_Et_Central | Any | Any | rated years | 0 | 0 | 0 | 0 | 15 | 5 | Expired record | Standard | 41275 | 2025-12-31 | None | 1 | 1 | 0 | Deemed Ex Ante Team | 0 |  | Deemed Ex Ante Team

## EUL_ID TO UPDATE_2-24-06-07
EUL_ID | Description | Version | VersionSource | LastMod | Sector | UseCategory | UseSubCategory | TechGroup | TechType | BldgType | BldgLoc | BasisType | BasisValue | BasisDegFactor | defEFLH | EUL_Max_Yrs | EUL_Yrs | RUL_Yrs | LastModComment | Status | StartDate | ExpiryDate | HOU_cat | FilingSpec | ClaimSpec | IsProposed | LastModBy | Created | CreatedComment | CreatedBy
WtrHt-Com-Gas | Commercial water heater | DEER2026 | D26 v1 |  | Com | SHW | Heating | WaterHtg_eq | Boiler_AF¦Boiler_Ec¦Boiler_Et¦Boiler_Et_Central | Any | Any | rated years | 0 | 0 | 0 | 0 | 13 | 4.33 | Corrected EUL from 15 to 13 years; added CALMAC ID. | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE |  |  | Commercial HVAC and Water Heating Effective Useful Life Study, 2024-05-30, CALMAC ID: CPU0368.03, p. 5
HVAC-airHP-VarRefg | Heat Pumps (air-cooled, split and unitary) | DEER2026 | D26 v1 |  | Com | HVAC | HeatCool | dxHP_equip | VarRefgHP | Any | Any | rated years | 0 | 0 | 0 | 0 | 15 | 5 | Added CALMAC ID | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE |  |  | Commercial HVAC and Water Heating Effective Useful Life Study, 2024-05-30, CALMAC ID: CPU0368.03, p. 4
HVAC-airHP-Com | Heat Pumps (air-cooled, split and unitary) | DEER2026 | D26 v1 |  | Com | HVAC | HeatCool | dxHP_equip | pkgEER¦pkgSEER¦spltEER¦spltSEER | Any | Any | rated years | 0 | 0 | 0 | 0 | 20 | 6.67 | Added CALMAC ID | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE |  |  | Commercial HVAC and Water Heating Effective Useful Life Study, 2024-05-30, CALMAC ID: CPU0368.03, p. 4
WtrHt-HtPmp-Com | Heat Pump Water Heater | DEER2026 | D26 v1 |  | Com | SHW | Heating | WaterHtg_eq | HP_COP¦HP_COP_Central¦HP_EF¦HP_UEF | Any | Any | rated years | 0 | 0 | 0 | 0 | 13 | 4.33 | Added CALMAC ID | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE |  |  | Commercial HVAC and Water Heating Effective Useful Life Study, 2024-05-30, CALMAC ID: CPU0368.03, p. 4
HVAC-airAC | Air Conditioners (air-cooled, split and unitary) | DEER2026 | D26 v1 |  | Com | HVAC | SpaceCool | dxAC_equip | pkgEER¦pkgSEER¦spltEER¦spltSEER¦vertEER | Any | Any | rated years | 0 | 0 | 0 | 0 | 20 | 6.67 | Added CALMAC ID | Standard | 2026-01-01 |  | None | TRUE | TRUE | TRUE |  |  | Commercial HVAC and Water Heating Effective Useful Life Study, 2024-05-30, CALMAC ID: CPU0368.03, p. 4