## Slide 1: DEER2024 Update Resolution E-5221
Webinar August 31, 2022
Notes: Peter.

## Slide 2: Webinar Participation
All attendees are muted on entry
How to participate in this webinar:
  Please use the chat box to submit questions
  We will read and respond to questions at the end of each section
During the wrap-up Q&A session, use the “raise hand” option in Webex:
  Use the button to raise your hand and the host will call on you
  Please state your name and affiliation when you ask your question
  Please turn off the raised hand after your question
Slides are posted to the Public Document Area
  https://pda.energydataweb.com/#!/ (Search using DEER2024)
Notes: Peter.

## Slide 3: Welcome
DEER and Workpaper Team leads
  CPUC: Peter Biermayer, Amy Reardon, and Peter Lai
  DNV: Jennifer McWilliams, Rachel Murray, Cameron Tuttle, Dan Pidgeon, and Kerri-Ann Richard
2024 DEER update cycle highlights
  Continued DEER update cycle revisions due to Decision D.21-05-031
  Transition of prototype models from eQUEST/DOE2 to EnergyPlus
  Calls for future research
Goal of this Webinar: To provide an opportunity for interactive Q&A of the DEER Update Resolution prior to finalizing Oct. 20, 2022
Notes: Peter.

## Slide 4: DEER2024 Update Implementation Schedule
Milestone | Date
Draft Resolution posted to CPUC website | August 18, 2022
Draft Resolution sent to service list R13-11-005 | August 18, 2022
Draft Resolution webinar | August 31, 2022
Stakeholder comments* due | September 7, 2022
Final Resolution voted out | October 20, 2022
* Refer to the tariff comment letter sent out to the service list
Notes: Peter.

## Slide 5: DEER Update Presentation Schedule
Introduction (10 min) 9:30 a.m. – 9:40 a.m.
Management of DEER Processes (15 min) 9:40 a.m. – 9:55 a.m.
Transition to EnergyPlus (10 min) 9:55 a.m. – 10:05 a.m.
Research for PY 2026-27 (10 min) 10:05 a.m. – 10:15 a.m.
Research Based Guidance (10 min) 10:15 a.m. – 10:25 a.m.
Measure Adoption(5 min) 10:25 a.m. – 10:30 a.m.
Wrap up and Final Q&A (15 min) 10:30 a.m. – 10:45 a.m.
Notes: Peter. Could note that Management of DEER Processes includes methodology updates and revisions and corrections.

## Slide 6: DEEResources websites moving to CEDARS
The contents of both websites was reconfigured into one site at:
cedars.sound-data.com/deer-resources/
DEEResources.com
  Resolutions
  Monthly measure package summary memos
  Mid-year and year-end ex ante review memos
  Guidance documents
  MASControl3© resources
  Tools: Water heater calculator, RACC, WEN, Fuel Substitution
  Load shape resources
DEEResources.net
  Dispositions
  Measure package frozen archive up to 2021-12-31
New home:
cedars.sound-data.com
Notes: Peter.

## Slide 7: Management of DEER Processes
9:40 a.m. – 9:55 a.m.
Notes: Kerri-Ann. High level introduction to new process and eTRM

## Slide 8: Quick Update: PY2021 Evaluator Guidance
Evaluators of PY2021 programs that delivered deemed measures are directed to use the Ex Ante Data (EAD) Tables that accompany each measure package as the data source of record for ex ante UES values rather than eTRM’s permutations. These EAD tables may be found on the CEDARS Deemed Measure Archive:
https://cedars.sound-data.com/deer-resources/deemed-measure-packages/measure-package-archive/
Exception:
Notes: This slide is hidden because we are planning to leave it out. There will not be many evaluators in the audience.

## Slide 9: Transition to eTRM
Include budgets for eTRM development and California Technical Forum (CalTF) support of new measure development needs in IOU 2022-23 Annual Budget Advice Letter filings
Also, PAs must include funding for the eTRM in their Business Plan applications
Since both initial phases of eTRM development are completed, the IOUs are authorized to alternate eTRM contract management responsibilities to another IOU, and to manage software maintenance and development contracts as needed
Notes: Kerri Ann

## Slide 10: Updates to eTRM and Measure Packages
California’s eTRM Official Source of California Energy Efficiency
Refrigerant leakage avoided costs (RLAC) Starting in PY2022 reporting required for all claims where:
  Adding (not replacing) equipment that uses refrigerant
  Using different refrigerant or different amount
Water-Energy (W-E) Savings are no longer to be reported in a single rolled-up measure package (SWMI001); instead, the WEN calculated savings are to be calculated using the new W-E Calculator 2.0 and included with each measure package involving water savings
Notes: Kerri-Ann. California’s eTRM is the Official Source of California Energy Efficiency Measure Data and is now the sole source for energy efficiency measure package development, submittal, review, and publishing.
Starting in PY2022 the reporting of refrigerant leakage avoided costs (RLAC) is required for all claims where the retrofit involves adding (not replacing) equipment that uses refrigerant
Water-Energy (W-E) savings are no longer to be reported in a single rolled-up measure package (SWMI001); instead, the WEN calculated savings are to be calculated using the new W-E Calculator 2.0 and included with each measure package involving water savings

## Slide 11: Updates to eTRM and Measure Packages
Rebates Exceeding Incremental Measure Cost (IMC) addendums required for measure packages
Measure costs will be updated as needed when measure packages are revised and will be updated no less frequently than every four years
Data Requirements must be added to measure packages for Distributor/Contractor-delivered Measures.
  At a minimum, the data collected must be sufficient to allow an evaluator to locate the installed equipment that received an incentive.
Notes: Kerri-Ann. Addendum to Fuel Substitution Workpaper Documenting Incentive Greater that Incremental Measure Cost and Addendum to Measure Package Documenting Incentive Greater than Incremental Measure Cost. For all measures not just Fuel Sub The purpose of these addendums was to provide a pathway for PAs to inform the CPUC staff of the need to offer rebates to the customer that exceeds the net cost to the participant of installing more efficient equipment.

## Slide 12: DEER 2026 Update and Measure Package Submission/Review Timeline
Description | Responsible Party | Due Date | Approval Date | Effective Date
Measure Package Update Schedule | PAs/ Stakeholders | 2023-08-01** | - | -
Measure Package Submittals | PAs | 2024-03-31 to CPUC | 2024-08-01+ | 2026-01-01*
Draft DEER2026 Update Resolution | CPUC | 2024-08-01 | - | -
DEER2026 Update Resolution | CPUC | - | 2024-11-01 | 2026-01-01*
* There may be exceptions when updates become effective off-cycle.
** Draft for workflow scheduling. Updates to the schedule may be made if needed.
+ Per Draft Resolution release, adoption in Final Resolution
Notes: Kerri-Ann.

## Slide 13: Measure Lifecycle Management (MLM) in DEER
PAs shall work with CalTF to maintain a Measure Lifecycle Management (MLM) table to track existing and planned updates to current and future measure packages.
MLM Table to be kept on eTRM and updates approved by CPUC
Notes: Kerri-Ann. PAs shall work with CalTF to maintain a Measure Lifecycle Management (MLM) table to track existing and planned updates to current and future measure packages. This table is intended to help manage measure package updates in a more strategic manner and space them out over time to minimize highly compressed measure package update and review periods. The table will also be used to identify those measure packages that need new research to inform planned updates. In addition to the Statewide Measure ID, end use, and technology group, the table will track characteristics listed in the table. For each characteristic listed—including the characteristic itself—the dates each was last updated and is next expected to be considered for update will be tracked. CPUC staff will retain responsibility for approving the MLM table.

## Slide 14: DEER Off-Cycle Adjustments to the Locked Ex-Ante Values
New measure packages and additions to measure packages may be submitted for CPUC staff review at any time during the biennial cycle
All error corrections will be handled on a case by cases basis
Anticipated changes to codes and standards that occur off-cycle shall be planned for.
Uncertain or unanticipated changes to codes and standards that occur off-cycle will require a revised Measure Package baseline and become effective 90 days after the Measure Package is approved
Notes: Kerri-Ann. D. 21-05-031 (p. 39) locks ex-ante (i.e. expected) energy savings values that will be used in the Energy Efficiency next Potential & Goals Study as well as claims for the two-year DEER cycle, beginning with years 2024-25. It further notes that there may be off-cycle adjustments that will account for reasonable corrections to the existing locked values and allow new measures to be added to the portfolio. PAs may still submit new measures during the cycle, but ex ante values adopted in DEER2024 will remain locked. Off-cycle error corrections (i.e., correction of typographical and clerical errors, and other obvious, inadvertent errors and omissions) will be handled on a case-by-case basis and consider their impact to the portfolio.

## Slide 15: Fuel Substitution Calculator Updates
When a new Fuel Substitution Calculator becomes available, all fuel-substitution measure packages will be updated to become effective for the next two-year cycle
Any off-cycle measure package submissions will use the most recent Fuel Substitution Calculator
Guidance re submitting addenda can be found on CEDARS at Guidance for Deemed Measures - CEDARS (sound-data.com)
Notes: Kerri-Ann.

## Slide 16: Add-On-Equipment (AOE) Host Clarification
An AOE measure is defined as improving the nominal efficiency of the host equipment (upon which it is installed) and the host equipment is defined as the equipment that uses less energy due to the add-on measure
  E-5221 adds that some AOE reduces the load on the host equipment
  E-5221 introduces the term “host proxy” when add-on-equipment is not installed directly on the host
Effective: 2023-2024
Notes: Rachel.

## Slide 17: AOE Host or Host Proxy for EUL Determination
Effective: 2023-2024
AOE Host | AOE Host Proxy* | Measure Life | Example
AOE typically replaced/removed at same time as host | None | Lesser of: EUL of AOE RUL of Host | AOE: Anti-sweat Heater Controls Host: Refrigerated Case
AOE typically not replaced/removed at same time as host | AOE typically replaced/removed at same time as host proxy | Lesser of: EUL of AOE RUL of Host Proxy | AOE: Aerator Host: Water Heater Host Proxy: Faucet
 | AOE typically not replaced/removed at same time as host proxy | EUL of AOE | AOE: Ozone Laundry Host: Water Heater Host Proxy: Building System (Piping)
Notes: Rachel

## Slide 18: Building Envelope Measures No Longer AOE— Now Building Weatherization
Ceiling, wall, and floor insulation
Greenhouse heat curtains and infrared film
Effective: 2023-2024
Notes: Rachel

## Slide 19: New DEER Tables
FuelSub
  Elec_to_Gas
  Gas_to_Elec
  None
NTG_applic
  Valid combinations of NTG_ID, MAT, MIT, and Delivery Type
EUL_applic
  Valid combinations of EUL_ID, MAT, and Sector
Effective: 2024
Notes: Rachel.

## Slide 20: Structural Changes to DEER Tables
New fields in Measure table:
  WeatherSim
  FuelSub_ID
New fields in EnergyImpact table:
  APreUseWBkWh
  APreUseWBtherm
  AStdUseWBkWh
  AStdUseWBtherm
Effective: 2024
  AMeaUseWBkWh
  AMeaUseWBtherm
  APreUseEUkWh
  APreUseEUtherm
  AStdUseEUkWh
  AStdUseEUtherm
  AMeaUseEUkWh
  AMeaUseEUtherm
Notes: Rachel.

## Slide 21: Aggregated Building Description Fields
Field | Value | Conditions for Usage of Aggregated Value(s) by Delivery Type
BldgHVAC | Any | All delivery types: - UES values equal across all HVAC types
 | rWtd or cWtd | All delivery types except Direct Install: - UES values are weighted averages across all HVAC types
BldgLoc | Any | Midstream, Downstream, or Direct Install: - UES values equal across all climate zones
BldgType | Any | For Midstream, Downstream, or Direct Install: - UES values equal across all building types within sector
 | Res or Com | For Upstream: - UES values are weighted averages across all building types within sector
BldgVint* | Any | Cannot be used
 | Ex or New | *Proposal currently under consideration
Effective: 2024
Notes: Rachel.

## Slide 22: Updates to DEER Support Table Values
Allowed MATs for HTR-DI Net-to-Gross ratios:
  Normal Replacement (NR) or
  Accelerated Replacement (AR)
  Add-on Equipment (AOE)
  Building Weatherization (BW)
  Retro-commissioning measures (BRO-RCx) may be categorized as Direct Install if the vendor, as part of the program, performs the service or installation.
Effective: 2024
New
New
New
Agricult-Default-HTR-di
Com-Default-HTR-di
Ind-Default-HTR-di
Res-Default-HTR-di
Notes: Rachel.

## Slide 23: Updates to DEER Support Table Values
Updates to Delivery Types providing more detail for upstream types
New Measure Impact Types (MITs) for NMEC and SEM program measures
All modifications to NTGRs shall be rounded to the nearest 0.05 in DEER. NTGRs shall only be updated in DEER when the NTGR (before rounding) is at least 0.05 different from the current DEER value.
Effective: 2024
Notes: Rachel.

## Slide 24: Updates to DEER Support Table Values
Updates to Delivery Types:
New Measure Impact Types (MITs)
  Cust-NMEC-Pop-FuelSub
  Cust-NMEC-Site-FuelSub
Effective: 2024
Delivery Type | Change
Up-Manuf | Previously UpDeemed
Mid-Distr | 
Mid-Retail | 
Down | Previously DnDeemed and DnCust
DI | Previously DnDeemDI and DnCustDI
C&S | None
Notes: Rachel.

## Slide 25: Updates to DEER NTG Ratios
All modifications to NTGRs shall be rounded to the nearest 0.05 in DEER. NTGRs shall only be updated in DEER when the NTGR (before rounding) is at least 0.05 different from the current DEER value.
Effective: 2024
Notes: Rachel.

## Slide 26: EnergyPlus Transition
9:55 a.m. – 10:5 a.m.
Notes: Jennifer.

## Slide 27: EnergyPlus Prototypes, Residential
The QC workbooks for these measures are posted on CEDARS https://cedars.sound-data.com/deer-resources/deer-database/deer-change-log/
Notes: Jennifer (Rachel) The measures in the table are those that are being transitioned to energy plus prototype models. Most of them are already posted to DEER. We are working hard to get the remaining measures posted soon. When the measure is posted to DEER we also post a quality control workbook on the DEER change log. The QC workbook can be accessed through the download button or the history button.

## Slide 28: EnergyPlus Prototypes, Residential Wall Insulation
Notes: Jennifer (Rachel). This is an example of the chart from the QC workbook for Residential Wall Insulation showing the DEER2020 savings by climate zone in light blue and the Energy Plus DEER 2024 savings in dark blue. This transition to Energy Plus is happening at the same time as the transition to new weather files (CZ2022 from CZ2010) and calibration to new RASS data. The variation we see in this chart is not unexpected given those changes and the other ones described in the Energy Plus prototype calibration memo. In the QC workbook you can also find some QC notes that provide further detail to explain deviations from DEER 2020 savings where needed.

## Slide 29: PAs Responsible for Modeling DEER and Historically Non-DEER Values
Starting with PY2026 measure packages, responsibility for calculating the UES values for all deemed measures is shifted to measure package developers.
CPUC staff will develop and maintain DEER building simulation tools and DEER water heater calculator.
Thus allowing CPUC staff to elevate the rigor of the review of measure package submissions by:
  Ensuring that the UES values are based on valid assumptions
  Verifying that policy guidance from the CPUC is appropriately interpreted and applied
  Scrutinizing building model inputs to improve the accuracy of UES values
Notes: Jennifer (Rachel). Decision D.21-05-031 eliminated the DEER and non-DEER distinction and clarified that all deemed ex ante values approved by staff and housed in the existing DEER systems, and ultimately in the eTRM, are considered DEER values.”
Because of this change, there is no longer a compelling reason for these historically DEER measures to be modeled by the CPUC. Shifting this work to the PAs will allow CPUC staff to devote more time to— and elevate the rigor of— the review of measure package submissions. We see measure package development as a collaborative process, and plan to work toward improving the tools at your disposal to model new and existing measures.

## Slide 30: Research for PY2026-27
10:05 a.m. – 10:15 a.m.
Notes: Jennifer. This resolution calls for future research. All of these research efforts will be overseen by Peter Biermayer, will be due by December 2023 and will inform measure packages for the PY2026-27 cycle that will be adopted by the next resolution in 2024.

## Slide 31: CPUC Research: EnergyPlus Prototypes, Commercial
New commercial building prototypes will be released as available to be used for new measures and for PY2026-27 measure updates
CPUC staff will update grocery and refrigerated warehouse prototypes and refrigeration system performance curves
Completed by December 2023 to inform the PY2026-27 cycle.
Notes: Jennifer (Rachel). New updates to be available by 12-1-2023 for use in 2026

## Slide 32: CPUC Research: Improve Water Heater Measures
DEER Water Heater Calculator v5.0/v5.1 included the following updates:
  New residential hot water profiles
  Heat pump water heater performance curves
  Water heater sizing using AHRI product data
  Ability to output load shapes
Future research to:
  Account for HPWHs in conditioned space
  Investigate proportion of electric resistance operation in HPWHs
  Investigate how HPWH efficiency is influenced by hot water setpoint
Completed by December 2023 to inform the PY2026-27 cycle.
Notes: Jennifer (Rachel). CPUC released a new version of the water heater calculator, “DEER Water Heater Calculator v5.0.xlsm,” on January 24, 2022.
CPUC staff will perform this research and it will be completed by December 2023 to inform the PY2023-27 cycle.

## Slide 33: DEER 2026 Update Timeline from CPUC Research
Notes: Jennifer (Rachel). New updates to be available by 12-1-2023 for use in 2026

## Slide 34: CPUC Research: Net-to-Gross Ratio for Hard-to-Reach Customers
Do we find evidence for:
  Higher NTGR for HTR customers served through direct install programs?
  Higher NTGR for HTR customers served through downstream programs?
Complete by December 2023 to inform the PY2026-27 cycle.
Currently, the 0.85 NTG ratio for HTR applies to HTR customers as defined in D.18-05-041, Section 2.5.3 and must use a direct install (DI) delivery channel.
Notes: Jennifer (Rachel). Currently, this Resolution requires that the 0.85 NTG ratio for HTR customers only applies to HTR customers as defined in D.18-05-041, Section 2.5.3 and it only applies when the measure is installed through a direct install (DI) delivery channel.
This resolution also calls for future research into this issue to characterize the appropriate NTGR for residential and commercial HTR customers—in addition to those served through direct installation of measures—but also those served through downstream delivery mechanisms.
The focus of the work would be to see if there is evidence for:
  A higher NTGR for HTR customers served through DI compared to non-HTR customers served through DI
  A higher NTGR for HTR customers served through downstream compared to non-HTR customers served through downstream
The NTG research is to be completed by December 2023 and the results will be used to inform measure packages used for the PY2026-27 cycle.
Resolution E-4952 called into question the use of a higher NTGR for HTR customers. At that time, CPUC staff did not examine data specific to HTR customers, but instead CPUC staff used customer size as a proxy and assumed that smaller businesses would more likely be HTR customers. Primary research designed to inform NTGR values to use for HTR customers is needed. We direct CPUC staff to conduct this research. This work could go further to investigate HTR customer participation rates and depth of savings to assess whether HTR customers have equitable access to energy efficiency programs.

## Slide 35: High-SEER Heat Pump and AC Performance Curves, Non-residential and Residential
Parameter updates to high efficiency equipment
  Inverter-driven compressors with variable refrigerant flow (unitary, conventional split, and mini-split systems with and without heat recovery).
FSEC-CR-1910-12 “Creating Performance Curves for Variable Refrigerant Flow Heat Pumps in EnergyPlus”
Include equipment compliant with Department of Energy unitary air conditioner and heat pump appliance standards effective January 1, 2023.
Complete by December 2023 to inform the PY2026-27 cycle.
Notes: Jennifer (Rachel). Although many high-SEER, inverter-driven heat pumps systems are being installed and claimed as fuel substitution measures under ratepayer-supported PA programs, CPUC staff identified gaps in the understanding of their field performance. This data is required to inform performance curves used in modeled unit energy savings and the development of load shapes. The limitations of existing measure development tools to capture benefits of heat recovery capabilities of high efficiency variable flow heat pumps preclude the broad inclusion of these measures in the EE portfolio.
Research to assess EnergyPlus performance curves to see if they adequately capture actual performance of variable flow heat pump systems is necessary to inform changes in modeled energy savings. Further research is also required to characterize performance curves of equipment utilizing low-GWP refrigerants that are starting to emerge in the market.
This work shall leverage data collected using the new DOE Variable Refrigerant Flow test procedures (based on AHRI 1230-2021) and involve collaboration with the American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE) Standard Project Committee 2059 to support the gathering of equipment performance data and additional data sources for informing the development of new performance curves.
We direct the PAs to conduct research to inform parameter updates to high efficiency equipment using inverter driven compressors with variable refrigerant flow (unitary, conventional split, and mini-split systems with and without heat recovery).
The research shall involve equipment that has been redesigned to comply with the new Department of Energy unitary air conditioner and heat pump appliance standards effective January 1, 2023.
The results of this research are needed by December 2023 to inform PY2026-27 updates to measure packages.
New updates to be available by 12-1-2023 for use in 2026

## Slide 36: Boiler Compliance with Condensation of Exhaust Gases and EE Assumptions
For a boiler to run in condensing mode, the return water temperature must be below 140°F.
Research questions:
  Do the boiler measure requirements preclude condensing operation in some installation cases?
  Are boiler outside-air reset temperature controls inadvertently precluding condensing mode?
  Is commissioning in the field verifying that return water temperatures are low enough for the boiler to operate in condensing mode?
  What boiler applications are most or least likely to achieve condensing efficiency levels?
Complete by December 2023 to inform the PY2026-27 cycle.
Notes: Jennifer (Rachel). Although the CPUC staff has approved measure packages for condensing boilers, it is necessary to verify that they operate in a mode where the return water temperatures are low enough to allow for condensing of water vapor in the exhaust gases. Are boiler outside-air reset temperature controls inadvertently precluding condensing mode? In other words, does raising the setpoint during cold weather result in returning water to the boiler that is too warm to facilitate condensing? New updates to be available by 12-1-2023 for use in 2026

## Slide 37: DEER 2026 Update Timeline from PA Research
Notes: Jennifer (Rachel).

## Slide 38: Research-based Guidance (EM&V and other studies)
10:15 a.m. – 10:25 a.m.
Notes: Cameron. New guidance that has not been previously issued is provided in the sections that follow.

## Slide 39: Guidance Based on Industry Standard Practice (ISP) Studies
Five ISP studies were conducted by the IOUs as directed by Resolution E-4939. We find from the five completed ISP studies the following:
Notes: Cameron.
No updates are required for updating the DEER2024 baselines according to the results from the SDG&E Industry Standard Practice Study of Unitary AC and HP Study. The study concluded that high efficiency boilers are not yet industry standard practice. This ISP study shall be kept up-to-date with future minimum efficiency standards.
No update is required for DEER2024 based on the SCE Market Impacts of Low-GWP Refrigerants for Refrigeration Equipment as the study found that low global warming potential refrigerants were not ISP.
Updates are required based on the PG&E Industrial Standard Practice Study of Commercial Domestic Hot Water Boilers for Commercial and Multifamily Sectors . Measure Packages SWWH005-02 (Boiler, Commercial), SWWH007-03 (Storage Water Heater, Commercial), SWWH010-01 (Boiler, Commercial), and SWWH011-01 (Central Storage Water Heater, Multifamily) shall be updated to reflect all current state codes and the new federal minimum efficiency standard for hot water boilers, ≥300 kBtuh and ≤2,500 kBtuh set at 84% thermal efficiency which will become effective on January 10, 2023.
No update is required in DEER2024 resulting from the SCG study titled Retrofit Modulating Gas Dryer Valve for Commercial Dryers. The study determined that adding a modulating dryer valve to an existing dryer is not standard practice.
No update is required in DEER2024 resulting from the SCG study titled Industry Standard Practice Study of Residential Low Flow Showerheads and Aerators because low-flow showerheads and aerators comprise less than 50% of the market. However, the Water Sense specifications from this study shall be included as a measure offering requirement in low-flow showerhead and aerator measures to ensure customer satisfaction with the product.

## Slide 40: Guidance from 2019 Custom Industrial, Agricultural, and Commercial (CIAC) Impact Evaluation Review
Effective Program Year: 2024. We direct the following:
The default NTG ratio for custom agricultural measures is decreased from 0.70 to 0.50.
The default NTG ratio for electric savings of commercial measures is decreased from 0.60 to 0.50.
The NTG ratio for custom, direct-install lighting measures is decreased from 0.60 to 0.45.
Notes: Cameron.
Evaluation results with sufficient rigor and precision are used to update DEER and measure package assumptions. Resolution E-5152 instructed PAs to work with CPUC staff to determine EM&V results being released in the calendar year 2022 EM&V bus stop that affect DEER measures due to the compressed timeline during transition period and to ensure EM&V studies finalized in calendar year 2022 are considered for the DEER2024 adoption. The 2019 CIAC study found lower NTGRs than the defaults in the DEER database. Evaluated NTGRs were determined based on surveys with decision makers in the organizations that implemented custom projects.

## Slide 41: Guidance from Review of 2022 EM&V Reports for PY2020 Deemed Measure Claims
Residential ductless HVAC fuel substitution SWHC044 revised (PY20 HVAC Fuel Substitution report):
  Only direct install and downstream delivery types
  Eligibility requirements include decommissioning the existing gas system.
Use of average building type in claims (PY20 Comm HVAC Sector report)
  Claims based on actual building type rather than using Com or Res for all downstream delivery and—where possible—for midstream and upstream delivery,
    Particularly those that deliver Unitary Air-Cooled ACs or HPs.
Notes: Cameron.
To ensure the gas savings expectations are met, we direct that residential ductless HVAC fuel substitution measure packages shall be revised so that only direct install and downstream delivery types are eligible and measure package eligibility requirements include decommissioning the existing gas system, per the findings and recommendations in the HVAC Fuel Substitution Impact Evaluation.
We direct the PAs that claims shall be based on actual building type rather than using Com or Res for all downstream programs and—where possible—for midstream and upstream programs, particularly those that deliver Unitary Air-Cooled Air Conditioners or Heat Pumps, based primarily on the findings and recommendations in the Commercial HVAC Sector Impact Evaluation.
We direct that the NTG ratio for the residential smart thermostat (rebate/downstream) is decreased from 0.60 to 0.50 based on the EM&V report for PY2020. Evaluated NTG ratios for this measure over the past several years have fluctuated around 0.50 rather than showing a consistent trend.
We direct that the annual deemed electric and gas savings for residential smart controlling thermostats (SCT) is decreased to levels that are halfway between the previous deemed values and those that were determined using the PY2020 billing analysis results. This was done because the deemed values represent pre-COVID savings prior to thermostat optimization as a standard opt-in option whereas the evaluated values represent during-COVID savings with the addition of thermostat optimization; the only way to account for the unknown effects of COVID combined with the expected savings increase from optimization is to combine these two conditions. This is because a full return to pre-COVID work patterns is not expected for the foreseeable future. Specific values by building type and climate zone are provided in Attachment A. If we had just used the energy savings based on the most recent EM&V report, the savings would have been lower.

## Slide 42: Guidance from Review of 2022 EM&V Reports for PY2020 Deemed Measure Claims
Residential smart thermostat SWHC039 (PY20 Res HVAC report)
  Rebate/downstream NTGR decreased from 0.60 to 0.50.
    Evaluated NTG ratios for this measure over the past several years have fluctuated around 0.50 rather than showing a consistent trend.
  Annual deemed electric and gas savings for decreased to midpoint between the previous deemed values and those that were determined using the PY2020 AMI data analysis results.
Notes: Cameron.
We direct that the NTG ratio for the residential smart thermostat (rebate/downstream) is decreased from 0.60 to 0.50 based on the EM&V report for PY2020. Evaluated NTG ratios for this measure over the past several years have fluctuated around 0.50 rather than showing a consistent trend.
We direct that the annual deemed electric and gas savings for residential smart controlling thermostats (SCT) is decreased to levels that are halfway between the previous deemed values and those that were determined using the PY2020 billing analysis results. This was done because the deemed values represent pre-COVID savings prior to thermostat optimization as a standard opt-in option whereas the evaluated values represent during-COVID savings with the addition of thermostat optimization; the only way to account for the unknown effects of COVID combined with the expected savings increase from optimization is to combine these two conditions. This is because a full return to pre-COVID work patterns is not expected for the foreseeable future. Specific values by building type and climate zone are provided in Attachment A. If we had just used the energy savings based on the most recent EM&V report, the savings would have been lower.

## Slide 43: Guidance from Review of 2022 EM&V Reports for PY2020 Deemed Measure Claims
Additional evaluation study updates to deemed measures:
Notes: Cameron.
We direct that the NTG ratio for residential fuel substitution heat pump measures is decreased from 1.00 to 0.55 for the midstream delivery type.
We direct that the NTG ratio of 0.20 for commercial and multifamily space-heating boilers is expanded to apply to all delivery types (resulting in a decrease from 0.60 for upstream applications).
We direct that the NTG ratio for commercial water-heating boilers is decreased from 0.60 to 0.10 (excluding downstream delivery type).
We direct that the NTG ratio for indoor LED tube lighting is increased from 0.65 to 0.70 for downstream and direct install delivery types.
We direct that the NTG ratio for indoor LED fixtures (including high/low bay) is decreased from 0.65 to 0.60 for downstream and direct install delivery types.
We direct that the NTG ratio for variable frequency drives (VFD) on well pumps smaller than 300 hp is increased from 0.30 to 0.40.
We direct that the NTG ratio for commercial fryers is decreased from 0.60 to 0.35 for the downstream delivery type.

## Slide 44: Measure Adoption
10:25 a.m. – 10:30 a.m.
Notes: Dan. this resolution adopts and locks approved ex ante values contained in the measure packages for PY2023 and PY2024-2025. The list of measure packages adopted and locked for PY2023 is listed in Appendix A1 and the list of measure packages adopted and locked for PY2024-25 is listed in Appendix A2. All measures that will be active in that program year will be adopted and locked, not just those with updates. New measures can be added off-cycle and will be tracked with start and end dates of those measures in the eTRM.
The dispositions and guidance documents used to inform the measure updates for PY2023 and PY2024-25 are provided for reference in Appendices A3 and A4 respectively.

## Slide 45: PY2023 and PY2024-25 Measure Adoption
Tables A.1 and A.2 in Resolution lists the following:
  Approved: These can be viewed on eTRM website
    https://www.caetrm.com/dashboard/
  Under Review and Submittal Pending: These can be viewed on CEDARS website
    https://cedars.sound-data.com/deer-resources/
Notes: Dan.
Under review and Submittal Pending– final approval pending. Because these are in draft form and cannot be published, CEDARS will list out the changes from previous version.

## Slide 46
Questions?
Notes: Peter.

## Slide 47: Wrap Up and Final Q&A
10:30 a.m. – 10:45 a.m.
Notes: Peter.

## Slide 48: How to Submit Comments re Resolution E-5221
All comments must be submitted to Energy Division by Sept. 7, 2022
Resolution E-5221 at https://cedars.sound-data.com/deer-resources/deer-versions/2024/resource/2/history
Comments along with a certificate of service shall be sent via email to: edtariffunit@cpuc.ca.gov
Also, copies of the comments shall be submitted via email to: Peter.Biermayer@cpuc.ca.gov Peter.Lai@cpuc.ca.gov
Notes: Peter.

## Slide 49
For more information:
Peter.Biermayer@cpuc.ca.gov
Peter.Lai@cpuc.ca.gov
Notes: Peter.

## Slide 50
Peter.Biermayer@cpuc.ca.gov
Notes: Peter.