## Measures
DEER High Bay Application Lighting Measure Definitions
for the DEER2015 Uncertain Measure Update and the DEER2016 Update
Index | MeasureID | Description | Version | VersionSource | LastMod | EnergyImpactID | MeasImpactType | EnImpCalcType | ImpScaleBasis | StdScaleVal | PreScaleVal | ImpWeighting | WeightGroupID | ApplyIE | IETableName | TechBased | Sector | PA | UseCategory | UseSubCategory | TechGroup | TechType | MeasCostID | EUL_ID | PreDesc | StdDesc | MeasDesc | PreTechID | StdTechID | MeasTechID | Status | Comment | PreMultiTech | StdMultiTech | SourceDesc | SupportedAppType | StdCostID | RUL_ID | LegacyID | Qualifier | StartDate | ExpiryDate | ReviewStatus | ResCFLlamp | ResOutdoorCFLlamp | Msr Watts | <=30Watts | ResIndoorCFLlamp | InDoorRefl | T5HighBay | Scenario1 | Scenario2 | Scenario3 | Scenario4 | Scenario5
2178 | Com-Lighting-InGen_PSMH-365w_PSMH-365w_T5-46in-234w | Commercial Indoor General Lighting: Linear Fluorescent Lamp & Ballast replaces HID Lamp & Ballast. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER2014 | D13 v1.2 | 5/23/2014 15:34:31.757 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta | 131 | 131 | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Lmp+Blst | LF_LmpBlst |  | ILtg-Lfluor-fix | HID Lamp and Ballast: HID Lamp: Pulse Start Metal Halide , Any shape, 320w, Universal position, 30000 lm, CRI = 62, rated hours = 20000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 365 | HID Lamp and Ballast: HID Lamp: Pulse Start Metal Halide , Any shape, 320w, Universal position, 30000 lm, CRI = 62, rated hours = 20000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 365 | LF lamp and ballast: LF lamp: T5, 46 inch, 54W, 4750 lm, CRI = 85, rated life = 25000 hours (4): LF Ballast: Electronic, Programmed Start, High LO (1); Total Fixture Watts = 234 | PSMH-320w(365w) | PSMH-320w(365w) | LFLmpBlst-T5-46in-54w+El-PS-HLO-1(234w) | Standard | Transition to new HOU begin 6/1/2015 since this is a T5 High Bay measure | f | f | DEER Lighting measure | RobNc |  | ILtg-Lfluor-fix |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE
2179 | Com-Lighting-InGen_PSMH-456w_PSMH-456w_T5-46in-351w | Commercial Indoor General Lighting: Linear Fluorescent Lamp & Ballast replaces HID Lamp & Ballast. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER2014 | D13 v1.2 | 5/23/2014 15:34:31.757 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta | 105 | 105 | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Lmp+Blst | LF_LmpBlst |  | ILtg-Lfluor-fix | HID Lamp and Ballast: HID Lamp: Pulse Start Metal Halide , Any shape, 400w, Universal position, 42855 lm, CRI = 62, rated hours = 20000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 456 | HID Lamp and Ballast: HID Lamp: Pulse Start Metal Halide , Any shape, 400w, Universal position, 42855 lm, CRI = 62, rated hours = 20000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 456 | LF lamp and ballast: LF lamp: T5, 46 inch, 54W, 4750 lm, CRI = 85, rated life = 25000 hours (6): LF Ballast: Electronic, Programmed Start, High LO (2); Total Fixture Watts = 351 | PSMH-400w(456w) | PSMH-400w(456w) | LFLmpBlst-T5-46in-54w+El-PS-HLO-1(351w) | Standard | Transition to new HOU begin 6/1/2015 since this is a T5 High Bay measure | f | f | DEER Lighting measure | RobNc |  | ILtg-Lfluor-fix | D08-NE-ILtg-Othr-Prim-RplLPD-400wPSMHMgC456w-46in54wT5HO3PSEl351w | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE
2180 | Com-Lighting-InGen_PSMH-456w_T5-46in-351w_T5-46in-351w | Commercial Indoor General Lighting: Linear Fluorescent Lamp & Ballast replaces HID Lamp & Ballast. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER2014 | D13 v1.2 | 5/23/2014 15:34:31.757 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta | 0 | 105 | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Lmp+Blst | LF_LmpBlst |  | ILtg-Lfluor-fix | HID Lamp and Ballast: HID Lamp: Pulse Start Metal Halide , Any shape, 400w, Universal position, 42855 lm, CRI = 62, rated hours = 20000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 456 | LF lamp and ballast: LF lamp: T5, 46 inch, 54W, 4750 lm, CRI = 85, rated life = 25000 hours (6): LF Ballast: Electronic, Programmed Start, High LO (2); Total Fixture Watts = 351 | LF lamp and ballast: LF lamp: T5, 46 inch, 54W, 4750 lm, CRI = 85, rated life = 25000 hours (6): LF Ballast: Electronic, Programmed Start, High LO (2); Total Fixture Watts = 351 | PSMH-400w(456w) | LFLmpBlst-T5-46in-54w+El-PS-HLO-1(351w) | LFLmpBlst-T5-46in-54w+El-PS-HLO-1(351w) | Standard | Transition to new HOU begin 6/1/2015 since this is a T5 High Bay measure | f | f | DEER Lighting measure | ErRul |  | ILtg-Lfluor-fix |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE
2181 | Com-Lighting-InGen_MV-455w_T5-46in-234w_T5-46in-234w | Commercial Indoor General Lighting: Linear Fluorescent Lamp & Ballast replaces HID Lamp & Ballast. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER2014 | D13 v1.2 | 5/23/2014 15:34:31.757 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta | 0 | 221 | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Lmp+Blst | LF_LmpBlst |  | ILtg-Lfluor-fix | HID Lamp and Ballast: HID Lamp: Mercury Vapor, Any shape, 400w, Universal position, 22805 lm, CRI = 45, rated hours = 24000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 455 | LF lamp and ballast: LF lamp: T5, 46 inch, 54W, 4750 lm, CRI = 85, rated life = 25000 hours (4): LF Ballast: Electronic, Programmed Start, High LO (1); Total Fixture Watts = 234 | LF lamp and ballast: LF lamp: T5, 46 inch, 54W, 4750 lm, CRI = 85, rated life = 25000 hours (4): LF Ballast: Electronic, Programmed Start, High LO (1); Total Fixture Watts = 234 | MV-400w(455w) | LFLmpBlst-T5-46in-54w+El-PS-HLO-1(234w) | LFLmpBlst-T5-46in-54w+El-PS-HLO-1(234w) | Standard | Transition to new HOU begin 6/1/2015 since this is a T5 High Bay measure | f | f | DEER Lighting measure | ErRul |  | ILtg-Lfluor-fix | D08-NE-ILtg-Othr-Prim-RplLPD-400wMVMgC455w-46in54wT5HO2PSEl234w | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE
2182 | Com-Lighting-InGen_MV-455w_PSMH-365w_T5-46in-234w | Commercial Indoor General Lighting: Linear Fluorescent Lamp & Ballast replaces HID Lamp & Ballast. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER2014 | D13 v1.2 | 5/23/2014 15:34:31.757 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta | 131 | 221 | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Lmp+Blst | LF_LmpBlst |  | ILtg-Lfluor-fix | HID Lamp and Ballast: HID Lamp: Mercury Vapor, Any shape, 400w, Universal position, 22805 lm, CRI = 45, rated hours = 24000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 455 | HID Lamp and Ballast: HID Lamp: Pulse Start Metal Halide , Any shape, 320w, Universal position, 30000 lm, CRI = 62, rated hours = 20000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 365 | LF lamp and ballast: LF lamp: T5, 46 inch, 54W, 4750 lm, CRI = 85, rated life = 25000 hours (4): LF Ballast: Electronic, Programmed Start, High LO (1); Total Fixture Watts = 234 | MV-400w(455w) | PSMH-320w(365w) | LFLmpBlst-T5-46in-54w+El-PS-HLO-1(234w) | Standard | Transition to new HOU begin 6/1/2015 since this is a T5 High Bay measure | f | f | DEER Lighting measure | ErRobNc |  | ILtg-Lfluor-fix |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE
2183 | Com-Lighting-InGen_MV-780w_T5-46in-351w_T5-46in-351w | Commercial Indoor General Lighting: Linear Fluorescent Lamp & Ballast replaces HID Lamp & Ballast. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER2014 | D13 v1.2 | 5/23/2014 15:34:31.757 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta | 0 | 429 | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Lmp+Blst | LF_LmpBlst |  | ILtg-Lfluor-fix | HID Lamp and Ballast: HID Lamp: Mercury Vapor, Any shape, 700w, Universal position, 40245 lm, CRI = 45, rated hours = 24000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 780 | LF lamp and ballast: LF lamp: T5, 46 inch, 54W, 4750 lm, CRI = 85, rated life = 25000 hours (6): LF Ballast: Electronic, Programmed Start, High LO (2); Total Fixture Watts = 351 | LF lamp and ballast: LF lamp: T5, 46 inch, 54W, 4750 lm, CRI = 85, rated life = 25000 hours (6): LF Ballast: Electronic, Programmed Start, High LO (2); Total Fixture Watts = 351 | MV-700w(780w) | LFLmpBlst-T5-46in-54w+El-PS-HLO-1(351w) | LFLmpBlst-T5-46in-54w+El-PS-HLO-1(351w) | Standard | Transition to new HOU begin 6/1/2015 since this is a T5 High Bay measure | f | f | DEER Lighting measure | ErRul |  | ILtg-Lfluor-fix | D08-NE-ILtg-Othr-Prim-RplLPD-700wMVMgC780w-46in54wT5HO3PSEl351w | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE
2184 | Com-Lighting-InGen_MV-780w_PSMH-456w_T5-46in-351w | Commercial Indoor General Lighting: Linear Fluorescent Lamp & Ballast replaces HID Lamp & Ballast. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER2014 | D13 v1.2 | 5/23/2014 15:34:31.757 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta | 105 | 429 | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Lmp+Blst | LF_LmpBlst |  | ILtg-Lfluor-fix | HID Lamp and Ballast: HID Lamp: Mercury Vapor, Any shape, 700w, Universal position, 40245 lm, CRI = 45, rated hours = 24000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 780 | HID Lamp and Ballast: HID Lamp: Pulse Start Metal Halide , Any shape, 400w, Universal position, 42855 lm, CRI = 62, rated hours = 20000 (1); HID Ballast: Constant Wattage Autotransformer, No dimming capability (1); Total fixture Watts = 456 | LF lamp and ballast: LF lamp: T5, 46 inch, 54W, 4750 lm, CRI = 85, rated life = 25000 hours (6): LF Ballast: Electronic, Programmed Start, High LO (2); Total Fixture Watts = 351 | MV-700w(780w) | PSMH-400w(456w) | LFLmpBlst-T5-46in-54w+El-PS-HLO-1(351w) | Standard | Transition to new HOU begin 6/1/2015 since this is a T5 High Bay measure | f | f | DEER Lighting measure | ErRobNc |  | ILtg-Lfluor-fix |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE
4397 | C-In-LFFixt-T5-46in-54w+El-PS-HLO(117w)-dwP98-dwC91 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces HID fixture. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | HIDFixt-MH-175w(215w) | HIDFixt-PSMH-175w(208w) | LFFixt-T5-46in-54w+El-PS-HLO(117w) | Review |  | f | f | RevisedHighBay.xlsx | ErRobNc |  | ILtg-MH |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
4398 | C-In-LFFixt-T5-46in-54w+El-PS-HLO(585w)-dwP265-dwC233 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces HID fixture. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | Non-DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | HIDFixt-MH-750w(850w) | HIDFixt-PSMH-750w(818w) | LFFixt-T5-46in-54w+El-PS-HLO(585w) | Review |  | f | f | RevisedHighBay.xlsx | ErRobNc |  | ILtg-MH |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
4399 | C-In-LFFixt-T5-46in-54w+El-PS-HLO(585w)-dWP495-dWC233 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces HID Fixture. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | HIDFixt-MH-1000w(1080w) | HIDFixt-PSMH-750w(818w) | LFFixt-T5-46in-54w+El-PS-HLO(585w) | Review | WP source e.g.: SCE13LG086r0 | f | f | Disposition: MeasuresList-May222014.xlsx | ErRobNc |  | ILtg-MH |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
4400 | C-In-LFFixt-T5-46in-54w+El-PS-HLO(62w)-dWP66 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces HID Fixture. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | HIDFixt-MH-100w(128w) | HIDFixt-MH-100w(128w) | LFFixt-T5-46in-54w+El-PS-HLO(62w) | Review | WP source e.g.: WPSDGENRLG0044r4 | f | f | Disposition: MeasuresList-May222014.xlsx | RobNc |  | ILtg-MH |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
4401 | C-In-LFFixt-T5-46in-54w+El-PS-HLO-1(179w)-dWP116-dWC109 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces HID Fixture. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | HIDFixt-MH-250w(295w) | HIDFixt-PSMH-250w(288w) | LFFixt-T5-46in-54w+El-PS-HLO-1(179w) | Review | WP source e.g.: SCE13LG086r0 | f | f | Disposition: MeasuresList-May222014.xlsx | ErRobNc |  | ILtg-MH |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
4402 | C-In-LFFixt-T5-46in-54w+El-PS-HLO-1(234w)-dwP166-dwC131 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces HID fixture. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | Non-DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | HIDFixt-MH-350w(400w) | HIDFixt-PSMH-320w(365w) | LFFixt-T5-46in-54w+El-PS-HLO-1(234w) | Review |  | f | f | RevisedHighBay.xlsx | ErRobNc |  | ILtg-MH |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
4404 | C-In-LFFixt-T5-46in-54w+El-PS-HLO-1(234w)-dwP221-dwC131 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces Metal Halide. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | Non-DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | MV-400w(455w) | HIDFixt-PSMH-320w(365w) | LFFixt-T5-46in-54w+El-PS-HLO-1(234w) | Review | Earlier versions of lighting disposition used a different measure fixture (index -2) | f | f | RevisedHighBay.xlsx | ErRobNc |  | ILtg-HID |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
4405 | C-In-LFFixt-T5-46in-54w+El-PS-HLO-1(234w)-dwP224-dwC131 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces HID fixture. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | HIDFixt-MH-400w(458w) | HIDFixt-PSMH-320w(365w) | LFFixt-T5-46in-54w+El-PS-HLO-1(234w) | Review |  | f | f | RevisedHighBay.xlsx | ErRobNc |  | ILtg-MH |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
4407 | C-In-LFFixt-T5-46in-54w+El-PS-HLO-1(351w)-dwP105 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces HID fixture. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | Non-DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | HIDFixt-PSMH-400w(456w) | HIDFixt-PSMH-400w(456w) | LFFixt-T5-46in-54w+El-PS-HLO-1(351w) | Review | Earlier versions of lighting disposition used a different measure fixture (index -2) | f | f | RevisedHighBay.xlsx | RobNc |  | ILtg-HID |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
4408 | C-In-LFFixt-T5-46in-54w+El-PS-HLO-1(351w)-dWP107-dWC105 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces HID Fixture. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | HIDFixt-MH-400w(458w) | HIDFixt-PSMH-400w(456w) | LFFixt-T5-46in-54w+El-PS-HLO-1(351w) | Review | WP source e.g.: SCE13LG086r0 | f | f | Disposition: MeasuresList-May222014.xlsx | ErRobNc |  | ILtg-MH |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
4409 | C-In-LFFixt-T5-46in-54w+El-PS-HLO-1(351w)-dwP429-dwC105 | Commercial Indoor General Lighting: Linear Fluorescent Fixture replaces HID fixture. Measure includes Code case. Impacts: Linear Fluorescent-based HOU (varies by BldgType) | DEER1314 | Lighting Disposition | 3/6/2015 00:00:00 | Com-Iltg-dWatt-LF | Non-DEER | Scaled | Delta |  |  | None |  | f |  | t | Com | Any | Lighting | InGen-HB | Ltg_Fixture | LinFluor_fixt |  | ILtg-T5 |  |  |  | HIDFixt-MV-700w(780w) | HIDFixt-PSMH-400w(456w) | LFFixt-T5-46in-54w+El-PS-HLO-1(351w) | Review | Earlier versions of lighting disposition used a different measure fixture (index -2) | f | f | RevisedHighBay.xlsx | ErRobNc |  | ILtg-HID |  | DEER1316-T5-Com-HB | 1/1/2013 |  | DEER2015 Uncertain Msr Update | FALSE | FALSE |  |  | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE

## Measure Qualifier
HighBay Measure Qualifiers |  |  | rows with a yellow backgroung are modified based on these updates
(used in a measure definition to associate the proper impacts - HOU/CDF/HVAC-IE) |  |  | rows with a green background are additional measure definitions based on these updates.
When a MeasQualifierGroup is linked with a lighting measure (via the measure."Qualifier" field), each of the associated MeasQualifier values are also linked to the measure,
The Measure definition fields "Version", "EnergyImpactID", "StartDate", and "EndDate" are overwritten with the values linked to the MeasQualifier.
MeasQualifierGroup | MeasQualifier | EnergyImpactID | Order | Version | StartDate | ExpiryDate | Comment
DEER1316-Ltg-Com-HB | 2014_AllSpc_OS | Com-Iltg-dWatt-LF_OSspc | 2 | DEER2014 | 7/1/2014 | 12/31/2015
DEER1316-Ltg-Com-HB | 2014_Bldg_OS | Com-Iltg-dWatt-LF_OSbldg | 1 | DEER2014 | 7/1/2014 | 12/31/2015
DEER1316-Ltg-Com-HB | 2014_No_OccSens | Com-Iltg-dWatt-LF_OSnone | 3 | DEER2014 | 7/1/2014 | 12/31/2015
DEER1316-Ltg-Com-HB | 2016_AllSpc_OS | Com-Iltg-dWatt-HB_OSspc | 5 | DEER2016 | 1/1/2016 |  | new hours-of-use and coincident demand
DEER1316-Ltg-Com-HB | 2016_Bldg_OS | Com-Iltg-dWatt-HB_OSbldg | 4 | DEER2016 | 1/1/2016 |  | new hours-of-use and coincident demand
DEER1316-Ltg-Com-HB | 2016_No_OccSens | Com-Iltg-dWatt-HB_OSnone | 6 | DEER2016 | 1/1/2016 |  | new hours-of-use and coincident demand
DEER1316-Ltg-Com-HB | DEER_for_2013 | Com-Iltg-dWatt-LF | 0 | DEER2011 | 1/1/2013 | 6/30/2014
DEER1316-T5-Com-HB | 2014_AllSpc_OS | Com-Iltg-dWatt-LF_OSspc | 2 | DEER2014 | 7/1/2014 | 5/31/2015
DEER1316-T5-Com-HB | 2014_Bldg_OS | Com-Iltg-dWatt-LF_OSbldg | 1 | DEER2014 | 7/1/2014 | 5/31/2015
DEER1316-T5-Com-HB | 2014_No_OccSens | Com-Iltg-dWatt-LF_OSnone | 3 | DEER2014 | 7/1/2014 | 5/31/2015
DEER1316-T5-Com-HB | 2016_AllSpc_OS | Com-Iltg-dWatt-HB_OSspc | 5 | DEER2016 | 6/1/2015 |  | new hours-of-use and coincident demand
DEER1316-T5-Com-HB | 2016_Bldg_OS | Com-Iltg-dWatt-HB_OSbldg | 4 | DEER2016 | 6/1/2015 |  | new hours-of-use and coincident demand
DEER1316-T5-Com-HB | 2016_No_OccSens | Com-Iltg-dWatt-HB_OSnone | 6 | DEER2016 | 6/1/2015 |  | new hours-of-use and coincident demand
DEER1316-T5-Com-HB | DEER_for_2013 | Com-Iltg-dWatt-LF | 0 | DEER2011 | 1/1/2013 | 6/30/2014

## HOU and CDF
Summary of DEER2014 & DEER2016 highbay application lighting hours-of-use and peak-period coincident demand
see row 33 for DEER Building Type On-Site Logger Data Site Classification Content
see row 198 for Summary of Lighting hours-of-use and peak period coincident demand by Building and Activity Area
Summary by Building Type
|  |  | Annual hours of use |  | Coincident demand factor |  | Percent Change
|  | DEER Building Type | DEER2014 | DEER2016 | DEER2014 | DEER2016 | HOU | CDF
|  | Assembly | 2712.7238 | 1667.5204 | 0.5492 | 0.49178 | -38.53% | -10.46%
|  | Primary School | 2326.0649 | 2290.7016 | 0.63483 | 0.75173 | -1.52% | 18.41%
|  | Secondary School | 2426.1605 | 2367.8091 | 0.69782 | 0.79723 | -2.405% | 14.25%
|  | Community College | 2503.9789 | 2478.1164 | 0.80191 | 0.78567 | -1.033% | -2.026%
|  | University | 2310.1023 | 2645.9277 | 0.68753 | 0.85 | 14.54% | 23.63%
|  | Relocatable Classroom | 2622.88 | 1085.6065 | 0.7 | 0.4341 | -58.61% | -37.99%
|  | Grocery | 4864.5812 | 5452.7735 | 0.68022 | 0.89683 | 12.09% | 31.84%
|  | Manuf. Light Industrial | 3271.3202 | 2920.6155 | 0.92035 | 0.58689 | -10.72% | -36.23%
|  | Manufacturing Bio/Tech | 4001.6367 | 2803.4098 | 0.84544 | 0.57224 | -29.94% | -32.32%
|  | Hospital | 5361.6371 | 5866.0373 | 0.83286 | 0.77216 | 9.408% | -7.287%
|  | Nursing Home | 4326.1613 | 3814.25 | 0.67473 | 0.675 | -11.83% | 0.04004%
|  | Hotel | 1457.0947 | 5350.6601 | 0.17037 | 0.68124 | 267.2% | 299.9%
|  | Motel | 1371.8908 | 4196.9747 | 0.14949 | 0.3707 | 205.9% | 148%
|  | Office - Large | 2788.4676 | 2863.2102 | 0.71 | 0.71756 | 2.68% | 1.064%
|  | Office - Small | 2776.3833 | 2101.8644 | 0.69333 | 0.70236 | -24.29% | 1.302%
|  | Restaurant - Fast Food | 4829.5825 | 3398.3763 | 0.8125 | 0.62733 | -29.63% | -22.79%
|  | Restaurant - Sit Down | 4817.2393 | 3822.5247 | 0.8 | 0.62763 | -20.65% | -21.55%
|  | Retail - 3-Story (Dept Store) | 3408.5829 | 5595.7237 | 0.75433 | 0.96892 | 64.17% | 28.45%
|  | Retail - Large (Bigbox) | 4167.7018 | 4059.0482 | 0.8291 | 0.92667 | -2.607% | 11.77%
|  | Retail - Small | 3466.7779 | 2288.281 | 0.875 | 0.64399 | -33.99% | -26.4%
|  | Storage Conditioned | 3450.3 | 2305.3868 | 0.7 | 0.51363 | -33.18% | -26.62%
|  | Storage Unconditioned | 3450.3 | 2175.2968 | 0.7 | 0.45309 | -36.95% | -35.27%
|  | Refrigerated Warehouse | 4791.0052 | 4818 | 0.55312 | 0.55 | 0.5634% | -0.565%
DEER Building Type On-Site Content
Assembly
Bowling Alley
Community Center
Government Services
Health/Fitness Center
Library / Museum
Movie Theaters
Other Recreational/Public Assembly
Poolhall
Religious Assembly (mixed use)
Religious Assembly (worship only)
Theater / Performing Arts
College/University
College/University
Community College
Vocational or Trade School
Grocery
Small General Grocery
Specialty Food Store
Specialty/Ethnic Grocery
Supermarkets
Hospital
Hospital
Hotel
Bed & Breakfast
Hotel
Other Lodging
Resort
Small Hotel (Inn)
Manuf. Light Industrial
Assembly/Light Manufacturing
Auto Repair
Commercial Laundry
Electronics Manufacturing
Fabrication
Food Processing
Light Industrial Process
Machine Shop
Machine Shop and Hardware Store
Manufacturing
Mixed Office and Workspace
Other Industrial
Other Service Shop
Recycling
Repair (Non-Auto)
Manufacturing Bio/Tech
Lab/R&D Facility
Medical/Dental Lab
Motel
Motel
Motel (Inn)
Nursing Home
Assisted Living
Nursing Home
Rehabilitation Center
Office - Large
Administration and management
Government Services
Office Building
Office Park
Office - Small
Administration and management
Art Studio
Clinic/Outpatient Care
Data Processing/Computer Center
Financial / Legal
Funeral Services
General Offices
Insurance/Real Estate
Medical/Dental Office
Mixed Office and Workspace
Mixed-Use/Multi-tenant
Music Lessons
Other Office
Post Office
Service Company
Software Development
Wholesale Sales
Primary School
Daycare or Preschool
Elementary School
Refrigerated Warehouse
Refrigerated Warehouse
Restaurant - Fast Food
Bagel Shop
Delicatessen
Donut Shop
Fast Food or Self Service
Restaurant - Sit Down
Bakery/Catering
Bar/Tavern/Nightclub/Other
Brewery
Coffee Shop
Golf Club
Table Service
Winery
Retail - 3-Story (Dept Store)
Department / Variety Store
Retail - Large (Bigbox)
Furniture Store
Home Improvement
Outlet Store
Retail Showroom
Retail Warehouse/Clubs
Showroom
Wholesale Sales
Retail - Small
Ag Sales
Auto Parts
Auto Sales
Beauty Salon
Bookstore
Campground
Car Rental
Carwash
Cigar Shop
Clock Repair
Convenience Store
Day Spa
Department / Variety Store
Dog Grooming
Drug Store
Dry Cleaning
Florist
Gas Station w/Convenience Store
Hair Salon
Hardware Store
Laundry
Liquor Store
Message Spa
Nail Salon
Other Retail Store
Rental Shop
Retail Showroom
Shop in Enclosed Mall
Shop in Strip Mall
Tattoo parlor
Vetinary Services
Secondary School
Middle / Secondary School
Storage Conditioned
Conditioned Warehouse, High Bay
Conditioned Warehouse, Low Bay
Electronics Warehouse
Mixed Retail and Warehouse
Mixed Storage and Workspace
Storage
Storage Unconditioned
Ag Packing Plant
Unconditioned Warehouse, High Bay
Unconditioned Warehouse, Low Bay
Greenhouse
Commercial Greenhouse
Not Assigned
Commercial Farm
High-Rise
Other
Other Agr.
Other Commercial
Parking Structure
Police/Fire Station
Townhouse
Summary of Lighting hours-of-use and peak period coincident demand by Building and Activity Area
Including a comparison to DEER2014 equivalent activity area values, see notes at bottom of table
|  |  |  | DEER 2016 High Bay Applications |  |  | DEER 2014 Linear Fluorescent (Used for High Bay Applications) |  |  | Change from DEER2014 => DEER2016
| Building | Activity | ActArea | HOU | CDF | Loggers | Used for 2016? | HOU | CDF | HOU | CDF
| Type | Area | Fraction
| Asm | OfficeGeneral | 18.2% | 0 | 0 | 0 | FALSE | 3173.4722 | 0.62963 | 0% | 0%
| Asm | Auditorium | 16.59% | 1667.5204 | 0.49178 | 14 | FALSE | 2430.9 | 0.5 | -31.4% | -1.645%
| Asm | Classroom | 14.54% | 0 | 0 | 0 | FALSE | 2430.9 | 0.5 | 0% | 0%
| Asm | RelWorship | 13.19% | 0 | 0 | 0 | FALSE | 2430.9 | 0.5 | 0% | 0%
| Asm | StockRoom | 8.039% | 0 | 0 | 0 | FALSE | 3173.4722 | 0.62963 | 0% | 0%
| Asm | Hall | 6.117% | 0 | 0 | 0 | FALSE | 3173.4722 | 0.62963 | 0% | 0%
| Asm | RestRoom | 4.816% | 0 | 0 | 0 | FALSE | 3173.4722 | 0.62963 | 0% | 0%
| Asm | Kitchen | 4.497% | 0 | 0 | 0 | FALSE | 3173.4722 | 0.62963 | 0% | 0%
| Asm | LobbyWaiting | 4.151% | 0 | 0 | 0 | FALSE | 3173.4722 | 0.62963 | 0% | 0%
| Asm | Conference | 3.974% | 0 | 0 | 0 | FALSE | 2430.9 | 0.5 | 0% | 0%
| Asm | Dining | 2.541% | 0 | 0 | 0 | FALSE | 2430.9 | 0.5 | 0% | 0%
| Asm | Exhibit | 1.331% | 0 | 0 | 0 | FALSE | 2430.9 | 0.5 | 0% | 0%
| Asm | MechElecRoom | 1.008% | 0 | 0 | 0 | FALSE | 3173.4722 | 0.62963 | 0% | 0%
| Asm | RetailSales | 1.008% | 0 | 0 | 0 | FALSE | 2430.9 | 0.5 | 0% | 0%
| Asm | Whole Building | 56.1% | 1667.5204 | 0.49178 | 0 | FALSE | 2712.7238 | 0.5492 | -38.53% | -10.46%
| EPr | Classroom | 56.1% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| EPr | Gymnasium | 8.361% | 2400.7309 | 0.81339 | 60 | FALSE | 2203.7957 | 0.69762 | 8.936% | 16.6%
| EPr | OfficeGeneral | 8.019% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| EPr | Kitchen | 5.065% | 0 | 0 | 0 | FALSE | 1751.04 | 0.36667 | 0% | 0%
| EPr | RestRoom | 4.908% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| EPr | LibraryReading | 4.287% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| EPr | StorageSmlCond | 3.699% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| EPr | CorridorStairway | 3.689% | 2125.7971 | 0.63788 | 0 | FALSE | 2549.44 | 0.7 | -16.62% | -8.874%
| EPr | Dining | 3.203% | 2045.498 | 0.639 | 10 | FALSE | 1418.84 | 0.36667 | 44.17% | 74.27%
| EPr | CompRoomClassrm | 1.391% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| EPr | LobbyWaiting | 1.273% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| EPr | Whole Building | 4.863% | 2290.7016 | 0.75173 | 0 | FALSE | 2326.0649 | 0.63483 | -1.52% | 18.41%
| ESe | Classroom | 43.85% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| ESe | Gymnasium | 17.27% | 2400.7309 | 0.81339 | 60 | FALSE | 2500.8525 | 0.82188 | -4.004% | -1.032%
| ESe | OfficeGeneral | 7.433% | 0 | 0 | 0 | FALSE | 2397.7768 | 1 | 0% | 0%
| ESe | CorridorStairway | 6.235% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| ESe | LibraryReading | 4.863% | 0 | 0 | 0 | FALSE | 2397.7768 | 1 | 0% | 0%
| ESe | StorageSmlCond | 4.399% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| ESe | Kitchen | 4.084% | 0 | 0 | 0 | FALSE | 1197.04 | 0.05 | 0% | 0%
| ESe | RestRoom | 3.665% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| ESe | Dining | 2.672% | 2045.498 | 0.639 | 10 | FALSE | 2549.44 | 1 | -19.77% | -36.1%
| ESe | CompRoomClassrm | 2.455% | 0 | 0 | 0 | FALSE | 2240.7242 | 0.59737 | 0% | 0%
| ESe | Shop | 1.504% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| ESe | Conference | 1.018% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| ESe | MechElecRoom | 0.5529% | 0 | 0 | 0 | FALSE | 2549.44 | 0.7 | 0% | 0%
| ESe | Whole Building | 6.223% | 2367.8091 | 0.79723 | 0 | FALSE | 2426.1605 | 0.69782 | -2.405% | 14.25%
| ERC | Classroom | 100% | 1085.6065 | 0.4341 | 0 | FALSE | 2622.88 | 0.7 | -58.61% | -37.99%
| ERC | Whole Building | 1.5% | 1085.6065 | 0.4341 | 0 | FALSE | 2622.88 | 0.7 | -58.61% | -37.99%
| ECC | OfficeGeneral | 42.91% | 0 | 0 | 0 | FALSE | 2697.7671 | 0.9 | 0% | 0%
| ECC | Classroom | 20.6% | 0 | 0 | 0 | FALSE | 2414.61 | 0.76 | 0% | 0%
| ECC | CorridorStairway | 10.96% | 0 | 0 | 0 | FALSE | 2414.61 | 0.76 | 0% | 0%
| ECC | RestRoom | 6.606% | 0 | 0 | 0 | FALSE | 2414.61 | 0.76 | 0% | 0%
| ECC | Conference | 6.223% | 0 | 0 | 0 | FALSE | 2697.7671 | 0.9 | 0% | 0%
| ECC | Kitchen | 4.295% | 0 | 0 | 0 | FALSE | 3085.0908 | 0.86667 | 0% | 0%
| ECC | StorageSmlCond | 2.738% | 0 | 0 | 0 | FALSE | 2414.61 | 0.76 | 0% | 0%
| ECC | Gymnasium | 2.541% | 2414.61 | 0.76 | 0 | TRUE | 2414.61 | 0.76 | 0% | 0%
| ECC | CompRoomClassrm | 1.91% | 0 | 0 | 0 | FALSE | 2178.8917 | 0.75 | 0% | 0%
| ECC | Dining | 1.22% | 2678.5293 | 0.86667 | 0 | TRUE | 2678.5293 | 0.86667 | 0% | 0%
| ECC | Whole Building | 9.3% | 2478.1164 | 0.78567 | 0 | FALSE | 2503.9789 | 0.80191 | -1.033% | -2.026%
| EUn | Classroom | 40.3% | 0 | 0 | 0 | FALSE | 2417.5158 | 0.7 | 0% | 0%
| EUn | OfficeGeneral | 20% | 0 | 0 | 0 | FALSE | 2859.227 | 0.96481 | 0% | 0%
| EUn | DormitoryRoom | 17% | 0 | 0 | 0 | FALSE | 1155.325 | 0.17813 | 0% | 0%
| EUn | Gymnasium | 5.5% | 2417.5158 | 0.7 | 0 | TRUE | 2417.5158 | 0.7 | 0% | 0%
| EUn | Conference | 4.5% | 0 | 0 | 0 | FALSE | 2859.227 | 0.96481 | 0% | 0%
| EUn | CompRoomClassrm | 3.8% | 0 | 0 | 0 | FALSE | 2153.6059 | 0.7 | 0% | 0%
| EUn | StorageSmlCond | 2.5% | 0 | 0 | 0 | FALSE | 2417.5158 | 0.7 | 0% | 0%
| EUn | Dining | 2.4% | 2645.9277 | 0.85 | 0 | TRUE | 2645.9277 | 0.85 | 0% | 0%
| EUn | CorridorStairway | 1.5% | 0 | 0 | 0 | FALSE | 2550.5611 | 0.96481 | 0% | 0%
| EUn | RestRoom | 1.5% | 0 | 0 | 0 | FALSE | 2550.5611 | 0.96481 | 0% | 0%
| EUn | Kitchen | 1% | 0 | 0 | 0 | FALSE | 2715.8284 | 0.85 | 0% | 0%
| EUn | Whole Building | 6.448% | 2645.9277 | 0.85 | 0 | FALSE | 2310.1023 | 0.68753 | 14.54% | 23.63%
| Gro | GrocSales | 62.26% | 5452.7735 | 0.89683 | 4 | FALSE | 4964 | 0.7 | 9.846% | 28.12%
| Gro | StockRoom | 15.57% | 0 | 0 | 0 | FALSE | 4964 | 0.7 | 0% | 0%
| Gro | RefWalkInCool | 8.254% | 0 | 0 | 0 | FALSE | 4380 | 0.5 | 0% | 0%
| Gro | Kitchen | 5.091% | 0 | 0 | 0 | FALSE | 4380 | 0.5 | 0% | 0%
| Gro | OfficeGeneral | 3.877% | 0 | 0 | 0 | FALSE | 4526 | 0.7 | 0% | 0%
| Gro | RestRoom | 2.677% | 0 | 0 | 0 | FALSE | 4526 | 0.7 | 0% | 0%
| Gro | MechElecRoom | 1.582% | 0 | 0 | 0 | FALSE | 4964 | 0.7 | 0% | 0%
| Gro | CorridorStairway | 0.6932% | 0 | 0 | 0 | FALSE | 4964 | 0.7 | 0% | 0%
| Gro | Whole Building | 20% | 5452.7735 | 0.89683 | 0 | FALSE | 4864.5812 | 0.68022 | 12.09% | 31.84%
| Hsp | HspSurgOutptLab | 17.3% | 0 | 0 | 0 | FALSE | 4269 | 0.75 | 0% | 0%
| Hsp | PatientRoom | 16% | 0 | 0 | 0 | FALSE | 5192.8269 | 0.75 | 0% | 0%
| Hsp | StockRoom | 15% | 0 | 0 | 0 | FALSE | 4902 | 0.9 | 0% | 0%
| Hsp | HspNursing | 14% | 0 | 0 | 0 | FALSE | 7884 | 0.9 | 0% | 0%
| Hsp | OfficeGeneral | 9.3% | 0 | 0 | 0 | FALSE | 4728 | 0.9 | 0% | 0%
| Hsp | FacMaint | 8% | 0 | 0 | 0 | FALSE | 4902 | 0.9 | 0% | 0%
| Hsp | Hall | 6% | 5192.8269 | 0.75 | 0 | TRUE | 5192.8269 | 0.75 | 0% | 0%
| Hsp | LobbyWaiting | 2% | 7884 | 0.9 | 0 | TRUE | 7884 | 0.9 | 0% | 0%
| Hsp | RestRoom | 2% | 0 | 0 | 0 | FALSE | 4902 | 0.9 | 0% | 0%
| Hsp | RetailSales | 2% | 0 | 0 | 0 | FALSE | 4728 | 0.9 | 0% | 0%
| Hsp | Dining | 1.7% | 5868 | 0.7 | 0 | TRUE | 5868 | 0.7 | 0% | 0%
| Hsp | Kitchen | 0.9% | 0 | 0 | 0 | FALSE | 5868 | 0.7 | 0% | 0%
| Hsp | Whole Building | 2.5% | 5866.0373 | 0.77216 | 0 | FALSE | 5361.6371 | 0.83286 | 9.408% | -7.287%
| Nrs | OfficeGeneral | 20.26% | 0 | 0 | 0 | FALSE | 3942 | 0.7 | 0% | 0%
| Nrs | PatientRoom | 17.7% | 0 | 0 | 0 | FALSE | 4366.6167 | 0.62667 | 0% | 0%
| Nrs | CorridorStairway | 15.42% | 0 | 0 | 0 | FALSE | 7884 | 0.9 | 0% | 0%
| Nrs | LobbyWaiting | 10.75% | 0 | 0 | 0 | FALSE | 7884 | 0.9 | 0% | 0%
| Nrs | Dining | 10.48% | 3814.25 | 0.675 | 0 | TRUE | 3814.25 | 0.675 | 0% | 0%
| Nrs | Kitchen | 7.423% | 0 | 0 | 0 | FALSE | 3814.25 | 0.675 | 0% | 0%
| Nrs | RestRoom | 7.176% | 0 | 0 | 0 | FALSE | 7884 | 0.9 | 0% | 0%
| Nrs | StorageSmlCond | 6.448% | 0 | 0 | 0 | FALSE | 3942 | 0.7 | 0% | 0%
| Nrs | Laundry | 2.593% | 0 | 0 | 0 | FALSE | 3942 | 0.7 | 0% | 0%
| Nrs | MechElecRoom | 1.757% | 0 | 0 | 0 | FALSE | 3723 | 0.7 | 0% | 0%
| Nrs | Whole Building |  | 3814.25 | 0.675 |  |  | 4326.1613 | 0.67473 | -11.83% | 0.04004%
| Htl | Dining | 0.9% | 3508.2737 | 0.82544 | 0 | TRUE | 3508.2737 | 0.82544 | 0% | 0%
| Htl | GuestRmCorrid | 10.1% | 5033.1496 | 0.56743 | 0 | FALSE | 7884 | 0.9 | -36.16% | -36.95%
| Htl | GuestRmOcc | 60.2% | 0 | 0 | 0 | FALSE | 1064.8374 | 0.1089 | 0% | 0%
| Htl | HotelLobby | 4.1% | 7884 | 0.9 | 0 | TRUE | 7884 | 0.9 | 0% | 0%
| Htl | Kitchen | 0.5% | 0 | 0 | 0 | FALSE | 4530.8663 | 0.88 | 0% | 0%
| Htl | Laundry | 2.1% | 4153.7 | 0.78667 | 0 | TRUE | 4153.7 | 0.78667 | 0% | 0%
| Htl | BarCasino | 0.5% | 0 | 0 | 0 | FALSE | 3508.2737 | 0.82544 | 0% | 0%
| Htl | OfficeGeneral | 1% | 2342.5862 | 0.58258 | 0 | FALSE | 3331.01 | 0.71 | -29.67% | -17.95%
| Htl | RestRoom | 0.5% | 0 | 0 | 0 | FALSE | 3331.01 | 0.71 | 0% | 0%
| Htl | StockRoom | 0% | 0 | 0 | 0 | FALSE | 3331.01 | 0.71 | 0% | 0%
| Htl | GuestRmUnOcc | 20.1% | 0 | 0 | 0 | FALSE | 0 | 0 | 0% | 0%
| Htl | Whole Building | 5.889% | 5350.6601 | 0.68124 | 0 | FALSE | 1457.0947 | 0.17037 | 267.2% | 299.9%
| Mtl | GuestRmUnOcc | 20% | 0 | 0 | 0 | FALSE | 0 | 0 | 0% | 0%
| Mtl | GuestRmOcc | 63.9% | 0 | 0 | 0 | FALSE | 1131.5862 | 0.11894 | 0% | 0%
| Mtl | GuestRmCorrid | 10% | 4126.5437 | 0.32772 | 0 | FALSE | 7884 | 0.9 | -47.66% | -63.59%
| Mtl | OfficeGeneral | 2% | 3701.9095 | 0.40212 | 0 | FALSE | 6132 | 0.7 | -39.63% | -42.55%
| Mtl | Laundry | 1.6% | 5256 | 0.6 | 0 | TRUE | 5256 | 0.6 | 0% | 0%
| Mtl | Restroom | 0.5% | 0 | 0 | 0 | FALSE | 6132 | 0.7 | 0% | 0%
| Mtl | StorageSmlCond | 0.5% | 0 | 0 | 0 | FALSE | 6132 | 0.7 | 0% | 0%
| Mtl | MechElecRoom | 0.5% | 0 | 0 | 0 | FALSE | 6132 | 0.7 | 0% | 0%
| Mtl | Break | 1% | 0 | 0 | 0 | FALSE | 7884 | 0.9 | 0% | 0%
| Mtl | Whole Building | 50.5% | 4196.9747 | 0.3707 | 0 | FALSE | 1371.8908 | 0.14949 | 205.9% | 148%
| MLI | Work | 62.5% | 2888.6431 | 0.59621 | 108 | FALSE | 3240.3158 | 0.92544 | -10.85% | -35.58%
| MLI | OfficeGeneral | 10% | 1701.631 | 0.44534 | 10 | FALSE | 3240.3158 | 0.92544 | -47.49% | -51.88%
| MLI | RetailSales | 5% | 0 | 0 | 0 | FALSE | 3240.3158 | 0.92544 | 0% | 0%
| MLI | CorridorStairway | 5% | 7012.2623 | 0.94307 | 2 | FALSE | 3395.3289 | 0.9 | 106.5% | 4.786%
| MLI | RestRoom | 5% | 0 | 0 | 2 | FALSE | 3395.3289 | 0.9 | 0% | 0%
| MLI | StockRoom | 5% | 1860.9161 | 0.36923 | 66 | FALSE | 3395.3289 | 0.9 | -45.19% | -58.97%
| MLI | LobbyWaiting | 2.5% | 2531.9686 | 0.64313 | 0 | FALSE | 3240.3158 | 0.92544 | -21.86% | -30.51%
| MLI | Break | 2.5% | 0 | 0 | 2 | FALSE | 3395.3289 | 0.9 | 0% | 0%
| MLI | MechElecRoom | 2.5% | 0 | 0 | 0 | FALSE | 3395.3289 | 0.9 | 0% | 0%
| MLI | Whole Building |  | 2920.6155 | 0.58689 |  |  | 3271.3202 | 0.92035 | -10.72% | -36.23%
| MBT | OfficeOpen | 28.42% | 0 | 0 | 0 | FALSE | 3116.8421 | 0.85965 | 0% | 0%
| MBT | Laboratory | 16.25% | 0 | 0 | 0 | FALSE | 3081.9474 | 0.85877 | 0% | 0%
| MBT | StorageSmlCond | 12.54% | 0 | 0 | 0 | FALSE | 3116.8421 | 0.85965 | 0% | 0%
| MBT | OfficeSmall | 10.19% | 0 | 0 | 0 | FALSE | 3116.8421 | 0.85965 | 0% | 0%
| MBT | Conference | 6.091% | 0 | 0 | 0 | FALSE | 3595.5 | 0.775 | 0% | 0%
| MBT | CorridorStairway | 5.774% | 0 | 0 | 0 | FALSE | 7536 | 0.8 | 0% | 0%
| MBT | Work | 5.377% | 2803.4098 | 0.57224 | 5 | FALSE | 3081.9474 | 0.85877 | -9.038% | -33.37%
| MBT | LobbyWaiting | 4.54% | 0 | 0 | 0 | FALSE | 3116.8421 | 0.85965 | 0% | 0%
| MBT | Break | 4.433% | 0 | 0 | 0 | FALSE | 3081.9474 | 0.85877 | 0% | 0%
| MBT | RestRoom | 3.434% | 0 | 0 | 0 | FALSE | 3116.8421 | 0.85965 | 0% | 0%
| MBT | CompRoomData | 1.545% | 0 | 0 | 0 | FALSE | 3081.9474 | 0.85877 | 0% | 0%
| MBT | MechElecRoom | 1.403% | 0 | 0 | 0 | FALSE | 3116.8421 | 0.85965 | 0% | 0%
| MBT | Whole Building |  | 2803.4098 | 0.57224 |  |  | 4001.6367 | 0.84544 | -29.94% | -32.32%
| OfL | OfficeOpen | 46.02% | 2788.4676 | 0.71 | 0 | TRUE | 2788.4676 | 0.71 | 0% | 0%
| OfL | OfficeSmall | 20.41% | 0 | 0 | 0 | FALSE | 2788.4676 | 0.71 | 0% | 0%
| OfL | CorridorStairway | 13.36% | 0 | 0 | 0 | FALSE | 2788.4676 | 0.71 | 0% | 0%
| OfL | StorageSmlCond | 4.737% | 0 | 0 | 0 | FALSE | 2788.4676 | 0.71 | 0% | 0%
| OfL | LobbyWaiting | 3.907% | 3743.6961 | 0.80657 | 0 | FALSE | 2788.4676 | 0.71 | 34.26% | 13.6%
| OfL | Conference | 3.196% | 0 | 0 | 0 | FALSE | 2788.4676 | 0.71 | 0% | 0%
| OfL | Restroom | 3.004% | 0 | 0 | 0 | FALSE | 2788.4676 | 0.71 | 0% | 0%
| OfL | Break | 2.457% | 0 | 0 | 0 | FALSE | 2788.4676 | 0.71 | 0% | 0%
| OfL | MechElecRoom | 1.902% | 0 | 0 | 0 | FALSE | 2788.4676 | 0.71 | 0% | 0%
| OfL | CopyRoom | 1.002% | 0 | 0 | 0 | FALSE | 2788.4676 | 0.71 | 0% | 0%
| OfL | Whole Building | 1.454% | 2863.2102 | 0.71756 | 0 | FALSE | 2788.4676 | 0.71 | 2.68% | 1.064%
| Ofs | OfficeOpen | 35.66% | 2084.2233 | 0.70038 | 0 | FALSE | 2776.3833 | 0.69333 | -24.93% | 1.016%
| Ofs | OfficeSmall | 24.67% | 0 | 0 | 0 | FALSE | 2776.3833 | 0.69333 | 0% | 0%
| Ofs | StorageSmlCond | 9.797% | 0 | 0 | 3 | FALSE | 2776.3833 | 0.69333 | 0% | 0%
| Ofs | Hall | 6.402% | 0 | 0 | 1 | FALSE | 2776.3833 | 0.69333 | 0% | 0%
| Ofs | LobbyWaiting | 5.889% | 2208.6947 | 0.71433 | 0 | FALSE | 2776.3833 | 0.69333 | -20.45% | 3.029%
| Ofs | Conference | 5.692% | 0 | 0 | 0 | FALSE | 2776.3833 | 0.69333 | 0% | 0%
| Ofs | Restroom | 4.271% | 0 | 0 | 0 | FALSE | 2776.3833 | 0.69333 | 0% | 0%
| Ofs | Break | 3.682% | 0 | 0 | 0 | FALSE | 2776.3833 | 0.69333 | 0% | 0%
| Ofs | MechElecRoom | 1.636% | 0 | 0 | 1 | FALSE | 2776.3833 | 0.69333 | 0% | 0%
| Ofs | CompRoomData | 1.296% | 0 | 0 | 0 | FALSE | 2776.3833 | 0.69333 | 0% | 0%
| Ofs | CopyRoom | 1.007% | 0 | 0 | 0 | FALSE | 2776.3833 | 0.69333 | 0% | 0%
| Ofs | Whole Building |  | 2101.8644 | 0.70236 |  |  | 2776.3833 | 0.69333 | -24.29% | 1.302%
| RFF | Dining | 41.48% | 3398.3763 | 0.62733 | 0 | FALSE | 4849.398 | 0.8125 | -29.92% | -22.79%
| RFF | Kitchen | 32.74% | 0 | 0 | 0 | FALSE | 4811.5164 | 0.8125 | 0% | 0%
| RFF | StockRoom | 8.313% | 0 | 0 | 0 | FALSE | 4811.5164 | 0.8125 | 0% | 0%
| RFF | LobbyWaiting | 6.795% | 3398.3763 | 0.62733 | 0 | FALSE | 4849.398 | 0.8125 | -29.92% | -22.79%
| RFF | Restroom | 5.67% | 0 | 0 | 0 | FALSE | 4849.398 | 0.8125 | 0% | 0%
| RFF | OfficeGeneral | 3.544% | 0 | 0 | 0 | FALSE | 4849.398 | 0.8125 | 0% | 0%
| RFF | CorridorStairway | 1.457% | 0 | 0 | 0 | FALSE | 4849.398 | 0.8125 | 0% | 0%
| RFF | Whole Building |  | 3398.3763 | 0.62733 |  |  | 4829.5825 | 0.8125 | -29.63% | -22.79%
| RSD | Dining | 50.5% | 3822.5247 | 0.62763 | 0 | FALSE | 4834.2816 | 0.8 | -20.93% | -21.55%
| RSD | Kitchen | 27.6% | 0 | 0 | 1 | FALSE | 4802.2145 | 0.8 | 0% | 0%
| RSD | Restroom | 6.162% | 0 | 0 | 0 | FALSE | 4834.2816 | 0.8 | 0% | 0%
| RSD | StockRoom | 6.146% | 0 | 0 | 12 | FALSE | 4802.2145 | 0.8 | 0% | 0%
| RSD | OfficeGeneral | 4.722% | 0 | 0 | 0 | FALSE | 4834.2816 | 0.8 | 0% | 0%
| RSD | LobbyWaiting | 2.543% | 3822.5247 | 0.62763 | 0 | FALSE | 4834.2816 | 0.8 | -20.93% | -21.55%
| RSD | CorridorStairway | 2.324% | 0 | 0 | 0 | FALSE | 4834.2816 | 0.8 | 0% | 0%
| RSD | Whole Building |  | 3822.5247 | 0.62763 |  |  | 4817.2393 | 0.8 | -20.65% | -21.55%
| Rt3 | RetailSales | 62.61% | 5564.7015 | 1 | 1 | FALSE | 3605.0694 | 0.8 | 54.36% | 25%
| Rt3 | StockRoom | 17.12% | 6160.4804 | 0.89352 | 0 | FALSE | 2744.5139 | 0.6 | 124.5% | 48.92%
| Rt3 | OfficeGeneral | 8.279% | 0 | 0 | 0 | FALSE | 2636.9444 | 0.575 | 0% | 0%
| Rt3 | Restroom | 3.287% | 0 | 0 | 0 | FALSE | 2636.9444 | 0.575 | 0% | 0%
| Rt3 | Work | 3.881% | 3605.0694 | 0.8 | 0 | TRUE | 3605.0694 | 0.8 | 0% | 0%
| Rt3 | Break | 2.607% | 0 | 0 | 0 | FALSE | 3605.0694 | 0.8 | 0% | 0%
| Rt3 | CorridorStairway | 1.596% | 0 | 0 | 0 | FALSE | 3605.0694 | 0.8 | 0% | 0%
| Rt3 | MechElecRoom | 0.6225% | 0 | 0 | 0 | FALSE | 2744.5139 | 0.6 | 0% | 0%
| Rt3 | Whole Building |  | 5595.7237 | 0.96892 |  |  | 3408.5829 | 0.75433 | 64.17% | 28.45%
| RtL | RetailSales | 57.93% | 4192.8791 | 0.96711 | 14 | FALSE | 4461.25 | 0.875 | -6.016% | 10.53%
| RtL | StockRoom | 14.76% | 3410.521 | 0.7307 | 13 | FALSE | 2737.5 | 0.5 | 24.59% | 46.14%
| RtL | Work | 13.58% | 4192.8791 | 0.96711 | 5 | FALSE | 3432.8684 | 0.65 | 22.14% | 48.79%
| RtL | OfficeGeneral | 8.369% | 0 | 0 | 0 | FALSE | 2890.3055 | 0.85 | 0% | 0%
| RtL | Restroom | 3.021% | 0 | 0 | 0 | FALSE | 2737.5 | 0.5 | 0% | 0%
| RtL | Break | 1.991% | 0 | 0 | 0 | FALSE | 3374.2687 | 0.725 | 0% | 0%
| RtL | MechElecRoom | 0.3584% | 0 | 0 | 0 | FALSE | 2737.5 | 0.5 | 0% | 0%
| RtL | Whole Building |  | 4059.0482 | 0.92667 |  |  | 4167.7018 | 0.8291 | -2.607% | 11.77%
| RtS | RetailSales | 48.83% | 2711.3155 | 0.74471 | 26 | FALSE | 3466.7779 | 0.875 | -21.79% | -14.89%
| RtS | StockRoom | 32.56% | 1653.8118 | 0.49292 | 21 | FALSE | 3466.7779 | 0.875 | -52.3% | -43.67%
| RtS | OfficeGeneral | 10.66% | 0 | 0 | 2 | FALSE | 3466.7779 | 0.875 | 0% | 0%
| RtS | RestRoom | 3.583% | 0 | 0 | 0 | FALSE | 3466.7779 | 0.875 | 0% | 0%
| RtS | Break | 2.185% | 0 | 0 | 1 | FALSE | 3466.7779 | 0.875 | 0% | 0%
| RtS | Hall | 1.998% | 0 | 0 | 1 | FALSE | 3466.7779 | 0.875 | 0% | 0%
| RtS | MechElecRoom | 0.1908% | 0 | 0 | 0 | FALSE | 3466.7779 | 0.875 | 0% | 0%
| RtS | Whole Building |  | 2288.281 | 0.64399 |  |  | 3466.7779 | 0.875 | -33.99% | -26.4%
| SCn | WarehouseCond | 88.82% | 2305.3868 | 0.51363 | 30 | FALSE | 3450.3 | 0.7 | -33.18% | -26.62%
| SCn | OfficeGeneral | 6.947% | 0 | 0 | 0 | FALSE | 3450.3 | 0.7 | 0% | 0%
| SCn | Hall | 1.765% | 0 | 0 | 1 | FALSE | 3450.3 | 0.7 | 0% | 0%
| SCn | RestRoom | 1.323% | 0 | 0 | 0 | FALSE | 3450.3 | 0.7 | 0% | 0%
| SCn | Break | 1.142% | 0 | 0 | 0 | FALSE | 3450.3 | 0.7 | 0% | 0%
| SCn | Whole Building |  | 2305.3868 | 0.51363 |  |  | 3450.3 | 0.7 | -33.18% | -26.62%
| SUn | WarehouseUnCond | 92.22% | 2175.2968 | 0.45309 | 47 | FALSE | 3450.3 | 0.7 | -36.95% | -35.27%
| SUn | OfficeGeneral | 6.72% | 0 | 0 | 0 | FALSE | 3450.3 | 0.7 | 0% | 0%
| SUn | RestRoom | 1.063% | 0 | 0 | 0 | FALSE | 3450.3 | 0.7 | 0% | 0%
| SUn | Whole Building |  | 2175.2968 | 0.45309 |  |  | 3450.3 | 0.7 | -36.95% | -35.27%
| WRf | RefStorFreezer | 61.94% | 0 | 0 | 0 | FALSE | 4818 | 0.55 | 0% | 0%
| WRf | IndLoadDock | 16.04% | 4818 | 0.55 | 0 | TRUE | 4818 | 0.55 | 0% | 0%
| WRf | RefStorCooler | 13.65% | 0 | 0 | 0 | FALSE | 4818 | 0.55 | 0% | 0%
| WRf | OfficeGeneral | 5.089% | 0 | 0 | 0 | FALSE | 3522.25 | 0.7 | 0% | 0%
| WRf | Restroom | 1.833% | 0 | 0 | 0 | FALSE | 3522.25 | 0.7 | 0% | 0%
| WRf | MechElecRoom | 1.454% | 0 | 0 | 0 | FALSE | 3522.25 | 0.7 | 0% | 0%
| WRf | Whole Building |  | 4818 | 0.55 |  |  | 4791.0052 | 0.55312 | 0.5634% | -0.565%

## NTG values
DEER T5 High Bay Changes Related Net-to-Gross Values
DEER2016 General Update and DEER2015 Policy and Uncertain Measure Update |  |  |  | Yellow background indicates update to field within existing record
Green background indicates new record
2015-05-18 |  |  |  | (see "Change Summary and Sources" tab for more information on source of changes and additions
Index | NTG | StartDate | ExpiryDate | NTG_Measure_Type | Version | VersionSource | LastMod | Sector | UseCategory | UseSubCategory | TechGroup | TechType | BldgType | BldgVint | NTGqual | PA | ProgDelivID | PrgID | SubPrgID | NTGR_kWh | NTGR_therm | Notes | Documentation | Status
5 | NonRes-sAll-mT5T8-dn | 1/1/2013 | 5/31/2015 | T5 and T8 lamps | DEER2014 | D13 v1.0 | 5/18/2015 | Com | Lighting | InGen | Ltg_Fixture | LinFluor_fixt | Any | Any | None | Any | PreRebDown | Any | Any | 0.70 | 0.70 | Updated 6/1/2015 for uncertain measures | 2011 DEER Update Report - Section 7, Table 7-3 | Standard
6 | NonRes-sAll-mT5T8-ci | 1/1/2013 | 5/31/2015 | T5 and T8 lamps | DEER2014 | D13 v1.0 | 5/18/2015 | Com | Lighting | InGen | Ltg_Fixture | LinFluor_fixt | Any | Any | None | Any | CustIncentDown | Any | Any | 0.70 | 0.70 | Updated 6/1/2015 for uncertain measures | 2011 DEER Update Report - Section 7, Table 7-3 | Standard
7 | NonRes-sAll-mT5T8 | 6/1/2015 | 12/31/2015 | Nonresidential Linear Fluorescent: T5 lamps; deemed; all delivery mechanisms; excluding High-Bay applications | DEER2015 | D15 v2 | 5/18/2015 | NonRes | Lighting | Any |  |  | Any | Any | None | Any | Any | Any | Any | 0.70 | 0.70 | Updated 6/1/2015 for uncertain measures |  | Review
9 | NonRes-sAll-mLFHBT5-Deemed | 6/1/2015 |  | Nonresidential Linear Fluorescent: T5 lamps; high bay applications; deemed; all delivery mechanisms | DEER2016 | D16v1 | 5/18/2015 | NonRes | Lighting | Any |  |  | Any | Any | None | Any | Deemed | Any | Any | 0.65 | 0.65 | Updated 6/1/2015 for uncertain measures; See worksheet "WO29_NTG_Results" row: "Statewide Total Deemed" | 2013 ESPI Report: 2013 Deemed ESPI Lighting Evaluation Table 3-18 | Review
10 | NonRes-sAll-mLFHB-Deemed | 1/1/2016 |  | Nonresidential Linear Fluorescent: high bay applications; deemed; all delivery mechanisms | DEER2016 | D16v1 | 5/18/2015 | NonRes | Lighting | Any |  |  | Any | Any | None | Any | Deemed | Any | Any | 0.65 | 0.65 | See worksheet "WO29_NTG_Results" row: "Statewide Total Deemed" | 2013 ESPI Report: 2013 Deemed ESPI Lighting Evaluation Table 3-18 | Review
12 | NonRes-sAll-mLFOth-Deemed | 1/1/2016 |  | Nonresidential Linear Fluorescent: measures not listed elsewhere; all delivery mechanisms | DEER2016 | D16v1 | 5/18/2015 | NonRes | Lighting | Any |  |  | Any | Any | None | Any | Deemed | Any | Any | 0.6 | 0.6 | See worksheet "WO29_NTG_Results" row: "Statewide Total Deemed" |  | Review
77 | NonRes-sAll-mLtg-ci | 1/1/2016 |  | Nonresidential Lighting: all technologies except screw-in lamps; custom; all delivery mechanisms | DEER2016 | D16v1 | 5/18/2015 | NonRes | Lighting |  |  |  | Any | Any | None | Any | CustIncent | Any | Any | 0.55 | 0.55 |  |  | Review
78 | NonRes-sAll-NC | 1/1/2016 |  | Nonresidential New Construction: all measures; custom; all delivery mechanisms | DEER2016 | D16v1 | 5/18/2015 | NonRes |  |  |  |  | Any | Any | None | Any | CustIncent | Any | Any | 0.5 | 0.5 | Larger samples in 2010-2012 EM&V support rounding ESPI values down | 2013 ESPI MEMO NRNC Whole Building Table 1 | Review
79 | Agric-Sprklr-All | 1/1/2016 |  | Agricultural water conserving sprinkler technologies | DEER2016 | D16v1 | 5/18/2015 | Ag |  |  |  |  | Any | Any | None | Any | DeemedNonUpstream | Any | Any | 0.4 | 0.4 | Round up | 2013 ESPI Report: 2013 Sprinkler and Pipe Insulation NTGR Evaluation Report Table 1-5 | Review
80 | K-12School-ComCollege | 1/1/2015 |  | All K-12 and community college projects | DEER2015 | D15 v2 | 5/18/2015 | Com |  |  |  |  | ESe | Any | None | Any | Any | Any | Any | 0.85 | 0.85 | includes relocatable classrooms if part of K-12 school or Community College | CPUC (Decision) D.14-10-046 | Standard
81 | K-12School-ComCollege | 1/1/2015 |  | All K-12 and community college projects | DEER2015 | D15 v2 | 5/18/2015 | Com |  |  |  |  | EPr | Any | None | Any | Any | Any | Any | 0.85 | 0.85 | includes relocatable classrooms if part of K-12 school or Community College | CPUC (Decision) D.14-10-046 | Standard
82 | K-12School-ComCollege | 1/1/2015 |  | All K-12 and community college projects | DEER2015 | D15 v2 | 5/18/2015 | Com |  |  |  |  | ECC | Any | None | Any | Any | Any | Any | 0.85 | 0.85 | includes relocatable classrooms if part of K-12 school or Community College | CPUC (Decision) D.14-10-046 | Standard
83 | K-12School-ComCollege | 1/1/2015 |  | All K-12 and community college projects | DEER2015 | D15 v2 | 5/18/2015 | Com |  |  |  |  | ERC | Any | None | Any | Any | Any | Any | 0.85 | 0.85 | includes relocatable classrooms if part of K-12 school or Community College | CPUC (Decision) D.14-10-046 | Standard
84 | ConstrainedAreaProgram | 1/1/2015 |  | All programs targeting local T&D or generation constrained area | DEER2015 | D15 v2 | 5/18/2015 | Any |  |  |  |  | Any | Any | None | Any | Any | Any | Any | 0.85 | 0.85 |  | CPUC (Decision) D.14-10-046 | Standard
Note on D6: new field added for DEER2016
Note on E6: new field added for DEER2016

## NTG source
DEER2016 T5 High Bay Changes Related Net-to-Gross Recommended Updates May 15, 2015
Original Table Source:
exante1314 database tables: Support
The DEER2015 source data for this file was created on 5/14/2015 5:51:41 PM while connected to deeresources.net as sptviewer.
Program/Database Description: READI v.2.1.0 (DEER and Non-DEER Ex Ante data for the 2013-14 Cycle (and beyond) - Includes data for review)
|  |  | Changes and addition are indicated by "Update" and "Expire" columns in addition to items in colored fonts. |  |  |  |  | DEER Team Documentation References and Notes
[8 empty] | NTG Results from 2010-2012 Evaluation Results |  |  |  | NTG Results from 2013 ESPI Memos
Update? | Expire | Start | Index | NTG | NTG_Measure_Type | NTGR_kWh | NTGR_therm | KWH | KW | THERM | Reference | KWH | KW | THERM | Reference | DEER Team Notes | BldgType | BldgVint | NTG_Qualifier | Measure_Delivery | PrgID | SubPrgID | Version | VersionSource | Sector | UseCategory | UseSubCategory | TechGroup | TechType | Documentation
TRUE | 2015-12-31 |  | 4 | NonRes-sAll-mT5T8-dn | T5 and T8 lamps | 0.7 | [9 empty] | Replaced with new values | Any | Any | None | PreRebDown | Any | Any | DEER2013 | D13 v1.0 | Com | Lighting | InGen | Ltg_Fixture | LinFluor_fixt | 2011 DEER Update Report - Section 7, Table 7-3
TRUE | 2015-12-31 |  | 5 | NonRes-sAll-mT5T8-ci | T5 and T8 lamps | 0.7 | [9 empty] | Replaced with new values | Any | Any | None | CustIncentDown | Any | Any | DEER2013 | D13 v1.0 | Com | Lighting | InGen | Ltg_Fixture | LinFluor_fixt | 2011 DEER Update Report - Section 7, Table 7-3
TRUE | 2015-12-31 |  | 6 | NonRes-sAll-mT8-dir | T8 lamps | 0.89 | [9 empty] | Replaced with new values | Any | Any | HTR | DirInstall | Any | Any | DEER2013 | D13 v1.0 | Com | Lighting | InGen | Ltg_Fixture | LinFluor_fixt | 2011 DEER Update Report - Section 7, Table 7-3
TRUE |  | 2015-06-01 | NEW | NonRes-sAll-mLFHBT5-Deemed | Nonresidential Linear Fluorescent: T5 lamps; high bay applications; deemed; all delivery mechanisms | 0.65 | 0.65 | 0.63 |  |  | See worksheet "WO29_NTG_Results" row: "Statewide Total Deemed" | 0.65 | 0.65 |  | 2013 ESPI Report: 2013 Deemed ESPI Lighting Evaluation Table 3-18 | Updated 6/1/2015 for uncertain measures | Any | Any | None | Deemed | Any | Any | DEER2016 | D16 v1.0 | NonRes | Lighting | Any
TRUE |  | 2016-01-01 | NEW | NonRes-sAll-mLFHB-Deemed | Nonresidential Linear Fluorescent: high bay applications; deemed; all delivery mechanisms | 0.65 | 0.65 | 0.63 |  |  | See worksheet "WO29_NTG_Results" row: "Statewide Total Deemed" | 0.65 | 0.65 |  | 2013 ESPI Report: 2013 Deemed ESPI Lighting Evaluation Table 3-18 |  | Any | Any | None | Deemed | Any | Any | DEER2016 | D16 v1.0 | NonRes | Lighting | Any
TRUE |  | 2016-01-01 | NEW | NonRes-sAll-mLtg-ci | Nonresidential Lighting: all technologies except screw-in lamps; custom; all delivery mechanisms | 0.55 | 0.55 | 0.53 |  |  | See worksheet "WO29_NTG_Results" row: "Statewide Total All Calculated" | 0.53 | 0.54 |  | 2013 ESPI Report: 2013 Nonresidential Downstream Custom Lighting Impact Evaluation Report Table 5-5 |  | Any | Any | None | CustIncent | Any | Any | DEER2016 | D16 v1.0 | NonRes | Lighting | Any
TRUE |  | 2016-01-01 | NEW | NonRes-sAll-NC | Nonresidential New Construction: all measures; custom; all delivery mechanisms | 0.5 | 0.5 |  |  |  |  | 0.53 | 0.5 | 0.51 | 2013 ESPI MEMO NRNC Whole Building Table 1 | Larger samples in 2010-2012 EM&V support rounding ESPI values down | Any | Any | None | CustIncent | Any | Any | DEER2016 | D16 v1.0 | NonRes
TRUE |  | 2015-01-01 | NEW | K-12School-ComCollege | All K-12 and community college projects | 0.85 | 0.85 | [8 empty] | includes relocatable classrooms if part of K-12 school or Community College | ESe | Any | None | Any | Any | Any | DEER2015 | D15 v2 | Com |  |  |  |  | CPUC (Decision) D.14-10-046
TRUE |  | 2015-01-01 | NEW | K-12School-ComCollege | All K-12 and community college projects | 0.85 | 0.85 | [8 empty] | includes relocatable classrooms if part of K-12 school or Community College | EPr | Any | None | Any | Any | Any | DEER2015 | D15 v2 | Com |  |  |  |  | CPUC (Decision) D.14-10-046
TRUE |  | 2015-01-01 | NEW | K-12School-ComCollege | All K-12 and community college projects | 0.85 | 0.85 | [8 empty] | includes relocatable classrooms if part of K-12 school or Community College | ECC | Any | None | Any | Any | Any | DEER2015 | D15 v2 | Com |  |  |  |  | CPUC (Decision) D.14-10-046
TRUE |  | 2015-01-01 | NEW | K-12School-ComCollege | All K-12 and community college projects | 0.85 | 0.85 | [8 empty] | includes relocatable classrooms if part of K-12 school or Community College | ERC | Any | None | Any | Any | Any | DEER2015 | D15 v2 | Com |  |  |  |  | CPUC (Decision) D.14-10-046
TRUE |  | 2015-01-01 | NEW | ConstrainedAreaProgram | All programs targeting local T&D or generation constrained area | 0.85 | 0.85 | [9 empty] | Any | Any | None | Any | Any | Any | DEER2015 | D15 v2 | [5 empty] | CPUC (Decision) D.14-10-046