## Res NTGR values-Final 030908
NTGR Values for Residential Measures
*Rows highlighted in yellow denotes measures with recommended changes to the NTGR in response to comments of CPUC direction
**"Notes Referenced in Detailed Comments" column denotes the discussion for change in the separate responses to comments document.
Measure and Program Information |  |  |  | Net-to-Gross Ratio Information
Measure Name(s) | Efficiency and Capacity Descriptor | Target Market(s) | Program Delivery Method/ Channel | NTG Values Used Typically by Utilities in Previous Filings | NTG Values Based on 2004-05 Studies | NTGR Values Adopted for 2009-11 Planning | Notes Referenced in Detailed Comments | Data Source(s)
Lighting
CFL-screw in | <=30 watt | All residential | Upstream prescriptive rebate - All channels | 80% | 74% | 60% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation | 2003-2004 Home Energy Savings Program Residential Impact Evaluation (Energy Trust of Oregon,:2006) | Comprehensive CFL Market Effects Study— Final Report, Wisconsin Focus on Energy Program, July 2007
CFL-screw in | <=30 watt | Hard to reach | Direct Install | 80% | 85% | 85% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
CFL-screw in | >30 Watt excluding reflector/dimmable | All residential | Downstream prescriptive rebate | 80% | 75% | 75% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
CFL-screw in | >30 Watt excluding reflector/dimmable | All residential | Upstream prescriptive rebate | 80% | 85% | 85% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
CFL-screw in - Specialty bulbs | Reflector/Dimmable | All residential | Downstream prescriptive rebate | 80% | 80% | 80% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
CFL-screw in - Specialty bulbs | Reflector/Dimmable | All residential | Upstream prescriptive rebate | 80% | 85% | 85% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Appliances
Refrigerator/Freezer | 450 kWh/yr;18 cubic feet (current standard) | All residential | Downstream prescriptive rebate | 80% | 57% | 57% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Refrigerator/Freezer | 15% beyond current standard | All residential | Downstream prescriptive rebate | 80% | 75% | 75% |  | Default judgment
Refrigerator | Efficiency characteristics of recycled unit | All residential | Turn-in/recycling | 35% | 61.4% | 61.4% | 31 | Evaluation Study of the 2004-2005 Statewide Residential Appliance Recycling Program | Final Report Measurement and Evaluation Study of 2002 Statewide Residential Appliance Recycling Program
Freezer | Efficiency characteristics of recycled unit | All residential | Turn-in/recycling | 53% | 70.2% | 70.2% | 31 | Evaluation Study of the 2004-2005 Statewide Residential Appliance Recycling Program | Final Report Measurement and Evaluation Study of 2002 Statewide Residential Appliance Recycling Program
Clothes washer >1.72 MEF | >1.72 MEF | All residential | Downstream prescriptive rebate | 80% | 81% | 81% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Clothes washer- 15% above standard | next eff increment | All residential | Downstream prescriptive rebate | 80% | 85% | 85% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Dishwasher > .58EF | >.58 EF -<65EF | All residential | Downstream prescriptive rebate | 80% | 41% | 41% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Dishwasher - 15% above current standard or E star | >.65EF | All residential | Downstream prescriptive rebate | 80% | 80% | 80% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Pool pump-2 Speed | Two speed | Single Family | Downstream prescriptive rebate | 80% | 69% | 69% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Water Heating Measures
Water Heater EF >.62 | EF>.62 | Single Family | Downstream prescriptive rebate | 80% | 58% | 58% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation | 2002-2003 South Bay EnergyRewards™ Program Evaluation
Low flow showerheads |  | Hard to reach | Direct Install | 80% | 85% | 85% |  | 2004-2005 City of Berkeley - CA Youth Energy Services Program Evaluation | EM&V of the H&L Energy Savers Performance 2004-2005 Non-Utility Implementation | EM&V Report for the Comprehensive Hard-to-Reach Mobile Home Energy Savings Programs
Pipe insulation |  | Hard to reach | Direct Install | 80% | 85% | 85% |  | 2004-2005 City of Berkeley - CA Youth Energy Services Program Evaluation | EM&V of the H&L Energy Savers Performance 2004-2005 Non-Utility Implementation | EM&V Report for the Comprehensive Hard-to-Reach Mobile Home Energy Savings Programs
HVAC and Building Shell Measures
Central AC>14 SEER | SEER 14-14.99 | Single Family | Downstream prescriptive rebate | 80% | 67% | 67% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Central AC>15 SEER | Seer 15-17.0 | Single Family | Downstream prescriptive rebate | 80% | 80% | 80% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Central AC >14 SEER | SEER 14-14.99 | Single Family | External financing | 80% | 63% | 63% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Heat Pump - Energy Star | COP>1,9 | Single Family | Downstream prescriptive rebate | 80% | 55% | 55% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Gas Furnace - 90% AFUE | AFUE>90% | Single Family | Downstream prescriptive rebate | 80% | 60% | 60% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation | 2002-2003 South Bay EnergyRewards™ Program Evaluation
Wall and Ceiling Insulation | R>30 ceiling, R>19 wall | Single Family | Downstream prescriptive rebate | 80% | 70% | 70% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation | 2002-2003 South Bay EnergyRewards™ Program Evaluation
Programmable thermostats | Setback/Setup and Programmable | Single Family | Downstream prescriptive rebate | 80% | 49% | 49% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Programmable thermostats | Setback/Setup and Programmable | Hard to reach | Direct Install | 80% | 85% | 85% |  | 2004-2005 City of Berkeley - CA Youth Energy Services Program Evaluation | EM&V of the H&L Energy Savers Performance 2004-2005 Non-Utility Implementation | EM&V Report for the Comprehensive Hard-to-Reach Mobile Home Energy Savings Programs
HVAC diagnostic |  | Single Family | Free Tuneup/Repair | 80% | 78% | 78% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation | 2002-2003 South Bay EnergyRewards™ Program Evaluation | 2003-2005 High-Efficiency HVAC Interest Rate Buy-Down Program Evaluation
Duct Sealing |  | Single Family | Free Tuneup/Repair | 80% | 78% | 78% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation | 2002-2003 South Bay EnergyRewards™ Program Evaluation | 2003-2005 High-Efficiency HVAC Interest Rate Buy-Down Program Evaluation
Windows-SHGC | Shading Coeff.<.4 | Single Family | Downstream prescriptive rebate | 80% | 55% | 55% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
Multifamily
CFLs & hardwired fixtures |  | Multi-family market-rate housing | Direct Install | 80% | 76% | 76% |  | Evaluation of the 2004-2005 Partnership for Energy Affordability in Multi-Family Housing Program
Boiler controls |  | Multi-family market-rate housing | Downstream Prescriptive Rebate | 80% | 81% | 81% |  | Evaluation of the 2004-2005 Partnership for Energy Affordability in Multi-Family Housing Program
Programmable thermostats |  | Multi-family market-rate housing | Direct Install | 80% | 79% | 79% |  | Evaluation of the 2004-2005 Partnership for Energy Affordability in Multi-Family Housing Program
CFLs & hardwired fixtures |  | Multifamily - affordable housing | Downstream Prescriptive Rebate and Direct Install | 80% | 80% | 80% |  | Evaluation of the 2004-2005 Partnership for Energy Affordability in Multi-Family Housing Program
Boiler controls |  | Multifamily - affordable housing | Downstream Prescriptive Rebate | 80% | 100% | 100% |  | Evaluation of the 2004-2005 Partnership for Energy Affordability in Multi-Family Housing Program
Programmable thermostats |  | Multifamily - affordable housing | Direct Install | 80% | 86% | 86% |  | Evaluation of the 2004-2005 Partnership for Energy Affordability in Multi-Family Housing Program
HVAC/Water heating equipment replacement |  | Multifamily - affordable housing | Downstream Prescriptive Rebate | 80% | 85% | 85% |  | Evaluation of the 2004-2005 Partnership for Energy Affordability in Multi-Family Housing Program
Residential New Construction
Whole building |  | Single Family New Construction | Custom rebate, based on performance vs. code | 80% | 48% | 48% |  | Evaluation, Measurement and Verification of the 2004 and 2005 CA Statewide Energy Star New Homes Program | Evaluation, Measurement and Verification of the 2003 Residential New Construction High Efficiency Appliance and Lighting Program
Whole building |  | Multifamily New Construction | Custom rebate, based on performance vs. code | 80% | 50% | 50% |  | Evaluation, Measurement and Verification of the 2004 and 2005 CA Statewide Energy Star New Homes Program | Evaluation, Measurement and Verification of the 2003 Residential New Construction High Efficiency Appliance and Lighting Program
Lighting |  | Single Family | Prescriptive rebate | 80% | 62% | 62% |  | Evaluation, Measurement and Verification of the 2004 and 2005 CA Statewide Energy Star New Homes Program | Evaluation, Measurement and Verification of the 2003 Residential New Construction High Efficiency Appliance and Lighting Program
Residential Audits
On site Audit, Phone, or Mail in Audit |  | Single Family | On-site Audit | 72% | 80% | 80% |  | Evaluation of the 2004-2005 Statewide Home Energy Efficiency Program
On line audit |  | Single Family | On-line Audit | 72% | 80% | 80% |  | N/A
Default Values
New Measures not Otherwise Addressed OR Existing Direct Installed measures for Hard to Reach markets |  | Single Family Or Multifamily Markets with Very Low Market Share (<5%) OR Hard-to-Reach Markets | New innovative delivery strategies designed to minimize free ridership OR Direct Installation | 80% | 85% | 85% | 1
New Measures not Otherwise Addressed |  | Single Family Or Multfamily Markets with Moderate Market Share (>=5%) | Delivery methods with no convincing strategies to discourage free ridership | 80% | 70% | 70% | 1

## Nonres NTGR values-Final 053008
NTG Values for Nonresidential Measures
*Rows highlighted in yellow denotes measures with recommended changes to the NTGR in response to comments of CPUC direction
**"Notes Referenced in Detailed Comments" column denotes the discussion for change in the separate responses to comments document.
Measure and Program Information |  |  |  | Net-to-Gross Ratio Information
Measure Name(s) | Efficiency and Capacity Rating | Target Market(s) | Program Delivery Method/ Channel | NTG Values Typically Used by Utilities in Previous Filings | NTG Values Based on 2004-05 Studies | NTGR Values Adopted for 2009-11 Planning | Notes Referenced in Detailed Comments | Data Source(s)
Lighting
CFL-screw in | <=30 watt | All nonresidential | Upstream prescriptive rebate - All channels | 96% | 74% | 60% |  | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation | 2003-2004 Home Energy Savings Program Residential Impact Evaluation (Energy Trust of Oregon,:2006) | Comprehensive CFL Market Effects Study— Final Report, Wisconsin Focus on Energy Program, July 2007
CFLs | 23 Watts | All Nonresidential | Downstream Prescriptive Rebate | 96% | 81% | 81% | 6 | 2004-2005 Statewide Nonresidential Audit Program Evaluation (Draft)
CFLs | 23 Watts | Small, hard-to-reach nonresidential customers | Direct install | 80% | 85% | 85% |  | Evaluation of the SDG&E 2004-05 Small Business Energy Efficiency Program, Final Report
CFL-screw in | >30 Watt excluding reflector/dimmable | All nonresidential | Downstream prescriptive rebate | 80% | 81% | 81% | 15, 6 | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
CFL-screw in | >30 Watt excluding reflector/dimmable | All nonresidential | Upstream prescriptive rebate | 80% | 85% | 85% | 15 | 2004-2005 Statewide Residential Retrofit Single-Family Energy Efficiency Rebate Evaluation
T8_T5s | 4-foot and 8-foot lamps | All Nonresidential | Downstream Prescriptive Rebate | 96% | 78% | 78% | 6 | 2004-2005 Statewide Nonresidential Audit Program Evaluation (Draft)
T8 | 4-foot and 8-foot lamps | Small, hard-to-reach nonresidential customers | Direct install | 80% | 85% | 85% |  | Evaluation of the SDG&E 2004-05 Small Business Energy Efficiency Program, Final Report
Occupancy Sensors | large area lighting control | All Nonresidential | Downstream Prescriptive Rebate | 96% | 84% | 84% |  | 2004-2005 Statewide Express Efficiency Program Evaluation (Draft)
Daylighting Controls |  | All Nonresidential New Construction | Building Design Incentive | 82% | 64% | 64% |  | Evaluation of the 2004-2005 Savings By Design Program
Other Lighting Controls |  | All Nonresidential New Construction | Building Design Incentive | 82% | 81% | 81% |  | Evaluation of the 2004-2005 Savings By Design Program
Lighting controls |  | Small, hard-to-reach nonresidential customers | Direct install | 80% | 85% | 85% |  | Evaluation of the SDG&E 2004-05 Small Business Energy Efficiency Program, Final Report
LED Exit Signs |  | Small, hard-to-reach nonresidential customers | Direct install | 80% | 85% | 85% |  | Evaluation of the SDG&E 2004-05 Small Business Energy Efficiency Program, Final Report
Other Lighting | Delamping, LED exit signs and other high efficiency lighting sources | All Nonresidential | Downstream Prescriptive Rebate | 96% | 77% | 77% | 6 | 2004-2005 Statewide Express Efficiency Program Evaluation (Draft)
Other Lighting |  | All Nonresidential New Construction | Building Design Incentive | 82% | 81% | 81% |  | Evaluation of the 2004-2005 Savings By Design Program
All Lighting |  | Large Nonresidential | Customized incentive | 70% | 54% | 64% | 24 | 2004-05 Standard Performance Contracting program Evaluation (draft)
HVAC
Split/Packaged AC Systems | 65-135k Btu/hr | All Nonresidential | Upstream Prescriptive Rebate | 96% | 75% | default | 11 | 2004-2005 Statewide Nonresidential Audit Program Evaluation (Draft)
Other HVAC | Variable speed drives, package systems, HVAC controls, programmable thermostats | All Nonresidential | Downstream Prescriptive Rebate | 96% | 50% | 50% |  | 2004-2005 Statewide Express Efficiency Program Evaluation (Draft)
HVAC and Motors | 70% new construction, 30% major renovation | All Nonresidential New Construction | Building Design Incentive | 82% | 84% electric | 84% electric |  | Evaluation of the 2004-2005 Savings By Design Program
HVAC/economizer controls |  | Small, hard-to-reach nonresidential customers | Direct install | 80% | 85% | 85% |  | Evaluation, Measurement & Verification of the 2004-2005 BEST Program of the SDREO
Window Film |  | Small, hard-to-reach nonresidential customers | Direct install | 80% | 85% | 85% |  | Evaluation, Measurement & Verification of the 2004-2005 BEST Program of the SDREO
All HVAC |  | Large Nonresidential | Customized incentive | 70% | 54% | 64% |  | 2004-05 Standard Performance Contracting program Evaluation (draft)
Refrigeration
Strip Door Curtains | lineal ft | All Nonresidential | Downstream Prescriptive Rebate | 96% | 46% | 46% | 6 | 2004-2005 Statewide Express Efficiency Program Evaluation (Draft)
Door Gaskets | lineal ft | All Nonresidential | Downstream Prescriptive Rebate | 96% | 76% | 76% | 6 | 2004-2005 Statewide Express Efficiency Program Evaluation (Draft)
Efficient Evapor Motors/Other | SHC to PHC | All Nonresidential | Downstream Prescriptive Rebate | 96% | 75% | default | 11 | 2004-2005 Statewide Express Efficiency Program Evaluation (Draft)
Refrigeration |  | All Nonresidential New Construction | Building Design Incentive | 82% | 82% | 82% |  | Evaluation of the 2004-2005 Savings By Design Program
Motors
Motors | NEMA Premium | All Nonresidential | Downstream Prescriptive Rebate | 96% | 75% | default | 21 | 2004-2005 Statewide Express Efficiency Program Evaluation (Draft)
HVAC and Motors |  | All Nonresidential New Construction | Building Design Incentive | 82% | 84% electric | 84% electric |  | Evaluation of the 2004-2005 Savings By Design Program
Water Heating
Water Heat | Clothes washers, boilers, process boilers and insulation | All Nonresidential | Downstream Prescriptive Rebate | 96% | 46% | 46% | 6 | 2004-2005 Statewide Express Efficiency Program Evaluation (Draft)
Domestic Hot Water |  | All Nonresidential New Construction | Building Design Incentive | 82% | 82% | 82% |  | Evaluation of the 2004-2005 Savings By Design Program
Building Shell
Building shell measures |  | All Nonresidential New Construction | Building Design Incentive | 82% | 87% elec. 93% gas | 87% elec. 93% gas |  | Evaluation of the 2004-2005 Savings By Design Program
Whole Building
Whole Building |  | All Nonresidential New Construction | Building Design Incentive |  | 70% electric | 70% electric |  | Evaluation of the 2004-2005 Savings By Design Program
Custom Measures
Customized electric measures |  | Small, hard-to-reach nonresidential customers | Direct install | 80% | 85% | 85% |  | Evaluation, Measurement & Verification of the 2004-2005 BEST Program of the SDREO
Customized gas measures. |  | Small, hard-to-reach nonresidential customers | Direct install | 80% | 85% | 85% |  | Evaluation, Measurement & Verification of the 2004-2005 BEST Program of the SDREO
Custom electric measures |  | Large Nonresidential | Customized incentive | 70% | 54% | 64% | 24 | 2004-05 Standard Performance Contracting program Evaluation (draft)
Custom gas measures |  | Large Nonresidential | Customized incentive | 70% | 54% | 64% | 24 | 2004-05 Standard Performance Contracting program Evaluation (draft)
Agricultural Measures
Milk Pump VSD |  | Dairy farms | Downstream Prescriptive Rebate | 75% | 42% | 50% | 22 | Evaluation, Measurement and Verification Report of 2004-2005 California Multi Measure Farm Program
Scroll Compressor |  | Dairy farms | Downstream Prescriptive Rebate | 75% | 42% | 50% | 22 | Evaluation, Measurement and Verification Report of 2004-2005 California Multi Measure Farm Program
Plate Cooler |  | Dairy farms | Downstream Prescriptive Rebate | 75% | 26% | 26% | 22 | Evaluation, Measurement and Verification Report of 2004-2005 California Multi Measure Farm Program
Compressor Heat Recovery Unit |  | Dairy farms | Downstream Prescriptive Rebate | 75% | 42% | 50% | 22 | Evaluation, Measurement and Verification Report of 2004-2005 California Multi Measure Farm Program
Vacuum Pump VSD |  | Dairy farms | Downstream Prescriptive Rebate | 75% | 75% | 75% | 22 | 2002-2003 California Variable Speed Drive Farm Program Evaluation
All other |  | Dairy farms | Downstream Prescriptive Rebate | 75% | 42% | 50% | 22 | Evaluation, Measurement and Verification Report of 2004-2005 California Multi Measure Farm Program
Audits
Lighting and Cooling measures ** |  | Med/Large (>100 kW) customers | Onsite | 83% | 46% | 46% |  | 2004-05 Statewide Nonresidential Audit Program Evaluation (draft)
Lighting and Cooling measures ** |  | Very Small/Small (<=100 kW) | Onsite | 83% | 48% | 48%
Lighting and Cooling measures ** |  | Very Small (less than 20 kW) | Remote (phone, mail, online, CDROM) | 83% | 29% | 29%
Retrocommissioning
Electric measures |  | Existing medium and large nonresidential buildings | Retrocommissioning | 80% | 90% | 90% |  | Impact and Process Evaluation Final Report for QuEST's 2004-05 Building Tune-Up Program | 2004-05 PECI San Diego Retrocommissioning Program, EM&V Report
Gas measures |  | Existing medium and large nonresidential buildings | Retrocommissioning | 80% | 100% | 100% |  | Impact and Process Evaluation Final Report for QuEST's 2004-05 Building Tune-Up Program
Local Government Partnerships
All measures |  | Existing nonresidential buildings in specified geographic areas | Various | 80% | NA | Higher of weighted average of NTGRs from each targeted measure/delivery strategy weighted by the share of energy savings for the entire program or a default of 0.70 | 30 | 2004-05 Impact and Process Evaluation Final Report for 2004-2005 UC/CSU/IOU Energy Efficiency Partnership | EM&V Report - 2004-05 PG&E 2004-05 Local Government Partnership Programs - 1350-04
|  |  | Average |  |  | 69.33%
Default Values
New Measures not Otherwise Addressed OR Existing Direct Installed measures for Hard to Reach markets |  | Nonresidential Markets with Very Low Measure Market Share (<5%) OR Hard-to-Reach Markets | New innovative delivery strategies designed to minimize free ridership OR Direct Installation to Hard to Reach Markets | 80% | 85% | 85% | 1
New Measures not Otherwise Addressed |  | Nonresidential Markets with Moderate Measure Market Share (>=5%) | Delivery methods with no convincing strategies to discourage free ridership or measures with moderate mkt share | 80% | 70% | 70% | 1
** Recommended NTG values narrowly reflect participant-installed, non-rebated efficient measures only. NTG for rebated measures arising from an audit are reported in the applicable program category (e.g., prescriptive downstream rebates).

## Delivery Strategies List
Program Delivery Strategies | Explanation of Strategy
Information Based
Mail Audits | Customer mails in survey providing home and appliance characteristics and receives prioritized list of measure recommendations
Internet Audits | Customer provides home and appliance characteristics via online survey and receives customized measure recommendations
Onsite Audits- Generic | Professionial makes onsite visit to gather data and present prioritized measure recommendations
Feasibility Study-Industrial grade audit | Certifed engineer assesses potential savings and solicits cost bids and provides recommended options to customer
Comprehensive Audit + Repair/Tuning | Industrial grade audit plus repair and fine tuning services delivered as part of audit
Building or System Design Assistance | Training and or technial assistance to provide effciciency improvement to building or system plans to architects/engineers
Trade Ally Training | Efficiency Training delivered to building contractors and installers
Mass or Targeted Marketing | Education or efficiency promotion messages broadcast to entire market using mass media channels
Codes and Standards Training | Efforts to educate and train builders and building officials about code requirements and efficient methods to meet them
Lend or Provide Diagnostic Tools | Programs that provide customers with software and hardware tools to analyze potential energy impacts from efficiency measures and changes in operation
On Site Energy Use feedback in real time | Porgrams that provide real time feedback on energy use to customers using on site displays
Corporate Energy Management Training | Efforts to convince corporate CED or CFO of need to track energy costs as part of core business, take action and monitor results
Financial Incentive Based
Downstream Prescriptive Rebates/Incentives | Downstream = rebate usuallly cash goes to customer/owner on a per measure basis
Midstream Prescriptive Rebates/Incentives | Midstream= rebate usually cash goes to distributor or retailer on a per product basis
Upstream Prescriptive Rebates/Incentives | Upstream= rebate, usually cash to manufacturer on a per product shipped basise
Customized Incentives | Cash to customer based on results of feasibility study and measures selected
Performance Contracting | Incentives paid to customer based on results of ex post verification of savings- from ESCO or administrator
External Financing/Interest Rate Buydown | Customer offered Interest buy down or lower rates to finance measure installation
On Bill Financing | Customer offered opporunity to finance measures and make payments as supplement to utility bill
Building Design Incentives | Rebates or cash to builders for designing and constructing buildings that exceed standard by a threshold percentage (15%)
Direct Installation or Other
Technology giveaways | Portable measures proivded to customers for free with expectation they will install measures later, such as CFL giveaway
Direct Installation- measures only | No cost direct installation of more efficient systems or specific efficiency measures
Direct Installation+Commissioning | Same as above with free commisioning service affer installation is complete
Free Tuneup or Repair Services | Free systems tuneup services offered to customers with high bills
Code and Standards Advocacy through Demonstrations | Efforts to test, evaluate and build market acceptance of measures and designs targeted for inclusion in future codes
Emerging technology testing-case studies | Efforts to install new technologies at customer site and gather data on customer acceptance and equipment performance