## Res-TstatWts
Appendix 1
DEER2008Heating and Cooling Thermostat Settings and Weights for Single-Family Building Type
Climate | Building | Tstat | Heating Temperature Setpoints |  |  |  | Cooling Temperature Setpoints |  |  |  | Thermostat
Zone | Vintage | run | Morning | Day | Evening | Night | Morning | Day | Evening | Night | Weight
CZ01 | Before 1978 | T1 | 55 | 55 | 55 | 55 | 74 | 74 | 74 | 74 | 0.3
|  | T2 | 60 | 60 | 60 | 60 | 83 | 76 | 76 | 83 | 0.3
|  | T3 | 70 | 65 | 65 | 70 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.1
| 1978 - 1992 | T1 | 55 | 55 | 55 | 55 | 74 | 74 | 74 | 74 | 0.3
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.3
|  | T3 | 68 | 68 | 68 | 68 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 65 | 65 | 65 | 65 | 80 | 80 | 80 | 80 | 0.1
| 1993 - 2001 | T1 | 55 | 55 | 55 | 55 | 74 | 74 | 74 | 74 | 0.3
|  | T2 | 65 | 70 | 70 | 65 | 83 | 76 | 76 | 83 | 0.3
|  | T3 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.1
| 2002 - 2005 | T1 | 55 | 55 | 55 | 55 | 74 | 74 | 74 | 74 | 0.3
|  | T2 | 68 | 68 | 68 | 68 | 83 | 76 | 76 | 83 | 0.3
|  | T3 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 65 | 65 | 65 | 65 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 65 | 68 | 68 | 65 | 80 | 80 | 80 | 80 | 0.1
| After 2005 | T1 | 60 | 60 | 60 | 60 | 74 | 74 | 74 | 74 | 0.3
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.3
|  | T3 | 55 | 55 | 55 | 55 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 65 | 70 | 70 | 65 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.1
CZ02 | Before 1978 | T1 | 65 | 65 | 65 | 65 | 80 | 80 | 80 | 80 | 0.05
|  | T2 | 60 | 60 | 60 | 60 | 76 | 83 | 83 | 76 | 0.1
|  | T3 | 65 | 68 | 68 | 65 | 80 | 83 | 83 | 80 | 0.1
|  | T4 | 55 | 55 | 55 | 55 | 83 | 83 | 83 | 83 | 0.3
|  | T5 | 68 | 65 | 65 | 68 | 90 | 90 | 90 | 90 | 0.45
| 1978 - 1992 | T1 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.15
|  | T2 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.1
|  | T3 | 68 | 68 | 68 | 68 | 76 | 83 | 83 | 76 | 0.3
|  | T4 | 65 | 70 | 70 | 65 | 83 | 83 | 83 | 83 | 0.25
|  | T5 | 70 | 65 | 65 | 70 | 90 | 90 | 90 | 90 | 0.2
| 1993 - 2001 | T1 | 65 | 68 | 68 | 65 | 78 | 78 | 78 | 78 | 0.1
|  | T2 | 65 | 70 | 70 | 65 | 80 | 80 | 80 | 80 | 0.1
|  | T3 | 65 | 65 | 65 | 65 | 76 | 83 | 83 | 76 | 0.2
|  | T4 | 55 | 55 | 55 | 55 | 83 | 83 | 83 | 83 | 0.3
|  | T5 | 60 | 60 | 60 | 60 | 90 | 90 | 90 | 90 | 0.3
| 2002 - 2005 | T1 | 60 | 60 | 60 | 60 | 83 | 76 | 76 | 83 | 0.2
|  | T2 | 70 | 65 | 65 | 70 | 78 | 78 | 78 | 78 | 0.3
|  | T3 | 65 | 65 | 65 | 65 | 80 | 80 | 80 | 80 | 0.2
|  | T4 | 65 | 68 | 68 | 65 | 76 | 83 | 83 | 76 | 0.2
|  | T5 | 55 | 55 | 55 | 55 | 80 | 83 | 83 | 80 | 0.1
| After 2005 | T1 | 65 | 65 | 65 | 65 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 65 | 70 | 70 | 65 | 78 | 78 | 78 | 78 | 0.25
|  | T4 | 65 | 68 | 68 | 65 | 83 | 80 | 80 | 83 | 0.15
|  | T5 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.15
Climate | Building | Tstat | Heating Temperature Setpoints |  |  |  | Cooling Temperature Setpoints |  |  |  | Thermostat
Zone | Vintage | run | Morning | Day | Evening | Night | Morning | Day | Evening | Night | Weight
CZ03 | Before 1978 | T1 | 68 | 68 | 68 | 68 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.2
|  | T3 | 65 | 65 | 65 | 65 | 83 | 80 | 80 | 83 | 0.2
|  | T4 | 68 | 65 | 65 | 68 | 80 | 80 | 80 | 80 | 0.2
|  | T5 | 65 | 68 | 68 | 65 | 76 | 83 | 83 | 76 | 0.3
| 1978 - 1992 | T1 | 70 | 70 | 70 | 70 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.25
|  | T3 | 65 | 65 | 65 | 65 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 70 | 65 | 65 | 70 | 83 | 80 | 80 | 83 | 0.2
|  | T5 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.25
| 1993 - 2001 | T1 | 65 | 70 | 70 | 65 | 83 | 76 | 76 | 83 | 0.15
|  | T2 | 68 | 68 | 68 | 68 | 78 | 78 | 78 | 78 | 0.3
|  | T3 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.2
|  | T4 | 68 | 65 | 65 | 68 | 80 | 80 | 80 | 80 | 0.2
|  | T5 | 70 | 65 | 65 | 70 | 76 | 83 | 83 | 76 | 0.15
| 2002 - 2005 | T1 | 60 | 60 | 60 | 60 | 83 | 76 | 76 | 83 | 0.15
|  | T2 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.3
|  | T3 | 65 | 68 | 68 | 65 | 83 | 80 | 80 | 83 | 0.2
|  | T4 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.2
|  | T5 | 65 | 65 | 65 | 65 | 76 | 83 | 83 | 76 | 0.15
| After 2005 | T1 | 60 | 60 | 60 | 60 | 74 | 74 | 74 | 74 | 0.05
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.2
|  | T3 | 65 | 70 | 70 | 65 | 78 | 78 | 78 | 78 | 0.3
|  | T4 | 68 | 68 | 68 | 68 | 83 | 80 | 80 | 83 | 0.3
|  | T5 | 65 | 68 | 68 | 65 | 80 | 80 | 80 | 80 | 0.15
CZ04 | Before 1978 | T1 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.2
|  | T2 | 65 | 65 | 65 | 65 | 83 | 80 | 80 | 83 | 0.3
|  | T3 | 65 | 68 | 68 | 65 | 80 | 80 | 80 | 80 | 0.2
|  | T4 | 65 | 70 | 70 | 65 | 76 | 83 | 83 | 76 | 0.2
|  | T5 | 55 | 55 | 55 | 55 | 80 | 83 | 83 | 80 | 0.1
| 1978 - 1992 | T1 | 70 | 65 | 65 | 70 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 60 | 60 | 60 | 60 | 83 | 76 | 76 | 83 | 0.15
|  | T3 | 68 | 68 | 68 | 68 | 78 | 78 | 78 | 78 | 0.3
|  | T4 | 65 | 70 | 70 | 65 | 83 | 80 | 80 | 83 | 0.2
|  | T5 | 68 | 65 | 65 | 68 | 80 | 80 | 80 | 80 | 0.25
| 1993 - 2001 | T1 | 65 | 65 | 65 | 65 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.3
|  | T3 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.25
|  | T4 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.25
|  | T5 | 65 | 68 | 68 | 65 | 76 | 83 | 83 | 76 | 0.1
| 2002 - 2005 | T1 | 65 | 70 | 70 | 65 | 74 | 74 | 74 | 74 | 0.2
|  | T2 | 65 | 65 | 65 | 65 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.25
|  | T4 | 55 | 55 | 55 | 55 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 60 | 60 | 60 | 60 | 80 | 80 | 80 | 80 | 0.1
| After 2005 | T1 | 65 | 68 | 68 | 65 | 74 | 74 | 74 | 74 | 0.4
|  | T2 | 65 | 65 | 65 | 65 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 68 | 68 | 68 | 68 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 60 | 60 | 60 | 60 | 80 | 80 | 80 | 80 | 0.05
Climate | Building | Tstat | Heating Temperature Setpoints |  |  |  | Cooling Temperature Setpoints |  |  |  | Thermostat
Zone | Vintage | run | Morning | Day | Evening | Night | Morning | Day | Evening | Night | Weight
CZ05 | Before 1978 | T1 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.1
|  | T2 | 68 | 68 | 68 | 68 | 83 | 80 | 80 | 83 | 0.1
|  | T3 | 68 | 65 | 65 | 68 | 80 | 80 | 80 | 80 | 0.35
|  | T4 | 65 | 68 | 68 | 65 | 76 | 83 | 83 | 76 | 0.2
|  | T5 | 65 | 70 | 70 | 65 | 83 | 83 | 83 | 83 | 0.25
| 1978 - 1992 | T1 | 65 | 65 | 65 | 65 | 83 | 76 | 76 | 83 | 0.2
|  | T2 | 65 | 70 | 70 | 65 | 78 | 78 | 78 | 78 | 0.1
|  | T3 | 70 | 65 | 65 | 70 | 83 | 80 | 80 | 83 | 0.2
|  | T4 | 68 | 65 | 65 | 68 | 80 | 80 | 80 | 80 | 0.25
|  | T5 | 68 | 68 | 68 | 68 | 76 | 83 | 83 | 76 | 0.25
| 1993 - 2001 | T1 | 65 | 70 | 70 | 65 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.15
|  | T3 | 70 | 65 | 65 | 70 | 83 | 80 | 80 | 83 | 0.35
|  | T4 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.3
|  | T5 | 70 | 70 | 70 | 70 | 76 | 83 | 83 | 76 | 0.1
| 2002 - 2005 | T1 | 65 | 65 | 65 | 65 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 68 | 68 | 68 | 68 | 78 | 78 | 78 | 78 | 0.2
|  | T3 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.35
|  | T4 | 65 | 70 | 70 | 65 | 80 | 80 | 80 | 80 | 0.25
|  | T5 | 65 | 68 | 68 | 65 | 76 | 83 | 83 | 76 | 0.1
| After 2005 | T1 | 70 | 65 | 65 | 70 | 83 | 76 | 76 | 83 | 0.15
|  | T2 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.35
|  | T3 | 65 | 70 | 70 | 65 | 83 | 80 | 80 | 83 | 0.2
|  | T4 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.2
|  | T5 | 65 | 68 | 68 | 65 | 76 | 83 | 83 | 76 | 0.1
CZ06 | Before 1978 | T1 | 60 | 60 | 60 | 60 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 65 | 68 | 68 | 65 | 83 | 76 | 76 | 83 | 0.2
|  | T3 | 65 | 70 | 70 | 65 | 78 | 78 | 78 | 78 | 0.3
|  | T4 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.2
|  | T5 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.2
| 1978 - 1992 | T1 | 68 | 65 | 65 | 68 | 74 | 74 | 74 | 74 | 0.2
|  | T2 | 70 | 65 | 65 | 70 | 83 | 76 | 76 | 83 | 0.2
|  | T3 | 70 | 70 | 70 | 70 | 78 | 78 | 78 | 78 | 0.15
|  | T4 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 68 | 68 | 68 | 68 | 83 | 83 | 83 | 83 | 0.35
| 1993 - 2001 | T1 | 68 | 65 | 65 | 68 | 74 | 74 | 74 | 74 | 0.2
|  | T2 | 70 | 65 | 65 | 70 | 83 | 76 | 76 | 83 | 0.2
|  | T3 | 68 | 68 | 68 | 68 | 78 | 78 | 78 | 78 | 0.25
|  | T4 | 70 | 70 | 70 | 70 | 83 | 80 | 80 | 83 | 0.2
|  | T5 | 60 | 60 | 60 | 60 | 80 | 80 | 80 | 80 | 0.15
| 2002 - 2005 | T1 | 68 | 65 | 65 | 68 | 74 | 74 | 74 | 74 | 0.2
|  | T2 | 68 | 68 | 68 | 68 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 70 | 65 | 65 | 70 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 65 | 70 | 70 | 65 | 80 | 80 | 80 | 80 | 0.15
| After 2005 | T1 | 68 | 68 | 68 | 68 | 74 | 74 | 74 | 74 | 0.4
|  | T2 | 70 | 65 | 65 | 70 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 65 | 68 | 68 | 65 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 70 | 70 | 70 | 70 | 80 | 80 | 80 | 80 | 0.05
Climate | Building | Tstat | Heating Temperature Setpoints |  |  |  | Cooling Temperature Setpoints |  |  |  | Thermostat
Zone | Vintage | run | Morning | Day | Evening | Night | Morning | Day | Evening | Night | Weight
CZ07 | Before 1978 | T1 | 65 | 68 | 68 | 65 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.2
|  | T3 | 65 | 70 | 70 | 65 | 83 | 80 | 80 | 83 | 0.3
|  | T4 | 68 | 65 | 65 | 68 | 80 | 80 | 80 | 80 | 0.3
|  | T5 | 68 | 68 | 68 | 68 | 76 | 83 | 83 | 76 | 0.1
| 1978 - 1992 | T1 | 65 | 68 | 68 | 65 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 65 | 70 | 70 | 65 | 83 | 76 | 76 | 83 | 0.15
|  | T3 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.25
|  | T4 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.35
|  | T5 | 70 | 70 | 70 | 70 | 76 | 83 | 83 | 76 | 0.15
| 1993 - 2001 | T1 | 70 | 70 | 70 | 70 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.15
|  | T3 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 70 | 65 | 65 | 70 | 80 | 80 | 80 | 80 | 0.2
|  | T5 | 68 | 68 | 68 | 68 | 76 | 83 | 83 | 76 | 0.35
| 2002 - 2005 | T1 | 65 | 70 | 70 | 65 | 74 | 74 | 74 | 74 | 0.45
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 65 | 65 | 65 | 65 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.05
|  | T5 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.05
| After 2005 | T1 | 65 | 70 | 70 | 65 | 74 | 74 | 74 | 74 | 0.45
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 70 | 65 | 65 | 70 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.05
|  | T5 | 65 | 65 | 65 | 65 | 80 | 80 | 80 | 80 | 0.05
CZ08 | Before 1978 | T1 | 60 | 60 | 60 | 60 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.1
|  | T3 | 68 | 68 | 68 | 68 | 83 | 80 | 80 | 83 | 0.2
|  | T4 | 65 | 68 | 68 | 65 | 76 | 83 | 83 | 76 | 0.3
|  | T5 | 65 | 70 | 70 | 65 | 80 | 83 | 83 | 80 | 0.3
| 1978 - 1992 | T1 | 70 | 70 | 70 | 70 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 65 | 65 | 65 | 65 | 83 | 76 | 76 | 83 | 0.15
|  | T3 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.15
|  | T4 | 68 | 68 | 68 | 68 | 83 | 80 | 80 | 83 | 0.3
|  | T5 | 70 | 65 | 65 | 70 | 80 | 83 | 83 | 80 | 0.3
| 1993 - 2001 | T1 | 70 | 65 | 65 | 70 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 65 | 68 | 68 | 65 | 83 | 76 | 76 | 83 | 0.25
|  | T3 | 70 | 70 | 70 | 70 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.25
|  | T5 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.3
| 2002 - 2005 | T1 | 68 | 65 | 65 | 68 | 74 | 74 | 74 | 74 | 0.45
|  | T2 | 65 | 70 | 70 | 65 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 68 | 68 | 68 | 68 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.05
|  | T5 | 65 | 65 | 65 | 65 | 80 | 80 | 80 | 80 | 0.05
| After 2005 | T1 | 68 | 65 | 65 | 68 | 74 | 74 | 74 | 74 | 0.45
|  | T2 | 65 | 70 | 70 | 65 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 70 | 65 | 65 | 70 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 65 | 65 | 65 | 65 | 83 | 80 | 80 | 83 | 0.05
|  | T5 | 65 | 68 | 68 | 65 | 80 | 80 | 80 | 80 | 0.05
Climate | Building | Tstat | Heating Temperature Setpoints |  |  |  | Cooling Temperature Setpoints |  |  |  | Thermostat
Zone | Vintage | run | Morning | Day | Evening | Night | Morning | Day | Evening | Night | Weight
CZ09 | Before 1978 | T1 | 65 | 65 | 65 | 65 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 68 | 68 | 68 | 68 | 78 | 78 | 78 | 78 | 0.2
|  | T3 | 65 | 70 | 70 | 65 | 83 | 80 | 80 | 83 | 0.3
|  | T4 | 68 | 65 | 65 | 68 | 76 | 83 | 83 | 76 | 0.3
|  | T5 | 65 | 68 | 68 | 65 | 85 | 85 | 85 | 85 | 0.1
| 1978 - 1992 | T1 | 72 | 72 | 72 | 72 | 78 | 78 | 78 | 78 | 0.2
|  | T2 | 68 | 68 | 68 | 68 | 83 | 80 | 80 | 83 | 0.3
|  | T3 | 70 | 65 | 65 | 70 | 80 | 80 | 80 | 80 | 0.3
|  | T4 | 65 | 70 | 70 | 65 | 76 | 83 | 83 | 76 | 0.1
|  | T5 | 68 | 65 | 65 | 68 | 85 | 85 | 85 | 85 | 0.1
| 1993 - 2001 | T1 | 65 | 68 | 68 | 65 | 74 | 74 | 74 | 74 | 0.15
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.15
|  | T3 | 70 | 65 | 65 | 70 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 70 | 70 | 70 | 70 | 83 | 80 | 80 | 83 | 0.2
|  | T5 | 68 | 68 | 68 | 68 | 76 | 83 | 83 | 76 | 0.3
| 2002 - 2005 | T1 | 65 | 70 | 70 | 65 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 68 | 68 | 68 | 68 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.3
|  | T4 | 70 | 70 | 70 | 70 | 83 | 80 | 80 | 83 | 0.2
|  | T5 | 65 | 65 | 65 | 65 | 80 | 80 | 80 | 80 | 0.05
| After 2005 | T1 | 68 | 68 | 68 | 68 | 74 | 74 | 74 | 74 | 0.45
|  | T2 | 70 | 65 | 65 | 70 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 65 | 70 | 70 | 65 | 83 | 80 | 80 | 83 | 0.05
|  | T5 | 70 | 70 | 70 | 70 | 80 | 80 | 80 | 80 | 0.05
CZ10 | Before 1978 | T1 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.1
|  | T2 | 65 | 68 | 68 | 65 | 76 | 83 | 83 | 76 | 0.1
|  | T3 | 65 | 65 | 65 | 65 | 80 | 83 | 83 | 80 | 0.3
|  | T4 | 65 | 70 | 70 | 65 | 85 | 85 | 85 | 85 | 0.2
|  | T5 | 68 | 68 | 68 | 68 | 90 | 90 | 90 | 90 | 0.3
| 1978 - 1992 | T1 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.2
|  | T2 | 65 | 68 | 68 | 65 | 80 | 80 | 80 | 80 | 0.15
|  | T3 | 72 | 72 | 72 | 72 | 76 | 83 | 83 | 76 | 0.15
|  | T4 | 70 | 65 | 65 | 70 | 85 | 85 | 85 | 85 | 0.3
|  | T5 | 68 | 68 | 68 | 68 | 90 | 90 | 90 | 90 | 0.2
| 1993 - 2001 | T1 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 70 | 70 | 70 | 70 | 83 | 80 | 80 | 83 | 0.1
|  | T3 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.3
|  | T4 | 70 | 65 | 65 | 70 | 76 | 83 | 83 | 76 | 0.3
|  | T5 | 65 | 65 | 65 | 65 | 85 | 85 | 85 | 85 | 0.2
| 2002 - 2005 | T1 | 65 | 70 | 70 | 65 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 68 | 68 | 68 | 68 | 83 | 76 | 76 | 83 | 0.2
|  | T3 | 70 | 65 | 65 | 70 | 78 | 78 | 78 | 78 | 0.35
|  | T4 | 70 | 70 | 70 | 70 | 83 | 80 | 80 | 83 | 0.2
|  | T5 | 68 | 65 | 65 | 68 | 80 | 80 | 80 | 80 | 0.15
| After 2005 | T1 | 68 | 68 | 68 | 68 | 74 | 74 | 74 | 74 | 0.3
|  | T2 | 70 | 65 | 65 | 70 | 83 | 76 | 76 | 83 | 0.4
|  | T3 | 70 | 70 | 70 | 70 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.05
|  | T5 | 72 | 72 | 72 | 72 | 80 | 80 | 80 | 80 | 0.05
Climate | Building | Tstat | Heating Temperature Setpoints |  |  |  | Cooling Temperature Setpoints |  |  |  | Thermostat
Zone | Vintage | run | Morning | Day | Evening | Night | Morning | Day | Evening | Night | Weight
CZ11 | Before 1978 | T1 | 60 | 60 | 60 | 60 | 76 | 83 | 83 | 76 | 0.2
|  | T2 | 65 | 68 | 68 | 65 | 80 | 83 | 83 | 80 | 0.2
|  | T3 | 65 | 70 | 70 | 65 | 83 | 83 | 83 | 83 | 0.2
|  | T4 | 55 | 55 | 55 | 55 | 85 | 85 | 85 | 85 | 0.3
|  | T5 | 68 | 65 | 65 | 68 | 90 | 90 | 90 | 90 | 0.1
| 1978 - 1992 | T1 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.2
|  | T2 | 65 | 65 | 65 | 65 | 83 | 80 | 80 | 83 | 0.25
|  | T3 | 68 | 65 | 65 | 68 | 80 | 80 | 80 | 80 | 0.25
|  | T4 | 65 | 70 | 70 | 65 | 76 | 83 | 83 | 76 | 0.1
|  | T5 | 68 | 68 | 68 | 68 | 85 | 85 | 85 | 85 | 0.2
| 1993 - 2001 | T1 | 65 | 68 | 68 | 65 | 83 | 76 | 76 | 83 | 0.2
|  | T2 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.35
|  | T3 | 68 | 68 | 68 | 68 | 83 | 80 | 80 | 83 | 0.25
|  | T4 | 70 | 65 | 65 | 70 | 80 | 80 | 80 | 80 | 0.15
|  | T5 | 60 | 60 | 60 | 60 | 76 | 83 | 83 | 76 | 0.05
| 2002 - 2005 | T1 | 65 | 68 | 68 | 65 | 74 | 74 | 74 | 74 | 0.15
|  | T2 | 60 | 60 | 60 | 60 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 65 | 65 | 65 | 65 | 78 | 78 | 78 | 78 | 0.25
|  | T4 | 65 | 70 | 70 | 65 | 83 | 80 | 80 | 83 | 0.15
|  | T5 | 68 | 65 | 65 | 68 | 80 | 80 | 80 | 80 | 0.1
| After 2005 | T1 | 68 | 65 | 65 | 68 | 74 | 74 | 74 | 74 | 0.45
|  | T2 | 60 | 60 | 60 | 60 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 65 | 68 | 68 | 65 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 68 | 68 | 68 | 68 | 83 | 80 | 80 | 83 | 0.05
|  | T5 | 70 | 65 | 65 | 70 | 80 | 80 | 80 | 80 | 0.05
CZ12 | Before 1978 | T1 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.1
|  | T2 | 65 | 70 | 70 | 65 | 76 | 83 | 83 | 76 | 0.15
|  | T3 | 55 | 55 | 55 | 55 | 80 | 83 | 83 | 80 | 0.2
|  | T4 | 60 | 60 | 60 | 60 | 83 | 83 | 83 | 83 | 0.25
|  | T5 | 65 | 65 | 65 | 65 | 85 | 85 | 85 | 85 | 0.3
| 1978 - 1992 | T1 | 65 | 65 | 65 | 65 | 78 | 78 | 78 | 78 | 0.1
|  | T2 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.15
|  | T3 | 65 | 68 | 68 | 65 | 80 | 80 | 80 | 80 | 0.3
|  | T4 | 65 | 70 | 70 | 65 | 76 | 83 | 83 | 76 | 0.25
|  | T5 | 68 | 68 | 68 | 68 | 85 | 85 | 85 | 85 | 0.2
| 1993 - 2001 | T1 | 65 | 70 | 70 | 65 | 83 | 76 | 76 | 83 | 0.2
|  | T2 | 68 | 68 | 68 | 68 | 78 | 78 | 78 | 78 | 0.35
|  | T3 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.25
|  | T4 | 60 | 60 | 60 | 60 | 80 | 80 | 80 | 80 | 0.1
|  | T5 | 65 | 65 | 65 | 65 | 76 | 83 | 83 | 76 | 0.1
| 2002 - 2005 | T1 | 65 | 70 | 70 | 65 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.15
|  | T3 | 65 | 65 | 65 | 65 | 78 | 78 | 78 | 78 | 0.35
|  | T4 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.25
|  | T5 | 68 | 68 | 68 | 68 | 76 | 83 | 83 | 76 | 0.15
| After 2005 | T1 | 65 | 70 | 70 | 65 | 74 | 74 | 74 | 74 | 0.35
|  | T2 | 68 | 68 | 68 | 68 | 83 | 76 | 76 | 83 | 0.2
|  | T3 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.25
|  | T4 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 70 | 65 | 65 | 70 | 80 | 80 | 80 | 80 | 0.1
Climate | Building | Tstat | Heating Temperature Setpoints |  |  |  | Cooling Temperature Setpoints |  |  |  | Thermostat
Zone | Vintage | run | Morning | Day | Evening | Night | Morning | Day | Evening | Night | Weight
CZ13 | Before 1978 | T1 | 68 | 68 | 68 | 68 | 76 | 83 | 83 | 76 | 0.1
|  | T2 | 65 | 65 | 65 | 65 | 80 | 83 | 83 | 80 | 0.2
|  | T3 | 70 | 65 | 65 | 70 | 83 | 83 | 83 | 83 | 0.1
|  | T4 | 60 | 60 | 60 | 60 | 85 | 85 | 85 | 85 | 0.3
|  | T5 | 65 | 70 | 70 | 65 | 90 | 90 | 90 | 90 | 0.3
| 1978 - 1992 | T1 | 65 | 70 | 70 | 65 | 80 | 80 | 80 | 80 | 0.2
|  | T2 | 70 | 70 | 70 | 70 | 76 | 83 | 83 | 76 | 0.1
|  | T3 | 68 | 65 | 65 | 68 | 83 | 83 | 83 | 83 | 0.2
|  | T4 | 68 | 68 | 68 | 68 | 85 | 85 | 85 | 85 | 0.3
|  | T5 | 70 | 65 | 65 | 70 | 90 | 90 | 90 | 90 | 0.2
| 1993 - 2001 | T1 | 65 | 70 | 70 | 65 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.15
|  | T3 | 70 | 65 | 65 | 70 | 83 | 80 | 80 | 83 | 0.25
|  | T4 | 70 | 70 | 70 | 70 | 80 | 80 | 80 | 80 | 0.25
|  | T5 | 72 | 72 | 72 | 72 | 76 | 83 | 83 | 76 | 0.25
| 2002 - 2005 | T1 | 70 | 70 | 70 | 70 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 65 | 70 | 70 | 65 | 78 | 78 | 78 | 78 | 0.2
|  | T3 | 68 | 68 | 68 | 68 | 83 | 80 | 80 | 83 | 0.3
|  | T4 | 68 | 65 | 65 | 68 | 80 | 80 | 80 | 80 | 0.25
|  | T5 | 60 | 60 | 60 | 60 | 76 | 83 | 83 | 76 | 0.15
| After 2005 | T1 | 68 | 65 | 65 | 68 | 74 | 74 | 74 | 74 | 0.2
|  | T2 | 68 | 68 | 68 | 68 | 83 | 76 | 76 | 83 | 0.25
|  | T3 | 70 | 65 | 65 | 70 | 78 | 78 | 78 | 78 | 0.3
|  | T4 | 65 | 70 | 70 | 65 | 83 | 80 | 80 | 83 | 0.15
|  | T5 | 65 | 68 | 68 | 65 | 80 | 80 | 80 | 80 | 0.1
CZ14 | Before 1978 | T1 | 65 | 70 | 70 | 65 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 65 | 68 | 68 | 65 | 78 | 78 | 78 | 78 | 0.15
|  | T3 | 55 | 55 | 55 | 55 | 83 | 80 | 80 | 83 | 0.25
|  | T4 | 60 | 60 | 60 | 60 | 80 | 80 | 80 | 80 | 0.25
|  | T5 | 65 | 65 | 65 | 65 | 76 | 83 | 83 | 76 | 0.25
| 1978 - 1992 | T1 | 68 | 68 | 68 | 68 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.15
|  | T3 | 65 | 65 | 65 | 65 | 78 | 78 | 78 | 78 | 0.25
|  | T4 | 65 | 68 | 68 | 65 | 83 | 80 | 80 | 83 | 0.25
|  | T5 | 65 | 70 | 70 | 65 | 80 | 80 | 80 | 80 | 0.25
| 1993 - 2001 | T1 | 68 | 65 | 65 | 68 | 74 | 74 | 74 | 74 | 0.35
|  | T2 | 65 | 70 | 70 | 65 | 83 | 76 | 76 | 83 | 0.3
|  | T3 | 68 | 68 | 68 | 68 | 78 | 78 | 78 | 78 | 0.15
|  | T4 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.1
|  | T5 | 65 | 65 | 65 | 65 | 80 | 80 | 80 | 80 | 0.1
| 2002 - 2005 | T1 | 65 | 65 | 65 | 65 | 74 | 74 | 74 | 74 | 0.45
|  | T2 | 65 | 68 | 68 | 65 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 55 | 55 | 55 | 55 | 83 | 80 | 80 | 83 | 0.05
|  | T5 | 65 | 70 | 70 | 65 | 80 | 80 | 80 | 80 | 0.05
| After 2005 | T1 | 65 | 70 | 70 | 65 | 74 | 74 | 74 | 74 | 0.45
|  | T2 | 65 | 68 | 68 | 65 | 83 | 76 | 76 | 83 | 0.35
|  | T3 | 70 | 65 | 65 | 70 | 78 | 78 | 78 | 78 | 0.1
|  | T4 | 60 | 60 | 60 | 60 | 83 | 80 | 80 | 83 | 0.05
|  | T5 | 65 | 65 | 65 | 65 | 80 | 80 | 80 | 80 | 0.05
Climate | Building | Tstat | Heating Temperature Setpoints |  |  |  | Cooling Temperature Setpoints |  |  |  | Thermostat
Zone | Vintage | run | Morning | Day | Evening | Night | Morning | Day | Evening | Night | Weight
CZ15 | Before 1978 | T1 | 55 | 55 | 55 | 55 | 83 | 80 | 80 | 83 | 0.1
|  | T2 | 65 | 65 | 65 | 65 | 80 | 83 | 83 | 80 | 0.1
|  | T3 | 68 | 68 | 68 | 68 | 83 | 83 | 83 | 83 | 0.1
|  | T4 | 68 | 65 | 65 | 68 | 85 | 85 | 85 | 85 | 0.3
|  | T5 | 65 | 70 | 70 | 65 | 90 | 90 | 90 | 90 | 0.4
| 1978 - 1992 | T1 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.1
|  | T2 | 68 | 68 | 68 | 68 | 80 | 83 | 83 | 80 | 0.1
|  | T3 | 70 | 65 | 65 | 70 | 83 | 83 | 83 | 83 | 0.1
|  | T4 | 70 | 70 | 70 | 70 | 85 | 85 | 85 | 85 | 0.3
|  | T5 | 72 | 72 | 72 | 72 | 90 | 90 | 90 | 90 | 0.4
| 1993 - 2001 | T1 | 68 | 65 | 65 | 68 | 83 | 76 | 76 | 83 | 0.1
|  | T2 | 68 | 68 | 68 | 68 | 78 | 78 | 78 | 78 | 0.2
|  | T3 | 70 | 65 | 65 | 70 | 83 | 80 | 80 | 83 | 0.2
|  | T4 | 70 | 70 | 70 | 70 | 80 | 80 | 80 | 80 | 0.25
|  | T5 | 72 | 72 | 72 | 72 | 85 | 85 | 85 | 85 | 0.25
| 2002 - 2005 | T1 | 68 | 65 | 65 | 68 | 78 | 78 | 78 | 78 | 0.05
|  | T2 | 68 | 68 | 68 | 68 | 83 | 80 | 80 | 83 | 0.1
|  | T3 | 70 | 65 | 65 | 70 | 80 | 80 | 80 | 80 | 0.2
|  | T4 | 70 | 70 | 70 | 70 | 76 | 83 | 83 | 76 | 0.2
|  | T5 | 72 | 72 | 72 | 72 | 85 | 85 | 85 | 85 | 0.45
| After 2005 | T1 | 70 | 65 | 65 | 70 | 83 | 76 | 76 | 83 | 0.2
|  | T2 | 70 | 70 | 70 | 70 | 78 | 78 | 78 | 78 | 0.2
|  | T3 | 68 | 65 | 65 | 68 | 83 | 80 | 80 | 83 | 0.15
|  | T4 | 68 | 68 | 68 | 68 | 80 | 80 | 80 | 80 | 0.15
|  | T5 | 72 | 72 | 72 | 72 | 76 | 83 | 83 | 76 | 0.3
CZ16 | Before 1978 | T1 | 65 | 70 | 70 | 65 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 65 | 68 | 68 | 65 | 83 | 76 | 76 | 83 | 0.15
|  | T3 | 55 | 55 | 55 | 55 | 78 | 78 | 78 | 78 | 0.3
|  | T4 | 65 | 65 | 65 | 65 | 83 | 80 | 80 | 83 | 0.2
|  | T5 | 60 | 60 | 60 | 60 | 80 | 80 | 80 | 80 | 0.25
| 1978 - 1992 | T1 | 65 | 70 | 70 | 65 | 74 | 74 | 74 | 74 | 0.1
|  | T2 | 55 | 55 | 55 | 55 | 83 | 76 | 76 | 83 | 0.25
|  | T3 | 65 | 65 | 65 | 65 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 65 | 68 | 68 | 65 | 83 | 80 | 80 | 83 | 0.2
|  | T5 | 60 | 60 | 60 | 60 | 80 | 80 | 80 | 80 | 0.25
| 1993 - 2001 | T1 | 65 | 68 | 68 | 65 | 74 | 74 | 74 | 74 | 0.15
|  | T2 | 55 | 55 | 55 | 55 | 83 | 76 | 76 | 83 | 0.3
|  | T3 | 60 | 60 | 60 | 60 | 78 | 78 | 78 | 78 | 0.2
|  | T4 | 65 | 65 | 65 | 65 | 83 | 80 | 80 | 83 | 0.2
|  | T5 | 65 | 70 | 70 | 65 | 80 | 80 | 80 | 80 | 0.15
| 2002 - 2005 | T1 | 65 | 65 | 65 | 65 | 78 | 78 | 78 | 78 | 0.2
|  | T2 | 65 | 70 | 70 | 65 | 83 | 80 | 80 | 83 | 0.1
|  | T3 | 55 | 55 | 55 | 55 | 80 | 80 | 80 | 80 | 0.25
|  | T4 | 65 | 68 | 68 | 65 | 76 | 83 | 83 | 76 | 0.2
|  | T5 | 60 | 60 | 60 | 60 | 85 | 85 | 85 | 85 | 0.25
| After 2005 | T1 | 60 | 60 | 60 | 60 | 83 | 76 | 76 | 83 | 0.2
|  | T2 | 65 | 70 | 70 | 65 | 78 | 78 | 78 | 78 | 0.15
|  | T3 | 55 | 55 | 55 | 55 | 80 | 80 | 80 | 80 | 0.25
|  | T4 | 65 | 65 | 65 | 65 | 76 | 83 | 83 | 76 | 0.2
|  | T5 | 65 | 68 | 68 | 65 | 85 | 85 | 85 | 85 | 0.2