## RASS CDA SFAM
2008 DEER Update
Air conditioning and gas furnace UEC/DEER residential calibration targets
November 2008
[6 empty] | < ------------------------------- Air Conditioning UEC -------------------------------> | [11 empty] | < ------------------------------- Heating UEC ------------------------------->
[8 empty] | Air Conditioning UEC for DEER Calibration (kWh) | [11 empty] | Heating UEC for DEER Calibration (Therms)
| Average Air-Conditioning UECs from RASS (kWh) | [6 empty] | (RASS UEC * DEER area / RASS area) | [5 empty] | Average Heating UECs from RASS (Therms) | [5 empty] | (RASS UEC * DEER area / RASS area)
restype1 | Climate Zone | Vintage | Number of Homes | Air Cond. UEC | Average Area | Comments |  | RASS Vintage ===> | 4 | 3 | 2 | 1 | restype1 | Climate Zone | Vintage | Number of Homes | Air Cond. UEC | Comments |  | RASS Vintage ===> | 4 | 3 | 2 | 1
1 | 1 | 1 | 12 | 0 | 1750 |  |  |  | Pre-1978 | 1978-1992 | 1993-2001 | 2002-2005 | 1 | 1 | 1 | 12 | - no data - |  |  |  | Pre-1978 | 1978-1992 | 1993-2001 | 2002-2005
1 | 1 | 2 | 180 | 0 | 2753.7771 |  | 0 | CTZ01 | 67.389 | 0 | 0 | 0 | 1 | 1 | 2 | 180 | 319.829 |  |  | CTZ01 |  | 337.8083 | 251.3312
1 | 1 | 3 | 252 | 0 | 1961.732 |  | 1 | CTZ02 | 428.7102 | 434.0449 | 527.3475 | 504.2869 | 1 | 1 | 3 | 252 | 348.0511 |  |  | CTZ02 | 315.3393 | 349.1982 | 252.0388 | 289.4488
1 | 1 | 4 | 912 | 62.707 | 1480.4626 |  | 2 | CTZ03 | 160.6316 | 174.3253 | 165.956 | 172.8421 | 1 | 1 | 4 | 912 | 257.8382 |  |  | CTZ03 | 283.4964 | 302.6212 | 307.0213 | 275.687
1 | 2 | 1 | 96 | 516.0196 | 2349.0196 |  | 3 | CTZ04 | 600.7894 | 700.6722 | 711.2683 | 826.3179 | 1 | 2 | 1 | 96 | 296.183 |  |  | CTZ04 | 222.8783 | 238.6431 | 237.2973 | 271.9612
1 | 2 | 2 | 636 | 561.6912 | 2304.9312 |  | 4 | CTZ05 | 78.703 | 108.7105 | 127.905 | 146.5674 | 1 | 2 | 2 | 636 | 268.4529 |  |  | CTZ05 | 346.9408 | 274.5487 | 419.5689 | 314.6101
1 | 2 | 3 | 1452 | 430.6718 | 1889.2031 |  | 5 | CTZ06 | 534.0246 | 570.3883 | 645.1946 | 796.607 | 1 | 2 | 3 | 1452 | 346.4844 |  |  | CTZ06 | 173.5683 | 211.2008 | 197.7177 | 182.8071
1 | 2 | 4 | 4704 | 458.602 | 1701.9323 |  | 6 | CTZ07 | 533.5912 | 695.0384 | 599.7147 | 905.5576 | 1 | 2 | 4 | 4704 | 337.3263 |  |  | CTZ07 | 132.5415 | 161.145 | 151.9287 | 137.6114
| 3 | 1 | 132 | 186.6832 | 2479.4425 | CZ3 data is compiled from | 7 | CTZ08 | 1008.4 | 1245.3034 | 1179.2587 | 1892.4645 |  | 3 | 1 | 44 | 297.764 | CZ3 data is compiled from |  | CTZ08 | 161.5835 | 204.4722 | 178.9555 | 167.7947
| 3 | 2 | 1020 | 166.1456 | 2166.4728 | sub-areas listed in table | 8 | CTZ09 | 1558.7169 | 1321.6967 | 1746.3302 | 1804.4042 |  | 3 | 2 | 340 | 307.3721 | sub-areas listed in table |  | CTZ09 | 199.0857 | 209.2996 | 197.5328 | 213.2309
| 3 | 3 | 2016 | 204.6333 | 2235.0265 | below | 9 | CTZ10 | 1231.5706 | 1212.4776 | 1625.6776 | 1658.8579 |  | 3 | 3 | 672 | 355.2344 | below |  | CTZ10 | 218.4216 | 239.4929 | 229.4416 | 203.9902
| 3 | 4 | 16992 | 165.5992 | 1640.2017 |  | 10 | CTZ11 | 1478.4571 | 1797.4726 | 1864.6113 | 1871.6646 |  | 3 | 4 | 5664 | 292.2635 |  |  | CTZ11 | 277.2877 | 295.6587 | 301.3449 | 210.4619
1 | 4 | 1 | 120 | 928.1069 | 2578.3922 |  | 11 | CTZ12 | 1034.6738 | 1033.3355 | 1275.649 | 1039.5773 | 1 | 4 | 1 | 120 | 305.4624 |  |  | CTZ12 | 270.8279 | 278.7576 | 264.8238 | 225.5154
1 | 4 | 2 | 864 | 765.5126 | 2329.0357 |  | 12 | CTZ13 | 1914.0212 | 1819.1429 | 2409.7988 | 2062.6681 | 1 | 4 | 2 | 864 | 255.3946 |  |  | CTZ13 | 265.4262 | 277.9905 | 293.2918 | 212.8269
1 | 4 | 3 | 1164 | 723.6142 | 1966.3422 |  | 13 | CTZ14 | 3055.0461 | 2711.1289 | 2505.3945 | 4167.7869 | 1 | 4 | 3 | 1164 | 246.457 |  |  | CTZ14 | 274.1985 | 268.338 | 211.1993 | 248.914
1 | 4 | 4 | 7848 | 654.7112 | 1733.7947 |  | 14 | CTZ15 | 3480.8868 | 3141.7083 | 4097.3817 | 4357.3208 | 1 | 4 | 4 | 7848 | 242.882 |  |  | CTZ15 | 130.3615 | 137.8007 | 113.5375 | 136.8636
1 | 5 | 1 | 84 | 144.5797 | 2264.4774 |  | 15 | CTZ16 | 975.6512 | 774.16 | 902.0563 | 437.1309 | 1 | 5 | 1 | 84 | 310.3434 |  |  | CTZ16 | 379.4167 | 488.1883 | 236.7035
1 | 5 | 2 | 324 | 111.8495 | 1892.3595 | [7 empty] | 1 | 5 | 2 | 324 | 366.9017
1 | 5 | 3 | 744 | 153.9131 | 2695.6957 | [7 empty] | 1 | 5 | 3 | 744 | 388.7078
1 | 5 | 4 | 2112 | 82.9293 | 1676.435 | [7 empty] | 1 | 5 | 4 | 2112 | 365.5711
1 | 6 | 1 | 216 | 949.8292 | 2853.1697 |  |  | DEER Area |  |  |  |  | 1 | 6 | 1 | 216 | 217.9689
1 | 6 | 2 | 864 | 734.0192 | 2582.5132 |  |  |  | Pre-1978 | 1978-1992 | 1993-2001 | 2002-2005 | 1 | 6 | 2 | 864 | 224.9377
1 | 6 | 3 | 1776 | 693.4258 | 2509.2223 |  |  | CTZ01 | 1591 | 1904 | 2164 | 2295.6102 | 1 | 6 | 3 | 1776 | 256.7586
1 | 6 | 4 | 10080 | 621.2863 | 1777.6814 |  |  | CTZ02 | 1591 | 1904 | 2164 | 2295.6102 | 1 | 6 | 4 | 10080 | 201.9301
1 | 7 | 1 | 348 | 887.288 | 2344.6323 |  |  | CTZ03 | 1591 | 1904 | 2164 | 2295.6102 | 1 | 7 | 1 | 348 | 134.8351
1 | 7 | 2 | 1104 | 708.5246 | 2681.8598 |  |  | CTZ04 | 1591 | 1904 | 2164 | 2295.6102 | 1 | 7 | 2 | 1104 | 179.4941
1 | 7 | 3 | 2328 | 696.8475 | 2069.3724 |  |  | CTZ05 | 1591 | 1904 | 2164 | 2295.6102 | 1 | 7 | 3 | 2328 | 161.5644
1 | 7 | 4 | 8280 | 541.0201 | 1549.2735 |  |  | CTZ06 | 1528 | 2064 | 2270 | 2392.9091 | 1 | 7 | 4 | 8280 | 134.3868
1 | 8 | 1 | 132 | 1181.8613 | 1494.3934 |  |  | CTZ07 | 1528 | 2064 | 2270 | 2392.9091 | 1 | 8 | 1 | 132 | 104.7893
1 | 8 | 2 | 840 | 1319.7105 | 2540.3611 |  |  | CTZ08 | 1528 | 2064 | 2270 | 2392.9091 | 1 | 8 | 2 | 840 | 200.2694
1 | 8 | 3 | 1416 | 1325.3319 | 2196.6414 |  |  | CTZ09 | 1636 | 1811 | 2118 | 2422.9286 | 1 | 8 | 3 | 1416 | 217.6125
1 | 8 | 4 | 13380 | 1045.6429 | 1584.4331 |  |  | CTZ10 | 1636 | 1811 | 2118 | 2422.9286 | 1 | 8 | 4 | 13380 | 167.5512
1 | 9 | 1 | 168 | 1546.6692 | 2076.8456 |  |  | CTZ11 | 1528 | 1704 | 2056 | 1948.7812 | 1 | 9 | 1 | 168 | 182.7738
1 | 9 | 2 | 1104 | 1708.8628 | 2072.5584 |  |  | CTZ12 | 1528 | 1704 | 2056 | 1948.7812 | 1 | 9 | 2 | 1104 | 193.2948
1 | 9 | 3 | 2076 | 1460.5762 | 2001.2938 |  |  | CTZ13 | 1528 | 1704 | 2056 | 1948.7812 | 1 | 9 | 3 | 2076 | 231.2921
1 | 9 | 4 | 14160 | 1560.0978 | 1637.4494 |  |  | CTZ14 | 1555 | 1741 | 1643 | 2160.9167 | 1 | 9 | 4 | 14160 | 199.2621
| 10 | 1 | 624 | 1874.8787 | 2738.4487 | CZ10 data is compiled from |  | CTZ15 | 1555 | 1741 | 1643 | 2160.9167 |  | 10 | 1 | 312 | 230.5544 | CZ10 data is compiled from
| 10 | 2 | 2688 | 1659.4818 | 2162.0415 | sub-areas listed in table |  | CTZ16 | 1591 | 1904 | 2164 | 2295.6102 |  | 10 | 2 | 1344 | 234.2126 | sub-areas listed in table
| 10 | 3 | 5160 | 1301.7003 | 1944.2663 | below | [7 empty] | 10 | 3 | 2580 | 257.1164 | below
| 10 | 4 | 8328 | 1261.6409 | 1675.9449 | [8 empty] | 10 | 4 | 4164 | 223.7546
1 | 11 | 1 | 324 | 2148.4421 | 2236.9626 |  | 0.96043 | [5 empty] | 1 | 11 | 1 | 324 | 241.5845
1 | 11 | 2 | 1272 | 1847.611 | 2037.2548 |  | 0.90691 | [5 empty] | 1 | 11 | 2 | 1272 | 298.5975
1 | 11 | 3 | 1776 | 1781.7919 | 1689.1348 |  | 1.0549 | [5 empty] | 1 | 11 | 3 | 1776 | 293.0795
1 | 11 | 4 | 3576 | 1517.9127 | 1568.7778 |  | 0.96758 | [5 empty] | 1 | 11 | 4 | 3576 | 284.6877
1 | 12 | 1 | 372 | 1644.7477 | 3083.2277 |  | 0.53345 | [5 empty] | 1 | 12 | 1 | 372 | 356.7949
1 | 12 | 2 | 3096 | 1341.4517 | 2162.0561 |  | 0.62045 | [5 empty] | 1 | 12 | 2 | 3096 | 278.4843
1 | 12 | 3 | 4344 | 1346.694 | 2220.7373 |  | 0.60642 | [5 empty] | 1 | 12 | 3 | 4344 | 363.2907
1 | 12 | 4 | 10368 | 1154.5355 | 1705.011 |  | 0.67714 | [5 empty] | 1 | 12 | 4 | 10368 | 302.2019
1 | 13 | 1 | 288 | 2485.9804 | 2348.7211 |  | 1.0584 | [5 empty] | 1 | 13 | 1 | 288 | 256.5045
1 | 13 | 2 | 1704 | 2114.1694 | 1803.774 |  | 1.1721 | [5 empty] | 1 | 13 | 2 | 1704 | 257.3113
1 | 13 | 3 | 2124 | 2091.7846 | 1959.3848 |  | 1.0676 | [5 empty] | 1 | 13 | 3 | 2124 | 319.654
1 | 13 | 4 | 6396 | 1815.9754 | 1449.7281 |  | 1.2526 | [5 empty] | 1 | 13 | 4 | 6396 | 251.8297
1 | 14 | 1 | 84 | 4334.5979 | 2247.4049 |  | 1.9287 | [5 empty] | 1 | 14 | 1 | 84 | 258.8765
1 | 14 | 2 | 816 | 2958.2154 | 1939.9531 |  | 1.5249 | [5 empty] | 1 | 14 | 2 | 816 | 249.3711
1 | 14 | 3 | 2352 | 2830.8872 | 1817.9049 |  | 1.5572 | [5 empty] | 1 | 14 | 3 | 2352 | 280.1913
1 | 14 | 4 | 2280 | 2845.6308 | 1448.4088 |  | 1.9647 | [5 empty] | 1 | 14 | 4 | 2280 | 255.4029
1 | 15 | 1 | 36 | 5258.383 | 2607.7784 |  | 2.0164 | [5 empty] | 1 | 15 | 1 | 36 | 165.1661
1 | 15 | 2 | 360 | 4716.398 | 1891.218 |  | 2.4938 | [5 empty] | 1 | 15 | 2 | 360 | 130.6903
1 | 15 | 3 | 444 | 2790.9263 | 1546.6116 |  | 1.8045 | [5 empty] | 1 | 15 | 3 | 444 | 122.4148
1 | 15 | 4 | 684 | 3836.7592 | 1713.9772 |  | 2.2385 | [5 empty] | 1 | 15 | 4 | 684 | 143.6891
| 16 | 1 | 24 | 523.6559 | 2750 | CZ16 data is compiled from | 0.19042 | [6 empty] | 16 | 1 | 24 | - no data- | CZ16 data is compiled from
| 16 | 2 | 540 | 974.126 | 2336.8925 | sub-areas listed in table | 0.41685 | [6 empty] | 16 | 2 | 270 | 255.6149 | sub-areas listed in table
| 16 | 3 | 2004 | 828.2591 | 2037.0536 | below | 0.4066 | [6 empty] | 16 | 3 | 1002 | 522.3034 | below
| 16 | 4 | 3888 | 928.3825 | 1513.9188 |  | 0.61323 | [6 empty] | 16 | 4 | 1944 | 361.0346
| Compilation of Sub-Climate Zone Data for Air Conditioning UEC | [5 empty] | Overall subCZ values | [6 empty] | Compilation of Sub-Climate Zone Data for Heating UEC |  |  |  |  | Overall subCZ values
| Sub CZ | Vintage | Number of Homes | Air Cond. UEC | Average Area | Comments | Number of Homes | Air Cond. UEC | Average Area |  |  |  |  | Sub CZ | Vintage | Number of Homes | Heating UEC | Comments | Number of Homes | Heating UEC | Average Area
1 | 31 | 1 | 12 | 208.376 | 2750 |  | 132 | 186.6832 | 2479.4425 |  |  |  | 1 | 31 | 1 | 12 | 297.3409 |  | 44 | 297.764
1 | 31 | 2 | 192 | 153.1321 | 2371.3158 |  | 1020 | 166.1456 | 2166.4728 |  |  |  | 1 | 31 | 2 | 192 | 343.1808 |  | 340 | 307.3721
1 | 31 | 3 | 564 | 231.6272 | 2422.5069 |  | 2016 | 204.6333 | 2235.0265 |  |  |  | 1 | 31 | 3 | 564 | 413.9561 |  | 672 | 355.2344
1 | 31 | 4 | 6816 | 183.2265 | 1897.8994 |  | 16992 | 165.5992 | 1640.2017 |  |  |  | 1 | 31 | 4 | 6816 | 330.4806 |  | 5664 | 292.2635
1 | 32 | 1 | 60 | 273.7467 | 2598.6647 | [7 empty] | 1 | 32 | 1 | 60 | 248.1059
1 | 32 | 2 | 456 | 246.7607 | 1923.5448 | [7 empty] | 1 | 32 | 2 | 456 | 297.9288
1 | 32 | 3 | 852 | 265.9258 | 2250.3297 | [7 empty] | 1 | 32 | 3 | 852 | 326.1155
1 | 32 | 4 | 6924 | 190.1876 | 1465.3863 | [7 empty] | 1 | 32 | 4 | 6924 | 248.2288
1 | 33 | 1 | 60 | 95.2812 | 2306.1087 | [7 empty] | 1 | 33 | 1 | 60 | 347.5068
1 | 33 | 2 | 372 | 74.0437 | 2358.5301 | [7 empty] | 1 | 33 | 2 | 372 | 300.4659
1 | 33 | 3 | 600 | 92.2235 | 2037.0642 | [7 empty] | 1 | 33 | 3 | 600 | 341.3849
1 | 33 | 4 | 3252 | 76.3009 | 1472.2909 | [7 empty] | 1 | 33 | 4 | 3252 | 305.9195
1 | 101 | 1 | 168 | 1085.3906 | 3003.9785 |  | 624 | 1874.8787 | 2738.4487 |  |  |  | 1 | 101 | 1 | 168 | 208.9289 |  | 312 | 230.5544
1 | 101 | 2 | 804 | 883.5839 | 2359.4393 |  | 2688 | 1659.4818 | 2162.0415 |  |  |  | 1 | 101 | 2 | 804 | 176.6652 |  | 1344 | 234.2126
1 | 101 | 3 | 1728 | 810.9756 | 2371.7362 |  | 5160 | 1301.7003 | 1944.2663 |  |  |  | 1 | 101 | 3 | 1728 | 232.058 |  | 2580 | 257.1164
1 | 101 | 4 | 3108 | 739.5404 | 1841.9842 |  | 8328 | 1261.6409 | 1675.9449 |  |  |  | 1 | 101 | 4 | 3108 | 182.6317 |  | 4164 | 223.7546
1 | 102 | 1 | 456 | 2165.7428 | 2640.622 | [7 empty] | 1 | 102 | 1 | 456 | 238.5217
1 | 102 | 2 | 1884 | 1990.5975 | 2077.8017 | [7 empty] | 1 | 102 | 2 | 1884 | 258.771
1 | 102 | 3 | 3432 | 1548.7785 | 1729.0367 | [7 empty] | 1 | 102 | 3 | 3432 | 269.7333
1 | 102 | 4 | 5220 | 1572.5007 | 1577.0847 | [7 empty] | 1 | 102 | 4 | 5220 | 248.2392
1 | 161 | 1 | 24 | 523.6559 | 2750 |  | 24 | 523.6559 | 2750 |  |  |  | 1 | 161 | 1 | 24 | - no data - |  | 24 | - no data-
1 | 161 | 2 | 264 | 429.1365 | 2317.976 |  | 540 | 974.126 | 2336.8925 |  |  |  | 1 | 161 | 2 | 264 | 222.2001 |  | 270 | 255.6149
1 | 161 | 3 | 864 | 513.252 | 2065.0528 |  | 2004 | 828.2591 | 2037.0536 |  |  |  | 1 | 161 | 3 | 864 | 755.0111 |  | 1002 | 522.3034
1 | 161 | 4 | 1344 | 392.2433 | 1358.4073 |  | 3888 | 928.3825 | 1513.9188 |  |  |  | 1 | 161 | 4 | 1344 | 355.4983 |  | 1944 | 361.0346
1 | 162 | 2 | 276 | 1495.4203 | 2354.9864 | [7 empty] | 1 | 162 | 2 | 276 | 287.5769
1 | 162 | 3 | 1140 | 1067.0013 | 2015.8332 | [7 empty] | 1 | 162 | 3 | 1140 | 345.9354
1 | 162 | 4 | 2544 | 1211.6259 | 1596.0758 | [7 empty] | 1 | 162 | 4 | 2544 | 363.9595
Raw Sub-Climate Zone Data for Air Conditioning
| Sub CZ | Vintage | Number of Homes | Air Cond. UEC | Average Area
2 | 1 | 2 | 48 | 0 | 0
2 | 1 | 3 | 120 | 15.5712 | 840.5736
2 | 1 | 4 | 468 | 46.0796 | 743.0724
2 | 2 | 2 | 348 | 221.3152 | 949.5775
2 | 2 | 3 | 576 | 254.7454 | 877.3962
2 | 2 | 4 | 1212 | 254.8933 | 948.3919
2 | 4 | 1 | 72 | 448.5605 | 1295.1441
2 | 4 | 2 | 696 | 266.0061 | 1175.2112
2 | 4 | 3 | 1260 | 321.7823 | 1314.4009
2 | 4 | 4 | 2628 | 312.6319 | 1024.2583
2 | 5 | 2 | 48 | 35.8411 | 1217.5343
2 | 5 | 3 | 168 | 47.9815 | 1047.4073
2 | 5 | 4 | 408 | 19.6136 | 1593.8945
2 | 6 | 1 | 120 | 316.2072 | 1464.617
2 | 6 | 2 | 792 | 307.0696 | 1277.6616
2 | 6 | 3 | 2676 | 292.5662 | 1227.4649
2 | 6 | 4 | 8148 | 378.2057 | 976.1321
2 | 7 | 1 | 84 | 375.1102 | 1137.1642
2 | 7 | 2 | 384 | 381.5585 | 1277.8099
2 | 7 | 3 | 2124 | 260.2572 | 1131.0895
2 | 7 | 4 | 4164 | 286.7213 | 942.0511
2 | 8 | 1 | 96 | 417.5234 | 880.7148
2 | 8 | 2 | 876 | 669.5651 | 1259.2266
2 | 8 | 3 | 2100 | 584.3533 | 1021.05
2 | 8 | 4 | 7176 | 543.5251 | 914.7398
2 | 9 | 1 | 156 | 816.5343 | 1620.1858
2 | 9 | 2 | 576 | 696.2565 | 802.6367
2 | 9 | 3 | 3108 | 994.3414 | 1065.98
2 | 9 | 4 | 9600 | 808.4141 | 879.2459
2 | 11 | 1 | 24 | 1684.0857 | 1426.1864
2 | 11 | 2 | 84 | 1023.3 | 1304.0495
2 | 11 | 3 | 468 | 970.1446 | 1060.3799
2 | 11 | 4 | 864 | 891.5125 | 942.1431
2 | 12 | 1 | 72 | 526.5903 | 800.6309
2 | 12 | 2 | 456 | 601.2175 | 1242.9995
2 | 12 | 3 | 1896 | 590.5341 | 1072.145
2 | 12 | 4 | 3048 | 567.2442 | 886.7153
2 | 13 | 1 | 60 | 1461.9345 | 1269.315
2 | 13 | 2 | 312 | 926.0579 | 874.2675
2 | 13 | 3 | 636 | 1103.5938 | 910.7844
2 | 13 | 4 | 1884 | 1236.1073 | 906.7702
2 | 14 | 2 | 72 | 1571.4957 | 902.9692
2 | 14 | 3 | 300 | 1898.1128 | 1263.7142
2 | 14 | 4 | 612 | 1677.8272 | 941.2869
2 | 15 | 1 | 12 | - no data - | 200
2 | 15 | 2 | 84 | 1109.2931 | 744.1635
2 | 15 | 3 | 708 | 3534.6542 | 1313.2175
2 | 15 | 4 | 720 | 3334.8506 | 1266.0885
2 | 31 | 1 | 96 | 28.0649 | 1160.9963
2 | 31 | 2 | 360 | 78.1793 | 1043.6184
2 | 31 | 3 | 984 | 74.7266 | 1291.2694
2 | 31 | 4 | 5676 | 93.1796 | 1037.4023
2 | 32 | 1 | 24 | 0 | 981.5374
2 | 32 | 2 | 252 | 86.2604 | 970.6704
2 | 32 | 3 | 792 | 118.0623 | 1081.0701
2 | 32 | 4 | 3540 | 81.7439 | 988.2823
2 | 33 | 1 | 12 | 0 | 1125
2 | 33 | 2 | 72 | 28.262 | 847.9
2 | 33 | 3 | 252 | 26.8201 | 1097.9304
2 | 33 | 4 | 996 | 27.6017 | 1015.7941
2 | 101 | 1 | 48 | 384.4219 | 1300.0517
2 | 101 | 2 | 120 | 428.3644 | 2153.9904
2 | 101 | 3 | 696 | 407.8785 | 986.8405
2 | 101 | 4 | 1152 | 380.3642 | 889.1298
2 | 102 | 1 | 24 | 1061.5033 | 1109.1127
2 | 102 | 2 | 120 | 729.2611 | 1037.9902
2 | 102 | 3 | 828 | 1138.3513 | 1295.2565
2 | 102 | 4 | 1464 | 898.464 | 854.5208
2 | 161 | 3 | 48 | 287.4122 | 1331.1421
2 | 161 | 4 | 36 | 0 | 1032.1196
2 | 162 | 2 | 108 | 659.3936 | 1092.5586
2 | 162 | 3 | 396 | 685.4638 | 810.0635
2 | 162 | 4 | 552 | 447.5902 | 890.0716
3 | 1 | 2 | 12 | 144.6648 | 1125
3 | 1 | 3 | 12 | 0 | 875
3 | 1 | 4 | 72 | 0 | 1108.9631
3 | 2 | 2 | 24 | 319.4387 | 1559.8402
3 | 2 | 3 | 120 | 293.7083 | 1103.5198
3 | 2 | 4 | 228 | 384.8392 | 1016.3042
3 | 4 | 3 | 84 | 452.4747 | 1131.1608
3 | 4 | 4 | 72 | 358.2828 | 946.7754
3 | 5 | 1 | 12 | 0 | 1375
3 | 5 | 3 | 84 | 69.211 | 1359.3561
3 | 5 | 4 | 60 | 0 | 1296.8904
3 | 6 | 1 | 12 | 628.013 | 1375
3 | 6 | 2 | 24 | 0 | 932.8051
3 | 6 | 3 | 12 | 0 | 875
3 | 6 | 4 | 108 | 446.6337 | 1194.3202
3 | 7 | 3 | 72 | 532.2853 | 1212.4191
3 | 7 | 4 | 84 | 352.6446 | 1322.0595
3 | 8 | 1 | 12 | 0 | 1750
3 | 8 | 3 | 84 | 667.4865 | 1246.7916
3 | 8 | 4 | 144 | 973.1837 | 1415.052
3 | 9 | 1 | 12 | 857.9171 | 1125
3 | 9 | 2 | 24 | 1111.8924 | 1496.6937
3 | 9 | 3 | 84 | 897.7295 | 1320.4686
3 | 9 | 4 | 180 | 1173.8027 | 1133.0938
3 | 11 | 1 | 12 | 1526.4307 | 1229.6656
3 | 11 | 2 | 48 | 690.2598 | 992.2042
3 | 11 | 3 | 288 | 981.3912 | 1083.7972
3 | 11 | 4 | 540 | 1396.1561 | 1137.0243
3 | 12 | 2 | 36 | 1332.801 | 1306.1883
3 | 12 | 3 | 192 | 828.2395 | 1154.3633
3 | 12 | 4 | 228 | 974.8938 | 965.0831
3 | 13 | 2 | 12 | 1993.3355 | 1750
3 | 13 | 3 | 288 | 1406.2897 | 1198.2626
3 | 13 | 4 | 456 | 1267.5666 | 885.8724
3 | 14 | 2 | 12 | - no data - | 1125
3 | 14 | 3 | 216 | 2896.7323 | 1371.5167
3 | 14 | 4 | 156 | 2236.3051 | 1213.2916
3 | 15 | 1 | 12 | 5033.6874 | 1375
3 | 15 | 2 | 12 | 3670.725 | 1375
3 | 15 | 3 | 108 | 3952.0464 | 1477.306
3 | 15 | 4 | 84 | 3000.2034 | 1334.303
3 | 31 | 4 | 24 | 0 | 1185.44
3 | 32 | 2 | 24 | 52.0067 | 743.7617
3 | 32 | 3 | 24 | 132.648 | 1125
3 | 32 | 4 | 96 | 183.165 | 1117.6321
3 | 33 | 3 | 24 | 0 | 962.9196
3 | 33 | 4 | 24 | 0 | 1075.8743
3 | 101 | 3 | 72 | 419.8984 | 1192.0372
3 | 101 | 4 | 120 | 515.1473 | 977.8474
3 | 102 | 2 | 48 | 1292.4832 | 1049.9304
3 | 102 | 3 | 552 | 1088.7532 | 1359.6616
3 | 102 | 4 | 684 | 1164.4207 | 1205.2684
3 | 161 | 3 | 108 | 364.7021 | 1077.4672
3 | 161 | 4 | 96 | 0 | 894.9146
3 | 162 | 2 | 36 | 965.8164 | 2514.9254
3 | 162 | 3 | 228 | 817.016 | 1347.6456
3 | 162 | 4 | 264 | 727.424 | 1510.5551
Note on F19: Paul Reeves: these values determined from sub-areas listed below
Note on M12: Paul Reeves: These are the values used for DEER calibration, they are adjusted for DEER building areas